DOCKET NO. 52689

| EXPEDITED PETITION FOR APPROVAL OF INTERIM LOAD MANAGEMENT PROGRAMS FOR NONRESIDENTIAL CUSTOMERS AND FOR AN ACCOUNTING ORDER | § § § §§ | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

AEP TEXAS INC.’S

REPORT ON INTERIM LOAD MANAGEMENT PROGRAM

ENDING FEBRUARY 28, 2022

June 1, 2022

TABLE OF CONTENTS

I.	Background and Purpose	1

II.	Program Design	2

III.	Program Results	4

IV.	Lessons Learned	5

A.	Program Design	5

B.	Operational	5

# Background and Purpose

On June 8, 2021, the Governor of Texas signed Senate Bill 3 into law which, among other things, authorized transmission and distribution utilities “to design and operate a load management program for nonresidential customers to be used where the independent organization certified under [PURA] Section 39.151 for the ERCOT power region has declared a Level 2 Emergency or a higher level of emergency or has otherwise directed the transmission and distribution utility to shed load.” Additionally, a “transmission and distribution utility implementing a load management program...shall be permitted to recover the reasonable and necessary costs of the load management program under Chapter 36 [of PURA].”

As part of preparing for the 2021 – 2022 winter season, and in accordance with SB 3, AEP Texas Inc., CenterPoint Energy Houston Electric, LLC, and Texas-New Mexico Power Company (collectively, the “Joint TDUs”) filed a petition requesting that the Commission authorize each of the Joint TDUs to design and operate an interim load management program for nonresidential customers during the period of December 1, 2021 through February 28, 2022 (the “Interim Load Management Programs”) and to record a regulatory asset for the reasonable and necessary costs associated with the design and operation of those programs.

On January 12, 2022, the Commission issued an order authorizing AEP Texas to defer the reasonable and necessary costs associated with the design and operation of its interim load management program incurred after December 16, 2021 until February 28, 2022 that are not recovered through other means and record those costs in an asset account.  The order further required Commission Staff to work with ERCOT to evaluate the interim load management programs and file a report with the Commission by June 1, 2022. To support Commission Staff’s and ERCOT’s evaluation and June 1, 2022 report, AEP Texas submits this report on its interim load management program design, program results, and lessons learned.

# Program Design

AEP Texas’ interim load management program (the “Program”) was designed to support grid resiliency by providing winter load reduction capabilities in the non-residential ERCOT market. At a high level, the Program was designed to provide incentives to Program participants for curtailing electricity demand when the ERCOT power region declared a Level 2 Emergency or higher level of emergency or otherwise directed AEP Texas to shed load during the winter months of December, January, and February. The Program design was informed in part by AEP Texas’ summer load management program, which has been successful and cost-effective for many years. Details of the Program design are provided in the narrative and table below.

The Program was designed to be in operation from December 1, 2021 through February 28, 2022. The Program was open to non-residential customers, national or local energy service companies, aggregation groups, and retail electric providers (REPs) that could: (a) identify curtailable load; (b) subscribe a minimum of 100 kW of load reduction; (c) curtail their load twenty-four hours a day, seven days a week; and (d) curtail load within 30 minutes’ notice. Participants committed to one scheduled test curtailment of up to one hour during the program period. AEP Texas conducted test curtailments to demonstrate that the Program participant is capable of curtailing at least 100 kW. Critical load, customers participating in other load management programs (such as ERCOT’s emergency response service), and load that is curtailed due to operational inability were ineligible to participate in the Program. The ESIIDs of potential Program participants were compared to the AEP Texas critical load and ERCOT ERS lists to ensure eligibility. In addition, load curtailment that would result in negative environmental or health effects was ineligible to participate in the Program, but that restriction did not preclude the use of self-generation that complied with applicable environmental and health and safety laws.

AEP Texas reached out to non-residential customers, aggregation groups, and REPs using existing e-mail distribution lists. Potential participants were required to complete an application to demonstrate eligibility for the Program. Applications were reviewed on a first-come, first-served basis. AEP Texas requested written consent from Program participants during enrollment in the Program to provide notice to the enrolling customers’ REP of record of the customer’s enrollment and deployment of the customer’s load curtailment in the program. For each participant that provided such consent, AEP Texas notified the participant’s REP of record within three business days of the participant’s enrollment in the Program or deployment of load curtailment in the Program.

Under the Program, AEP Texas was permitted to call a maximum of four unscheduled events during the program period, with any single event lasting no more than four hours. AEP Texas paid Program participants $35.00 per kilowatt (“kW”) of the verified curtailed load during called events. Through its experience with its summer load management program, AEP Texas has found that a $35.00/kW incentive is sufficient to attract participants and cost effective. AEP Texas was not required to pay for any curtailed loads that exceeded the approved kW amount. Under the program design, the total incentive paid after the conclusion of the program period would be based on the average performance over all unscheduled events, or if there were no unscheduled events, Program participants would receive an incentive payment based on performance during the scheduled test curtailment.

Under the Program’s design, for each curtailment event, AEP Texas measured and verified each Program participants’ performance using the methodology approved by the Commission in the Texas Technical Reference Manual. AEP Texas identified and verified a Program participant’s load data through AEP Texas’ advanced metering system and provided that data to Frontier Energy, who maintained and analyzed the data and calculated load reduction.

| Design Parameter | Metric |
| --- | --- |
| Period | December through February with savings claimed in program ending year |
| Operational hours | 24 hrs per day / 7 days per week |
| Notice | 30 minutes |
| Minimum load | 100 kW |
| Eligible participant groups | Non-residential customers, national or local energy service companies, aggregation groups, and REPs |
| Restrictions on Participation | Critical load, customers participating in other load management programs (such as ERCOT’s emergency response service), and load that is curtailed due to operational inability were ineligible to participate in the Program. |
| Scheduled events | One event of up to one hour |
| Unscheduled events/Duration | Four events of no more than four hours each |
| Budget | $350,000 for up to 10 MW in subscriptions |
| Incentive | $35 / kW |

# Program Results

AEP Texas began accepting Program applications on January 12, 2022, the same day a written order was issued authorizing the Program. The Program implementation was from January 24, 2022 through February 28, 2022. Three Program participants submitted an enrollment including one ESIID/site for each enrollment. These sites included an educational institution, a cold storage facility, and an oil mill. As noted earlier, for each of the two participants that provided consent, AEP Texas notified the participant’s REP of record within three business days of the participant’s enrollment in the Program or deployment of load curtailment in the Program. The actual Program demand reduction achieved was 2,797.28 kW and the associated incentive payment was $97,904.80.

On January 19, 2022, AEP Texas submitted the Memorandum of Understanding (MOU) required information to ERCOT. This information included: (1) the number of megawatts of Program capacity procured for that year; (2) the maximum duration of each single deployment; (3) the maximum total duration of all deployments; and (4) the maximum number of deployments that may be required.

AEP Texas tested its Notification System with the program participants on January 21, 2022 at 10:00 AM. All participants were requested and confirmed they received this Notification System test email and/or phone call. A one-hour test event occurred on January 24, 2022 from 10:08 AM to 11:08 AM for two Program participants. For the remaining participant, a one-hour test event occurred on February 15, 2022 from 10:04 AM to 11:04 AM. Prior to any test deployment of the Program, AEP Texas notified the ERCOT control room (via email according to the terms for the operation and deployment) of each TDU-administered load management program. Within three business days of the test event, AEP Texas also provided notice to the REPs of record of customers that provided written consent for AEP Texas to provide such notice.

No actual EEA-2 events were called, but the Program was available during winter storm Landon (February 1 – 9, 2022).

# Lessons Learned

AEP Texas has long had in place a successful summer load management program, and recent events have shown that load management programs outside the summer months can be valuable tools to help maintain grid reliability.  Last winter, AEP Texas offered an interim winter load management pilot program, and based on the potential benefits, AEP Texas is considering offering another winter load management program between December 1, 2022 through February 28, 2023. Through its experience with the interim winter load management program, AEP Texas offers the following lessons learned.

## Program Design

- The number of events, length of each event and potentially splitting these events into multiple segments based on the time of day are important considerations.

- Incentive level(s) may be based on customer size, available load, operation, etc.

- Critical care or critical load customers with backup generation could be potential participants.

## Operational

- Align TDU program implementation with ERCOT’s ERS program timeline.

- Program design and outreach efforts should occur in early September.

- Optimal timing and sharing of information with ERCOT are essential to prevent double counting of program participants.

- Revising and streamlining the AEP Texas internal and participant notification process is critical.

- Identify critical care and critical load customers for participation or non-participation.

- Temperatures in early December vary dramatically and the test event may not occur in cold conditions.

- Methodology for the savings calculation needs to be identified early in the Program design process.

SB 3, 87th Leg., R.S. (2021), Section 16, creating Public Utility Regulatory Act (“PURA”), Tex. Util. Code § 38.075. PURA is codified at Tex. Util. Code §§ 11.001 – 66.016.

Tex. Util. Code § 38.075(e).

Tex. Util. Code § 38.075(e).

Expedited Petition of CenterPoint Energy Houston Electric, LLC for Approval of Interim Load Management Programs for Nonresidential Customers and for an Accounting Order, Docket No. 52689, Order at Ordering Paragraph No. 1 (Jan. 12, 2022).

Docket No. 52689, Order at Ordering Paragraph No. 14.