DOCKET NO. 52689

| EXPEDITED PETITION FOR APPROVAL OF INTERIM LOAD MANAGEMENT PROGRAMS FOR NONRESIDENTIAL CUSTOMERS AND FOR AN ACCOUNTING ORDER | § § § §§ | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

TEXAS-NEW MEXICO POWER COMPANY’S

REPORT ON INTERIM LOAD MANAGEMENT PILOT PROGRAM

ENDING FEBRUARY 28, 2022

June 1, 2022

TABLE OF CONTENTS

I.	Background and Purpose	1

II.	Program Results	2

III.	Program Operation………………………………………………………………………...2

IV. 	Comparison………………………………………………………………………………..3

V.	Justification…………………………………………………………………………….….4

VI.	Lessons Learned	5

A.	Program Design	5

B.	Operational	6

VII.	Next Steps…………………………………………………………………………………6

VIII.	Conclusion………………………………………………………………………………...7

# Background

Governor Abbott signed S.B. 3 into law on June 8, 2021, requiring the Commission to "allow a transmission and distribution utility to design and operate a load management program for nonresidential customers to be used where the independent organization certified under Section 39.151 for the ERCOT power region has declared a Level 2 Emergency or a higher level of emergency or has otherwise directed the transmission and distribution utility to shed load." Additionally, a "transmission and distribution utility implementing a load management program... shall be permitted to recover the reasonable and necessary costs of the load management program under Chapter 36."

Accordingly, on October 8, 2021, AEP Texas Inc. (AEP), CenterPoint Energy Houston Electric, LLC. (CEHE), and Texas-New Mexico Power Company (TNMP) (collectively, the Joint TDUs) filed an Expedited Petition  in Docket No. 52689   requesting approval to operate interim winter load management programs during the winter of 2021-2022 and receive regulatory asset treatment for the costs related to the pilot programs.  The Joint TDUs requested that the Commission take a two-phased approach to implement load management programs for nonresidential customers, with the first phase approving the requested Interim Load Management Programs, and the second phase being a formal rulemaking for future load management programs expected to take place in 2022. Various parties intervened in Docket No. 52689 with negotiation resulting in a Revised Settlement on program terms being filed on December 1, 2021. The Commission did not approve the settlement but did approve the requested accounting treatment for winter load shed pilot programs conducted by the Joint Utilities on January 12, 2022.

# Pilot Program Goals and Results

TNMP operated a load management pilot program during January 1, 2022, to February 28, 2022 (the Pilot Program).  The Pilot Program’s demand reduction goal was 1.5 MW and the associated Pilot Program budget was $60,000. Eligible participants included energy service companies, aggregation groups, retail electric providers and individual nonresidential customers of TNMP taking service at the distribution level, and/or be a non-profit customer or government entity, including educational institutions.   Under the Pilot Program a curtailment could be called at any time (24 hours a day/7 days a week) upon 30 minutes notice. Participants had to subscribe   a minimum load of 100kW and agree to participate in up to 5 events (including a scheduled test) of 1 to 4 hours in duration.  TNMP paid participants $40 per kW as incentive. Measurement and verification was accomplished by calculating savings in accordance with the Texas Technical Reference Manual. The actual Pilot Program demand reduction achieved was 1.054 MW and the associated incentive payments totaled $42,179.60.  No actual EEA2 events were called by ERCOT during the Pilot Program. However, TNMP’s Pilot Program was available during the winter storm Landon February 1-9, 2022.

# Pilot Program Operation

TNMP was able to attract two participants, an independent school district and an industrial customer, to its Pilot Program. Collectively, those participants enrolled 21 separate sites. Each participant applied to provide on-call, voluntary curtailment of electric consumption during grid emergencies in return for incentive payments. Incentives were based on verified curtailed demand savings resulting from TNMP’s request to curtail usage under the Pilot Program. Participants were not required to produce a specific level of curtailed load but only received payments based on verified demand savings of the contracted amount of curtailable load. Finally, each enrolled site was equipped with an Interval Data Recorder (IDR) or advanced meter as required by the Pilot Program.

To join the Pilot Program, each participant executed a contract with TNMP. It required participants to curtail contracted load for a maximum of four events during the Pilot Program operating period, plus one scheduled test curtailment during the Pilot Program operating period with any single event lasting from 1 to 4 hours. Thus, a participant could receive a maximum of 5 calls for a total of up-to 20 curtailed hours per program period. The contract could be terminated by either party without penalty.  Additionally, TNMP requested consent from each program participant during enrollment in the Pilot Program to provide notice to the enrolling participant's retail electric provider of 1) that participant’s enrollment and 2) each deployment of the participant's load curtailment during the Pilot Program. Both of the participants consented to such notice. Consequently, each participant’s retail electric provider was notified of the participant’s enrollment and load curtailment under the Pilot Program.

Further, critical load and customers participating in other load management programs, such as ERS were ineligible. Load curtailment resulting in negative environmental or health effects were also ineligible. No participant’s load that was curtailed due to operational inability was eligible either. These restrictions did not preclude the use of self-generation in compliance with applicable environmental and health and safety laws.

A four-hour test event per participant was conducted. The first occurred on January 5, 2022, from 10:00 AM to 2:00 PM and the other occurred on January 5, 2022, from 4 PM to 8 PM.  During the Pilot Program’s operation period, no actual EEA-2 events were called. As stated previously, TNMP’s Pilot Program was available during the winter storm Landon February 1-9, 2022. After performing the scheduled tests, 16 hours per participant were available for curtailment.

Per the Pilot Program, both participants were paid for the verified curtailed loads performed during their respective test events.   As the Pilot Program only provides incentives for actual performance, and both participants were enrolled at the beginning of the program (and not added post 1/1/22), there was no basis for proration of payments to either participant.  Both participants’ incentive payments were processed by April 15, 2022.

# Comparison To Expedited Petition Initial Request

The implemented Pilot Program differed in some respects from the program originally contemplated by TNMP in the Expedited Petition referenced above. Those differences are largely due to the settlement discussions in Docket No. 52689 as reflected in the Revised Settlement filed on December 1, 2021.   The material adjustments, as implemented in the actual Pilot Program, were:

- Start date- Due to regulatory and other delays, TNMP initiated the Pilot Program on January 1, 2022, instead of December 1, 2021 as originally contemplated.

- Incentive Price- TNMP committed to a $40 per kw incentive price and applied that to its Pilot Program.

- Ineligible load curtailment- TNMP confirmed that any load curtailment that will result in negative environmental or health effects and any load curtailed due to operational inability were not eligible to participate. However, participants were not precluded from using self-generation that was compliant with applicable environmental and health and safety laws.  These provisions were applied to TNMP’s Pilot Program as they have been in prior load management programs.

- Notice to REPs- During enrollment, TNMP requested consent from Pilot Program participants to notify the participating customer's retail electric provider of that participant's enrollment in the Pilot Program and any deployment of the participant’s load curtailment. TNMP provided notice to a consenting participant’s retail electric provider within 3 business days of the participant’s enrollment. Additionally, notice of the consenting participant’s deployment of load curtailment was provided to the retail electric provider as well following the test event.

# Program Justification

In enacting Tex. Utility Code §38.075, the Legislature acknowledged the value of load management programs by authorizing a transmission and distribution utility to design and operate a load management program for nonresidential customers and recover the reasonable and necessary costs of such programs. TNMP’s Pilot Program achieved 1.054 MW savings for the incentive of $40 per kW.  Consequently, for only $42,179.60 the Pilot Program achieved tangible savings. Even with the short time for outreach, the Pilot Program demonstrates that affordable savings can be produced by a winter load management program.

# Lessons Learned

TNMP believes that early certainty as to goals and terms would greatly aid in the implementation of future load management programs. Certainly, with advanced knowledge, a utility would be able to more efficiently conduct outreach and permit potential participants to evaluate the offered program. Implementing internal process would also benefit from early program clarity.

## Program Design

- Goals & budget- Early establishment of program goals and terms would be beneficial.  Given the low number of participants for the 2022 winter Pilot Program, goals should remain conservative until outreach matures and participation demonstrates growth.

- Program operating hours/time periods-

  - During the 2022 Pilot Program, operations 24 hours/7 days a week was successful. More maturity of internal process may be required if participation expands.

  - One consideration is whether load management should be implemented as year-round program.

- Industrial Opt-outs- While industrial opt-outs are excluded from energy efficiency load management programs, should industrials who have opted out of energy efficiency be specifically included in non-energy efficiency load management programs.

- Energy Efficiency Load Management-  Need to determine whether year-round load management should be included in the energy efficiency portfolio.

- Incentive levels- Given the small sample size for the 2022 winter Pilot Program, TNMP believes more analysis is needed to determine whether the incentive payment level should be adjusted.

- Number of events- Similarly, given the small sample size for the 2022 winter Pilot Program and the lack of an EEA-2 event, TNMP believes more analysis is needed to determine whether an adjustment to the number of events is warranted.

## Operational

- Program outreach – TNMP believes earlier outreach is beneficial, but such efforts depend upon clarity surrounding goals and scope for the particular program year.

- ERCOT MOU Revision- The existing Memorandum Of Understanding with ERCOT and each TDU should be revised to better coordinate sharing information on enrollment and deployments under the program.

- REP Notification- Identify single point of contact for each REP so that participant-authorized notifications are efficiently received.

# Next Steps and Opportunities to Address

As the Commission proceeds with establishing a rule on load management, TNMP believes certain “next steps” are necessary to proactively prepare for any load management program addressing the future 2022-2023 winter period:

- Depending on rulemaking and determination of whether or not to include in energy efficiency:

  - Establish budget and goals prior to contracting for 2023

  - Perform outreach in advance of program start date

  - Revise ERCOT MOU establishing the sharing of participant enrollment and deployment of program

  - Review measurement and verification calculations in the TRM for possible edit/update effective in 2023

# Conclusion

TNMP believes that the past winter 2022 Pilot Program was successful in demonstrating cost-effective curtailment opportunities during the winter and provides some empirical data for consideration in the anticipated the rulemaking on future load management programs.   TNMP looks forward to participating in future PUCT rulemaking to establish load management program criteria and goals. The Commission’s time and attention to these matters is greatly appreciated.

Respectfully submitted,

/s/ Scott Seamster

Scott Seamster

State Bar No. 00784939

Associate General Counsel

Texas-New Mexico Power Company

577 N. Garden Ridge Blvd.

Lewisville, Texas 75067

Tel:   214.222.4143

Fax.: 214.222.4156

scott.seamster@pnmresources.com

Tex. Util. Code §38.075.

Id.

Expedited Petition of Centerpoint Energy Houston Electric, LLC., AEP Texas, Inc., and Texas-New Mexico Power Company for Approval of Interim Load Management Programs For Nonresidential Customers And For An Accounting Order, Docket No. 52689; Oct. 8, 2021; Item 1; Expedited Petition.

Id.

Expedited Petition of Centerpoint Energy Houston Electric, LLC., AEP Texas, Inc., and Texas-New Mexico Power Company for Approval of Interim Load Management Programs For Nonresidential Customers And For An Accounting Order, Docket No. 52689; Dec. 1, 2021; Item 35; Revised Settlement Agreement.

Expedited Petition of Centerpoint Energy Houston Electric, LLC., AEP Texas, Inc., and Texas-New Mexico Power Company for Approval of Interim Load Management Programs For Nonresidential Customers And For An Accounting Order, Docket No. 52689; Dec. 1, 2021; Item 39; Final Order.

Expedited Petition of Centerpoint Energy Houston Electric, LLC., AEP Texas, Inc., and Texas-New Mexico Power Company for Approval of Interim Load Management Programs For Nonresidential Customers And For An Accounting Order, Docket No. 52689; Dec. 1, 2021; Item 35; Revised Settlement Agreement.