# Oncor Electric Delivery Company LLC

# 2021-2022 Winter Commercial Load Management Pilot

# Report

## Background

Oncor Electric Delivery Company LLC (“Oncor”) launched the Winter Commercial Load Management Program Pilot (“Program”) in November 2021. The Program was developed pursuant to 16 TAC §25.181 and provides emergency load reduction resources during the months of December, January, and February. Oncor introduced the Program as part of the energy efficiency portfolio to ensure consistency with other energy efficiency programs, and provide a consistent framework for Commission oversight. The Program began as a pilot, with the intent of expanding to a year round, 24 hours a day, 7 days a week standard offer program.

The Program template was published in the Energy Efficiency Implementation Project (“EEIP”) docket number 38578. Notice was sent to the EEIP list serve, followed by a 14-day comment period.  No comments were received during the comment period. The Program follows the kW and kWh savings reduction calculations outlined in the Texas Technical Reference Manual (TRM) and is subject to the same cost-effectiveness and evaluation requirements as other programs in the energy efficiency portfolio.

## Program Design

| Design Parameter | Metric |
| --- | --- |
| Period | December through February with savings claimed in program ending year. |
| Operational Hours* | 24 hours per day / 7 days a week |
| Notice | 30 Minutes |
| Minimum Load | 100 kW |
| Eligible Participants | Commercial customers, REPs, aggregation groups |
| Scheduled Events | 1 to 2 – During peak period |
| Events / Duration* | 6 events of no more than 12 hours each |
| Performance Requirement* | 90% performance across all events |
| Budget | $2 Million |
| Goal | 50 MW |
| Incentive | $40 / kW |
| Restrictions | No critical load or ERS participants |
| Regulatory Orders | Notice is provided to Customer’s REP of record of the following: - Enrollment to the program - Deployment of load curtailment |

*Unique to the Winter Program

## Program Results

| Metric | Results |
| --- | --- |
| No. of ESIIDs Enrolled | 34 |
| No. of Service Providers in Program | 4 |
| Actual kW Savings | 35 MW |
| Actual kWh | 104 MWh |
| Incentive Paid | $1,388,879 |
| Customer Type(s) | Industrial Retail Big Box Distribution and Warehouse |
| Test Event Conducted | One event - December 15, 2021 7 – 10 AM |
| EEA Events Called | None - Program was available during Winter Storm Landon in early 2022. |
| Notice Provided to Customer’s REP of Record | Yes |
| Payment Made | Yes |
| Evaluated by PUCT State Evaluator | Yes |
| Late Enrollments in Program | Late enrollments are not permitted in the program |

## Opportunities for Evaluation and Improvement

### Program Design

- Continue to evaluate number of events and incentive levels.

- Identify whether the Program should be split into multiple segments based on time of day.

- Determine whether EECRF industrial opt-outs are eligible to participate.

- Evaluate whether critical load customers with backup generation are eligible to participate.

- Consideration on the feasibility of expanding the Summer Commercial Load Management to a 24 hour, 7 day program similar to the Winter Program.

### Operational

- Temperatures in December vary dramatically and test events may not occur in warmer or cooler conditions.

- Some commercial premises have generator non-emergency operational restrictions in the morning.

- Identify the operational availability of businesses that are closed during the peak hours as defined in the Texas TRM.

- Timing of the Program outreach efforts will need to be evaluated as synergies may be available in recruiting commercial participants for both summer and winter season.

- Continuous coordination with ERCOT to avoid double participation in Oncor and ERCOT ERS programs.

- Continuous review of participant information against critical load lists within Oncor to ensure that said ESIIDs are not enrolled in the program.

- Continuous improvement of Oncor’s internal notification process for test events and EEA 2 level events.

- Alignment of program modifications based on evaluation by Commission and Evaluator.