## Slide 1
Texas-New Mexico Power
Interim Load Management Pilot Program
June 1, 2022
Notes: Change the Dates here

## Slide 2: Background
6/8/21 – the Governor of Texas signed SB3 into law which requires the Commission to allow a TDU to design and operate a commercial load management program to be used when ERCOT declares EEA2 or higher level of emergency, and the TDU shall be permitted to recover the cost.
10/8/21 – the Joint TDUs (AEP, CNP & TNMP) filed an expedited petition with the Commission to design, operate, and record a regulatory asset for costs of operation for the Interim Load Management Programs in Docket No. 52689 in two phases.
Phase one is to provide approval of said design and operation for the upcoming winter season (Dec 1 – Feb 28). Phase two would entail the formal rulemaking that is scheduled to begin in 2022 to address future load management programs.
11/1/21 – In response to Order No. 2 of Docket No. 52689, the Joint TDUs filed program overviews inclusive of program goals, budgets, eligibility, structures, savings verification, application process, and incentive payments.
12/1/21 – a revised settlement agreement was filed
1/12/22 – an Order was issued approving accounting treatment for recovery and instructing communication with ERCOT

## Slide 3: Program Design
Design Parameter | Metric
Period | January 1 – February 28, 2022
Operational hours | Up-to 24 hours a day / 7 days a week
Notice | 30 minutes
Minimum load | 100 kW
Eligible participants | Nonresidential customers, energy service companies, aggregation groups and retail electric providers
Events / Duration | 5 events (including 1 scheduled test) of 1 - 4 hours each
Budget | $60,000
Goal | 1.5 MW
Incentive | $40 / kW
Restrictions | No critical load or ERS Participants
Measurement and Verification | Savings calculated in accordance with the Texas Technical Reference Manual (TRM)

## Slide 4: Results
Two participants submitted 21 sites
  REPs were notified of enrolling customers
Actual accounts included a school district and an industrial customer
One test event per participant was held
  1/5/22 from 10 am – 2 pm
  1/5/22 from 4 pm – 8 pm
  REPs were notified of deployments
No actual emergency events were called, but the program was available during winter storm Landon February 1-9, 2022
 | Goal | Actual
Load Reduction | 1.5 MW | 1,054.49 MW
Budget | $60,000 | $42,179.60

## Slide 5: Lessons Learned / Opportunities to Address
Program Design
  Should the program be part of TNMP’s energy efficiency portfolio
  Determine whether industrial opt-outs are eligible to participate
  Continue to evaluate the number of events and incentive levels
Operational
  Consider expanding to 24 hours a day /7 days a week /365 days a year
  Evaluate the process of noticing REPs of customer enrollment and deployment of the program

## Slide 6: Next Steps
Provide a postmortem to Commission Staff in preparation for Phase two (formal rulemaking scheduled to begin in 2022 to address future load management programs)
Determine whether or not to include in energy efficiency portfolio
Depending on rulemaking and determination of whether or not to include in energy efficiency:
  Establish budget and goals prior to contracting for 2023
  Perform outreach in advance of program start date
  Revise ERCOT MOU establishing the sharing of participant enrollment and deployment of program
  Review measurement and verification calculations in the TRM for possible edit/update effective in 2023

## Slide 7: Thank you