TO:		Ian Groetsch, Attorney

Legal Division

FROM:	Patricia Garcia, Infrastructure Analysis Section Director

Infrastructure Division

DATE:	October 13, 2022

RE:	Docket No. 52797 – Application of Conroe Resort Utilities, LLC and Undine Development, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Montgomery County

1.	Introduction

On November 8, 2021, Undine Development, LLC (Undine Development) and Conroe Resort Utilities, LLC (Conroe Resort) filed an application for a public interest determination for a transaction to transfer facilities and certificate rights in Montgomery County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.  The application will be amended to substitute Undine Texas, LLC (Undine Texas) and Undine Texas Environmental, LLC (Undine Texas Environmental) as the purchasing utilities.  Collectively, I refer to Undine Texas, Undine Texas Environmental, and Conroe Resort as the Applicants.

Undine Texas, water certificate of convenience and necessity (CCN) No. 13260, seeks approval to acquire facilities and to transfer all of the water service area and customers from Conroe Resort under water CCN No. 11942.

Undine Texas Environmental, sewer CCN No. 20816, seeks approval to acquire facilities and to transfer all of the sewer service area and customers from Conroe Resort under sewer CCN No. 20638.

The area to be transferred is the entire certificated water and sewer service areas of Conroe Resort.  Conroe Resort’s certificated water and sewer service areas completely overlap; cover approximately 282 acres; and include approximately 294 water customer connections and 289 sewer customer connections.

2.	Notice

Undine Development provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was February 28, 2022; there were 27 protests received and one intervenor, the Office of Public Utility Counsel.  Undine Texas and Undine Texas Environmental provided notice to customers on August 16, 2022.    The deadline to intervene was September 16, 2022.  There were 6 protests received.  Notice was deemed sufficient by the administrative law judge on September 27, 2022.

3.	Factors Considered

Under TWC § 13.301(e) and 16 TAC § 24.239(h), the Commission must consider certain factors when granting or amending a water or sewer CCN.  These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

Conroe Resort has a Texas Commission on Environmental Quality (TCEQ) approved public water system (PWS) registered as Conroe Resort, PWS ID No. 1700416 and an approved wastewater treatment plant (WWTP) registered as Del Lago WWTP, Wastewater Discharge Permit No. WQ 0012493-001.  The last TCEQ compliance investigation of the Conroe Resort system was on June 8, 2021.  Two violations or concerns were noted as a result of that investigation and have since been resolved.  The Commission’s complaint records, which date back to 2017, show no complaints against Conroe Resort.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

The transaction will transfer the PWS to Undine Texas and the WWTP to Undine Texas Environmental.  Customers are currently receiving water service from Conroe Resort’s PWS and WWTP in the requested areas.  The application states that Conroe Resort did not have any pending requests for service in the requested areas.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

Undine Texas and Undine Texas Environmental will be the certificated entities for the requested areas and be required to provide continuous and adequate service to the requested area.

There will be no change to landowners in the affected areas because Undine Texas and Undine Texas Environmental will be acquiring Conroe Resort’s existing systems serving those areas.

There will be no effect on any retail public utility servicing the proximate area.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

TCEQ rule, 30 TAC § 290.46(e), Minimum Acceptable Operating Practices for Public Drinking Water Systems, requires the operation of a PWS by trained and licensed personnel.  The production, treatment, and distribution facilities of a PWS must be operated at all times under the direct supervision of a water works operator who holds an applicable, valid license issued by the TCEQ executive director.  The licensed operator of a public water system may be an employee, contractor, or volunteer.  Undine Texas will have qualified TCEQ licensed operators licensed in water to run the acquired systems.

TCEQ rule, 30 TAC §30.331(b), Wastewater Operators and Operations Companies, requires the operators of a domestic wastewater treatment facility to have a valid license issued by the TCEQ executive director.  Undine Texas Environmental will have qualified TCEQ licensed operators licensed in wastewater treatment to run the acquired systems.

Undine Texas and Undine Texas Environmental have the managerial and technical ability to provide adequate service in the requested area.  Undine Texas has many TCEQ-approved PWS.  Undine Texas Environmental has many TCEQ-approved WWTPs.  The Commission’s complaint records, which date back to 2017, show 100 informal complaints against Undine Texas and no informal complaints against Undine Texas Environmental.  All the complaints have been closed by the Commission’s Customer Protection Division.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Undine Texas and Undine Texas Environmental to serve the requested areas.  Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

Conroe Resort is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers because new facilities would need to be constructed.  At a minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service.

The Rate Regulation Division is addressing this factor in a separate memo and has concluded that Undine Texas and Undine Texas Environmental have the necessary financial ability.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided.

The Rate Regulation Division is addressing this factor in a separate memo and has concluded that a bond or other financial assurance is not needed.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested areas.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

If the transaction occurs, I expect that service will improve and costs to customers (consumers) will be lower compared to service and costs if the transaction does not occur.  Undine Texas and Undine Texas Environmental are large utilities.  This scale gives them the ability to operate their systems and comply with regulatory requirements more efficiently than smaller utilities.

As originally filed, the Conroe Resort systems and service areas proposed for acquisition would have become a part of Undine Development.  Undine Development is a much smaller utility than Undine Texas and Undine Texas Environmental, has higher rates, and a pending application for approval of a system improvement charge that would substantially increase rates to customers of its currently owned system.

As shown in Attachment 1 of my memorandum, Undine’s evaluation shows that the Conroe Resort systems needs extensive water and sewer capital upgrades.  As a result, if Conroe Resort were not acquired, the current owner would need to make upgrades and those upgrades would support a substantial increase of Conroe Resort’s rates.  Attachment 2 of my memorandum shows Undine Texas’ and Undine Texas Environmental’s financial projections using Conroe Resort’s rates and Undine Texas’ and Undine Texas Environmental’s phased-in rates that were approved by the Commission in their last comprehensive rate case, Docket No. 50200.  Attachment 2 shows that with the upgrades, Conroe Resort would operate at a substantial loss without a rate increase; the “Historic Rates” column projects that Conroe Resort would have net income of negative $654,603 per year and a negative 8.90% return on investment.  Attachment 2 also shows projections for Undine Texas and Undine Texas Environmental using their phased-in rates; those projections show a negative 1.80% return on investment in year one and only a 2.05% return on investment after the rates are fully phased in.  That rate of return of 2.05% compares to the authorized rate of return of 6.7% approved in their last comprehensive rate case.

Attachment 3 of my memorandum are excerpts from the tariffs of Undine Texas and Undine Texas Environmental that were in force when the application in this docket was filed on November 8, 2021.  Attachment 4 of my memorandum is a comparison of the rates of Conroe Resort, Undine Development, and Undine Texas and Undine Texas Environmental at the monthly comparison usage levels of 2,000, 5,000, and 10,000 gallons.  This comparison shows that the charges of Undine Texas Environmental are below those of Undine Development for all phases for all levels of sewer usage which is a flat fee for all phases.  Sewer usage is typically based on a winter’s month average of water usage as it is not possible to meter sewer usage from each customer.  Using a flat rate for sewer utility charges benefits customers who use more as they will end up paying less per gallon of usage.  The charges of Undine Texas are below those of Undine Development for Phase 1 at all levels of water usage.  At higher water usage, Phases 1 & 2 rates are lower for Undine Texas.  The monthly charge for phase 3 water rates is $3.45 more for 5,000 gallons than Undine Development’s charge for that volume, but Undine Texas Environmental’s charge for phase 3 sewer rates at that volume is $55.00 lower than Undine Development’s comparable charge.  The sewer usage rates are less for Undine Texas Environmental Attachment 5 of my memorandum shows usage characteristics of Conroe Resort customers, including average monthly usage of 6,408 gallons.  Attachment 5 compares the monthly charge at a usage of 6,408 gallons for a customer with a 3/4" meter and shows lower charges for Undine Texas and Undine Texas Environmental than Undine Development.  Because of the different rate designs, customers of Undine Texas and Undine Texas Environmental pay more than customers of Undine Development at low usage levels.  Customers of the Conroe Resort system will benefit from a phase-in of rates with the acquisition of the systems by Undine Texas and Undine Environmental whereas the rates of Undine Development have no phase-in of rates.

It is important to note that the rates, including the rate design, for Undine Texas and Undine Texas Environmental were recently approved by the Commission in a comprehensive rate case, Docket No. 50200, on November 5, 2020, whereas the Undine Development system has not been subject to a comprehensive rate case at the Commission.  In addition, Undine Development has a pending proposal for large system improvement charges of $47.81 for water and $85.23 for sewer for a 3/4” meter.  These charges would not apply to customers served by the Conroe Resort systems but could potentially be included in consolidated rates in the future for all systems owned by Undine Development.  A concern that I have is that Undine Development currently owns only one system, in Travis County (Austin area), serving approximately 223 connections that has much different cost characteristics than the Conroe Resort systems, which are in Montgomery County (Houston area).  The Conroe Resort water and sewer systems are a better fit for Undine Texas and Undine Texas Environmental, which already own systems in the Houston area and have consolidated rates for a large number of systems with over 10,000 connections.  This better fit will likely result in lower rates in the long run for customers of the acquired systems.

The Applicants meet all of the applicable statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules.  Approving this application is in the public interest and necessary for the service, accommodation, convenience and safety of the public.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction.  There are deposits held by Conroe Resort for the customers being served by Conroe Resort Water and Sewer Systems.  I further recommend that a public hearing is not necessary.

Order No. 7. Finding Notice Sufficient and Establishing Procedural Schedule (Mar. 25, 2022).

Application of Undine Texas, LLC and Undine Texas Environmental, LLC for Authority to Change Rates, Docket No. 50200 (Nov. 5, 2020).

Since the filing of the application in the current docket, Undine Texas filed an application for a pass-through rate change for three subdivisions it serves.  Application of Undine Texas, LLC for a Pass Through Rate Change, Tariff Control No. 53209 (pending).