TO:		John Harrison, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	January 14, 2022

RE:	Docket No. 52852 – Application of Terra Southwest, Inc. and Undine Development, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Denton County

On November 16, 2021, Undine Development, LLC (Undine) and the Terra Southwest, Inc. (Terra Southwest) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Denton County, Texas, under Texas Water Code (TWC) §§ 13.301 and 16 Texas Administrative Code (TAC) §§ 24.239.

Specifically, Undine, certificate of convenience and necessity (CCN) No. 12407, seeks approval to acquire facilities and to transfer all of the water service area from Terra Southwest under water CCN No. 11608.  The requested area includes 867 current customers and approximately 1,339.4 acres, comprised of:

0.4 acres of uncertificated area;

1,321 acres of transferred area from CCN No. 11608; and

18 acres of dual certificated area with CCN No. 11202.

The result of the application will be the addition of approximately 1,339.4 acres to Undine, CCN No. 12407, and the subtraction of approximately 1,321 acres from Terra Southwest, CCN No. 11608.

Approximately 1,321.4 acres will be single certification with Undine, CCN No. 12407; and 18 acres will be dually certificated between Undine, CCN No. 12407, and the Town of Little Elm, CCN No. 11202.

The application indicates that the total acreage being requested is approximately 1,326 acres.  Based on the mapping review by Tracy Montes, Infrastructure Division, it was determined the requested area is approximately 1,339.4 acres.

Based on the mapping review by Tracy Montes, Infrastructure Division, maps submitted on November 16, 2021 and the revised maps and digital data submitted on December 13, 2021 are sufficient.  Based on my technical and managerial review of the information filed, I recommend that the application be deemed administratively complete. I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Aqua Texas Inc (CCN No. 13201)

- City of Denton (CCN No. 10195)

- City of Lake Dallas

- City of Lakewood Village (CCN No. 10201)

- City of Oak Point

- City of Shady Shores

- Cole Ranch Improvement District 1

- Denton County Fresh Water Supply District (FWSD) 8A (CCN No. 13018)

- Denton County FWSD 11-B

- Denton County Municipal Utility District (MUD) 4

- Denton County MUD 5

- Denton County MUD 8

- Knob Hill Water System (CCN No. 11414)

- Lake Cities Municipal Utility Authority (CCN No. 10166)

- Last Resort Properties (CCN No. 12503)

- Lone Star Water Company (CCN No. 13279)

- Mustang Special Utility District (CCN No. 11856)

- Northlake Municipal Management District 2

- Oak Point Water Control Improvement District (WCID) 1

- Oak Point WCID 2

- Oak Point WCID 3

- Oak Point WCID 4

- Patterson Water Supply LLC (CCN No. 13248)

- Town of Dish

- Town of Hackberry (CCN No. 12015)

- Town of Little Elm (CCN No. 11202)

- Town of Northlake (CCN No. 12915)

- Town of Ponder (CCN No. 12951)

- Undine Development LLC (CCN No. 12407), Pending Docket 52852

- Upper Trinity Regional Water District

- Valencia on the Lake WCID

  - The county judge of each county that is wholly or partially included in the requested area:

- Denton County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- North Texas Groundwater Conservation District

  - Each owner of a tract of land that is at least 25 acres and is wholly or partly located in the requested area. Notice must be mailed to the owner of the tract of land according to the most current tax appraisal rolls of the applicable central appraisal district at the time the application was filed.

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Provide notice using the attached notice form(s).

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, landowners and customers.

- File in the docket copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, and the date that the notice was provided.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to Undine and Terra Southwest.  Undine and Terra Southwest will have 20 days from the receipt of the RFI to respond.