TO:		John Harrison, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	February 28, 2022

RE:	Docket No. 52852 – Application of Terra Southwest, Inc. and Undine Development, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Denton County

On November 16, 2021, Undine Development, LLC (Undine) and the Terra Southwest, Inc. (Terra Southwest) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Denton County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237 and § 24.239.

Specifically, Undine, certificate of convenience and necessity (CCN) No. 12407, seeks approval to amend its CCN to add uncertificated area and to acquire facilities and transfer all of the water service area from Terra Southwest under water CCN No. 11608.  The requested area includes 867 current customers and approximately 1,339.4 acres, comprised of:

0.4 acres of uncertificated area;

1,321 acres of transferred area from Terra Southwest, CCN No. 11608; and

18 acres of dual certificated area with Town of Little Elm, CCN No. 11202.

The result of the application will be the addition of approximately 1,339.4 acres to Undine, CCN No. 12407, and the subtraction of approximately 1,321 acres from Terra Southwest, CCN No. 11608.

Approximately 1,321.4 acres will be single certification with Undine, CCN No. 12407; and 18 acres will be dually certificated between Undine, CCN No. 12407, and the Town of Little Elm, CCN No. 11202.

The application indicates that the total acreage being requested is approximately 1,326 acres.  Based on the mapping review by Tracy Montes, Infrastructure Division, it was determined the requested area is approximately 1,339.4 acres.

Based on the mapping review by Tracy Montes, Infrastructure Division, maps submitted on November 16, 2021, and the revised maps and digital data submitted on December 13, 2021, were deemed sufficient.

Based the review of the maps by Ms. Montes, and my review of the notices, affidavits, and lists of those notice was provided to filed on February 3, 2022, and February 17, 2022, I recommend that the notice documentation be deemed insufficient due to notice not being sent to two entities and because published notice is required due to the uncertificated area being requested in the docket.  I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

- Cole Ranch Improvement District 1

- Denton County MUD 8

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Publish notice in a newspaper having general circulation in the county where the requested area is located, once each week for two consecutive weeks. Proof in the form of a publisher’s affidavit must be filed within 30 days of the publication date. The affidavit must state with specificity each county in which the newspaper is of general circulation. Within 30 days of the date the notice was mailed, Undine must file an affidavit specifying the notice that was provided to every person and entity to whom notice was provided and the date the notice was mailed.

- Provide notice using the attached notice form(s).

- Provide a copy of the map(s) filed on November 16, 2021 and December 13, 2021 that were deemed sufficient during administrative review, identifying the requested areas with each individual notice to utilities listed under Item No. 1 above.

- File in the docket copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, the date that the notice was provided, and the publisher’s affidavit and tear sheets for proof of newspaper publication.