TO:		Ian Groetsch, Attorney

Legal Division

FROM:	Patricia Garcia, Infrastructure Analysis Section Director

Infrastructure Division

DATE:	November 16, 2022

RE:	Docket No. 52852 – Application of Terra Southwest, Inc. and Undine Development, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Denton County

1.	Introduction

On November 16, 2021, Undine Development, LLC (Undine Development) and the Terra Southwest, Inc. (Terra Southwest) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights and dual certification with the Town of Little Elm (Little Elm) in Denton County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237 and § 24.239.  The application will be amended to substitute Undine Texas, LLC (Undine Texas) as the purchasing utility.  As a result, my evaluation assumes that Undine Texas will be the acquiring entity of the water service area, facilities, and customers.  I refer to Undine Texas and Terra Southwest as the Applicants.

Specifically, Undine Texas, certificate of convenience and necessity (CCN) No. 13260, seeks approval to amend its CCN to add uncertificated area and to acquire facilities and transfer all of the water service area from Terra Southwest under water CCN No. 11608.  Additionally, Undine Texas is requesting dual certification with a portion of Little Elm’s certificated service area under water CCN No. 11202.

Based on the mapping review by Tracy Montes, Infrastructure Division:

The requested area includes 867 current customers and approximately 1,339.4 acres, comprised of:

0.4 acres of uncertificated area;

1,321 acres of transferred area from Terra Southwest, CCN No. 11608; and

18 acres of dual certificated area with Town of Little Elm, CCN No. 11202.

The result of the application will be the addition of approximately 1,339.4 acres to Undine Texas, CCN No. 13260, and the subtraction of approximately 1,321 acres from Terra Southwest, CCN No. 11608.

Approximately 1,321.4 acres will be single certification with Undine Texas, CCN No. 13260; and 18 acres will be dually certificated between Undine Texas, CCN No. 13260, and the Town of Little Elm, CCN No. 11202.

The application indicates that the total acreage being requested is approximately 1,326 acres.  Based on the mapping review by Tracy Montes, Infrastructure Division, it was determined the requested area is approximately 1,339.4 acres.

2.	Notice

Prior to notice being provided Central States Water Resources, Inc. (Central States Water Resources) submitted a motion to intervene.  Their request was denied by the Administrative Law Judge (ALJ) on December 7, 2021.  On May 3, 2022, Central States Water Resources submitted a renewed motion to intervene and motion to abate along with a District Court Judgement.  On May 12, 2022, the ALJ again denied the motion to intervene and motion to abate requested by Central States Water Resources.

Undine Development provided notice consistent with 16 TAC § 24.239(c).  The deadline to intervene was April 12, 2022; a customer filed a letter with comments in the docket but did not request to intervene or a hearing.  The customer is concerned about the rate increase being proposed by Undine Development after the transfer is complete.  The application amendment to substitute Undine Texas in place of Undine Development allows for a phased in rate.

The Administrative Law Judge determined additional notice was not necessary following the filing of the revised application making the substitution of Undine Texas as the applicant Undine Teas.

3.	Factors Considered

Under TWC §§ 13.241, 13.246, and 13.301 and 16 TAC §§ 24.11(e), 24.227, and 24.239, the Commission must consider certain factors when granting or amending a water or sewer CCN. These factors are addressed below.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1), 13.301(e)(3)(A); 16 TAC §§ 24.227(a) and (e)(1), 24.239(h)(3)(A), (h)(5)(A), and (h)(5)(I))).

Terra Southwest has a Texas Commission on Environmental Quality (TCEQ) approved public water system (PWS) registered as East Ponder Estates, PWS ID No. 0610161 and Hilltown Addition, PWS ID: 0610112.  The last TCEQ compliance investigation of the East Ponder Estates system was on July 1, 2019.  East Ponder Estates does not have any violations listed in the TCEQ database.  The Hilltown Addition system has active violations in the TCEQ database.  Undine Texas has indicated they will be making upgrades at the water system.  These upgrades will address the violations.

The Commission’s complaint records, which date back to 2017, show 41 informal complaints against Terra Southwest.  All the complaints have been closed by the Commission’s Customer Protection Division.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC §§ 24.227(e)(2) and 24.239(h)(5)(B)).

The purpose of the transaction is to transfer East Ponder Estates and Hilltown Addition to Undine Texas.  The customers are currently receiving water service from Terra Southwest’s water systems.  At this time, Terra Southwest does not have any additional requests for service in the requested area

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC § 13.246(c)(3), 16 TAC §§ 24.227(e)(3), 24.239(h)(5)(c)).

Undine Texas will be the certificated entity for the requested area and be required to provide adequate and continuous service to the requested area.

There will be no effect on landowners as the area is currently certificated.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC §§ 13.241(a) and (b), 13.246(c)(4); and 13.301(b) and (e)(2); 16 TAC §§ 24.227(a) and (e)(4), and 24.239(f) and (h)(5)(D)).

TCEQ rule, 30 TAC § 290.46(e), Minimum Acceptable Operating Practices for Public Drinking Water Systems, requires the operation of a public water system by trained and licensed personnel. The production, treatment, and distribution facilities at the public water system must be operated at all times under the direct supervision of a water works operator who holds an applicable, valid license issued by the TCEQ executive director. The licensed operator of a public water system may be an employee, contractor, or volunteer.  Undine Texas will have qualified TCEQ licensed operators licensed in water to run the system operations.

Undine Texas has the managerial and technical ability to provide adequate service in the requested area.  Undine Texas has many TCEQ approved PWS.  The Commission’s complaint records, which date back to 2017, show 100 informal complaints against Undine Texas.  All the complaints have been closed by the Commission’s Customer Protection Division.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

The construction of a physically separate system is not necessary for Undine Texas to serve the requested area. Therefore, concerns of regionalization or consolidation do not apply.

3.6	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC §§ 24.227(e)(5) and 24.239(h)(5)(E)).

Terra Southwest is currently serving customers and has sufficient capacity.  Obtaining service from an adjacent retail public utility would likely increase costs to customers even more than what is proposed in this application because new facilities will need to be constructed.  At the minimum, an interconnect would need to be installed in order to connect to a neighboring retail public utility.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC §§ 13.246(c)(6) and 13.301(b); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e), and 24.239(f) and (h)(5)(F)).

The Rate Regulation Division is addressing this factor in a separate memo and has concluded that Undine Texas has the necessary financial ability.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(f), 24.239(f)).

The Rate Regulation Division is addressing this factor in a separate memo and has concluded that a bond or other financial assurance is not needed.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC §§ 24.227(e)(7) and (9) and 24.239(h)(5)(G)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC §§ 24.227(e)(8), 24.239(h)(5)(H)).

If the transaction occurs, I expect that service will improve and costs to customers (consumers) will be lower compared to service and costs if the transaction does not occur.  Undine Texas is a large utility.  This scale gives them the ability to operate their systems and comply with regulatory requirements more efficiently than smaller utilities.

As originally filed, the Terra Southwest public water system and service area proposed for acquisition would have become a part of Undine Development.  Undine Development is a much smaller utility than Undine Texas, has higher rates, and a pending application for approval of a system improvement charge that would substantially increase rates to customers of its currently owned system.

As shown in Attachment 1 (confidential) of my memorandum, Undine Texas’s evaluation shows the extensive water capital upgrades at the two water treatment plants being acquired in this application.  As a result, if Terra Southwest is not acquired, the current owner will need to make upgrades and those upgrades would support a substantial increase of Terra Southwest’s rates if it remains a standalone utility.  Attachment 2 (confidential) of my memorandum shows Undine Texas’s financial projections using Terra Southwest’s rates and Undine Texas’s phased-in rates that were approved by the Commission in their last comprehensive rate case, Docket No. 50200.  Attachment 2 shows that with the upgrades, Terra Southwest would operate at a substantial loss without a rate increase.   It is important to note the authorized rate of return of 6.7%  was approved in Undine Texas’s last comprehensive rate case.

Attachment 3 of my memorandum includes the rate page of the tariff of Undine Texas that was in force when the application in this docket was filed on November 16, 2021.  Attachment 4 of my memorandum is a comparison of the rates of Terra Southwest, Undine Development, and Undine Texas at the standard monthly comparison usage levels of 5,000 gallons and 10,000 gallons.  This comparison also provides a comparison of the rates at a low usage of 2,000 gallons.  The worksheet shows that the charges of Undine Texas are below those of Undine Development at those usage levels for phases 1 and 2.  Undine Texas’ monthly charge for phase 3 water rates is $5.75 more for 2,000 gallons and lower for usage of 5,000 gallons and 10,000 gallons than Undine Development’s charge for those volumes.  Phase 3 would be implemented 3 years after the purchase is complete.  By that time, Undine Development may have higher rates due to a new rate being approved by the Commission.  Because of the different rate designs, customers of Undine Texas pay more than customers of Undine Development at low usage levels for phase 3.  Customers of the Terra Southwest system will benefit from a phase-in of rates with the acquisition of the systems by Undine Texas whereas the rates of Undine Development have no phase-in of rates.

It is important to note that the rates, including the rate design, for Undine Texas was recently approved by the Commission in a comprehensive rate case, Docket No. 50200, on November 5, 2020, whereas the Undine Development system has not been subject to a comprehensive rate case at the Commission.  In addition, Undine Development has a pending proposal for large system improvement charge of $47.81 for water for a 3/4” meter.  These charges would not apply to customers served by the Terra Southwest system but could potentially be included in consolidated rates in the future for all systems owned by Undine Development.  A concern that I have is that Undine Development currently owns only one system, in Travis County (Austin area), serving approximately 223 connections that has much different cost characteristics than the Terra Southwest system, which is in Denton County (Dallas/Fort Worth area).  The Terra Southwest public water system is a better fit for Undine Texas, which already own systems in the Dallas/Fort Worth area and have consolidated rates for a large number of systems with over 10,000 connections.  This better fit will likely result in lower rates in the long run for customers of the acquired systems.

The Applicants meet all of the applicable statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules.  Approving this application is in the public interest and necessary for the service, accommodation, convenience and safety of the public.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. There are no deposits held by Terra Southwest for the customers being served by the East Ponder Estates and Hilltown Addition water systems.  I further recommend that a public hearing is not necessary.

Order No. 7. Finding Notice Sufficient and Establishing Procedural Schedule (Mar. 24, 2022).

Application of Undine Texas, LLC and Undine Texas Environmental, LLC for Authority to Change Rates, Docket No. 50200 (Nov. 5, 2020).

Since the filing of the application in the current docket, Undine Texas filed an application for a pass-through rate change for three subdivisions it serves.  Application of Undine Texas, LLC for a Pass Through Rate Change, Tariff Control No. 53209 (pending).