TO:		Arnett Caviel, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:	January 21, 2022

RE:	Docket No. 52880 – Application of Texas Landing Utilities and CSWR-Texas Utility Operating Company, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Polk and Montgomery Counties

On November 22, 2021, CSWR-Texas Utility Operating Company, LLC (CSWR Texas) and the Texas Landing Utilities (Texas Landing) (collectively, the Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Polk and Montgomery Counties, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, CSWR Texas, water Certificate of Convenience and Necessity (CCN) No. 13290 and sewer CCN No. 21120, seeks approval to acquire facilities and to transfer all of the water and sewer certificated service area from Texas Landing under water CCN No. 11997 and sewer CCN No. 20569.

The total requested water area includes 310 water customer connections and approximately 844 acres of transferred area from Texas Landing Utilities (CCN No. 11997) to CSWR (CCN No. 13290).

The total requested sewer area includes 119 sewer customer connections approximately 93 acres of transferred area from Texas Landing Utilities (CCN No. 20569) to CSWR (CCN No. 21120).

Based on the mapping review by Tracy Montes, of the Infrastructure Division, the small-scale maps (Attachment L) submitted with Item 14 on December 21, 2021, and the large scale maps (Attachment M) submitted with Item 15 on December 22, 2021 are sufficient. Based on my technical and managerial review of the information filed, I recommend that the application be deemed administratively complete. I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Aqua Texas Inc. (CCN Nos. 13203, 21065)

- C & R Water Supply Inc. (CCN Nos. 13098, 20987), Pending Docket 51040

- City of Cleveland (CCN No. 13217)

- City of Livingston

- Crystal Springs Water Company Inc. (CCN Nos. 11373, 20906), Pending Docket No. 52440

- Highline Oaks Water Utility (CCN No. 13006)

- Lake Livingston Water Supply Corporation (WSC) (CCN No. 10147), Pending Docket 50424

- Mercy WSC (CCN No. 11652)

- Monarch Utilities I LP (CCN Nos. 12983, 20899), Pending Docket 50424

- Pine Knob Estates Water (CCN No. 12948)

- Tempe WSC 1 (CCN No. 11579)

- Town of Cut and Shoot (CCN No. 11615)

- Undine Texas LLC (CCN No. 13260)

- Utilities Investment Company Inc. (CCN No. 12671)

- East Montgomery County Improvement District

- Memorial Point Utility District

- San Jacinto River Authority

- Trinity River Authority of Texas

  - The county judge of each county that is wholly or partially included in the requested area:

- Polk County Judge

- Montgomery County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Li Lone Star Groundwater Conservation District

- Lower Trinity Groundwater Conservation District

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Provide notice using the attached notice form(s).

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties and customers.

- File in the docket copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, the date that the notice was provided.