## Instructions
§25.52. -- Reliability and Continuity of Service.
http://www.puc.texas.gov/agency/rulesnlaws/subrules/electric/25.52/25.52.pdf
Application. This section applies to all electric utilities as defined by the Public Utility Regulatory Act (PURA) §31.002(6) and all transmission and distribution utilities as defined by PURA §31.002(19). The term "utility" as used in this section shall mean an electric utility and a transmission and distribution utility.
Public Utility Regulatory Act §31.002
http://www.puc.texas.gov/agency/rulesnlaws/statutes/Pura15.pdf
DEFINITIONS.
The term "Electric utility" does not include a municipally owned utility or an electric cooperative.
Information typed in highlighted cells will appear on following sheets.
Type Name of Utility in the Cell Below
Utility: |  | Xcel Energy
Type Total Number of Distribution Feeders in the Cell Below
Feeders: |  | 358
Due: |  | February 14, 2022
File: |  | Five Printed Copies and
One Electronic Copy of This Excel File
Project: |  | 52946
Address: |  | Attn: Filing Clerk
Public Utility Commission of Texas
P.O. Box 13326
Austin, Texas 78711-3326
If you have any questions, please contact:
David Smithson
Infrastructure & Reliability Division
Commission Staff
Voice: | 512 936 7156
Fax: | 512 936 7328
E-mail: | david.smithson@puc.texas.gov

## Cover
Service Quality Report
To The
Public Utility Commission of Texas
In Accordance With
Substantive Rule §25.81
2021 Reporting Year
Xcel Energy
Project 52946
.

## System-SAIFI
Xcel Energy
System SAIFI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2021 | 0.74174 | 0.061761 | 0.092332 | 0.066368 | 0.046764 | 0.095569 | 0.097508 | 0.064444 | 0.043915 | 0.046596 | 0.029933 | 0.021736 | 0.074811
Scheduled
2021 | 0.017834 | 0.00062315 | 0.00014307 | 0.00022392 | 0.00042443 | 0.00026182 | 0.0068541 | 0.0023999 | 0.0018392 | 0.0023092 | 0.0017641 | 0.00049971 | 0.00049143
Outside Causes
2021 | 0.17076 | 0.020707 | 0.03576 | 0.042683 | 0.015233 | 0.0092139 | 0.0091658 | 0.016097 | 0.0099969 | 0 | 0.0054223 | 0.0064848 | 0
Major Events
2021 | 0.75004 | 0 | 0.58462 | 0.14205 | 0 | 0 | 0 | 0.014169 | 0 | 0 | 0 | 0 | 0.0091962

## System-SAIDI
Xcel Energy
System SAIDI | Annual | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Forced
2021 | 84.0063 | 5.9177 | 10.7252 | 9.2416 | 3.798 | 11.3693 | 12.867 | 6.001 | 5.4689 | 4.3583 | 2.9285 | 2.1015 | 9.2292
Scheduled
2021 | 1.4597 | 0.17024 | 0.016775 | 0.02181 | 0.040907 | 0.041922 | 0.16431 | 0.19682 | 0.20751 | 0.21395 | 0.21898 | 0.10782 | 0.058713
Outside Causes
2021 | 16.971 | 4.7434 | 1.7039 | 2.3017 | 0.83392 | 2.2644 | 0.67692 | 1.2124 | 1.7844 | 0 | 0.83789 | 0.612 | 0
Major Events
2021 | 90.3396 | 0 | 36.1973 | 50.8034 | 0 | 0 | 0 | 1.4559 | 0 | 0 | 0 | 0 | 1.8831

## Feeder-SAIFI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 358
Add or Delete Rows as Necessary
Xcel Energy
2021 SAIFI Ranking | 2020 SAIFI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2021 SAIFI Value
1 | 159 | Dalhart | DALH116 | 48 | 14.1875
2 | 49 | Pringle | PRIN1E15 | 214 | 6.8318
3 | NA | White Deer | WHDR2C030 | 12 | 6
4 | 2 | Channing | CHAN1564 | 30 | 5.2333
5 | 119 | Lockney Rural | LOCRLA140 | 67 | 4.2537
6 | 41 | Channing | CHAN1568 | 61 | 3.9836
7 | 201 | Barwise | BARWIB140 | 93 | 3.5054
8 | 56 | Kingsmill | KING5110 | 249 | 3.4779
9 | 227 | Seminole Interchange | SEMX6E10 | 438 | 3.3174
10 | 238 | Springcreek | SPRI1320 | 121 | 3.2066
11 | 305 | Sunset | SUNS5D40 | 1525 | 3.1475
12 | 45 | East Plant | EPLAA110 | 951 | 3.0463
13 | 103 | Lipscomb | LPSB2580 | 1055 | 3.0227
14 | 132 | Carson County | CARS7030 | 162 | 2.9938
15 | 96 | Plant X | PLAXX310 | 672 | 2.8661
16 | 191 | Texas Farms | TXFA1125 | 197 | 2.7259
17 | 87 | Muleshoe West | MULWMR130 | 196 | 2.6684
18 | 68 | Lockney Rural | LOCRLA150 | 85 | 2.6235
19 | 165 | Farmers | FARM5395 | 1585 | 2.6221
20 | 323 | Dalhart | DALH1580 | 405 | 2.5679
21 | 203 | Yellowhouse | YELLLV900 | 23 | 2.5652
22 | 69 | Canyon West | CANW7128 | 899 | 2.4561
23 | 146 | Hastings | HAST7078 | 3502 | 2.4369
24 | 3 | Moore Co | MOORM065 | 957 | 2.4347
25 | 256 | Spring Draw | SPRD2C70 | 927 | 2.4164
26 | 31 | Allmon | ALLMAT120 | 702 | 2.3917
27 | 254 | Hastings | HAST7082 | 987 | 2.3637
28 | 214 | Tokio | TOKIS800 | 77 | 2.3636
29 | 158 | Happy | HAPP7040 | 405 | 2.3506
30 | 296 | Lynn | LYNN6340 | 630 | 2.3444
31 | 25 | Dumas 19th Street | DU191371 | 1275 | 2.3388
32 | 282 | Doss | DOSS6660 | 932 | 2.2854
33 | 162 | Wildorado | WILD2018 | 224 | 2.2545
34 | 169 | Aiken Rural | AIKRLA110 | 122 | 2.2377
35 | 20 | Herring | HERR1434 | 1195 | 2.2301
36 | 61 | Sherman County | SHER1452 | 51 | 2.1961
37 | 155 | Elwood | ELWOLV140 | 62 | 2.1935
38 | 154 | Lawrence Park | LAWR5030 | 1603 | 2.179
39 | 22 | Lockney Rural | LOCR3417 | 936 | 2.1635
40 | 112 | Allred | ALLRS140 | 90 | 2.1444
41 | 302 | Happy | HAPP2326 | 282 | 2.1241
42 | 81 | Brisco | BRIS3434 | 488 | 2.1148
43 | 26 | Buffalo | BUFF2215 | 468 | 2.0919
44 | 52 | Bowers | BOWE5090 | 131 | 2.0916
45 | 232 | Van Buren | VANB7048 | 349 | 2.0372
46 | 243 | Southeast | SOEA5C85 | 2728 | 2.0323
47 | 216 | Hendrick | HEND6685 | 1059 | 2.0076
48 | 57 | Pacific | PACILV940 | 73 | 1.9863
49 | 143 | Etter Rural | ETTR5405 | 626 | 1.9633
50 | 62 | Cherry | CHER5C10 | 1808 | 1.953
51 | 295 | Dalhart | DALH106 | 35 | 1.9143
52 | 224 | Flanagan | FLANS550 | 138 | 1.8406
53 | 106 | Tenneco | TENNS440 | 212 | 1.7689
54 | 123 | Moore Co | MOORM055 | 68 | 1.75
55 | 289 | Bennett | BENNS345 | 1080 | 1.7352
56 | 212 | Dumas 19th Street | DU191470 | 2154 | 1.7289
57 | 117 | Cedar Lake East | CEDES910 | 26 | 1.6923
58 | 8 | Roxana | ROXA2334 | 98 | 1.6837
59 | 161 | Bowers | BOWE2057 | 562 | 1.669
60 | 82 | Weatherly | WEAT1354 | 885 | 1.6497
61 | 64 | Plainview South | PLVSP210 | 141 | 1.6028
62 | 262 | Soncy | SONC7116 | 70 | 1.5714
63 | 177 | Kingsmill | KING5115 | 109 | 1.5688
64 | 72 | Denver City East | DENES100 | 1012 | 1.5642
65 | 17 | Seminole Interchange | SEMX6E00 | 1395 | 1.4968
66 | 71 | Springcreek | SPRI1316 | 338 | 1.4793
67 | 116 | McCullough | MCCU5085 | 1261 | 1.4655
68 | 121 | Perryton | PERR1535 | 426 | 1.4531
69 | 47 | South Floydada | SFLO3551 | 43 | 1.4419
70 | 315 | Adobe Creek | ADOB1115 | 92 | 1.4348
71 | 98 | Moss | MOSS6540 | 322 | 1.4193
72 | 145 | Manhattan | MANH5135 | 702 | 1.4003
73 | 138 | Lawrence Park | LAWR5050 | 1208 | 1.3849
74 | 226 | Sherman County | SHER1448 | 16 | 1.375
75 | 109 | Roberts County | ROBE7065 | 97 | 1.3711
76 | 11 | Denver City East | DENES110 | 907 | 1.3693
77 | 150 | Carson County | CARS7034 | 54 | 1.3519
78 | 217 | Hastings | HAST7074 | 1446 | 1.334
79 | 245 | Hendrick | HEND6675 | 1186 | 1.328
80 | 92 | Lehman | LEHMLV500 | 231 | 1.3203
81 | 99 | Herring | HERR1438 | 98 | 1.3163
82 | 260 | Dumas 19th Street | DU191367 | 1893 | 1.3032
83 | 170 | Coburn Creek | CNCK1B25 | 140 | 1.3
84 | 70 | Buffalo | BUFF5165 | 203 | 1.2956
85 | 327 | Brownfield | BROW6580 | 301 | 1.2757
86 | 7 | Barwise | BARWIB130 | 63 | 1.2698
87 | 74 | Curry County Interchange | CURX3635 | 506 | 1.2688
88 | 10 | Dalhart | DALH1664 | 100 | 1.26
89 | 270 | Boardman | BOARS430 | 24 | 1.25
90 | 271 | Littlefield South | LITSLI110 | 1579 | 1.247
91 | 195 | Dawn | DAWN5A35 | 492 | 1.2459
92 | 314 | Lawrence Park | LAWR5020 | 1538 | 1.236
93 | 66 | Industrial | INDU1416 | 898 | 1.2294
94 | 319 | Lipscomb | LPSB1E50 | 482 | 1.2282
95 | 89 | Lockney Rural | LOCR3421 | 19 | 1.2105
96 | 269 | Bennett | BENNS290 | 132 | 1.1667
97 | 39 | Whitaker | WHIT5270 | 2764 | 1.1632
98 | 75 | Parmer County | PARM2465 | 44 | 1.1591
99 | 51 | Westridge | WRIDP460 | 577 | 1.1577
100 | 84 | Plainview South | PLVSP230 | 578 | 1.1557
101 | 34 | Carlisle | CARL6650 | 950 | 1.1495
102 | 78 | Kiser | KISRP965 | 1964 | 1.1492
103 | 301 | Southland | SOUTSO110 | 99 | 1.1414
104 | 163 | Kingsmill | KING5100 | 98 | 1.1327
105 | 320 | Dimmitt East | DIMEDI150 | 885 | 1.1232
106 | 91 | Littlefield West | LITWLI156 | 249 | 1.1205
107 | 180 | Olton | OLTOSO170 | 669 | 1.1106
108 | 236 | Lipscomb | LPSB1E40 | 221 | 1.0905
109 | 273 | South Georgia | SGEO5B40 | 1967 | 1.0859
110 | 309 | Dimmitt South | DIMSDI120 | 345 | 1.0841
111 | 147 | Outpost | OUTP2A060 | 170 | 1.0824
112 | 252 | Lynn | LYNN6300 | 834 | 1.0779
113 | 317 | Dimmitt South | DIMSDI110 | 366 | 1.0738
114 | 90 | Bush | BUSH5210 | 1863 | 1.0628
115 | 174 | Morton | MORTM120 | 150 | 1.06
116 | 127 | Kress Rural | KRERKR120 | 130 | 1.0462
117 | 16 | Lake Meredith | LAKM2B55 | 49 | 1.0408
118 | 53 | Monroe | MONR6610 | 464 | 1.0388
119 | 331 | Hart | HARTHA110 | 116 | 1.0172
120 | 318 | South Georgia | SGEO5B35 | 539 | 1.0167
121 | 340 | Dalhart | DALH114 | 149 | 1.0067
122 | 337 | South Georgia | SGEO5B30 | 597 | 1.0034
123 | 48 | Zavala | ZAVALV780 | 14 | 1
124 | 67 | Etter Rural | ETTR5410 | 862 | 0.98144
125 | 249 | Bush | BUSH5205 | 351 | 0.98006
126 | 30 | Spearman Int | SPEX1512 | 997 | 0.94684
127 | 204 | Arrowhead | ARRO5D85 | 2369 | 0.93415
128 | 24 | Kingsmill | KING5105 | 321 | 0.91277
129 | 101 | Exell | EXEL1238 | 254 | 0.90157
130 | 19 | Bowers | BOWE2053 | 50 | 0.9
131 | 202 | Sunset | SUNS1A030 | 560 | 0.89643
132 | 157 | Canyon West | CANW7124 | 2279 | 0.89118
133 | 187 | Perryton | PERR1235 | 1639 | 0.87553
134 | 33 | Hereford | HERE2D50 | 767 | 0.83833
135 | 160 | Doss | DOSSS495 | 1088 | 0.82904
136 | 63 | Burnett | BURN1398 | 89 | 0.82022
137 | 137 | Levelland City | LEVCLV190 | 1214 | 0.81713
138 | 124 | South Floydada | SFLO3547 | 331 | 0.80967
139 | 134 | Middleton | MIDDLV810 | 35 | 0.8
140 | 171 | Perryton | PERR1230 | 800 | 0.79125
141 | 15 | Dumas 19th Street | DU191498 | 76 | 0.77632
142 | 29 | County Line | COLICL110 | 13 | 0.76923
143 | 135 | Osage | OSAG6060 | 140 | 0.74286
144 | 12 | Plainview East | PLVEP180 | 281 | 0.73665
145 | 46 | Bennett | BENNS365 | 69 | 0.72464
146 | 32 | Murphy | MURP7535 | 1887 | 0.71542
147 | 27 | Roxana | ROXA2076 | 392 | 0.71429
148 | 131 | Olton | OLTOSO180 | 572 | 0.6993
149 | 5 | Highland Park | HIGH5335 | 1052 | 0.69677
150 | 113 | Palo Duro | PALO1C35 | 1192 | 0.68456
151 | 1 | Conway | CONW5010 | 1509 | 0.67462
152 | 115 | Vega | VEGA5195 | 898 | 0.66481
153 | 200 | Osage | OSAG6065 | 1822 | 0.65423
154 | 276 | Tuco | TUCON412 | 746 | 0.65282
155 | 211 | Tuco | TUCON404 | 796 | 0.62437
156 | 242 | Dalhart | DALH1298 | 2118 | 0.62323
157 | 164 | Hereford | HERE2D45 | 1718 | 0.61176
158 | 37 | Lehman | LEHMLV510 | 72 | 0.59722
159 | 206 | Littlefield South | LITSLI120 | 218 | 0.59174
160 | 60 | Soncy | SONC7024 | 1237 | 0.57559
161 | 141 | Pierce | PIER5B10 | 913 | 0.56298
162 | 198 | Osage | OSAG6040 | 2473 | 0.55681
163 | 140 | Weatherly | WEAT1350 | 1481 | 0.553
164 | 108 | Channing | CHAN1675 | 492 | 0.54472
165 | 234 | Springlake | SPRISO150 | 257 | 0.54086
166 | 307 | Kress Rural | KRERKR140 | 140 | 0.53571
167 | 55 | Whiteface | WHITLV210 | 149 | 0.51007
168 | 178 | Plainview North | PLVNP260 | 726 | 0.50826
169 | 36 | Kite | KITE5B80 | 1107 | 0.49684
170 | 209 | Fritch | FRIT1364 | 1921 | 0.47944
171 | 173 | Spring Draw | SPRD2C80 | 1937 | 0.47858
172 | 219 | Doss | DOSS6670 | 1517 | 0.4766
173 | 105 | Springlake | SPRISO140 | 187 | 0.47059
174 | 266 | Doss | DOSSS400 | 1102 | 0.46915
175 | 120 | South Georgia | SGEO2342 | 1018 | 0.46267
176 | 194 | Lyons | LYON5C20 | 1484 | 0.45485
177 | 142 | Kiser | KISRP970 | 1649 | 0.45118
178 | 156 | Canyon East | CANE5185 | 528 | 0.44886
179 | 13 | Highland Park | HIGH5325 | 274 | 0.44526
180 | 192 | Pierce | PIER5B00 | 1030 | 0.43592
181 | 110 | Howard | HOWA2480 | 618 | 0.43528
182 | 21 | Irick | IRICIB110 | 106 | 0.42453
183 | 86 | West Borger | WBOR1A10 | 1213 | 0.42209
184 | 328 | Middleton | MIDDLV820 | 57 | 0.42105
185 | 6 | Wildorado | WILD2014 | 380 | 0.42105
186 | 93 | Hale Center | HACTHR110 | 643 | 0.41835
187 | 168 | Dalhart | DALH1246 | 1813 | 0.41809
188 | 316 | Hillside | HILS2B035 | 1754 | 0.41619
189 | 205 | Littlefield City | LITCLI640 | 439 | 0.41458
190 | 166 | Levelland City | LEVCLV180 | 2278 | 0.41264
191 | 35 | East Plant | EPLAA118 | 2864 | 0.39979
192 | 268 | Wade | WADE1B025 | 31 | 0.3871
193 | 267 | Farmers | FARM5385 | 409 | 0.38631
194 | 149 | Doss | DOSSS410 | 319 | 0.37931
195 | 114 | West Borger | WBOR1A20 | 1275 | 0.36784
196 | NA | White Deer | WHDR2C035 | 734 | 0.36649
197 | 152 | Osage | OUTP2A050 | 555 | 0.36216
198 | 65 | Soncy | SONC7020 | 419 | 0.358
199 | 181 | Van Buren | VANB7046 | 3390 | 0.35162
200 | 130 | La Plata | LAPL2D70 | 1552 | 0.34987
201 | 199 | Lawrence Park | LAWR5025 | 1793 | 0.34802
202 | 246 | 34th Street | 34ST5B90 | 906 | 0.34768
203 | 223 | Boardman | BOARS560 | 173 | 0.34682
204 | 107 | McLean Rural | MCLE5300 | 823 | 0.33536
205 | 333 | Plainview West | PLVWP130 | 834 | 0.33453
206 | 281 | Kite | KITE7106 | 636 | 0.33333
207 | 251 | Coulter | COUL5290 | 1495 | 0.3311
208 | 129 | Hastings | HAST7086 | 1042 | 0.33109
209 | 255 | Riverview | RIVER090 | 19 | 0.31579
210 | 122 | Riverview | RIVER095 | 438 | 0.31507
211 | 213 | Moss | MOSS6320 | 1259 | 0.31374
212 | 126 | Vega | VEGA5170 | 72 | 0.30556
213 | 77 | Cherry | CHER5C15 | 1699 | 0.29606
214 | 233 | South Georgia | SGEO2338 | 3390 | 0.29174
215 | 38 | Garza | GARZ6500 | 732 | 0.28962
216 | 153 | Hillside | HILS2B040 | 168 | 0.28571
217 | 240 | Lyons | LYON5C25 | 1850 | 0.27784
218 | 188 | Conway | CONW5005 | 1661 | 0.27754
219 | 229 | Higg East | HGEA6A05 | 58 | 0.27586
220 | 304 | Riley | RILES500 | 58 | 0.27586
221 | 235 | Kite | KITE5075 | 1272 | 0.2728
222 | 253 | Garza | GARZPO120 | 332 | 0.27108
223 | 144 | Estacado | ESTA5D15 | 699 | 0.26896
224 | 352 | Van Buren | VANB7194 | 96 | 0.26042
225 | 342 | Dawn | DAWN5A40 | 39 | 0.25641
226 | 207 | Pierce | PIER5B05 | 965 | 0.25492
227 | 40 | Arrowhead | ARRO5D80 | 540 | 0.25185
228 | 291 | Slaton | SLAT6690 | 851 | 0.25029
229 | 222 | Manhattan | MANH7164 | 1663 | 0.24053
230 | 221 | Kress Rural | KRERKR110 | 346 | 0.23988
231 | 208 | South Georgia | SGEO2346 | 1115 | 0.23229
232 | 306 | Spearman | SPEA302 | 588 | 0.22959
233 | 220 | Moore Co | MOORM060 | 210 | 0.22857
234 | 4 | Sherman County | SHER1456 | 1160 | 0.22069
235 | 128 | Vickers | VICK6680 | 1780 | 0.21854
236 | 23 | Estacado | ESTA5D65 | 2185 | 0.21785
237 | 85 | Pullman | PULL2A40 | 230 | 0.21739
238 | 218 | Lawrence Park | LAWR5315 | 980 | 0.21735
239 | 228 | Wellman | WELLS755 | 247 | 0.21457
240 | 261 | Brisco | BRIS3457 | 14 | 0.21429
241 | 94 | Friona Rural | FRIO2436 | 1734 | 0.21396
242 | 42 | East Plant | EPLAA122 | 2036 | 0.21071
243 | 18 | Russell | RUSSS385 | 114 | 0.21053
244 | 193 | La Plata | LAPL2D65 | 2731 | 0.20359
245 | 176 | Van Buren | VANB7198 | 1603 | 0.20274
246 | 80 | Canyon West | CANW5160 | 910 | 0.1989
247 | 179 | Manhattan | MANH7160 | 1234 | 0.19692
248 | 184 | Spearman | SPEA401 | 357 | 0.19048
249 | 324 | Farwell | FARWFA620 | 79 | 0.18987
250 | 104 | Garza | GARZ6520 | 394 | 0.18782
251 | 44 | Riverview | RIVER100 | 255 | 0.18431
252 | 258 | Estacado | ESTA5D60 | 1962 | 0.18349
253 | 279 | East Plant | EPLAA126 | 657 | 0.17808
254 | 186 | Westridge | WRIDP450 | 1507 | 0.17784
255 | 215 | Lake Meredith | LAKM2B65 | 34 | 0.17647
256 | 264 | West Anton | WANT3502 | 644 | 0.16925
257 | 133 | Plainview West | PLVWP120 | 219 | 0.16895
258 | 335 | Levelland East | LEVELV950 | 1589 | 0.16866
259 | 189 | Howard | HOWA2485 | 409 | 0.16137
260 | 325 | Lynn | LYNN6510 | 267 | 0.16105
261 | 244 | Canadian | CANA350 | 261 | 0.16092
262 | 274 | Western Street | WSST2D015 | 1159 | 0.15789
263 | 196 | Lawrence Park | LAWR5275 | 1261 | 0.15702
264 | 329 | Kingsmill | KING5095 | 51 | 0.15686
265 | 175 | Whitaker | WHIT5260 | 1786 | 0.15342
266 | 247 | Plainview West | PLVWP110 | 1450 | 0.15172
267 | 185 | Fritch | FRIT1360 | 917 | 0.14831
268 | 100 | Plainview East | PLVEP160 | 319 | 0.14734
269 | 118 | Spring Draw | SPRD2C75 | 1285 | 0.1463
270 | 58 | Slaton | SLAT6600 | 1164 | 0.14347
271 | 76 | Hale Center | HACTHR145 | 509 | 0.14342
272 | 330 | Jaybee | JAYBS765 | 56 | 0.14286
273 | 347 | Pacific | PACILV930 | 14 | 0.14286
274 | 231 | Farmers | FARM5390 | 1626 | 0.14022
275 | NA | Pringle | PROF1B075 | 198 | 0.13636
276 | 350 | Sudan Rural | SUDRSR110 | 22 | 0.13636
277 | 250 | Estacado | ESTA5D10 | 2412 | 0.13599
278 | 257 | Garza | GARZPO110 | 513 | 0.13255
279 | 278 | McCullough | MCCU7005 | 1314 | 0.12938
280 | 197 | Industrial | INDU1412 | 1064 | 0.12312
281 | 297 | Dumas 19th Street | DU191175 | 1424 | 0.12289
282 | 14 | Irick | IRICIB120 | 57 | 0.12281
283 | 43 | 34th Street | 34ST5B85 | 1056 | 0.11648
284 | 73 | Estacado | ESTA5D20 | 1924 | 0.11435
285 | 225 | Roberts County | ROBE7090 | 494 | 0.11134
286 | 299 | Canyon East | CANE5190 | 2103 | 0.10889
287 | 308 | Western Street | WSST2D025 | 889 | 0.10799
288 | 300 | Outpost | OUTP2A055 | 1387 | 0.10743
289 | 9 | Coble | COBLLV835 | 253 | 0.10672
290 | NA | Hunsley | HUNS2B115 | 761 | 0.10512
291 | 285 | Littlefield City | LITCLI610 | 301 | 0.10299
292 | 50 | Van Buren | VANB7044 | 1208 | 0.10182
293 | 290 | McCullough | MCCU7002 | 1248 | 0.099359
294 | 167 | Southeast | SOEA5C80 | 351 | 0.094017
295 | 275 | Littlefield City | LITCLI630 | 88 | 0.090909
296 | 148 | Prentice | PRENS875 | 33 | 0.090909
297 | 293 | Littlefield City | LITCLI620 | 89 | 0.089888
298 | 336 | Amherst | AMHEAM620 | 354 | 0.087571
299 | 210 | Perryton | PERR1530 | 1550 | 0.086452
300 | 83 | Morton | MORTM130 | 862 | 0.085847
301 | 151 | Soncy | SONC5130 | 725 | 0.084138
302 | 248 | Parmer County | PARM2475 | 839 | 0.083433
303 | 230 | Hillside | HILS2B05 | 768 | 0.083333
304 | 139 | Plainview South | PLVSP220 | 564 | 0.083333
305 | 280 | Sunset | SUNS1A035 | 61 | 0.081967
306 | 190 | Slaton | SLATSL140 | 576 | 0.076389
307 | 237 | Slaton | SLATSL150 | 465 | 0.070968
308 | 287 | 34th Street | 34ST5B95 | 1681 | 0.068412
309 | 286 | Spearman | SPEA301 | 440 | 0.068182
310 | 125 | Adair | ADAIS790 | 16 | 0.0625
311 | 136 | Exell | EXEL1242 | 81 | 0.061728
312 | 288 | Fain | FAIN1105 | 100 | 0.06
313 | 351 | Van Buren | VANB7190 | 51 | 0.058824
314 | 344 | Hillside | HILS2B15 | 1667 | 0.058788
315 | 183 | Levelland East | LEVELV960 | 1086 | 0.058011
316 | 298 | Plainview North | PLVNP270 | 161 | 0.055901
317 | 284 | Muleshoe West | MULWMR140 | 676 | 0.054734
318 | 54 | Canadian | CANA335 | 299 | 0.053512
319 | 294 | Puckett West | PUCW5C35 | 2305 | 0.049458
320 | 79 | Hart | HARTHA120 | 548 | 0.04927
321 | 321 | Canadian | CANA325 | 389 | 0.048843
322 | 263 | Muleshoe Valley | MULVMR155 | 1177 | 0.048428
323 | 348 | Puckett West | PUCW5C30 | 753 | 0.047809
324 | 182 | Whitharral | WHITLV710 | 84 | 0.047619
325 | 239 | Coulter | COUL5280 | 854 | 0.045667
326 | 311 | Coburn Creek | CNCK1B30 | 44 | 0.045455
327 | NA | Allred | ALLRS180 | 277 | 0.043321
328 | 343 | Diekemper | DEIKDE110 | 70 | 0.042857
329 | 102 | Dimmitt East | DIMEDI180 | 436 | 0.041284
330 | 310 | Spearman | SPEA402 | 374 | 0.040107
331 | 272 | Dalhart | DALH108 | 338 | 0.038462
332 | 88 | 34th Street | 34ST2B45 | 2065 | 0.036804
333 | 95 | Muleshoe Valley | MULVMR150 | 484 | 0.035124
334 | 241 | Farwell | FARWFA610 | 326 | 0.033742
335 | 283 | Western Street | WSST2D020 | 1096 | 0.031934
336 | 97 | Whiteface | WHITLV220 | 260 | 0.030769
337 | 172 | Sudan Rural | SUDRSR120 | 499 | 0.03006
338 | 259 | Coulter | COUL5285 | 1233 | 0.026764
339 | NA | Hillside | HILS2B045 | 415 | 0.026506
340 | 338 | Estacado | ESTA5D70 | 729 | 0.024691
341 | NA | Pringle | PROF1B065 | 82 | 0.02439
342 | 332 | Canadian | CANA340 | 443 | 0.015801
343 | 277 | Riley | RILES510 | 128 | 0.015625
344 | NA | Hunsley | HUNS2B110 | 454 | 0.011013
345 | 345 | Hunsley | HUNS2B105 | 913 | 0.0043812
346 | 265 | Bush | BUSH5215 | 1370 | 0.0036496
347 | 322 | Amherst | AMHEAM610 | 31 | 0
348 | 339 | Bainer | BAINBA601 | 13 | 0
349 | 28 | Burnett | BURN1394 | 49 | 0
350 | 341 | Damron | DAMR5365 | 12 | 0
351 | 334 | Hillside | HILS2B10 | 893 | 0
352 | 292 | Kingsmill | KING1B80 | 25 | 0
353 | 303 | Lariat | LARIMR110 | 57 | 0
354 | 312 | Levelland City | LEVCLV520 | 155 | 0
355 | 349 | Puckett West | PUCW5C60 | 131 | 0
356 | 326 | Sunset | SUNS5D35 | 48 | 0
357 | 313 | Texaco | TEXALV980 | 22 | 0
358 | 59 | Whitaker | WHIT5265 | 130 | 0

## Feeder-SAIDI
Distribution Feeder Indices for Forced Interruptions
List all Distribution Feeders on Texas System |  |  |  |  | Total Number of Feeders
With 10 or more Customers |  |  |  |  | 358
Add or Delete Rows as Necessary
Xcel Energy
2021 SAIDI Ranking | 2020 SAIDI Ranking | Substation Identification | Feeder Identification | Number of Customers | 2021 SAIDI Value
1 | 118 | Dalhart | DALH116 | 48 | 1504.0625
2 | 109 | Yellowhouse | YELLLV900 | 23 | 1293.5113
3 | 26 | Pringle | PRIN1E15 | 214 | 1149.1398
4 | 202 | Sherman County | SHER1448 | 16 | 1081.4831
5 | 121 | Lockney Rural | LOCRLA140 | 67 | 992.147
6 | 153 | Happy | HAPP7040 | 405 | 950.051
7 | 4 | Channing | CHAN1564 | 30 | 780.3
8 | 25 | Channing | CHAN1568 | 61 | 762.4492
9 | 197 | Springcreek | SPRI1320 | 121 | 685.4291
10 | 113 | Cedar Lake East | CEDES910 | 26 | 606.0419
11 | 61 | Carson County | CARS7030 | 162 | 599.8257
12 | 288 | Lynn | LYNN6340 | 630 | 589.5043
13 | 98 | Lockney Rural | LOCRLA150 | 85 | 567.3991
14 | 48 | Parmer County | PARM2465 | 44 | 566.9373
15 |  | White Deer | WHDR2C030 | 12 | 555.4167
16 | 163 | Aiken Rural | AIKRLA110 | 122 | 523.6948
17 | 11 | Sherman County | SHER1452 | 51 | 517.0588
18 | 211 | Barwise | BARWIB140 | 93 | 494.4776
19 | 89 | Lipscomb | LPSB2580 | 1055 | 440.0768
20 | 35 | Kingsmill | KING5110 | 249 | 419.941
21 | 124 | Elwood | ELWOLV140 | 62 | 417.0484
22 | 90 | Etter Rural | ETTR5405 | 626 | 403.3742
23 | 66 | Moore Co | MOORM055 | 68 | 384.4372
24 | 266 | Bennett | BENNS290 | 132 | 382.5023
25 | 229 | Hendrick | HEND6675 | 1186 | 380.6102
26 | 308 | Happy | HAPP2326 | 282 | 378.578
27 | 91 | Lockney Rural | LOCR3417 | 936 | 361.9203
28 | 60 | Bowers | BOWE5090 | 131 | 358.5631
29 | 106 | Bowers | BOWE2057 | 562 | 324.3113
30 | 114 | Carson County | CARS7034 | 54 | 311.1126
31 | 285 | Sunset | SUNS5D40 | 1525 | 310.8706
32 | 18 | Roxana | ROXA2334 | 98 | 310.4287
33 | 311 | Adobe Creek | ADOB1115 | 92 | 309.2391
34 | 184 | Texas Farms | TXFA1125 | 197 | 307.7359
35 | 1 | Lake Meredith | LAKM2B55 | 49 | 304.3673
36 | 238 | Hendrick | HEND6685 | 1059 | 302.4244
37 | 136 | Plant X | PLAXX310 | 672 | 301.9099
38 | 291 | Southland | SOUTSO110 | 99 | 298.9596
39 | 68 | Muleshoe West | MULWMR130 | 196 | 295.9063
40 | 32 | Herring | HERR1438 | 98 | 293.0866
41 | 13 | Barwise | BARWIB130 | 63 | 286.1111
42 | 313 | Dalhart | DALH1580 | 405 | 282.0667
43 | 112 | Coburn Creek | CNCK1B25 | 140 | 279.4
44 | 83 | Allred | ALLRS140 | 90 | 270.4473
45 | 180 | Van Buren | VANB7048 | 349 | 270.3074
46 | 165 | Lockney Rural | LOCR3421 | 19 | 269.8947
47 | 55 | Springcreek | SPRI1316 | 338 | 269.5277
48 | 206 | Seminole Interchange | SEMX6E10 | 438 | 255.6905
49 | 12 | Channing | CHAN1675 | 492 | 252.8712
50 | 54 | Herring | HERR1434 | 1195 | 250.8517
51 | 255 | Lynn | LYNN6300 | 834 | 246.938
52 | 45 | Moore Co | MOORM065 | 957 | 241.0589
53 | 220 | Hastings | HAST7074 | 1446 | 240.4208
54 | 218 | Tokio | TOKIS800 | 77 | 238.9391
55 | 302 | Doss | DOSS6660 | 932 | 236.8863
56 | 246 | Flanagan | FLANS550 | 138 | 233.8043
57 | 44 | Pacific | PACILV940 | 73 | 233.0685
58 | 2 | Burnett | BURN1398 | 89 | 231.8407
59 | 46 | Weatherly | WEAT1354 | 885 | 228.5607
60 | 22 | Lehman | LEHMLV500 | 231 | 224.0416
61 | 120 | Canyon West | CANW7128 | 899 | 221.3248
62 | 80 | Curry County Interchange | CURX3635 | 506 | 219.4555
63 | 94 | Monroe | MONR6610 | 464 | 217.3879
64 | 267 | Higg East | HGEA6A05 | 58 | 215.0345
65 | 232 | Kingsmill | KING5115 | 109 | 210.0637
66 | 134 | Farmers | FARM5395 | 1585 | 208.5809
67 | 164 | Plainview South | PLVSP210 | 141 | 206.295
68 | 81 | Dumas 19th Street | DU191371 | 1275 | 203.6283
69 | 149 | Wildorado | WILD2018 | 224 | 199.1571
70 | 191 | Olton | OLTOSO170 | 669 | 195.4897
71 | 147 | Manhattan | MANH5135 | 702 | 191.8973
72 | 181 | Morton | MORTM120 | 150 | 191.2133
73 | 99 | Brisco | BRIS3434 | 488 | 186.5074
74 | 27 | Kingsmill | KING5105 | 321 | 182.9912
75 | 29 | Dalhart | DALH1664 | 100 | 182.233
76 | 205 | Southeast | SOEA5C85 | 2728 | 181.9174
77 | 259 | Bennett | BENNS345 | 1080 | 179.3546
78 | 127 | Lawrence Park | LAWR5030 | 1603 | 174.1909
79 | 142 | Lawrence Park | LAWR5050 | 1208 | 173.8698
80 | 16 | Spearman Int | SPEX1512 | 997 | 173.1786
81 | 131 | Denver City East | DENES100 | 1012 | 169.8742
82 | 43 | Roberts County | ROBE7065 | 97 | 169.4974
83 | 71 | Moss | MOSS6540 | 322 | 168.2651
84 | 243 | Bush | BUSH5205 | 351 | 162.7407
85 | 132 | Hastings | HAST7078 | 3502 | 162.1179
86 | 24 | South Floydada | SFLO3551 | 43 | 161.3256
87 | 274 | Hastings | HAST7082 | 987 | 156.959
88 | 76 | Allmon | ALLMAT120 | 702 | 156.696
89 | 261 | Spring Draw | SPRD2C70 | 927 | 156.4153
90 | 41 | East Plant | EPLAA110 | 951 | 156.2089
91 | 270 | Dalhart | DALH106 | 35 | 152.8286
92 | 23 | Zavala | ZAVALV780 | 14 | 151.1429
93 | 256 | Dumas 19th Street | DU191470 | 2154 | 148.1642
94 | 188 | Perryton | PERR1235 | 1639 | 148.0754
95 | 310 | Dimmitt East | DIMEDI150 | 885 | 147.1047
96 | 322 | Brownfield | BROW6580 | 301 | 145.9269
97 | 100 | Whitaker | WHIT5270 | 2764 | 145.6669
98 | 49 | Lehman | LEHMLV510 | 72 | 144.8868
99 | 161 | Canyon West | CANW7124 | 2279 | 143.3389
100 | 51 | Buffalo | BUFF2215 | 468 | 140.8388
101 | 333 | Hart | HARTHA110 | 116 | 138.6121
102 | 3 | Bowers | BOWE2053 | 50 | 136.32
103 | 57 | Vega | VEGA5195 | 898 | 134.807
104 | 324 | Dimmitt South | DIMSDI120 | 345 | 131.5623
105 | 176 | Lipscomb | LPSB1E40 | 221 | 130.8824
106 | 159 | Plainview South | PLVSP230 | 578 | 130.8459
107 | 72 | Bennett | BENNS365 | 69 | 124.1014
108 | 42 | Seminole Interchange | SEMX6E00 | 1395 | 123.1689
109 | 186 | Middleton | MIDDLV810 | 35 | 119.4126
110 | 6 | Plainview East | PLVEP180 | 281 | 118.983
111 | 105 | Kress Rural | KRERKR120 | 130 | 117.9538
112 | 59 | Exell | EXEL1238 | 254 | 117.6759
113 | 20 | Buffalo | BUFF5165 | 203 | 117.381
114 | 65 | Roxana | ROXA2076 | 392 | 116.1036
115 | 187 | Kingsmill | KING5100 | 98 | 115.8583
116 | 201 | Soncy | SONC7116 | 70 | 114.3341
117 | 69 | Denver City East | DENES110 | 907 | 113.9464
118 | 31 | Highland Park | HIGH5335 | 1052 | 111.6075
119 | 170 | Dawn | DAWN5A35 | 492 | 108.1039
120 | 140 | South Floydada | SFLO3547 | 331 | 106.6526
121 | 30 | Dumas 19th Street | DU191498 | 76 | 103.2763
122 | 152 | Osage | OSAG6060 | 140 | 102.8177
123 | 138 | Canyon East | CANE5185 | 528 | 101.628
124 | 137 | Palo Duro | PALO1C35 | 1192 | 101.196
125 | 33 | County Line | COLICL110 | 13 | 100.2308
126 | 79 | Cherry | CHER5C10 | 1808 | 99.9289
127 | 210 | Arrowhead | ARRO5D85 | 2369 | 99.3373
128 | 40 | Murphy | MURP7535 | 1887 | 98.591
129 | 183 | Olton | OLTOSO180 | 572 | 97.8945
130 | 10 | Wildorado | WILD2014 | 380 | 97.0737
131 | 227 | Doss | DOSSS495 | 1088 | 96.181
132 | 158 | Fritch | FRIT1364 | 1921 | 95.7904
133 | 314 | Lipscomb | LPSB1E50 | 482 | 95.5878
134 | 329 | Dimmitt South | DIMSDI110 | 366 | 93.1557
135 | 160 | Sunset | SUNS1A030 | 560 | 92.2121
136 | 107 | Perryton | PERR1535 | 426 | 92.1643
137 | 34 | Carlisle | CARL6650 | 950 | 91.7891
138 | 264 | Littlefield South | LITSLI110 | 1579 | 90.9949
139 | 278 | Dumas 19th Street | DU191367 | 1893 | 89.8146
140 | 217 | Dalhart | DALH1298 | 2118 | 89.6058
141 | 86 | Kite | KITE5B80 | 1107 | 88.2125
142 | 352 | Van Buren | VANB7194 | 96 | 86.6917
143 | 67 | Industrial | INDU1416 | 898 | 82.5805
144 | 8 | Conway | CONW5010 | 1509 | 82.2038
145 | 204 | Hereford | HERE2D45 | 1718 | 82.0581
146 | 111 | Hereford | HERE2D50 | 767 | 79.5567
147 | 130 | McCullough | MCCU5085 | 1261 | 78.7684
148 | 62 | Etter Rural | ETTR5410 | 862 | 76.7113
149 | 172 | Spearman | SPEA401 | 357 | 76.4734
150 | 235 | Boardman | BOARS430 | 24 | 75.9583
151 | 276 | Wade | WADE1B025 | 31 | 75.8387
152 | 103 | Littlefield West | LITWLI156 | 249 | 75.0683
153 | 74 | Riverview | RIVER095 | 438 | 74.2614
154 | 325 | Hillside | HILS2B035 | 1754 | 73.7596
155 | 199 | Riverview | RIVER090 | 19 | 73.1053
156 | 168 | Perryton | PERR1230 | 800 | 72.5326
157 | 128 | La Plata | LAPL2D70 | 1552 | 71.8172
158 | 207 | Osage | OSAG6040 | 2473 | 71.648
159 | 150 | Kiser | KISRP965 | 1964 | 71.2373
160 | 144 | Pierce | PIER5B10 | 913 | 70.6462
161 | 193 | Dalhart | DALH1246 | 1813 | 70.4413
162 | 28 | Soncy | SONC7024 | 1237 | 69.5906
163 | 219 | Tuco | TUCON404 | 796 | 68.4547
164 | 36 | Irick | IRICIB110 | 106 | 68.3272
165 | 190 | Levelland City | LEVCLV180 | 2278 | 67.7446
166 |  | White Deer | WHDR2C035 | 734 | 67.1322
167 | 125 | Hastings | HAST7086 | 1042 | 65.7943
168 | 116 | Garza | GARZPO120 | 332 | 65.2711
169 | 52 | Whiteface | WHITLV210 | 149 | 64.9597
170 | 223 | Pierce | PIER5B00 | 1030 | 63.1618
171 | 321 | Kress Rural | KRERKR140 | 140 | 62.4
172 | 203 | Osage | OSAG6065 | 1822 | 59.8449
173 | 5 | Highland Park | HIGH5325 | 274 | 58.8212
174 | 287 | Tuco | TUCON412 | 746 | 58.0356
175 | 226 | Littlefield South | LITSLI120 | 218 | 56.6284
176 | 141 | Plainview North | PLVNP260 | 726 | 56.0399
177 | 237 | Springlake | SPRISO150 | 257 | 55.7741
178 | 269 | Farmers | FARM5385 | 409 | 54.994
179 | 75 | Garza | GARZ6500 | 732 | 54.7711
180 | 92 | McLean Rural | MCLE5300 | 823 | 54.0202
181 | 173 | Spring Draw | SPRD2C80 | 1937 | 53.7065
182 | 301 | Lawrence Park | LAWR5020 | 1538 | 53.5845
183 | 154 | Westridge | WRIDP460 | 577 | 53.5724
184 | 17 | Russell | RUSSS385 | 114 | 52.7531
185 | 102 | Howard | HOWA2480 | 618 | 52.4133
186 | 21 | Riverview | RIVER100 | 255 | 52.2744
187 | 228 | Doss | DOSS6670 | 1517 | 51.8353
188 | 143 | Conway | CONW5005 | 1661 | 50.8363
189 | 39 | Pullman | PULL2A40 | 230 | 50.1141
190 | 101 | Springlake | SPRISO140 | 187 | 49.4973
191 | 252 | Boardman | BOARS560 | 173 | 49.2312
192 | 50 | Hale Center | HACTHR110 | 643 | 48.0778
193 | 214 | Pierce | PIER5B05 | 965 | 47.1642
194 | 95 | Cherry | CHER5C15 | 1699 | 45.976
195 | 225 | Lake Meredith | LAKM2B65 | 34 | 43.4412
196 | 258 | South Georgia | SGEO5B40 | 1967 | 42.7411
197 | 271 | Coulter | COUL5290 | 1495 | 41.8583
198 | 189 | Lyons | LYON5C20 | 1484 | 41.1333
199 | 332 | Middleton | MIDDLV820 | 57 | 40.8186
200 | 38 | Tenneco | TENNS440 | 212 | 40.7422
201 | 139 | Weatherly | WEAT1350 | 1481 | 40.381
202 | 157 | Osage | OUTP2A050 | 555 | 40.2958
203 | 323 | Riley | RILES500 | 58 | 40.2414
204 | 340 | Dalhart | DALH114 | 149 | 40.2326
205 | 213 | La Plata | LAPL2D65 | 2731 | 39.2942
206 | 262 | 34th Street | 34ST5B90 | 906 | 38.9875
207 | 171 | Van Buren | VANB7046 | 3390 | 37.8963
208 | 328 | South Georgia | SGEO5B35 | 539 | 37.6178
209 | 240 | West Borger | WBOR1A10 | 1213 | 37.5561
210 | 337 | South Georgia | SGEO5B30 | 597 | 37.124
211 | 178 | South Georgia | SGEO2342 | 1018 | 36.3695
212 | 146 | Kiser | KISRP970 | 1649 | 36.1426
213 | 84 | Canyon West | CANW5160 | 910 | 36.0597
214 | 37 | East Plant | EPLAA118 | 2864 | 35.1853
215 | 263 | Western Street | WSST2D015 | 1159 | 35.1596
216 | 174 | Estacado | ESTA5D15 | 699 | 35.0346
217 | 185 | Manhattan | MANH7164 | 1663 | 34.4808
218 | 96 | Vega | VEGA5170 | 72 | 33.4861
219 | 215 | Moss | MOSS6320 | 1259 | 32.8956
220 | 236 | South Georgia | SGEO2338 | 3390 | 31.7956
221 | 216 | Levelland City | LEVCLV190 | 1214 | 31.7884
222 | 249 | Estacado | ESTA5D60 | 1962 | 30.8414
223 | 14 | Sherman County | SHER1456 | 1160 | 30.5267
224 | 281 | Doss | DOSSS400 | 1102 | 29.8893
225 | 162 | Lawrence Park | LAWR5025 | 1793 | 29.8462
226 | 7 | Moore Co | MOORM060 | 210 | 29.2084
227 | 177 | Lawrence Park | LAWR5275 | 1261 | 29.1212
228 | 155 | Manhattan | MANH7160 | 1234 | 28.5755
229 |  | Pringle | PROF1B075 | 198 | 28.1616
230 | 70 | Arrowhead | ARRO5D80 | 540 | 28.1106
231 | 119 | Bush | BUSH5210 | 1863 | 27.2379
232 | 331 | Farwell | FARWFA620 | 79 | 27.038
233 | 251 | Wellman | WELLS755 | 247 | 26.3239
234 | 342 | Dawn | DAWN5A40 | 39 | 26.2051
235 | 167 | Whitaker | WHIT5260 | 1786 | 25.5349
236 | 192 | Kite | KITE5075 | 1272 | 25.5074
237 | 239 | Littlefield City | LITCLI640 | 439 | 25.4146
238 | 87 | Estacado | ESTA5D65 | 2185 | 24.9329
239 | 244 | Farmers | FARM5390 | 1626 | 24.6802
240 | 234 | Doss | DOSSS410 | 319 | 24.1316
241 | 58 | Garza | GARZ6520 | 394 | 24.0685
242 | 179 | Van Buren | VANB7198 | 1603 | 23.7195
243 | 82 | Friona Rural | FRIO2436 | 1734 | 22.9719
244 | 248 | Canadian | CANA350 | 261 | 22.9425
245 | 330 | Kingsmill | KING5095 | 51 | 22.8235
246 | 117 | Soncy | SONC7020 | 419 | 22.7542
247 | 284 | Brisco | BRIS3457 | 14 | 22.7143
248 | 148 | Outpost | OUTP2A060 | 170 | 21.3588
249 | 145 | Prentice | PRENS875 | 33 | 21.2424
250 | 198 | Fritch | FRIT1360 | 917 | 20.882
251 | 126 | Vickers | VICK6680 | 1780 | 20.6069
252 | 347 | Pacific | PACILV930 | 14 | 20
253 | 93 | 34th Street | 34ST5B85 | 1056 | 19.1073
254 | 304 | Spearman | SPEA302 | 588 | 18.9407
255 | 53 | East Plant | EPLAA122 | 2036 | 18.8063
256 | 296 | Slaton | SLAT6690 | 851 | 18.7744
257 | 212 | Lawrence Park | LAWR5315 | 980 | 18.7289
258 | 108 | Spring Draw | SPRD2C75 | 1285 | 18.7261
259 | 282 | McCullough | MCCU7005 | 1314 | 18.7131
260 | 230 | East Plant | EPLAA126 | 657 | 18.6599
261 | 156 | Lyons | LYON5C25 | 1850 | 18.5209
262 | 326 | Jaybee | JAYBS765 | 56 | 18.3036
263 | 104 | West Borger | WBOR1A20 | 1275 | 18.2768
264 | 222 | Kress Rural | KRERKR110 | 346 | 18.0302
265 | 272 | 34th Street | 34ST5B95 | 1681 | 17.9754
266 | 56 | Slaton | SLAT6600 | 1164 | 17.6314
267 |  | Pringle | PROF1B065 | 82 | 17.561
268 | 233 | Westridge | WRIDP450 | 1507 | 17.3144
269 | 241 | South Georgia | SGEO2346 | 1115 | 17.2502
270 | 303 | Kite | KITE7106 | 636 | 17.1981
271 | 97 | Estacado | ESTA5D20 | 1924 | 16.8664
272 | 122 | Plainview East | PLVEP160 | 319 | 16.7616
273 | 151 | Southeast | SOEA5C80 | 351 | 15.4117
274 | 254 | Garza | GARZPO110 | 513 | 15.4035
275 | 245 | Hillside | HILS2B040 | 168 | 15.3486
276 | 64 | Adair | ADAIS790 | 16 | 15
277 | 297 | Outpost | OUTP2A055 | 1387 | 14.8629
278 | 135 | Sudan Rural | SUDRSR120 | 499 | 14.0741
279 | 265 | Sunset | SUNS1A035 | 61 | 13.9836
280 | 182 | Perryton | PERR1530 | 1550 | 13.9238
281 | 293 | Dumas 19th Street | DU191175 | 1424 | 13.705
282 | 268 | Estacado | ESTA5D10 | 2412 | 13.6511
283 | 335 | Levelland East | LEVELV950 | 1589 | 13.5422
284 | 195 | Industrial | INDU1412 | 1064 | 13.4031
285 | 166 | Hillside | HILS2B05 | 768 | 13.25
286 | 316 | Littlefield City | LITCLI620 | 89 | 12.8016
287 | 334 | Plainview West | PLVWP130 | 834 | 12.7997
288 | 19 | Coble | COBLLV835 | 253 | 12.716
289 | 305 | Lynn | LYNN6510 | 267 | 12.6517
290 | 350 | Sudan Rural | SUDRSR110 | 22 | 12.5909
291 |  | Hunsley | HUNS2B115 | 761 | 12.3193
292 | 298 | Canyon East | CANE5190 | 2103 | 12.2507
293 | 224 | Howard | HOWA2485 | 409 | 12.0196
294 | 129 | Soncy | SONC5130 | 725 | 11.9931
295 | 257 | Roberts County | ROBE7090 | 494 | 11.9433
296 | 88 | Morton | MORTM130 | 862 | 11.623
297 | 208 | Plainview South | PLVSP220 | 564 | 11.5195
298 | 247 | Parmer County | PARM2475 | 839 | 11.3266
299 | 292 | Littlefield City | LITCLI630 | 88 | 10.8636
300 | 209 | Coulter | COUL5280 | 854 | 10.7997
301 | 277 | Plainview West | PLVWP110 | 1450 | 10.7945
302 | 47 | Hale Center | HACTHR145 | 509 | 10.6974
303 | 63 | Van Buren | VANB7044 | 1208 | 10.6945
304 | 250 | West Anton | WANT3502 | 644 | 10.0652
305 | 344 | Hillside | HILS2B15 | 1667 | 9.901
306 | 336 | Amherst | AMHEAM620 | 354 | 9.774
307 | 77 | Canadian | CANA335 | 299 | 9.4615
308 | 273 | Spearman | SPEA301 | 440 | 9.3977
309 | 253 | Fain | FAIN1105 | 100 | 8.3865
310 | 275 | Littlefield City | LITCLI610 | 301 | 8.3223
311 | 78 | Irick | IRICIB120 | 57 | 7.7719
312 | 289 | Western Street | WSST2D025 | 889 | 7.7537
313 | 175 | Slaton | SLATSL140 | 576 | 7.5521
314 | 73 | 34th Street | 34ST2B45 | 2065 | 7.3891
315 | 348 | Puckett West | PUCW5C30 | 753 | 7.1245
316 | 194 | Whitharral | WHITLV710 | 84 | 6.8571
317 | 351 | Van Buren | VANB7190 | 51 | 6.7059
318 | 300 | Plainview North | PLVNP270 | 161 | 6.6584
319 | 290 | McCullough | MCCU7002 | 1248 | 6.3301
320 | 283 | Slaton | SLATSL150 | 465 | 6.0065
321 | 312 | Spearman | SPEA402 | 374 | 5.9759
322 |  | Allred | ALLRS180 | 277 | 5.5957
323 | 260 | Coulter | COUL5285 | 1233 | 5.0193
324 | 221 | Dalhart | DALH108 | 338 | 4.9763
325 | 294 | Muleshoe Valley | MULVMR155 | 1177 | 4.7069
326 | 115 | Hart | HARTHA120 | 548 | 4.531
327 | 309 | Canadian | CANA325 | 389 | 4.2391
328 | 123 | Plainview West | PLVWP120 | 219 | 4.1735
329 | 85 | Whiteface | WHITLV220 | 260 | 4.1731
330 | 242 | Levelland East | LEVELV960 | 1086 | 4.1326
331 |  | Hillside | HILS2B045 | 415 | 3.9277
332 | 200 | Puckett West | PUCW5C35 | 2305 | 3.9111
333 | 133 | Exell | EXEL1242 | 81 | 3.3753
334 | 286 | Muleshoe West | MULWMR140 | 676 | 2.9467
335 | 295 | Western Street | WSST2D020 | 1096 | 2.7974
336 | 315 | Coburn Creek | CNCK1B30 | 44 | 2.7045
337 | 196 | Muleshoe Valley | MULVMR150 | 484 | 2.5868
338 | 343 | Diekemper | DEIKDE110 | 70 | 2.3143
339 |  | Hunsley | HUNS2B110 | 454 | 2.1894
340 | 110 | Dimmitt East | DIMEDI180 | 436 | 2.1606
341 | 279 | Farwell | FARWFA610 | 326 | 1.6258
342 | 319 | Canadian | CANA340 | 443 | 1.5192
343 | 338 | Estacado | ESTA5D70 | 729 | 1.0617
344 | 280 | Riley | RILES510 | 128 | 0.82812
345 | 231 | Bush | BUSH5215 | 1370 | 0.4854
346 | 345 | Hunsley | HUNS2B105 | 913 | 0.3034
347 | 320 | Amherst | AMHEAM610 | 31 | 0
348 | 339 | Bainer | BAINBA601 | 13 | 0
349 | 9 | Burnett | BURN1394 | 49 | 0
350 | 341 | Damron | DAMR5365 | 12 | 0
351 | 299 | Hillside | HILS2B10 | 893 | 0
352 | 307 | Kingsmill | KING1B80 | 25 | 0
353 | 306 | Lariat | LARIMR110 | 57 | 0
354 | 317 | Levelland City | LEVCLV520 | 155 | 0
355 | 349 | Puckett West | PUCW5C60 | 131 | 0
356 | 318 | Sunset | SUNS5D35 | 48 | 0
357 | 327 | Texaco | TEXALV980 | 22 | 0
358 | 15 | Whitaker | WHIT5265 | 130 | 0

## Causes
Xcel Energy
INTERRUPTION CAUSES
Provide the percentage of interruptions attributable to each cause.
2021 Reporting Year
Table 1
| Causes of Forced Interruptions |  | Percentage
|  | Weather (Including Lightning)* | 10.04%
|  | Vegetation | 1.407%
|  | Animals and Birds | 6.688%
|  | People (Including cars and farm equip) | 7.103%
|  | Utility-owned Equipment** | 58.03%
|  | Other | 1.558%
|  | Unknown | 15.18%
* Interruptions caused by weather events not resulting in equipment damage (i.e. lightning, falling ice)
** Iterruptions due to damaged or failed equipment, though the cause for the damage or failure is often the result of weather or other outside factors.
Table 2
| Weather Codes of Forced Interruptions |  | Percentage for System | Percentage for Utility-owned Equipment***
|  | Rain and Lightning | 17.77% | 14.39%
|  | Wind | 11.19% | 16.5%
|  | Rain | 5.983% | 8.643%
|  | Extreme Cold | 5.922% | 9.375%
|  | Extreme Heat/Humidity | 3.972% | 3.069%
|  | Icing | 3.461% | 4.709%
|  | Lightning | 2.717% | 0.4323%
|  | Wind & Lightning | 1.665% | 1.333%
|  | Snow | 0.9864% | 1.101%
|  | Fog | 0.5852% | 0.8397%
|  | Tornado | 0.3426% | 0.3403%
|  | Frost | 0.1109% | 0.1822%
|  | Hail | 0.1078% | 0.1849%
|  | Sleet | 0.00622% | 0.01072%
|  | Fair | 45.19% | 38.89%
***Utility owned equipment accounted for 58.03% of all forced interruptions as shown in Table 1. Of that subset of forced interruptions attributed to Utility-owned equipment, 61.1% occurred during weather conditions that can contribute to equipment failure.