## Table 1
Table 1: Summary of 2022 & 2023 Projected Goals, Savings and Budgets
Calendar Year | Average Growth in Demand (MW at Meter) | Goal Metric: 30% of 5-year Average Growth in Demand (MW at Meter) | Goal Metric: .4% of 5-year Average Peak Demand (MW at Meter)* | Demand Goal (MW) | Energy Goal (MWh)** | Projected MW Savings (at Meter) | Projected MWh Savings (at Meter) | Proposed Budget (000's)***
2022 | 57.3558 | 17.21 | 5.4471 | 11.16 | 19552 | 19.827 | 26882 | 5286
2023 | 21.9913 | 6.6 | 5.5357 | 11.16 | 19552 | 31.207 | 27125 | 5493

## Table 1(2) (hidden)
Table 1: Summary of 2021 & 2022 Projected Goals, Savings and Budgets
Calendar Year | Average Growth in Demand (MW at Meter) | Goal Metric: 30% of 5-year Average Growth in Demand (MW at Meter) | Goal Metric: .4% of 5-year Average Peak Demand (MW at Meter)* | Demand Goal (MW) | Energy Goal (MWh)** | Projected MW Savings (at Meter) | Projected MWh Savings (at Meter) | Proposed Budget (000's)***
2021 | 38.2016 | 11.46 | 5.1718 | 11.16 | 19552 | 19.827 | 26882 | 100 | Errata | 4844
2022 | 58.3329 | 17.5 | 5.4055 | 11.16 | 19552 | 31.207 | 27125 | 5493

## Table 4
Table 4: Annual Growth in Demand and Energy Consumption | [14 empty] | Yellow highlighted sections come from Load Research.
Calendar Year | Peak Demand (MW at Source) | [5 empty] | Energy Consumption (MWh at Meter) |  |  |  | Growth (MW at Source) | Growth (MW at Meter)4 | Average Growth (MW at Meter)5
| Total System |  | Residential & Commercial |  |  |  | Total System |  | Residential & Commercial
| Actual | Weather Adjusted | Actual | Weather Adjusted | Opt-Out | Peak Demand @ Source Net Opt-Outs | Actual | Weather Adjusted | Actual | Weather Adjusted | Weather Adjusted | Weather Adjusted | Weather Adjusted
2012 | 1294.396 | 1287 | 1190.86 | 1184 | 0 | 1184 | 6035970 | 6003736 | 5279626 | 5247392 | -4 | -3.6512 | NA
2013 | 1356.72 | 1352 | 1252.477 | 1248 | 0 | 1248 | 6028387.7595 | 6008772.3975 | 5276023.437 | 5256408.075 | 64 | 58.4192 | NA |  | -0.0040682
2014 | 1385 | 1387 | 1289 | 1291 | 0 | 1291 | 5973273.272 | 5981108 | 5211868.875 | 5219704 | 43 | 39.2504 | NA |  | -0.0044381
2015 | 1398 | 1386 | 1279 | 1266 | 0 | 1266 | 6141917 | 6086745 | 5318795 | 5263622 | -25 | -22.82 | NA |  | -0.0044381 | -0.004512 |  | -0.004512
2016 | 1509 | 1509 | 1397 | 1397 | -1.1 | 1395.9 | 6188610 | 6187025 | 5381661 | 5380076 | 129.9 | 118.5727 | NA |  | -0.0048079
2017 | 1575 | 1579 | 1459 | 1463 | -1.1 | 1461.9 | 6205925 | 6223229 | 5387064 | 5404368 | 66 | 60.5088 | NA |  | -0.0048079
2018 | 1560 | 1545 | 1446 | 1429 | -1.2 | 1427.8 | 6377762 | 6313451 | 5537652 | 5473342 | -34.1 | -31.2629 | NA
2019 | 1596.4634 | 1583 | 1516.0138 | 1501 | -1.2 | 1499.8 | 6322246.519 | 6267980.6345 | 5528607.584 | 5474341.6995 | 72 | 66.0096 | NA |  | (At Meter) | (At Meter)
2020 | 1730 | 1703 | 1609 | 1580 | -1.3 | 1578.7 | 6446008 | 6345116 | 5655757 | 5554865 | 78.9 | 72.9509 | NA |  | For Table 1 | For Table 1
2021 | 1609.9924 | 1628 | 1498.1079 | 1517 | -1.3 | 1515.7 | 6499885.284 | 6571420.9562 | 5685095.12 | 5756630.7922 | -63 | -58.2498 | NA |  | % of 5 yr avg Growth | .4% of Peak Dmnd
2022 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 57.3558 | 30% | 17.21 | 5.4471 | 2016-2020 for 2022 |  | The line loss factor is used for the year (2021) not for the years affected (2015-2019).
2023 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 21.9913 | 30% | 6.6 | 5.5357 | 2017-2021 for 2023
[15 empty] | R15 is also on page 14 |  | (Use 7.54% for years 2020 to 2022 until next fuel rec. approved.
Line loss factor is effective in Final Order 50058 effective April 1, 2019.
[20 empty] | PY | System demand line loss factor
Average of residential and commercial peak demand at source net Opt-Outs = (1,462 + 1,428 + 1,500 + 1,579 + 1516) / 5 = 1,497 | [10 empty] | 1496.78 | [8 empty] | 2016 | 8.72%
2017
Energy Efficiency Identification Notice for the two Isomedix facilities: 1441 Don Haskins (Account #2594710000) and 1435 Isomedix Place (Account #8552000000) extended the Service Agreement Industrial Opt-Out for 3 years to 12/31/22. | [19 empty] | 2018 | 8.32%
2019
The demand reduction goal to be acquired in 2022 (11.16 MW) is greater than four-tenths of one percent of EPE’s 5-year average summer weather-adjusted peak demand for 2016 through 2020, which is 5.45 MW as shown in Table 1. | [19 empty] | 2020
Demand goal at the meter = ((5-year average) x 30% annual growth in demand reduction) x (1 - .0754 line loss at EPE Meter) | [19 empty] | 2021 | 7.54%
2022
2023 goal compared to the average of 2017-2021 adjusted for Line Loss | [6 empty] | 0.8057% | p. 13
2022 goal compared to the average of 2016-2020 adjusted for Line Loss | [6 empty] | 0.8189%
2021 goal compared to the average of 2015-2019 adjusted for Line Loss | [6 empty] | 0.8553%
2020 goal compared to the average of 2014-2018 adjusted for Line Loss | [6 empty] | 0.875%
2019 goal compared to the average of 2013-2017 adjusted for Line Loss | [6 empty] | 0.9132%
To calculate its annual growth in demand for calendar year 2020 to 2022, EPE used an 7.54% line-loss factor approved by the Commission in its last fuel reconciliation proceeding, Docket No. 50058, approved 3.18.21.
To calculate its annual growth in demand for calendar year 2017 to 2020, EPE used an 8.32% line-loss factor approved by the Commission in its last fuel reconciliation proceeding, Docket No. 46308.
1.8587
2.5114

## Table 4(2) (hidden)
Table 4: Annual Growth in Demand and Energy Consumption | [6 empty] | DO NOT DELETE TABLE IN EEPR-REPLACE NUMBERS FROM BELOW
Calendar Year | Peak Demand (MW at Source) | [5 empty] | Energy Consumption (MWh at Meter) |  |  |  | Growth (MW at Source) | Growth (MW at Meter)4 | Average Growth (MW at Meter)5 |  | PY | System demand line loss factor
| Total System |  | Residential & Commercial |  |  |  | Total System |  | Residential & Commercial | [5 empty] | 2016 | 8.72%
| Actual | Weather Adjusted | Actual | Weather Adjusted | Opt-Out | Peak Demand @ Source Net Opt-Outs | Actual | Weather Adjusted | Actual | Weather Adjusted | Weather Adjusted | Weather Adjusted | Weather Adjusted |  | 2017 2018 2019 | 8.32%
2012 | 1294.396 | 1287 | 1190.86 | 1184 | 0 | 1184 | 6035970 | 6003736 | 5279626 | 5247392 | -4 | -3.6512 | NA |  | 2018
2013 | 1356.72 | 1352 | 1252.477 | 1248 | 0 | 1248 | 6028387.7595 | 6008772.3975 | 5276023.437 | 5256408.075 | 64 | 58.4192 | NA |  | 2020 2021 2022 | 7.54%
2014 | 1385 | 1387 | 1289 | 1291 | 0 | 1291 | 5973273.272 | 5981108 | 5211868.875 | 5219704 | 43 | 39.2504 | NA
2015 | 1398 | 1386 | 1279 | 1266 | 0 | 1266 | 6141917 | 6086745 | 5318795 | 5263622 | -25 | -22.82 | NA
2016 | 1509 | 1509 | 1397 | 1397 | -1.1 | 1395.9 | 6188610 | 6187025 | 5381661 | 5380076 | 129.9 | 118.5727 | NA
2017 | 1575 | 1579 | 1459 | 1463 | -1.1 | 1461.9 | 6205925 | 6223229 | 5387064 | 5404368 | 66 | 60.5088 | NA
2018 | 1560 | 1545 | 1446 | 1429 | -1.2 | 1427.8 | 6377762 | 6313451 | 5537652 | 5473342 | -34.1 | -31.2629 | NA |  | (At Meter) | (At Meter)
2019 | 1596.4634 | 1583 | 1516.0138 | 1501 | -1.2 | 1499.8 | 6322246.519 | 6267980.6345 | 5528607.584 | 5474341.6995 | 72 | 66.0096 | NA |  | For Table 1 | For Table 1
2020 | 1730 | 1703 | 1616 | 1586 | -1.3 | 1584.7 | 6438524 | 6337632 | 5430359 | 5329467 | 84.9 | 77.8363 | NA |  | % of 5 yr avg Growth | .4% of Peak Dmnd
2021 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 38.2016 | 30% | 11.46 | 5.1718 | 2015-2019 for 2021 | The line loss factor is used for the year (2021) not for the years affected (2015-2019).
2022 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 58.3329 | 30% | 17.5 | 5.4055 | 2016-2020 for 2022
[15 empty] | R15 is also on page 13 |  | (Use 7.54% for years 2020 to 2022 until next fuel rec. approved.
Average of residential and commercial peak demand at source net Opt-Outs = (1,396 + 1,462 + 1,428 + 1,500 + 1,585) / 5 = 1,474 | [10 empty] | 1474.02 | [5 empty] | Line loss factor is effective in Final Order 50058 effective April 1, 2019.
Energy Efficiency Identification Notice for the two Isomedix facilities: 1441 Don Haskins (Account #2594710000) and 1435 Isomedix Place (Account #8552000000) extended the Service Agreement Industrial Opt-Out for 3 years to 12/31/22.
The demand reduction goal to be acquired in 2021 (11.16 MW) is greater than four-tenths of one percent of EPE’s 5-year average summer weather-adjusted peak demand for 2015 through 2019, which is ____ MW as shown in Table 1.
Demand goal at the meter = ((5-year average) x 30% annual growth in demand reduction) x (1 - .0754 line loss at EPE Meter)
[6 empty] | 2022 goal compared to the average of 2016-2020 adjusted for Line Loss | 0.8252% | p. 13
[6 empty] | 2021 goal compared to the average of 2015-2019 adjusted for Line Loss | 0.8553%
[6 empty] | 2020 goal compared to the average of 2014-2018 adjusted for Line Loss | 0.889%
[6 empty] | 2019 goal compared to the average of 2013-2017 adjusted for Line Loss | 0.9132%
To calculate its annual growth in demand for calendar year 2020 to 2022, EPE used an 7.54% line-loss factor approved by the Commission in its last fuel reconciliation proceeding, Docket No. 50058, approved 3.___.21.
To calculate its annual growth in demand for calendar year 2017 to 2020, EPE used an 8.32% line-loss factor approved by the Commission in its last fuel reconciliation proceeding, Docket No. 46308, approved 6.29.17.

## Table 5
Table 5
2022 | Projected Savings (at meter)
Customer Class and Program | kW | kWh
Commercial | 10541 | 18208716
Small Commercial Solutions MTP | 730 | 3197400
Large C&I Solutions MTP | 2011 | 10569816
Texas SCORE MTP | 750 | 4270500
Commercial Load Management SOP | 7000 | 21000
Residential Marketplace Pilot MTP | 50 | 150000
Residential | 8486 | 7621590
Residential Solutions MTP | 545 | 954840
LivingWise® MTP | 200 | 727600
FutureWise® MTP | 106 | 494000
Texas Appliance Recycling MTP | 195 | 1579200
Residential Marketplace Pilot MTP | 950 | 2850000 | 1000 | 3000000
Residential Load Management MTP | 6490 | 1015950
Hard-to-Reach | 800 | 1051200
Hard-to-Reach Solutions MTP | 800 | 1051200
Total | 19827 | 26881506
2023 | Projected Savings (at meter)
Customer Class and Program | kW | kWh
Commercial | 10411 | 17468496
Small Commercial Solutions MTP | 730 | 3197400
Large C&I Solutions MTP | 2011 | 10569816
Texas SCORE MTP | 620 | 3530280
Commercial Load Management SOP | 7000 | 21000
Residential Marketplace Pilot MTP | 50 | 150000
Residential | 19996 | 8605640
Residential Solutions MTP | 545 | 954840
LivingWise® MTP | 200 | 727600
FutureWise® MTP | 106 | 494000
Texas Appliance Recycling MTP | 195 | 1579200
Residential Marketplace Pilot MTP | 950 | 2850000 | 1000 | 3000000
Residential Load Management MTP | 18000 | 2000000
Hard-to-Reach | 800 | 1051200
Hard-to-Reach Solutions MTP | 800 | 1051200
Total | 31207 | 27125336

## Table 6
Table 6: Proposed Annual Budget Broken Out by Program for Each Customer Class
2022 | Incentives | Admin & R&D | Total Budget
Commercial | 2461413 | 0 | 2461413
Small Commercial Solutions MTP | 461115 | 0 | 461115
Large C&I Solutions MTP | 1005396 | 0 | 1005396
Texas SCORE MTP | 519902 | 0 | 519902
Commercial Load Management SOP | 460000 | 0 | 460000
Residential Marketplace Pilot MTP | 15000 | 0 | 15000
Residential | 1955026 | 0 | 1955026
Residential Solutions MTP | 315000 | 0 | 315000
LivingWise™ MTP | 346346 | 0 | 346346
FutureWise MTP | 300000 | 0 | 300000
Texas Appliance Recycling MTP | 255000 | 0 | 255000
Residential Marketplace Pilot MTP | 285000 | 0 | 285000 | 300000
Residential Load Management MTP | 453680 | 0 | 453680
Hard-to-Reach | 600000 | 0 | 600000
Hard-to-Reach Solutions MTP | 600000 | 0 | 600000
Administration |  | 87793 | 87793
Research and Development |  | 25000 | 25000
Subtotal Budgets | 5016439 | 112793 | 5129232
EM&V * |  | 57216 | 57216
EECRF Proceeding Expenses |  | 100000 | 100000
Total Budgets | 5016439 | 270009 | 5286448
2023 | Incentives | Admin & R&D | Total Budget
Commercial | 2411413 | 0 | 2411413
Small Commercial Solutions MTP | 461115 | 0 | 461115
Large C&I Solutions MTP | 1005396 | 0 | 1005396
Texas SCORE MTP | 469902 | 0 | 469902
Commercial Load Management SOP | 460000 | 0 | 460000
Residential Marketplace Pilot MTP | 15000 | 0 | 15000
Residential | 2201346 | 0 | 2201346
Residential Solutions MTP | 315000 | 0 | 315000
LivingWise® MTP | 346346 | 0 | 346346
FutureWise® MTP | 300000 | 0 | 300000
Texas Appliance Recycling MTP | 255000 | 0 | 255000
Residential Marketplace Pilot MTP | 285000 | 0 | 285000
Residential Load Management MTP | 700000 | 0 | 700000
Hard-to-Reach | 600000 | 0 | 600000
Hard-to-Reach Solutions MTP | 600000 | 0 | 600000
Administration |  | 87793 | 87793
Research and Development |  | 25000 | 25000
Subtotal Budgets | 5212759 | 112793 | 5325552
EM&V |  | 67272 | 67272
EECRF Proceeding Expenses |  | 100000 | 100000
Total Budgets | 5212759 | 280065 | 5492824

## Table 7
Table 7: Historical Demand Savings and Energy Targets (at Meter) |  |  |  |  | REPLACE CONTENTS IN TABLE IN EEPR
Calendar Year | Demand Goals (kW) | Energy Targets (kWh) | Actual Demand Reduction (kW) | Actual Energy Savings (kWh)
20214 | 11160 | 19552320 | 27324.8627 | 27951497.7334
20205 | 11160 | 19552320 | 20740 | 30704424
20196 | 11160 | 19552320 | 19424 | 24825792
20187 | 11160 | 19552320 | 16846 | 20726306
20178 | 11160 | 19552320 | 15285 | 23311792
20169 | 11160 | 19552320 | 12790 | 22912026
201510 | 11160 | 19552320 | 12305 | 22282527
2014 | 11160 | 19552320 | 13389 | 22117822
2013 | 11160 | 19552320 | 14188 | 23394394
| Footnote 7 page 19 |  | 29553.1719 | kW at the source.
244.8%
1.0371

## Table 8
Table 8: Projected versus Reported Savings for 2020 and 2021 (at Meter)
2020 | Projected Savings |  | Reported and Verified Savings
Customer Class and Program | kW | kWh | kW | kWh
Commercial | 10266 | 16681094 | 16044.0539 | 23664620
Small Comm. Solutions MTP | 730 | 3197400 | 749.83 | 2925568
Large C&I Solutions MTP | 2011 | 10569816 | 3615.23 | 15054617
Texas SCORE MTP | 500 | 2847000 | 1191.182 | 5197201
Load Management SOP | 7000 | 21000 | 10397 | 40975
Residential Marketplace Pilot MTP | 25 | 45878 | 90.8119 | 446258.7
Residential | 5375 | 4323399 | 3731.7672 | 5736975.231
Residential Solutions MTP | 545 | 954840 | 734.2987 | 1219379.921
LivingWise® MTP | 200 | 727600 | 326.26 | 855290.21
Texas Appliance Recycling | 195 | 1579200 | 76.5585 | 620400
Residential Marketplace Pilot MTP | 475 | 871679 | 627 | 2152246.9
Residential Load Management MTP | 3960 | 190080 | 1967.65 | 889658.2
Hard-to-Reach | 800 | 1051200 | 963.6829 | 1302829
Hard-to-Reach Solutions MTP | 800 | 1051200 | 963.6829 | 1302829
Total at Meter | 16441 | 22055693 | 20739.504 | 30704424.231
2021 | Projected Savings |  | Reported and Verified Savings |  |  | Will not match Master
Customer Class and Program | kW | kWh | kW | kWh
Commercial | 10516 | 18104593.85 | 16123.5737 | 17840092
Small Comm. Solutions MTP | 730 | 3197400 | 728.361 | 2954835
Large C&I Solutions MTP | 2011 | 10569816 | 2042.777 | 11952274
Texas SCORE MTP | 750 | 4270500 | 982.0768 | 2810405.1629
Load Management SOP | 7000 | 21000 | 12343.9122 | 12344 | kW | kWh
Residential Marketplace Pilot MTP | 25 | 45877.85 | 26.4467 | 110233.7038 | 26.4467 | 110233.7038
Residential | 5375 | 4323399.15 | 10084.1425 | 8548910.5634
Residential Solutions MTP | 545 | 954840 | 1114.715 | 1932842.289
LivingWise® MTP | 200 | 727600 | 332.9292 | 1159616.8902
Texas Appliance Recycling MTP | 195 | 1579200 | 89.991 | 729251.912
Residential Marketplace Pilot MTP | 475 | 871679.15 | 502.4873 | 2094440.3722 | 502.4873 | 2094440.3722
Residential Load Management MTP | 3960 | 190080 | 8044.02 | 2632759.1
Hard-to-Reach | 800 | 1051200 | 1117.1465 | 1562495.17
Hard-to-Reach Solutions MTP | 800 | 1051200 | 1117.1465 | 1562495.17
Total at Meter | 16691 | 23479193 | 27324.8627 | 27951497.7334 | 528.934 | 2204674.076
[5 empty] | 528.934 | 2204674.076

## Table 9
Table 9: Historical Program Incentive & Administrative Expenditures for 2017 through 2021
| 2021 |  |  | 2020 | 2019 |  | 2018 |  | 2017 |  | 2016 |  | 2015 |  | 2014 |  | 2013 |  | 2020 Admin
Programs | Incent. | Admin |  |  | Incent. | Admin | Incent. | Admin | Incent. | Admin. | Incent. | Admin. | Incent. | Admin. | Incent. | Admin. | Incent. | Admin
Commercial | 2465273.5 | 0 | 3121640.476 | 0 | 2672189.83 | 0 | 2317475.8 | 0 | 2589932 | 0 | 2354215 | 0 | 2308969 | 739.05 | 2414919 | 1450 | 2646031 | 21614 | 49020.86
Commercial SOP | NA | NA | NA | NA | NA | NA | NA | NA | 23821 | 0 | 14605 | 0 | 160945 | 739.05 | 180951 | 1450 | 204235 | 21091 | NA
Small Comm. Solutions MTP | 460528.63 | 0 | 470425.22 | 0 | 502403.05 | 0 | 487159.88 | 0 | 487385 | 0 | 524420 | 0 | 426637 | 0 | 458717 | 0 | 461625 | 0 | 7841.25
Large C&I Solutions MTP | 1014931.67 | 0 | 1512745.81 | 0 | 1131459.61 | 0 | 1006553.16 | 0 | 1038708 | 0 | 1054659 | 0 | 932618 | 0 | 820871 | 0 | 872385 | 0 | 22626.71
Texas SCORE MTP | 528378.79 | 0 | 704019.99 | 0 | 597686.62 | 0 | 417779.24 | 0 | 652225 | 0 | 436538 | 0 | 447792 | 0 | 468130 | 0 | 440716 | 0 | 7474.98
Comm. Load Management SOP | 453752.51 | 0 | 423754.08 | 0 | 440640.55 | 0 | 405983.52 | 0 | 387793 | 0 | 323993 | 0 | 318627 | 0 | 462300 | 0 | 464700 | 0 | 11077.92
Commercial Rebate Pilot MTP | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | 22350 | 0 | 23950 | 0 | 202370 | 523 | NA
Residential Marketplace Pilot MTP | 7681.9 | 0 | 10695.376 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Residential | 1691497.3 | 0 | 1120182.704 | 0 | 796927.48 | 0 | 757856.23 | 0 | 585053 | 0 | 592090 | 0 | 548496 | 0 | 560482 | 0 | 536266 | 0 | 81286.23
Residential Solutions MTP | 484375.55 | 0 | 354426.81 | 0 | 312730.73 | 0 | 411547.48 | 0 | 238744 | 0 | 245748 | 0 | 202144 | 0 | 214136 | 0 | 190006 | 0 | 6062.19
LivingWise® MTP | 346308.75 | 0 | 179993.75 | 0 | 345533.75 | 0 | 346308.75 | 0 | 346309 | 0 | 346342 | 0 | 346352 | 0 | 346346 | 0 | 346260 | 0 | 4701.74
Texas Appliance Recycling MTP | 186240 | 0 | 99150 | 0 | 138663 | NA | NA | NA | NA | NA | NA | NA | 140418 | 0 | 181185 | 0 |  |  | 14617.6
Residential Marketplace Pilot MTP | 124744.21 | 0 | 203212.144 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA |  |  | 949.32
Residential Load Management MTP | 549828.79 | 0 | 283400 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA |  |  | 54955.38
Hard-to-Reach | 623570.04 | 0 | 664708.1 | 0 | 571015.61 | 0 | 601732.44 | 0 | 555425 | 0 | 662577 | 0 | 651474 | 0 | 576214 | 0 | 600238 | 0 | 9978.99
Hard-to-Reach Solutions MTP | 623570.04 | 0 | 664708.1 | 0 | 571015.61 | 0 | 601732.44 | 0 | 555425 | 0 | 662577 | 0 | 651474 | 0 | 576214 | 0 | 600238 | 0 | 9978.99
Residential/Commercial | 0 | 0 | 0 | 0 | 145658 | 0 | 287988.39 | 0 | 0 | 0 | 0 | 0 | 140418 | 0 | 181185 | 0 | 454833 | 42735 | 0
Texas Appliance Recycling MTP | NA | NA | NA | NA | NA | NA | 87437.5 | 0 | NA | NA | NA | NA | 140418 | 0 | 181185 | 0 | 241747 | 7145 | NA
Solar PV Pilot MTP | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 194230 | 30178.29 | 224195 | 33941 |  |  | NA
Demand Response Pilot MTP | NA | NA | NA | NA | 145658 | 0 | 200550.89 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | 213086 | 35590 | NA
Total | 4780340.84 | 0 | 4906531.28 | 0 | 4185790.92 | 0 | 3965052.86 | 0 | 3730410 | 0 | 3608882 | 0 | 3649357 | 739.05 | 3732800 | 1450 | 4237368 | 64349 | 140286.08
4780340.84

## Table 10
Table 10: Program Funding for Calendar Year 2021
| Total Projected Budget | Number of Participants | Actual Funds Expended (Incentives) | Actual Funds Expended (Admin & R&D) | Total Funds Expended | Funds Committed (Not Expended) | Funds Remaining |  | Column E - Use the Master Spreadsheet tab Summary W-O Allocations
Commercial | 2461413 | 373.65 | 2465273.5 | 0 | 2465273.5 | 0 | -3860.5
Small Commercial Solutions MTP | 461115 | 173 | 460528.63 |  | 460528.63 |  | 586.37
Large C&I Solutions MTP | 1005396 | 97 | 1014931.67 |  | 1014931.67 |  | -9535.67
Texas SCORE MTP | 519902 | 37 | 528378.79 |  | 528378.79 |  | -8476.79
Comm. Load Management SOP | 460000 | 12 | 453752.51 |  | 453752.51 |  | 6247.49
Residential Marketplace Pilot MTP | 15000 | 54.65 | 7681.9 |  | 7681.9 |  | 7318.1
Residential | 1511346 | 19068.35 | 1691497.3 | 0 | 1691497.3 | 0 | -180151.3
Residential Solutions MTP | 315000 | 1221 | 484375.55 |  | 484375.55 |  | -169375.55
LivingWise® MTP | 346346 | 8937 | 346308.75 |  | 346308.75 |  | 37.25 |  | 124744.21
Texas Appliance Recycling MTP | 255000 | 950 | 186240 |  | 186240 |  | 68760
Residential Marketplace Pilot MTP | 285000 | 1038.35 | 124744.21 |  | 124744.21 |  | 160255.79 | 132426.11 | 132426.11
Residential Load Management MTP | 310000 | 6922 | 549828.79 |  | 549828.79 |  | -239828.79
Hard-to-Reach | 600000 | 437 | 623570.04 | 0 | 623570.04 | 0 | -23570.04
Hard-to-Reach Solutions MTP | 600000 | 437 | 623570.04 |  | 623570.04 |  | -23570.04
Administration | 87793 |  |  | 79265.81 | 79265.81 |  | 8527.19
Research and Development | 25000 | [5 empty] | 25000
Subtotal | 4685552 | 19879 | 4780340.84 | 79265.81 | 4859606.65 | 0 | -174054.65
EM&V | 57378 |  |  | 56022 | 56022 |  | 0
EECRF Proceeding Expenses (EPE & Municipal expenses)* | 100000 |  |  | 85366.94 | 85366.94 |  | 14633.06 |  | Proceeding Expenses may not match Master Spreadsheet due to invoicing.
Total | 4842930 | 19879 | 4780340.84 | 220654.75 | 5000995.59 | 0 | -159421.59
|  |  | 4780340.84 |  |  |  | 103.7147 | % on VIII.
7318.1 |  |  |  |  | 178968.75

## Table 11
Table 11: Program Comparison – Budget to Actual Expenditures
Programs | 2021 Budget | 2021 Expenditures | Percent | >10% Variance Explanation
Commercial | 2461413 | 2465273.5 | 100.2%
Small Commercial Solutions MTP | 461115 | 460528.63 | 99.87%
Large C&I Solutions MTP | 1005396 | 1014931.67 | 100.9%
Texas SCORE MTP | 519902 | 528378.79 | 101.6%
Comm. Load Management SOP | 460000 | 453752.51 | 98.64%
Residential Marketplace Pilot MTP | 15000 | 7681.9 | 51.21% | Remaining program funds were reallocated to the Residential Load Management MTP as the programs work in tangent.
Residential | 1511346 | 1691497.3 | 111.9%
Residential Solutions MTP | 315000 | 484375.55 | 153.8% | Program had more participation than was anticipated.
LivingWise® MTP | 346346 | 346308.75 | 99.99%
Texas Appliance Recycling MTP | 255000 | 186240 | 73.04% | Program did not achieve anticipated participation. Funds were reallocated to programs with higher participation.
Residential Marketplace Pilot MTP | 285000 | 124744.21 | 43.77% | Remaining program funds were reallocated to the Residential Load Management MTP as the programs work in tangent. | 132426.11
Residential Load Management MTP | 310000 | 549828.79 | 177.4% | Additional funds were reallocated from the Residential Marketplace Pilot MTP as the programs work in tangent.
Hard-to-Reach | 600000 | 623570.04 | 103.9%
Hard-to-Reach Solutions MTP | 600000 | 623570.04 | 103.9%
Administration | 87793 | 79265.81
Research and Development | 25000 | 0
Total | 4685552 | 4859606.65 | 103.7%

## Table 13
Table 13: Authorized and Actual Recovery Amounts
Description | Authorized in Docket No. 50806 | Actual
January 1 – December 31, 2021 Energy Efficiency Costs | 4685552 | 4859606.65
Program Year 2021 EM&V Costs | 57378 | 56022
2019 Over/(Under) Recovery | 2455 | 2455
2019 Performance Bonus | 1175558 | 1175558
Reduction to Residential Class's EECRF Pursuant to Docket No. 50806 | -75000 | -75000
2019 EECRF Proceeding Costs | 56641 | 56641
2021 Total Costs | 5902584 | 6075282.65
2021 EECRF Revenues |  | 5787344.43
2021 (Over)/Under Recovery |  | 287938.22

## Table 14
County | # of Participants | Reported Savings
|  | kW | kWh
El Paso County | 19766 | 27298.2019 | 27852738.569
Culberson | 37 | 23.8138 | 88548.54
Hudspeth | 76 | 2.85 | 10210.83
Total | 19879 | 27324.8657 | 27951497.939

## Appendix A
|  |  |  | El Paso | 27298.2019
|  |  |  | Culberson | 23.8138
Commercial SOP |  |  |  | Hudspeth | 2.85
[5 empty] | 27324.8657 | kW
County | # of Participants | Reported Savings |  | El Paso | 27852738.569
|  | kW | kWh | Culberson | 88548.54
El Paso County |  |  |  | Hudspeth | 10210.83
Total |  |  |  |  | 27951497.939 | kWh
14369
Small Commercial Solutions MTP |  |  |  | El Paso | 19766
|  |  |  | Culberson | 37
County | # of Participants | Reported Savings |  | Hudspeth | 76
|  | kW | kWh | Total # Participants: | 19879 | Participants
El Paso County | 167 | 722.19 | 2933988 |  | 19879 |  | X
Culberson County | 6 | 6.17 | 20847
Hudspeth County | 0 | 0 | 0
Total | 173 | 728.36 | 2954835 |  |  |  | X
Large C&I Solutions MTP |  |  |  | Total kW:
27324.8657
County | # of Participants | Reported Savings
|  | kW | kWh | Total kWh:
El Paso County | 97 | 2042.777 | 11952274 | 27951497.939 |  |  | X
Culberson County | 0 | 0 | 0
Hudspeth | 0 | 0 | 0
Total | 97 | 2042.777 | 11952274 |  |  |  | X
Texas SCORE MTP
County | # of Participants | Reported Savings
|  | kW | kWh
El Paso County | 32 | 967.13 | 2750648 |  |  |  | X
Culberson | 5 | 14.95 | 59757
Hudspeth | 0 | 0 | 0
Total | 37 | 982.08 | 2810405 |  |  |  | X
Commercial Load Management SOP
County | # of Participants | Reported Savings
|  | kW | kWh
El Paso County | 12 | 12343.9122 | 12344
Culberson | 0 | 0 | 0
Hudspeth | 0 | 0 | 0
Total | 12 | 12343.9122 | 12344
Residential Solutions MTP
County | # of Participants | Reported Savings
|  | kW | kWh
El Paso County | 1220 | 1113.5416 | 1931118.609
Culberson | 1 | 1.1734 | 1723.68
Hudspeth | 0 | 0 | 0
Total | 1221 | 1114.715 | 1932842.289
LivingWise® MTP
County | # of Participants | Reported Savings
|  | kW | kWh
El Paso County | 8839 | 329.28 | 1146900.94
Culberson | 23 | 0.86 | 2984.36
Hudspeth | 75 | 2.79 | 9731.6
Total | 8937 | 332.93 | 1159616.9
Hard-to-Reach Solutions MTP
County | # of Participants | Reported Savings
|  | kW | kWh
El Paso County | 437 | 1117.1465 | 1562495.17
Culberson | 0 | 0 | 0
Hudspeth | 0 | 0 | 0
Total | 437 | 1117.1465 | 1562495.17
Appliance Recycling MTP
County | # of Participants | Reported Savings
|  | kW | kWh
El Paso County | 949 | 89.931 | 728773.25
Culberson | 0 | 0 | 0
Hudspeth | 1 | 0.06 | 479.23
Total | 950 | 89.991 | 729252.48
Residential Load Management Program MTP
County | # of Participants | Reported Savings
|  | kW | kWh
El Paso County | 6922 | 8044.02 | 2632759 |  |  |  | X | X | X
Culberson | 0 | 0 | 0
Hudspeth | 0 | 0 | 0
Total | 6922 | 8044.02 | 2632759 |  |  |  | X | X | X
Residential Marketplace Pilot MTP
County | # of Participants | Reported Savings
|  | kW | kWh
El Paso County | 1091 | 528.2736 | 2201437.6
Culberson | 2 | 0.6604 | 3236.5
Hudspeth | 0 | 0 | 0
Total | 1093 | 528.934 | 2204674.1

## M&V
Calendar (Annual) Year | Expected Actual Annual (CY) Budgets (as of 12/13/2018) | Used to evaluate. . . | Cost allocation 3.18%
2017 | 1773334 | PY2016 programs | 56330.6938
2018 | 1773334 | PY2017 programs | 56330.6938
2019 | 1806574 | PY2018 programs | 57386.5763
2020 | 1837344 | PY2019 programs | 58363.9981
Totals | 7190586