TO:		Bradley Reynolds, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		January 18, 2022

RE:	Docket No. 52975 – Application of Quadvest, LP to Amend its Certificates of Convenience and Necessity in Harris and Montgomery Counties

On December 15, 2021, Quadvest, LP (Quadvest) filed with the Public Utility Commission of Texas (Commission) an application to amend its water certificate of convenience and necessity (CCN) No. 11612 and sewer CCN No. 20952 in Harris and Montgomery Counties, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

Based on the mapping review by Tracy Montes, Infrastructure Division, maps and digital data submitted with Item 2 on December 15, 2021 are sufficient. The application indicates that the total acreage being requested is approximately 186 acres. Ms. Montes determined the requested area is approximately 185 acres as described below.

The requested area includes 450 customer connections and approximately 185 acres, comprised of:

181 acres of uncertificated area; and

4 acres of decertified area from CCN Nos. 11612 and 20952.

The application proposes the subtraction of approximately 4 acres from CCN Nos. 11612 and 20952 and the addition of approximately 181 acres to CCN Nos. 11612 and 20952.

Based on my technical and managerial review of the information filed by Quadvest, I recommend that the application be deemed administratively complete.  I further recommend that Quadvest be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Aqua Texas Inc. (CCN Nos. 13203, 21065)

- Arch Utility (CCN No. 13218)

- Bayou Shadows (CCN No. 12869)

- Cypresswood Estates (CCN No. 12498)

- G & W Water Supply Corporation (WSC) (CCN No. 12391)

- H-M-W Special Utility District (SUD) (CCN No. 10342)

- Rosehill Ranchettes Water System (CCN No. 11955)

- SP Utility Company Inc. (CCN No. 12978)

- SRC Water Supply Inc. (CCN No. 12258)

- Bauer Landing Water Control Improvement District

- Coastal Water Authority

- Gulf Coast Waste Disposal Authority

- Harris County Flood Control District

- Harris County MUD 441

- Harris County MUD 565

- North Harris County Regional Water Authority

- Port of Houston Authority

- San Jacinto River Authority

  - The county judge of each county that is wholly or partially included in the requested area:

- Harris County Judge

- Montgomery County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Harris-Galveston Subsidence District

- Lone Star Groundwater Conservation District

  - Each landowner of a tract of land that is at least 25 acres and is wholly or partly located in the requested area.  Notice must be mailed to the owner of the tract of land according to the most current tax appraisal rolls of the applicable central appraisal district at the time the application was filed.

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained by Quadvest from the Water Utility Database at http://www.puc.texas.gov/watersearch.  District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Publish notice once each week for two consecutive weeks in a newspaper having general circulation in each county where the requested area is located.  Proof in the form of a publisher’s affidavit must be filed within 30 days of the publication date.  The affidavit must state with specificity each county in which the newspaper is of general circulation.  Within 30 days of the date the notice was mailed, Quadvest must file an affidavit specifying the notice that was provided to every person and entity to whom notice was provided and the date the notice was mailed.

- Provide notice using the attached notice forms.

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, landowners and customers.

- File in the docket a copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, the date that the notice was provided, and the publisher’s affidavit and tear sheets for proof of newspaper publication.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to Quadvest.  Quadvest will have 20 days from the receipt of the RFI to respond.