TO:		Kevin Bartz, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:	May 25, 2022

RE:	Docket No. 53000 – Application of Camelot Water Supply Corporation and Travis County Water Control and Improvement District No. 10 for Sale, Transfer, or Merger of Facilities and Certificate Rights in Travis County

On December 20, 2021, Travis Co. Water Control & Improvement District No. 10 (Travis Co. WCID No. 10) and the Camelot Water Supply Corporation (Camelot WSC) (collectively Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Travis County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, Travis Co. WCID No. 10, certificate of convenience and necessity (CCN) No. 10306, seeks approval to acquire facilities and to transfer all of the water service area from Camelot WSC under water certificate of convenience and necessity (CCN) No. 10317.  The requested area includes 28 customer connections and approximately 150 acres, comprised of 116 acres of uncertificated area and 34 acres of transferred area from CCN No. 10317 to CCN No. 10306.

The application proposes the subtraction of approximately 116 acres from CCN No. 10317 and the addition of approximately 150 acres to CCN No. 10306.

Based on the mapping review by Tracy Montes, Infrastructure Division, maps and digital data submitted with Item 5 on February 18, 2022 are sufficient.  Based on my technical and managerial review of the information filed, I recommend that the application be deemed administratively complete. I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Barton Creek West Water Supply Corporation (WSC) (CCN No. 12712)

- City of Austin

- City of West Lake Hills

- Crystal Mountain Utility Company (CCN No. 12304)

- Lost Creek Municipal Utility District (MUD)

- Lower Colorado River Authority

- Travis County MUD 3

- Travis County MUD 4

- Travis County MUD 5

- Travis County MUD 6

- Travis County MUD 7

- Travis County MUD 8

- Travis County MUD 9

- Travis County MUD 10

- Travis County MUD 18

- Travis County MUD 19

- Travis County MUD 20

- Travis County Water Control Improvement District (WCID) No. 19 (CCN No. 11741)

- West Travis County Public Utility Agency (CCN No. 13207)

  - The county judge of each county that is wholly or partially included in the requested area:

- Travis County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- None.

  - Each owner of a tract of land that is at least 25 acres and is wholly or partly located in the requested area. Notice must be mailed to the owner of the tract of land according to the most current tax appraisal rolls of the applicable central appraisal district at the time the application was filed.

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Provide notice using the attached notice form(s).

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, landowners and customers.

- File in the docket copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, the date that the notice was provided, and the publisher’s affidavit and tear sheets for proof of newspaper publication

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to Travis Co. WCID No. 10 and Camelot WSC.  Travis Co. WCID No. 10 and Camelot WSC will have 20 days from the receipt of the RFI to respond.