TO:		Scott Miles and Bradley Reynolds, Attorneys

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	April 14, 2022

RE:	Docket No. 53085 – Petition of Inspiration West, LLC to Amend Seis Lagos Utility District’s Sewer Certificate of Convenience and Necessity in Collin County by Streamlined Expedited Release

On January 12, 2022, Inspiration West, LLC (Inspiration West) filed a petition for streamlined expedited release from Seis Lagos Utility District's (Seis Lagos) sewer Certificate of Convenience and Necessity (CCN) No. 20502 in Collin County, under Texas Water Code (TWC) § 13.2541(b) and 16 Texas Administrative Code (TAC) § 24.245(h). Inspiration West asserts that the land is at least 25 contiguous acres, is not receiving sewer service, and is located in Collin County, which is a qualifying county.

Inspiration West submitted a sworn affidavit attesting that the tract of land was not receiving sewer service from Seis Lagos and a warranty deed confirming ownership of the landowner’s total property.  Inspiration West included a statement indicating a copy of the petition was sent via certified mail to Seis Lagos on the date the petition was filed with the Commission.

Based on the mapping review by Tracy Montes and Hank Journeay, Infrastructure Division, the maps submitted with Item 6 on March 8, 2022 are sufficient for determining the location of the tract of land considered for streamlined expedited release is located within Seis Lagos’s sewer CCN.  Tracy Montes and Hank Journeay determined the following:

The landowner’s total property is approximately 73.2 acres. The tract of land in the petition for streamlined expedited release is approximately 73.2 acres, of which approximately 72.7 acres overlap Seis Lagos Utility District (CCN No. 20502) and would be decertified from CCN No. 20502.

Based on my technical and managerial review, and the mapping review by Tracy Montes and Hank Journeay, the information provided by Inspiration West on January 12, 2022 and March 8, 2022 is sufficient. Therefore, I recommend the petition be deemed administratively complete and accepted for filing.