TO:		Scott Miles and Brad Reynolds, Attorneys

Legal Division

FROM:	James Harville, Infrastructure Analyst

Infrastructure Division

DATE:		March 10, 2022

RE:	Docket No. 53201 – Petition of 2021 FII Walnut Springs, LLC to Amend Springs Hill Water Supply Corporation’s Certificate of Convenience and Necessity in Guadalupe County by Streamlined Expedited Release

On February 8, 2022, FII Walnut Springs, LLC (FII Walnut Springs) filed a petition for streamlined expedited release from Springs Hill Water Supply Corporation's (Springs Hill) water Certificate of Convenience and Necessity (CCN) No. 10666 in Guadalupe County, under Texas Water Code (TWC) § 13.2541(b) and 16 Texas Administrative Code (TAC) § 24.245(h). FII Walnut Springs asserts that the land is at least 25 contiguous acres, is not receiving water service, and is located in Guadalupe County, which is a qualifying county.

FII Walnut Springs submitted a sworn affidavit attesting that the tract of land was not receiving water service from Springs Hill and a warranty deed confirming ownership of the landowner’s total property.  FII Walnut Springs included a statement indicating a copy of the petition was sent via certified mail to Springs Hill on the date the petition was filed with the Commission.

Based on the mapping review by Gary Horton, Infrastructure Division, the maps submitted with Item 1 on February 8, 2022 are sufficient for determining the location of the tract of land considered for streamlined expedited release is located within Springs Hill’s water CCN.  Gary Horton determined the following:

The landowner’s total property is approximately 200.81 acres divided into three non-contiguous areas. The 0.19 acre area does not meet the 25-acre requirement. The tract of land in the petition for streamlined expedited release is approximately 200.62 acres, of which approximately 200.62 acres overlap Springs Hills WSC (CCN No. 10666) and would be decertified from CCN No. 10666.

Based on my technical and managerial review and the mapping review by Gary Horton of the information provided by FII Walnut Springs, I recommend the petition be deemed administratively complete and accepted for filing.