TO:		Jenna Keller, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	March 21, 2022

RE:	Docket No. 53238 – Application of Simply Aquatics, Inc. and CSWR-Texas Utility Operating Company, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Montgomery, Sabine, and San Augustine Counties

On February 17, 2022, CSWR-Texas Utility Operating Company, LLC (CSWR-Texas) and Simply Aquatics, Inc. (Simply Aquatics) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Montgomery, Sabine, and San Augustine counties, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, the parties seek approval to acquire facilities and to transfer all of the water service area from Simply Aquatics under Certificate of Convenience and Necessity (CCN) No. 13259 to CSWR-Texas under water CCN No. 13290.  The total requested area includes 254 customer connections and approximately 523 acres of transferred area from Simply Aquatics (CCN No. 13259) to CSWR-Texas (CCN No. 13290).

The application proposes the subtraction of approximately 523 acres from CCN No. 13259 and the addition of approximately 523 acres to CCN No. 13290.

The application indicates that the total acreage being requested is approximately 526 acres.  Based on the mapping review by Hank Journeay, Infrastructure Division, it was determined the requested area is approximately 523 acres.

Additionally, based on the mapping review by Hank Journeay, Infrastructure Division, maps submitted with Item 9 on February 25, 2022 are sufficient.  Based on my technical and managerial review of the information filed, I recommend that the application be found administratively complete. I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- Stanley Lake MUD (CCN No. 11222)

- Aqua Texas Inc. (CCN No. 13203)

- Pine Lake WSC Inc. (CCN No. 12941)

- T & W Water Service Company (CCN No. 12892)

- MSEC Enterprises Inc. (CCN No. 12887)

- Saddle & Surrey Acres WSC (CCN No.12774)

- Lake Bonanza WSC (CCN No. 12703)

- Timberlane Estates POA (CCN No. 12329)

- Del Lago Estates WSC (CCN No. 12103)

- South Sabine WSC (CCN No. 11992)

- Conroe Resort Utilities LLC (CCN No. 11942)

- Quadvest LP (CCN No. 11612)

- Keenan WSC (CCN No. 11409)

- G-M WSC (CCN No. 11393)

- Lake Lorraine Civic Organization (CCN No. 11357)

- City of Conroe

- Angelina & Neches River Authority

- Montgomery County MUD 008

- Montgomery County MUD 009

- Montgomery County MUD 166

- Montgomery County Utility District 3

- Sabine River Authority

- San Jacinto River Authority

  - The county judge of each county that is wholly or partially included in the requested area:

- Montgomery County Judge

- Sabine County Judge

- San Augustine County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Lone Star Groundwater Conservation District

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Provide notice using the attached notice form(s).

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, and customers.

- File in the docket copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, and the date that the notice was provided.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to CSWR-Texas and Simply Aquatics.  CSWR-Texas and Simply Aquatics will have 20 days from the receipt of the RFI to respond.