TO:		Scott Miles and Jenna Keller, Attorneys

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:	March 24, 2022

RE:	Docket No. 53254 – Petition of STC Group Miller, LLC to Amend Bolivar Water Supply Corporation’s Certificate of Convenience and Necessity in Denton County by Streamlined Expedited Release

On February 22, 2022, STC Group Miller, LLC (STC) filed a petition for streamlined expedited release from Bolivar Water Supply Corporation's (Bolivar WSC) water Certificate of Convenience and Necessity (CCN) No. 11257 in Denton County, under Texas Water Code (TWC) § 13.2541(b) and 16 Texas Administrative Code (TAC) § 24.245(h). STC asserts that the land is at least 25 contiguous acres, is not receiving water service, and is located in Denton County, which is a qualifying county.

STC submitted a sworn affidavit attesting that the tract of land was not receiving water service from Bolivar WSC and a special warranty deed with a vendor’s lien confirming ownership of the landowner’s total property.  STC included a statement indicating a copy of the petition was sent via certified mail to Bolivar WSC on the date the petition was filed with the Public Utility Commission of Texas.

Based on the mapping review by Dave Babicki, Infrastructure Division, the maps submitted with Item 1 on February 22, 2022 are sufficient for determining that the location of the tract of land considered for streamlined expedited release is located within Bolivar WSC’s water CCN.

Dave Babicki also determined the landowner’s total property is approximately 202.7 acres. The tract of land in the petition for streamlined expedited release is approximately 202.7 acres, of which approximately 202.7 acres overlap Bolivar WSC (CCN No. 11257) and would be decertified from CCN No. 11257.

Based on my technical and managerial review and the mapping review by Dave Babicki of the information provided by STC, I recommend the petition be deemed administratively complete and accepted for filing.