TO:		Arnett Caviel, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		July 13, 2022

RE:	Docket No. 53262 – Petition of Blackland Water Supply Corporation and the City of Rockwall to Amend Certificate of Convenience and Necessity Under Texas Water Code § 13.255(a) in Rockwall County

On September 10, 2021, Blackland Water Supply Corporation (Blackland WSC) and the City of Rockwall (Rockwall) (collectively, Petitioners) filed a petition to amend Blackland WSC’s water certificate of convenience and necessity (CCN) No. 11305 under Texas Water Code (TWC) § 13.254(a) in Rockwall County, Texas.

On October 11, 2021, Commission Staff recommended the agreements filed by the Petitioners be processed under TWC §§ 13.254(a) and 13.255.  On January 21, 2022, the Petitioners filed a joint petition requesting for decertification of two separate portions of Blackland WSC’s CCN area and approval of contracts under TWC §§ 13.254(a) and 13.255 to complete the decertification of each area.  On February 25, 2022, the Administrative Law Judge (ALJ) severed the docket into two separate dockets.  In this docket, the agreements will be reviewed under TWC § 13.255(a).

Rockwall has filed an agreement pursuant to TWC § 13.255(a), that provides for decertification of a portion of Blackland WSC’s current service area as detailed in the executed agreement filed with the Commission.

Based on the mapping review by Gary Horton, Infrastructure Division:

The petition proposes the subtraction of approximately 649 acres of bounded area and approximately 3 miles of Facilities +200’ CCN from CCN No. 11305.

Rockwall has demonstrated compliance with the Commission’s minimum requirements for public drinking water systems pursuant to TWC § 13.255(m).

Rockwall consented to the proposed final map on June 29, 2022.

Blackland WSC consented to the proposed final map and certificate on June 28, 2022.

Rockwall and Blackland WSC have met the requirements to allow for the decertification of the requested area; therefore, I recommend that the Commission approve the application. I further recommend that Blackland WSC file a copy of the new CCN map along with a written description of the CCN service area in the appropriate county clerk’s office pursuant to Texas Water Code § 13.257(r) and (s).