TO:		Forrest Smith, Attorney

Legal Division

FROM:	James Harville, Infrastructure Analyst

Infrastructure Division

DATE:	April 4, 2022

RE:	Docket No. 53296 – Application of Cresson Crossroads LLC and Cresson Crossroads Municipal Utility District No. 2 for Sale, Transfer, or Merger of Facilities and Certificate Right in Hood County

Cresson Crossroads Municipal Utility District No. 2 (Cresson Crossroads MUD No. 2) and  Cresson Crossroads LLC (Cresson) (collectively, Applicants) filed an application for the sale, transfer, or merger (STM) of facilities and certificate rights in Hood County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, Cresson Crossroads MUD No. 2, seeks approval to acquire facilities and to transfer all of the water service area from Cresson under water Certificate of Convenience and Necessity (CCN) No. 13153.

Based on the mapping review by Tracy Montes, Infrastructure Division, and my technical and managerial review of the information filed by the Applicants, I recommend that the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below:

Application Content:

The following deficiencies must be remedied:

- Transferor CCN

Please submit a response to question 2 indicating how Cresson’s CCN will be affected by this application.

- Customer Deposits

Please submit a completed list of customers with deposits as requested in question 5.

- Improvements

Please provide clarification for question 12, part A and part B, whether the proposed improvements in part B are required to meet the minimum requirements of the Texas Commission on Environmental Quality (TCEQ). Please provide any supporting documentation, or plan approvals for the listed improvements.

- TCEQ Public Water System or Sewer (Wastewater Information)

Please provide the date of the most recent TCEQ compliance investigation and submit the attachment requested in question 22.A.

- Existing Connections and Customers

The response to question 23 indicates there are 300 water connections and 300 sewer connections.  A sewer CCN is not being transferred from Cresson. Please provide an explanation for why a sewer connection count was included here.

- Purchased Water Agreement

Please refer to question 26.A. The applicant specifies Cresson Energy provides 100.00% of the demand for capacity requirements, but we are unable to find a public water system registered under Cresson Energy.  Please provide the applicable public water system identification number for the providing system, as well as a copy of the purchase agreement.

- Capacity Requirements

Please refer to question 27 and indicate which improvements are necessary between water and sewer to reach capacity requirements for current and projected demands in the area. If any improvements are necessary, please provide supporting documentation or approval from the TCEQ.

- Notice Information

Please refer to question 31 and provide an address where a copy of the proposed map will be located for interested parties.  This will be used for the published notice.

Mapping Content:

Maps and digital mapping data submitted with Item 1 on March 1, 2022 are deficient.

Applicants must submit the following items to resolve the mapping deficiencies:

- A general location map identifying only the requested area, in reference to the nearest county boundary, city, or town;

- A detailed map identifying only the requested area, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads; and

- Digital mapping data for the requested area, as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

Staff recommends the Applicant obtain additional mapping guidance from the PUC’s mapping staff, Tracy Montes by email at tracy.montes@puc.texas.gov to resolve the mapping deficiencies.

Staff will need at least 30 days to review the documentation, maps, and digital data provided by the Applicants and draft a recommendation.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).