TO:		Kevin Bartz, Attorney

Legal Division

FROM:	Patricia Garcia, Infrastructure Analysis Section Director

Infrastructure Division

DATE:		September 12, 2022

RE:	Docket No. 53300 – Application of SJWTX, Inc. dba Canyon Lake Water Service Company to Amend Its Certificate of Convenience and Necessity in Blanco County

- Application

On March 2, 2022, SJWTX, Inc. dba Canyon Lake Water Service Company (SJWTX) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 10692 in Blanco County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

SJWTX is seeking to amend its water CCN for the service area containing 40 customer connections and approximately 337 acres, comprised of uncertificated area.  The application proposes the addition of approximately 337 acres to CCN No. 10692.

- Notice

The deadline to intervene was July 22, 2022; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

Customers in the requested area currently receive service from SJWTX’s Texas Commission on Environmental Quality (TCEQ) approved public water system (PWS) registered as CLWSC Canyon Lake Shores, PWS ID No. 0460019.  SJWTX does not have any violations listed in the TCEQ database.

No additional construction is necessary for SJWTX to serve the requested area.  The Commission’s complaint records, which go back to 2017, show three complaints against SJWTX d/b/a Canyon Lake Water Service Company.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there are 40 existing customers and potential new customers in the requested area.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

SJWTX will be the certificated entity for the requested area and will be required to provide continuous and adequate service to the requested area.

The landowners in the area will have a water provider available when they need to request water service.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Customers in the requested area currently receive service from SJWTX’s TCEQ approved PWS registered as CLWSC Canyon Lake Shores, PWS ID No. 0460019.  SJWTX does not have any violations listed in the TCEQ database.

No additional construction is necessary for SJWTX to serve the requested area.  The Commission’s complaint records, which go back to 2017, show three complaints against SJWTX d/b/a Canyon Lake Water Service Company .

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

SJWTX currently provides service to the requested area.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

SJWTX is currently serving customers in the requested area, has facilities in the requested area to serve any future customers, and has sufficient capacity. Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

SJWTX will continue to provide water service to the existing customers in the area.  There will be no change in the quality or cost of service to customers.

- Recommendation

Based on the mapping review by Dave Babicki, Infrastructure Division, and my technical and managerial review, I recommend that SJWTX meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service.  I further recommend that approving this application to amend its water CCN No. 10692 is necessary for the service, accommodation, convenience and safety of the public.

SJWTX consented to the attached map, tariff, and certificate on September 1, 2022.