TO:		Jenna Keller, Attorney

Legal Division

FROM:	James Harville, Infrastructure Analyst

Infrastructure Division

DATE:	April 8, 2022

RE:	Docket No. 53331 – Application of Stonebridge Water Supply Corporation and Cross Timbers Water Supply Corporation for Sale, Transfer, or Merger of Facilities and Certificate Rights in Denton County

On March 10, 2022, Cross Timbers Water Supply Corporation (Cross Timbers WSC) and Stonebridge Water Supply Corporation (Stonebridge WSC) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Denton County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, Cross Timbers WSC, Certificate of Convenience and Necessity (CCN) No. 10197, seeks approval to acquire facilities and to transfer all of the water service area from Stonebridge WSC under water CCN No. 12415.

Based on the mapping review by Dave Babicki, Infrastructure Division, and my technical and managerial review of the information filed by the Applicants, I recommend that the application be deemed administratively incomplete and not accepted for filing due to the deficiencies detailed below.

Application Content

The following deficiencies must be remedied:

- Customer Deposits

The Applicants indicated that a list of customer deposits was included with the application, as required by Part B, Question 5, but no such list of customers was filed with the application. Please clarify whether customers with deposits are present. If customers with deposits are present, please file a supplemental attachment listing such customers, including a customer indicator (name or account number), date of each deposit, amount of each deposit, and any unpaid interest on each deposit.

- Compliance

Please provide a copy of the most recent Texas Commission on Environmental Quality comprehensive compliance investigation for Stonebridge WSC.

Mapping Content

Maps submitted with Item 1 on March 10, 2022 are deficient.

The Applicants must submit the following items to resolve the mapping deficiencies:

- A general location map identifying only the requested area, in reference to the nearest county boundary, city, or town;

- A detailed map identifying only the requested area, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads; and

- Digital mapping data for the requested area, as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

Staff recommends that the Applicants obtain additional mapping guidance from the Commission’s mapping staff, specifically Dave Babicki, by email at dave.babicki@puc.texas.gov to resolve the mapping deficiencies.

Staff will need at least 30 days to review the supplemental documentation, maps, and digital data provided by the Applicants and draft a recommendation.

Note: Any confidential items should be submitted as confidential filings with the Commission.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).

Application at 2 (Mar. 10, 2022).