TO:		Merritt Lander, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:		April 11, 2022

RE:	Docket No. 53335 – Application of the City of Bangs to Amend Its Certificate of Convenience and Necessity and For Dual Certification with Brookesmith Special Utility District in Brown County

On March 11, 2022, the City of Bangs (Bangs) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 11093 and for dual certification with Brookesmith Special Utility District (SUD) in Brown County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

Based on the mapping review by Tracy Montes, Infrastructure Division, and my technical and managerial review of the information filed by the Bangs, I recommend that the application be deemed administratively incomplete and not accepted for filing.

Application Content:

The following deficiencies must be remedied:

- Provide a signed agreement with Brookesmith SUD for the dual certification or the reasons why it is not practicable to get an agreement signed by Brookesmith SUD.  If an agreement is submitted, it should indicate the total acreage agreed upon.

- Provide details regarding which entity will be providing service to customers in the requested area.

- For a CCN amendment application there must be a request for service or service must currently be provided to the area.  Please provide additional details regarding the request(s) for service and service currently provided in the requested area.

- Complete the requested information in Question No. 20 of the application.  Provide the public water system identification number for the water system that will provide service to the requested area.

- Provide a copy of the purchase water contract from BCWID.  Also provide the full name of BCWID.

Mapping Content:

The maps submitted with Item 1 on March 9, 2022 are deficient. The maps and digital mapping data must identify the portion of dual certification the City is seeking with Brookesmith SUD (CCN No. 10435) and the portion to decertify from the City (CCN No. 11093).

Bangs must submit the following items to resolve the mapping deficiencies:

- A general location map identifying only the requested area, in reference to the nearest county boundary, city, or town.

- A detailed map identifying only the requested area, in reference to verifiable man-made and natural landmarks, such as roads, rivers, and railroads.

- Digital mapping data for the requested area, as a single polygon record, in shapefile (SHP) format, georeferenced in either NAD83 Texas Statewide Mapping System (Meters) or NAD83 Texas State Plane Coordinate System (US Feet).

Staff recommends that Bangs obtain additional mapping guidance from the PUC’s mapping staff,

Tracy Montes by email at tracy.montes@puc.texas.gov to resolve the mapping deficiencies.

Staff will need at least 30 days to review the documentation, maps, and digital data provided by Bangs and draft a recommendation.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).