SOLAR PROJECT ERP PROCEDURES MANUAL

ENGIE Long Draw Solar, Gail, Texas.

Emergency Response Plan

Emergency Response Plan Table of Contents

1.0	Introduction	3

2.0	Project Description	3

  - Notification and Communication	3

  - Emergency Information	3

  - Notification Process	3

  - Site Evacuation Procedure	6

  - Natural Disasters or Acts of Terrorism Without Warning	6

  - Fire Prevention Procedures	7

  - Severe Weather Conditions	7

  - Weather Emergency Response	7

  - Hot/Cold Weather Emergency Checklist	7

  - Cyber Security	7

  - Pandemic & Epidemic	7

  - Physical Security	7

  - Water Shortage	7

  - Hot/Cold Weather Emergency	7

  - Adequacy and Operability of Fuel Switching Equipment	8

  - Restoration of Service	8

  - Drills	8

  - Plan Holders	8

4.0	Emergency Within a Turbine	8

5.0	In Case of Spillage	8

6.0	Aircraft Impact	9

  - Acts of Sabotage, Terrorism & Bomb Threats	9

  - Bomb Threat Procedure	10

  - Chemical and Biological Threat	10

8.0	Post Incident Review of Response Procedure	11

Appendices:

Summary of Emergency Services	12

Other Useful Contacts	13

Concise Emergency Plan	14

Vicinity and Access Maps	15

# 1.0	Introduction

The Emergency Response Plan primarily deals with what action needs to be taken if an incident occurs at Long Draw. All contractors and subcontractors working on the site will attend site orientation presented by Engie familiarizing them with site protocols and documented via orientation sign on sheet.

# 2.0	Project Description

The Long Draw Solar Project consists of 76 3.270MW HEM Power Electronics Inverters, Substation, Operations Building. The project is in Borden County, TX. A site map is provided on page 16.

# Notification and Communication

# Emergency Information

  - Notification Procedure

All emergency situations should immediately be reported.

The following 7-step Emergency Notification Procedure should be used:

    - Notify 911 Immediately

Give the site name, address, and directions to the operator, as well as describe the emergency.

    - Describe the type of emergency Typically the categories include:

      - Medical Emergency

      - Fire

      - Construction Emergency

Equipment Failure – Specify

        - Hazardous Spillage - Specify

        - Inverter Structural Failure – Specify

        - Power Failure

      - Extreme Weather Conditions

        - Thunderstorm/ Electrical Storm

        - Extreme High Winds

        - Severe Hail

        - Snow/Ice Storm

      - Transport Incident

        - Passenger Vehicle

        - Heavy Hauler

        - Heavy Plant

        - Aircraft Impact

      - Extreme Site Conditions

        - Flood

        - Earthquake

        - Volcanic Eruption

      - Act of Sabotage/Vandalism

        - Act of Terrorist

        - Bomb Threat

When describing personnel involved, indicate the numbers affected and the following initial assessment:

- Fatality

- Major Illness (heart attack, not breathing, unconscious, etc.)

- Major Injury (broken bone, loss of limb, severe cuts/bleeding, etc.)

- Minor Injury (twisted ankle, foreign body in eyes, minor cuts, etc.)

- Bite/Sting (snake, scorpion, etc.)

- Weather Effect (effects of heat, sun, cold, wind chill, lightning strike, etc.)

- Incident Type (fall, crush, vehicle crash, fire, electric shock, etc.)

    - Location

Give the operator the location of the emergency, by referring to the nearest Inverter, combiner box, row number, structure, or road junction and whether casualties are in the open, trapped in a vehicle or site equipment.

    - Notify Plant Manager

Site staff will contact Long Draw Manager (see list) who will assist at the location of the emergency. Jointly, the supervisor will arrange for a trained first aider to attend the scene of the emergency, if required.

    - Coordinate

The supervisor(s)/Plant Manager will send an employee to the nearest site access point to meet the emergency services, and escort them to the location of the emergency. The gate guard should also be informed to assist in directing the emergency services to the scene of the incident.

    - Accompany

The supervisor(s) will continue to assist with the situation on site, and one of the supervisors will accompany any injured personnel to the hospital. He will stay until examination (including a drug & alcohol test) is complete, so that a full report including the extent of the injuries can be made. The employer can later require the injured to make an appointment to see the Company Doctor if confirmation of the extent or nature of injuries, treatment or disability is required.

# Site Evacuation Procedure

    - Personnel empowered to order evacuation/shutdown of the site are:

      - Supervisors of individual contractors may instruct their own people to evacuate

      - Engie Site manager may instruct ALL personnel to evacuate

      - Engie Site supervisors may instruct ALL personnel to evacuate

    - When instructed, evacuate site via nearest access to public road, and assemble at a designated location.

    - In case of fire, try to remain upwind of it.

    - The Long Draw Site manager (or designated person) will

arrange a head count of all personnel. This will be done by the supervisors from each contractor carrying out their own headcount and advising Engie site management of the result. Supervisors from each contractor will be responsible for maintaining an accurate record of which personnel are onsite each day, to be able to identify which personnel are missing in the case of an emergency evacuation. Further, a sign-in/sign-out procedure will be implemented at the entrance.

# Natural Disasters or Acts of Terrorism Without Warning.

Natural disasters like earthquake, volcanic eruption and flash flood will almost certainly occur without warning. In such cases it is important that the site be evacuated with all possible haste. All site personnel should move away from the

location of the event and get to a safe distance and location. It is essential that you remain calm and do not panic. Once you are safe, you should contact Emergency Services and your site supervisor or company headquarters to enable a roll call and for authorities to establish numbers of survivors and assess those who are not accounted for. Hurricane annex is not applicable to Long Draw as the facility is not located in evacuation zone as defined by TDEM.

Acts of terrorism, by their nature, frequently come without warning and should be treated in the same manner as natural disasters.

The radio (PMR) will be the source of information/communication and site personnel should tune into a news station until such time as all clear is announced and they can either safely return to the site or their home.

All personnel should remain at a safe location until the Plant Manager contacts you to confirm it is safe to return to site.

# Fire Prevention Procedures

A separate Fire Prevention & Mitigation Plan has been developed for this project, in view of the fire risk posed by the natural vegetation and climate.

# Severe Weather Conditions

Severe weather conditions, particularly gusting high wind speed and electrical storms, have a pronounced effect on the maintenance and any emergency medical response to any on site turbines. Records will be kept of prevailing weather conditions daily and periodically throughout the day weather forecast updates will be reviewed and assessed to ensure the safe continuity of work, while ensuring that weather sensitive activity is only commenced on the understanding that existing or imminent weather conditions will not exceed the risk assessed for that activity. In any event, due diligence should be proactive with routine observation by all concerned about obvious local changing atmospheric conditions that could indicate deteriorating weather conditions.

Engie Renewables Services LLC will stop all maintenance operations at 24m/s in accordance with 29 CFR 1910.27 (b) (2) (X) for all on site turbines. Engie North America will specify maximum wind speeds that are allowed for:

- Working on a suspended platform

In addition, heavy lifting cranes have specific limitations with respect to positioning, rigging, and lifting components that will change with the dimensions of the component, the location, ground conditions, weather conditions and wind speeds.

Engie North America Inc recommendations and the crane limitations need to be considered for each stage of maintenance to balance the risk inherent in each operation.

Regarding atmospheric electrical activity, tall metal structures like Inverters and heavy lifting cranes are prone to attract such activity until such time as suitable grounding is in place. In the event of local electrical storms or thunderstorms, all Inverter locations should be evacuated, and site personnel seek safety in the cab of their vehicle at least 180 ft from the Inverter location until 30 minutes strike after the last known lightning strike within 30-mile radius or until such time as the storm has passed or abated.

# Weather Emergency Response

# Cold Weather Emergency

Forecasted potential cold weather emergencies are actively monitored by site team to help anticipate severity and proper response needed. If potential cold weather emergency has been forecasted the proper support personnel will be identified 48hrs before event is forecasted to occur and must remain available to support. If weather emergency impedes travel to and from site then support personnel will remain on site during the duration of the emergency. Support personnel will utilize cots and non-perishable foods located at site. Personnel will exhaust all feasible means to keep plant operational. Possible OMC condition that may occur if temperature drops below minimum turbine design specifications. See Table Below:

# Hot Weather Emergency

Forecasted potential hot weather emergencies are actively monitored by site team to help anticipate severity and proper response needed. Site team will reference “OSHA Heat Index: A” to determine if its safe to work in current conditions. Personnel will exhaust all feasible means to keep plant operational. Possible OMC condition that may occur if temperature rises above turbine design specifications. See Table Below:

# Hot/Cold Weather Emergency Checklist

# The purpose of this checklist is to verify necessary selected personnel and emergency supplies stock. This checklist is to be filled out 48 hours before forecasted event occurs.

|  | Hot/Cold Weather Emergency Personnel/Supplies Checklist |  |
| --- | --- | --- |
| Personnel | Signature | Date |
| Item; Quantity; Expiration Date. |

# Cyber Security

# Reference cyber security “IRP for Long Draw” for this section.

# Pandemic & Epidemic

# Reference “Long Draw COVID-19 Job Site Protocol”

# Physical Security

# Plant Substation and Inverters are secured by use of locks. Substation also has video surveillance. All access doors to O&M building have locking capability. Plant SCADA room access is controlled by Simplex L1011 Auto Locking handle latch assembly which complies with D.O.D 5220.22M. If security breech occurs site team will respond and contact the proper authorities listed in emergency contacts to address situation.

# Water Shortage

# This section is not applicable for Long Draw as no water is used for site generation.

# Hot/Cold Weather Emergency

# Reference document “Long Draw Weatherization Plan” for this section.

# Adequacy and Operability of Fuel Switching Equipment

# This section is not applicable for Long Draw as no fuel switching equipment is installed.

# Restoration of Service

# In the event of system trip or component failure the following steps below will be followed.

# Notify Realtime Desk of situation/appropriate Engie personnel.

# Identify source of event through visual means or event files.

# Identify replacement components needed if necessary.

# Replace damage system components if necessary.

# Return affected system to service with appropriate energization plan.

# Notify Realtime Desk/appropriate Engie personnel that system has been restored.

# Drills

# Drill will be performed annually and documented via sign in sheet.

# Plan Holders

This plan will be held both by Engie Renewables Services LLC O&M and by each of the on-site ENGIE staff. In addition, copies shall be sent to the respective emergency services. This will also be provided, together with a site layout map and site location map, in a laminated format during orientation.

# 4.0  Emergency Within a Inverter

If an incident occurs within a Inverter, Emergency Services should be called and all on site specialist recovery equipment and techniques to enable injured personnel to be removed to safety from site. Engie Renewable Services LLC will have available, on site, such equipment, and trained personnel to action such a recovery.

# In Case of Spillage

A separate spill prevention, control, and countermeasures plan (SPCC) has been developed to address those issues in detail. Please refer to that plan for more detailed instructions regarding spill prevention and response.

In the event of a spillage of a hazardous or potentially hazardous substance: Initiate the oil spillage procedure after checking:

    - Type of oil or hazardous substance involved

    - Estimated quantity of spillage

    - Fire Risk

    - SDS recommendations and considerations

Inform the closest site supervisor and organize delivery to the location of the site emergency spill kit.

Should the spill be too extensive to be resolved using the available spill kit, then the spill should be contained as far as is practicable and the nearest Hazmat specialist contacted to resolve the situation.

The spill should be reported to the National Response Center and the State:

# National Response Center: 1-800-424-8802

The following information will be required when reporting the incident:

- Clearly identify the location of the spill

- What substance is involved

- Approximate quantity spilled

- Approximate concentration of the spilled material, if appropriate

- Identify the source of the spill

- Identify who is cleaning the spill

- Identify any resources damaged, if applicable

- Provide contact information

Location Of Safety Data Sheets for Hazardous Materials

Each subcontractor is required to maintain listings of all materials that they are using which may be flammable or hazardous to health in accordance with OSHA 1910.39-C and will provide a copy, updated as appropriate to the Long Draw site office.

# 6.0  Aircraft Impact

The site FAA Lighting Design complies with existing regulations and requirements, which will be fully operational as soon as each electrical circuit is energized. To minimize the risk of collision by low flying aircraft during the any operational times, fully erected turbines that have not been energized will be marked with a suitable self-powered obstruction light until such time as that circuit is energized.

In the unlikely event that such a collision occurs, the Emergency Response Plan will be brought into effect to mobilize the appropriate on-site Emergency Response Team and Emergency Services.

FAA Lights- Any failure or malfunction that lasts more than thirty (30) minutes and affects a top light or flashing obstruction light, regardless of its position, should be reported immediately to (877) 487-6867 so a Notice to Airmen (NOTAM) can be issued. As soon as the normal operation is restored, notify the same number.

# Acts of Sabotage, Terrorism & Bomb Threats

With the advent of potentially increased levels of terrorist activity on mainland USA, it has become essential that all companies consider the implications to the health and safety of their staff should a terrorist attack occur in the workplace. The primary concerns are threatened bombing attacks and the potential for chemical or biological attack

If an act of terrorism comes without warning, or in the case that an incident is subsequently found to be caused by vandalism or sabotage, the Emergency Response Plan will be brought into effect to mobilize the appropriate emergency services.

# Bomb Threat Procedure

If a bomb threat call is received, the main objective is to record every word of the threat message accurately and obtain as much information as possible from the caller. To this end, the following questions should be asked:

    - When will the bomb go off?

    - Where is the bomb?

    - What type of bomb is it?

    - What does it look like?

    - When was it put there?

    - Why are you doing this?

    - Who are you?

While talking to the person, try to determine:

- The sex of the caller

- The style of speech

- The accent and mannerisms of the caller

- Listen for background noises that could be helpful to an investigator After receiving the call, the recipient will then:

- Contact the Site Manager or the nearest Site Supervisor

- Or Dial 911and inform the County Site Management should:

- Make sure the County Sheriff’s Office has been informed.

- Ensure immediate evacuation of the area of the bombs supposed location, and the surrounding areas.

- Prepare to implement the Evacuation Procedure.

- Prepare relevant documentation to assist in assessing the situation with police and authorities – information such as the number of persons at each site location, site maps, plans of related buildings and equipment, etc.

- Coordinate and supply support to the County Sheriff's Office as requested.

Whether the threat is received in writing or in person, the same procedure should be followed as far as possible.

A procedural check list shall be maintained and readily available, incorporating the above elements.

# Chemical and Biological Threat

It is difficult to have a contingency plan that takes into consideration all the possibilities that avoid the consequences of a Chemical or Biological attack, however, should a warning or threat be issued, the identical procedure should be

applied as that used for a Bomb Threat. Leaving the area is even more imperative. Keeping your body covered as far as possible to avoid any skin contact with the threatened substance is a priority. Covering the nose and mouth to avoid inhalation is also a must.

If a letter or parcel is used to spread the noxious medium, all site personnel should be vigilant in their examination of suspicious or unsolicited deliveries. If there are any doubts as to the content of a letter or parcel, and if the senders address and the postmark do not match, the item should be treated as suspect and the authorities contacted to examine the piece under controlled conditions.

The site management cannot mandate for the malicious actions of others, but all site personnel should maintain a heightened state of awareness to protect themselves, their families, and their colleagues at work.

DO NOT APPROACH, TOUCH OR ATTEMPT TO REMOVE ANY SUSPICIOUS OBJECT OR DEVICE.

# 8.0	Post-Incident Review of Response Procedure

At the weekly site safety meeting following an emergency response incident, the site team will review how successfully the Emergency Response Plan was implemented. Following this review, actions will be taken to correct any deficiencies, either by improved communication of the Emergency Response Plan or by modification to the Plan.

applied as that used for a Bomb Threat. Leaving the area is even more imperative. Keeping your body covered as far as possible to avoid any skin contact with the threatened substance is a priority. Covering the nose and mouth to avoid inhalation is also a must.

If a letter or parcel is used to spread the noxious medium, all site personnel should be vigilant in their examination of suspicious or unsolicited deliveries. If there are any doubts as to the content of a letter or parcel, and if the senders address and the postmark do not match, the item should be treated as suspect and the authorities contacted to examine the piece under controlled conditions.

The site management cannot mandate for the malicious actions of others, but all site personnel should maintain a heightened state of awareness to protect themselves, their families, and their colleagues at work.

DO NOT APPROACH, TOUCH OR ATTEMPT TO REMOVE ANY SUSPICIOUS OBJECT OR DEVICE.

Summary of Emergency Services for Long Draw Solar Project

Nearest 24/7 Hospital with ER capability that can be reached within 25 minutes Will Respond to any Emergency call (Fire or EMS)	Dial: 911

Plant Manager:

(Jose Antu) – Direct Contact Number	Dial: 325-977-1793

Site Technician:

(Nate Martinez) – Direct Contact Number	Dial: 325-436-1640

Site Technician:

(Cody Haltom) – Direct Contact Number	Dial: 325-728-7414

Borden County Sheriff’s Department – Sheriff’s Department	Dial: 806-756-4311 117 E Wassom St, Gail TX 78738

Borden County Fire Department – Fire Department	Dial: 806-756-4311 PO Box 156 Gail, TX, 78738

Native Air – Air Evacuation Life Team	Dial: 800-242-6199 5305 Etgen Blvd, Snyder TX, 79549

Dawson County EMS Service – EMS Department	Dial: 806-872-3464 501 South Main Ave, Lamesa, TX 79720

Affordacare Urgent Care Clinic – Urgent Care Department	Dial:432-517-4692 710 S Gregg St, Big Spring, TX 79720

Dial: 806-872-2183

Medical Arts Hospital (Nearest Emergency Room)

2200 N Byran Ave, Lamesa, TX 79331

Spill Reports - (NRC) National Response Center:	Dial (1800) 424-8802

Spill Reports - State: (800) 8232-8224

Emergency Service can be contacted by dialing 911.

# Contact details of site supervisors, first aiders and other personnel are listed on a separate sheet that will be issued with this plan and updated as necessary.

# Other Useful Contacts

Center for Disease Control (CDC)	http://www.cdc.gov/

Department of Health (DOH)	http://www.doh.wa.gov/

Department of Homeland Security	http://www.dhs.gov/dhspublic/

Federal Bureau of Investigation (FBI)	http://www.fbi.gov/

United States Postal Service	http://www.usps.com/

Federal Emergency Management Agency (FEMA)	http://www.fema.gov/

Occupational Safety & Health Administration (OSHA)	http://www.osha.gov/

Environmental Protection Agency	http://www.epa.gov/

National Response Center to report Toxic Chemical & Oil Spills

Dial 1-800 424 8802 or http://www.nrc.uscg.mil/nrcrpttxt.htm

Poisons Center	http://uuhsc.utah.edu/healthinfo/adult/nontrauma/overview.htm

or Dial 1-800 222 1222

Note: Immediately after dealing with the immediate crisis, the Engie Long Draw Plant Manager shall be contacted at 325-977-1793 and informed of the nature of the emergency.

Long Draw Solar

CONCISE EMERGENCY PLAN

HOW TO DEAL WITH AN EMERGENCY SITUATION

Use these notes in case of injury, illness, fire, and in case of evacuation.

*** ALWAYS KNOW YOUR LOCATION ***

(Each Inverter location is numbered, for example PCS 1, PCS 76, etc. Also, Each Combiner box is numbered, for example COMB 1.01, COMB 76.15)

In case of INJURY or ILLNESS:

- Call 911 after business hours. Give location and the turbine number of the emergency and describe the injury or illness.

- During business hours notify a supervisor. All supervisors carry a cell phone and/or a two-way radio. Describe the emergency to the supervisor and include the turbine number.

| Engie Plant Manager: | (Jose Antu) | 325-977-1793 |
| --- | --- | --- |
| Engie Plant Engineer | (Kartheek Koka) | 602-727-7071 |
| Long Draw Site Office Address: 13657 US HWY 180 Lamesa TX 79331 | GPS Location: 32.7430946, -101.6228368 |  |

- Dispatch a third party to the main gate to meet and escort the emergency services to your location. Reporting employee should STAY WITH THE CASUALTY.

- Reporting employee, the supervisor or a designated health and safety representative should go with the casualty to the hospital.

In case of FIRE:

- Call the fire department by dialing 911 and give the location of the fire.

- Notify supervisors (as above).

- Immediately clear the area of all personnel and, if possible, vehicles and flammables. If you are trained in fire safety, and the fire is small, attempt to put the fire out with an extinguisher. DO NOT PUT YOURSELF AT RISK.

- Await the arrival of the fire department.

In case of SEVERE or EXTREME WEATHER, ACTS OF SABOTAGE or TERRORISM or MAJOR INCIDENT:

1.	Prepare to evacuate the site. Supervisors will initiate and coordinate the evacuation. FOLLOW THEIR INSTRUCTIONS.

In any emergency, keep calm and don’t panic. Give clear, concise information and directions. The attached map shows the layout of the roads and turbines on the wind project, and the site muster point.

Main muster point location for site. (Operations Building)

Secondary muster point is (Muster Area A)

# Map showing layout of the roads and turbines on The Long Draw Solar Project

Figure 1: Project Site Map

# Document Revision

This document shall be reviewed on an annual basis to ensure the integrity and safety.

Change history:

The following table summarizes the change history of the document.

| Version | Description of Change | Initiator | Date |
| --- | --- | --- | --- |
| Draft | Initial revision & draft | Jose Antu | 4/5/2022 |

Approval:

| Approved by | Title | Date |
| --- | --- | --- |
| Hurel Johnson | US Renewables Director-Solar |  |