The site is not operational. This is only a draft. National Grid Renewables will update the content of the EOP when the site becomes operational and resubmit a fully executed version.

Emergency Operations Procedure

Copperhead Solar/BESS (EOP)

| Document ID: | REN.EOP.001 | Version | 1 | Date Released: | 06/30/2023 |
| --- | --- | --- | --- | --- | --- |
| Valid for: | National Grid Renewables Operations- Copperhead Solar, LLC |  |  |  |  |
| Author: | A.Goddin | Verified by: R.Smith |  | Approved by: | G.Smith |

Revision History

| Date | Version # | Approved By: | Revision Description |
| --- | --- | --- | --- |
| 06/30/2023 | 1 | G.Smith | Initial Release |

The latest entry supersedes the previous version

Disclaimer: This document is the property of National Grid Renewables Operations - Copperhead Solar, LLC. The contents and procedures referenced within this document are a product of information, internal company procedures, and knowledge available at the time this document was created. The document is intended to provide guidance to National Grid Renewables Operations on processes and personnel to implement during an event. It is not a guarantee or endorsement of performance by this organization.

The copying, distribution or use of this document format or contents by or for any other party than National Grid Renewables Operations or its affiliates is prohibited.

Copyright 2023

Sworn Attestation

I attest that I am an Officer with binding authority over Copperhead Solar, LLC, an affiliate of National Grid Renewables Operations, LLC.

I attest that all activities described in TEX. Admin. Code (TAC) § 25.53 have been reviewed for Copperhead Solar, LLC. Further I attest that the following statements are true and correct:

- Applicable personnel will be familiar with and trained on the Emergency Operations Plan and will have received instructions to follow the plan with exception when deviations are required because of specific circumstances during an emergency.

- This Emergency Operations Plan has been reviewed by Senior Leadership.

- Drills will be performed per the plan as required.

- This Emergency Operations Plan will be distributed to local jurisdictions as required or upon request.

- Copperhead Solar LLC will maintain a business continuity plan, with those addresses returning to normal after an event.

Signature: ___________________________________________________

Print Name: Jeff Ringblom

Title: President

Date: ________________

_______________________

(Signature)

Print Name: _____________________

Title: ___________________________

Subscribed and sworn before me __________________, a notary public of the State of _____________, in and for the County of _________________, this___ day of ___________, 20___ .

_________________________

(Notary Public Signature)

My commission expires: _________________

Executive Summary:

National Grid Renewables Development, LLC (NG Renewables) directly and wholly owns National Grid Renewables Operations, LLC. NG Renewables is repowering America by reigniting local economies and reinvesting in a sustainable, clean energy future. NG Renewables develops, constructs, and operates competitive, high performance renewable energy projects nationwide to maximize value for our customers, partners, and community members.

Copperhead Solar, LLC, an affiliate of NG Renewables, directly owns the Copperhead Solar and Storage Project, which is a 150-megawatt (MW) solar, and 100-megawatt (MW) storage development located in McLennan County, Texas. NG Renewables and its affiliates are committed to safety. NG Renewables continues to work diligently to document, prepare and when needed respond to emergencies.

This Emergency site plan outlines the sites planned responses to extraordinary emergences related to natural disasters, human caused events, technology incidents, and security emergencies to ensure continued operations of the site during an emergency.

In cooperation with the Texas Public Utilities Commission and the Electric Reliability Council of Texas; Copperhead Solar, LLC has documented this comprehensive Emergency Operations Plan (EOP) which provides guidance to the site for preparedness and response to many of the natural hazards that can impact safe and reliable operations. The EOP seeks to mitigate and ensure that all personnel remain safe during emergency events.

Included in the EOP are emergency event driven directives to assist the site during emergency events. It also describes preparation activities to ensure that all personnel on site have all the knowledge and tools available to safely navigate through any emergency. This is a continuous effort that will continue to evolve to ensure that industry best practices are included and updated. In addition, several checklists have been developed and as new potential hazards are discovered they will be documented.

National Grid Renewables is committed to safety. The EOPs are just one of many documents used to ensure our safety culture is understood and communicated.

Contents

1	Defined Terms	6

2	Roles and Responsibilities	6

2.1	VP, Operations	6

2.2	VP, SHE, Risk & Compliance	7

2.3	NERC Compliance Officer	7

2.4	2.4 Plant Manager	7

2.5	Remote Operations Team	7

2.6	All personnel	7

3	Emergency Contacts	8

4	Directions to nearest hospital/clinic	9

5	Site overview and evacuation maps	11

5.1	Site Overview	11

5.2	Staffing	16

5.3	Call out to Site	16

5.4	Call in to Site	16

6	General Procedure	16

6.1	General Emergency Procedure	16

6.2	General Evacuation Procedure	17

6.3	Emergency Responders	17

7	Weather Emergency	17

7.1	General	17

7.2	Strong Winds	17

7.3	Lightning	18

7.4	Icing	18

7.5	Heavy Precipitation	19

7.6	Tornado	19

7.7	Earthquake	20

7.8	Cold Weather	21

7.9	Hot Weather	22

8	Hurricane	23

8.1	Warnings	23

8.2	Watches	24

9	Load Shed Response	24

10	Pandemic	24

10.1	Pandemic Preparation	24

10.2	Pandemic Declaration Response	25

11	Grid Restoration Plan	25

12	Criminal Threats	25

12.1	Suspicious People	25

12.2	Employee, Contractor, or Visitor	26

12.3	Third party threats to the plant	26

13	Fire	26

13.1	Grass, Brush, and Forest Fire	26

13.2	Fire at Battery Storage	26

13.3	Fire at the Solar Facilities	27

13.4	Fire at the Operations Facilities	28

13.5	Fire at Electrical Facilities	29

14	Electrical Hazards	29

15	Injury/Illness	29

15.1	Injury/Illness	29

15.2	Chemical and Toxicity Hazards	29

16	Security	30

16.1	Cybersecurity	30

16.2	Physical Security	30

16.3	Physical Access Management	31

16.4	Unescorted Access	31

17	Drills, Tests and Exercises	32

18	Event Reporting Requirements	33

19	References	33

# Defined Terms

Access Device: Any card, key, code, or other means that can be used alone or in conjunction with another access device to obtain entry.

Accidents: Workplace Accidents, Entrapment/Rescue (Machinery, Water, Confined Space, High Angle), Transportation Accidents (Motor Vehicle, Rail, Water, Air, Pipeline), Structural Failure/Collapse, Mechanical Breakdown

Disaster: an event that results in serious harm to safety, health, welfare of people, or in widespread damage to property.

Emergency: an event, or imminent event, outside of the scope of normal operations that requires prompt coordination of resources to protect the health, safety, or welfare of people, or to limit damage to property and the environment.

Escorted Access: Access granted into a secured area to an individual, that does require accompaniment by an authorized person.

Fire/Explosion: Fire (Structure, Wildland), Explosion (Chemical, Gas, or Process failure).

Heat Illness: Exposure to heat can cause illness and death. The most serious heat illness is heat stroke. Other heat illnesses, such as heat exhaustion, heat cramps and heat rash, should also be avoided.

Lightning: A brilliant electric spark discharged in the atmosphere, occurring within a thundercloud, between clouds, or between a cloud and the ground.

Precipitation: Rain, snow, sleet, or hail that falls to the ground.

Severe weather: includes, but is not limited to strong winds, lighting, hail, ice and snowstorms, and tornadoes.

Strong Winds: Winds that exceed 10-minute average of 30 m/s

Texas Division of Emergency Management (TDEM): is responsible for the deployment of the state of Texas’s emergency preparedness and response plans and deployment for disaster response.

Tornado: A mobile, destructive vortex of violently rotating winds having the appearance of a funnel- shaped cloud and advancing beneath a large storm system.

Unescorted Access: Access granted into a secured area to an individual without accompaniment.

Watch: Potential exists for inclement

Warning: Inclement weather is occurring or imminent

# Roles and Responsibilities

## VP, Operations

The VP, Operations shall:

Enforce this procedure and hold National Grid Renewables operations personnel accountable for actions that violate any aspect of the procedure.

Provide employees with resources to comply with this procedure.

## VP, SHE, Risk & Compliance

The VP, SHE Risk & Compliance shall:

Assist and provide technical expertise and assistance on all aspects of the procedure.

Provide and/or coordinate training for this procedure.

Assist in the review, update, and continual improvement of this procedure.

Ensure the technical content of this procedure is compliant with all Federal, state, and international regulations and requirements.

## Director of NERC Compliance

The NERC Compliance Officer shall:

Make all NERC and Regional Required Regulatory Notifications

## 2.4 Plant Manager

The Plant Manager shall:

Execute this procedure and any additional procedures required to safely execute work on a National Grid Renewables site.

Site Manager is responsible for the coordination and scheduling of training and exercising the EOP.

The Site Manager is responsible for communicating any changes to this plan as necessary and ensuring it is distributed to all applicable individuals.

Monitor weather and alert site personnel when severe weather is occurring or likely.

## Remote Operations Team

The Remote Operations Team shall:

Monitor the site 24/7

When alarms are detected, the Remote Operations team will notify the applicable support staff.

## All personnel

All personnel shall:

Notify Plant Management of any emergency.

Comply with all requirements of the procedure.

Participate in plant emergency drills.

Follow the instructions of the Plant Management at the plant in a declared emergency.

## 2.7 Staffing

- Staffing consists of a Plant Manager and three site technicians during normal business hours.

## 2.8 Call out to Site

- If there is a need for a call out of off-duty employees during an emergency/event, the Site Manager will initiate a call out.

## 2.9 Call in to Site

- When employees (not at the site) become aware of an emergency/disaster that may affect their worksite, they are to refrain from contacting their work location. Employees will be contacted and called onto the site only if they are needed.

# Emergency Contacts

| Plant Name: Copperhead Solar, LLC | Plant Address 149 County Road 160, Riesel, TX 76682 | Plant Phone Number 830.325.8103 |
| --- | --- | --- |
| Inside Assembly Area: O&M Building | Plant Address 149 County Road 150, Riesel, TX 76682 | Location Storm Shelter |
| Outside Assembly Area: Outside Fence Line O&M |  | Location Outside Fence line O&M |
| Evacuation Area: Trinity Church | Phone Number 254.896.7105 | Address 264 County Road 143, Riesel, TX 76682 |
| Plant Manager Luis Rosales | Office: 254.300.6813 Cell: 830.325.8103 | E-mail: lrosales@nationalgridrenewables.com |
| Miller Brothers Site Lead: TBD Name: | Cell: 610-832-1000 | E-mail: info@millerbros.us |
| Miller Brothers Lead; TBD | Cell: 610-832-1000 | E-mail: info@millerbros.us |
| Fluence Lead: Strom Powers |  |  |
| Fire Department: Riesel Fire Department | Phone Number 254.896.2201 | Address: 104 S Hedwig St., Riesel, TX 76682 |
| Baylor Scott & White Medical Center | Phone Number 254.202.2000 | Address: 100 Hillcrest Medical Blvd. Waco, TX 76712 |
| Hospital (burn unit): Baylor Scott & White Medical Center | Phone Number 254.202.2000 | Address: 100 Hillcrest Medical Blvd. Waco, TX 76712 |
| Hospital Baylor Scott & White Medical Center | Phone Number 254.202.2000 | Address: 100 Hillcrest Medical Blvd. Waco, TX 76712 |
| Police: Riesel Police Department City Hall | Phone Number 254.896.6501 | Address: 104 Hwy 6, Riesel, TX |
| VP, EHS Gemma Smith | Office: 952.358.5668 Cell: 713.294.8979 | E-mail gsmith@nationalgridrenewables.com |
| VP, Operations Joe Melsha | Office: 952.358.5660 Cell: 507.226.3593 | E-mail jmelsha@nationalgridrenewables.com |
| NERC Compliance Officer Rob Smith | Office: 612.429.0533 Cell:651.785.7369 | E-Mail: rjsmith@nationalgridrenewables.com |
| Miller Brothers EHS Specialist: Jeff Sampeer | Office: Office Phone Number Cell: 661.600.8373 | E-mail info@millerbros.us |

# Directions to nearest hospital/clinic

Baylor Scott & White Medical Center: 100 Hillcrest Medical Blvd. Waco, TX 76712

# Site overview and evacuation maps

Copperhead Solar, LLC, an affiliate of NG Renewables, directly owns the Copperhead Solar and Storage Project, which is a 150-megawatt (MW) solar, and 100-megawatt (MW) storage plant located in McLennan County, Texas.

## Site Overview

The Copperhead Energy Storage Facility is a system that comprises multiple lithium-ion battery modules in racks, which are located inside temperature-controlled enclosures (known has Fluence Cubes). The modules within a rack are connected in series and multiple racks within a cube are connected in parallel to a DC busbar. Multiple cubes are connected in parallel to the DC side of inverters. The AC side of the inverters are connected to step-up transformers before being connected to the grid.

The main system components are the following:

| # | Equipment | Specs, Rating or Details | Qty on Site |
| --- | --- | --- | --- |
| 1 | Isolation Transformer | 3 kVA ,Oil based | 28 |
| 2 | Aux Transformer | 3 kVA, Oil based | 2 |
| 3 | Inverters | Rating of 1.096 MVA each, with a total gross capacity of 30.7 MVA | 28 |
| 4 | Fluence Gen6 Short Duration Cube | 2.6m wide x 2.0m long x 2.5m high Metal battery enclosure with doors on both sides. | 210 |

| # | Equipment inside Fluence Cube | Specs, Rating or Details | Qty per Cube |
| --- | --- | --- | --- |
| 1 | Battery racks | 123.2 kA per rack, 150.0 kA per cube | 189 |
| 2 | LFP Lithium-ion battery modules | 745.4 kW | 7 per rack, 16 per cube |
| 3 | Solid Aerosol Fire Suppression System | Off-gas detection, temp detection, smoke detection with central alarming | 1 |
| 4 | Deflagration panels | On roof | 2 |

Communications and controls equipment, to provide system status, with input and output routed into a control building which contains telecommunications equipment and switchgear.

Copperhead Solar, LLC will provide energy and capacity for the transmission network and is expected to connect to the electric grid at the Oncor interconnection in Dallas, TX.

Fig.1 Evacuation Plan O&M Building &Life Safety Equipment

Fig 3 Substation & BESS

Fig 4. Gates and Emergency Responder Locations

Fig 5 Emergency Responder Arrival Routes BESS/O&M

# General Procedure

## General Emergency Procedure

Any event requiring emergency response shall be recorded and investigated as required by the REN.EHS.007 Incident Reporting and Response Procedure. In the event of an emergency that requires assistance, all employees and contractors at the plant shall follow this procedure. Visitors shall follow instructions provided by their plant contact or other plant employees as appropriate.

Anyone observing an emergency condition should immediately contact Plant Management by cell phone or radio.

Plant Management will initiate this procedure and take on or designate the role of Emergency Coordinator.

Once notified of the emergency condition, the Emergency Coordinator shall determine whether outside resources are needed.

If outside resources are required, the Emergency Coordinator will phone 911, request appropriate emergency services, and provide all pertinent information concerning the emergency as per the plant’s EAP.

The Emergency Coordinator will notify all employees and contractors via phone or radio or by other means of the emergency by announcing “Initiate emergency response procedure”, applicable instructions AND the assembly area, if appropriate.

Upon initiating emergency response procedure, all affected employees, contractors, and visitors will immediately stand down and assemble at the assembly area if instructed by Emergency Coordinator or respond to instructions from the Emergency Coordinator. Assembly areas that can be used in emergency response include but are not limited to the O&M building and parking lot, and company vehicle/truck.

The Emergency Coordinator will assign the following duties:

Obtain the National Grid Renewables sign-in log

Request the details of all contractor employees at the plant from the contractor management where applicable

Meet emergency responders at designated location, if appropriate.

Locate missing persons (two person teams if warranted) if necessary.

Contact the Remote Operations Center (ROC) to inform them of the situation. The ROC will then make other internal notifications as required.

The Emergency Coordinator will coordinate communications between the above personnel.

## General Evacuation Procedure

If needed, perform the applicable steps of the “General Emergency Response Procedure” above.

In case of an emergency requiring evacuation, the Emergency Coordinator will use the radios, cell phones or other means to contact and inform all employees, contractors, and visitors to evacuate.

Upon notification, all employees, contractors, and visitors will immediately:

Stop work

If time permits, place equipment in a safe condition

Evacuate from the nearest, safest exit point and report to the designated evacuation area.

Personnel will report to the Emergency Coordinator, or designee, when they have safely reached the evacuation area.

## Emergency Responders

Emergency Responders (i.e., fire department, emergency medical services) should be contacted at least once a year to provide updated information on emergency meeting locations and emergency response practices.

# Weather Emergency

## General

Weather should be always monitored.

Inclement weather should be noted on the JSA (REN.EHS.002 JSA Procedure.pdf).

When working out of hours (e.g., during emergency call outs and after normal business hours), employees and contractors are required to check weather conditions prior to responding to site.

If a Stop Work is issued, the activities shall cease and relevant crews shall acknowledge receipt of the stop work order, exit their work areas, and return to the O&M building, substation control house or other shelter as designated by the Plant Manager.

After any major weather event, a role call shall be performed to assure that all personnel are accounted for.

## Strong Winds

The Plant Manager shall determine plant specific wind speed limitations based on the limitations of the site.

The Plant Manager should contact the EHS Manager for guidance if needed.

Plant Manager or designee shall monitor weather to provide advanced warning of potential strong wind conditions to employees and contractors in the field.

## Lightning

Lightning shall be monitored either by National Grid Renewables using INJI Weather (or similar service).

The Plant Manager and designee shall receive advanced warning of potential lightning generating conditions from the system directly. The weather information shall be used by the Plant Manager or designee to identify the following:

| Alert | Application | Lightning Distance from work | Action |
| --- | --- | --- | --- |
| Level 1 Alert | Solar/ Groundwork | 10-25 miles | Prepare to stop work and seek shelter. |
| Level 2 Alert | Solar/ Groundwork | Less than 10 miles | Stop work and seek shelter. |
| All Clear | Solar/ Groundwork | Greater than 10 miles | For greater than 30 minutes, work may begin |

An All-Clear message from will be given after a period of 30 minutes with no events within the Level 2 ranges. The Plant Manager or designee shall forward the All-Clear notice to all site personnel.

When lightning stands down, personnel must seek shelter and not work outside. For lighting, the shelter could be inside a vehicle such as a site truck.

Note: Often storms with lighting include additional hazards in this procedure, such as tornados. Seek shelter according to the most hazardous conditions.

If lightning is all clear but the storm is still in the area, Plant Manager or designee has the authority to maintain the lightning stand down until it is determined that it is safe to resume normal operation.

## Icing

Plant Manager or designee shall monitor ice potential to provide advanced warning of potential    icing conditions.

If icing conditions are detected by a worker, the worker shall notify Plant Manager or designee.

Icing conditions may be present if one or more of the following is true:

Freezing rain occurred in the last 24 hours.

The temperature has hovered at or around freezing during precipitation.

The temperature was above 32°F / 0°C after icing conditions were present.

The current temperature between -2 and +2 degrees Celsius (28.4 and 35.6 F)

Plant personnel shall evaluate the site walkways and treat common traffic areas to prevent trip and slips.

Plant personnel shall evaluate the site roadways for potential treatment to prevent vehicle accidents.

## Heavy Precipitation

Plant Manager or designee shall monitor precipitation to provide advanced warning of potential heavy perception to employees and contractors in the field.

In the event of hazardous or heavy precipitation, Plant Manager or designee shall issue a rain warning to employees and contractors in the field and an instruction to stop work.

All field activities shall cease, and field crews shall acknowledge receipt of the stop work order and seek shelter in a solid structure.

Heavy precipitation is often accompanied by lightning. If employees or contractors are exiting 	the field due to lightning warnings and are exposed to hail or heavy rain, they shall pull off the road and wait for the hail or heavy rain to stop. Severe hail may shatter windows which could distract a driver.

When the hail or heavy rain conditions are no longer present, Plant Manager or designee shall 	issue an All-Clear notice.

After a heavy precipitation event, Plant Manager or designee should consider road erosion and hazardous conditions.

## Tornado

Plant Manager or designee shall monitor the weather to provide advanced warning of potential tornado generating conditions to employees and contractors.

If a tornado watch is issued, this means that a tornado is possible. Plant Manager or designee shall issue a Tornado Watch to employees and contractors in the field and further instructions. At minimum, crews should prepare to seek shelter.

If a Tornado Warning is issued this means that a funnel cloud has been spotted or is strongly indicated on radar. Plant Manager or designee shall issue an immediate instruction to move to a tornado shelter.

Weather forecasting alone cannot guarantee an accurate prediction of a tornado and some tornadoes do occur without a tornado warning. During the storm season employees, contractors and visitors shall use the following guidance to identify the potential for tornado hazards in their vicinity and should contact Plant Manager or designee if any of the indicators 	below are observed.

Early indicators of tornadoes in the immediate area may include:

Strong, persistent rotation in the cloud base.

Whirling dust or debris on the ground under a cloud base – tornadoes may not have a funnel.

Hail or heavy rain followed by either dead calm or a fast, intense wind shift.

Many tornadoes are wrapped in heavy precipitation and therefore not visible.

Loud, continuous roar or rumble, this does not fade in a few seconds like thunder.

At night, small, bright, blue green to white flashes at ground level near a thunderstorm (as opposed to silvery lightning up in the clouds). These mean power lines are being snapped by very strong wind, maybe a tornado.

At night, persistent lowering from the cloud base, illuminated or silhouetted by lightning, especially if it is on the ground or there is a blue-green-white power flash underneath.

This should be briefed to employees and contractors during tailboard meetings in storm season.

If personnel are instructed to seek shelter the following actions shall be taken:

If in a building with a tornado shelter, go to the tornado shelter. If the building is not equipped with a tornado shelter, go to interior rooms and halls on the lowest floor. Stay away from glass-enclosed places or areas with wide-span roofs such as warehouses. Crouch down and cover your head. Corners are often safer than the middle of the wall. A bathroom, closet, office, or maintenance room with short walls are often the safest areas.

If in a vehicle, do not try to out drive a tornado. Tornadoes can change direction quickly and can lift a car or truck and toss it through the air. Get out of the vehicle immediately and take shelter in a nearby building. If there is no time to get indoors, get out of the car and lie in a ditch or low-lying area away from the vehicle. Be aware of the potential for flooding.

After a tornado warning has passed, Plant Manager or designee shall issue an All-Clear notice. Employees, contractors, and visitors will meet at the inside assembly area rollcall. All employees, contractors and visitors shall be accounted for before anyone leaves the plant.

## Earthquake

If an earthquake occurs personnel in the O&M building should:

Drop down to their hands and seek shelter under a sturdy table or desk. If there is no shelter nearby, personnel should get down near an interior wall or next to low-lying furniture that will not fall and protect their head and neck with their arms and hands.

Hold on to the shelter until the shaking stops.

DO NOT stand in a doorway. The doorway does not protect people from the most likely source of injury−falling or flying objects. Most earthquake-related injuries and deaths are caused by falling or flying objects (e.g., TVs, lamps, glass, log cases), or by being knocked to the ground.

If possible, within the few seconds before shaking intensifies, quickly move away from glass and hanging objects, and log cases, china cabinets, or other large furniture that could fall. Watch for falling objects, such as bricks from fireplaces and chimneys, light fixtures, wall hangings, high shelves, and cabinets with doors that could swing open.

If available nearby, personnel should grab something to shield their head and face from falling debris and broken glass.

If gas appliances are on, turn them off.

If an earthquake occurs while personnel are outside, personnel should move away from buildings, utility wires, sinkholes, and fuel and gas lines. The greatest danger from falling debris is just outside doorways and close to outer walls. Once in the open, get down low (to avoid being knocked down by strong shaking) and stay there until the shaking stops.

If an earthquake occurs while driving, personnel should:

Stop as quickly and safely as possible.

Move the vehicle to the shoulder or curb, away from utility poles, overhead wires, and under- or overpasses.

Stay in the car and set the parking brake. Turn on the radio for emergency broadcast information. A car may jiggle violently on its springs, but it is a good place to stay until the shaking stops. If a power line falls on the car, stay inside until a trained person removes the wire.

After an earthquake

Inspect gas services to assure no cracks or leaks.

Do a visual inspection of substation and collection system before re-energizing.

## Cold Weather

During cold weather, refer to the following charts as a guide to recognize and prevent cold stress. The chart should only be used as a guide and can be modified to represent the climate more closely for the site.

| Air Temperature - Sunny Sky |  | No Noticeable Wind |  | 5 mph Wind |  | 10 mph Wind |  | 15 mph Wind |  | 20 mph Wind |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| °C (approx) | °F (approx) | Max. work Period | No. of Breaks** | Max. Work Period | No. of Breaks | Max. Work Period | No. of Breaks | Max. Work Period | No. of Breaks | Max. Work Period | No. of Breaks |
| -26° to - 28° | -15° to - 19° | (Norm breaks) 1 |  | (Norm breaks) 1 |  | 75 min. | 2 | 55 min. | 3 | 40 min. | 4 |
| -29°to - 31° | -20°to - 24° | (Norm breaks) 1 |  | 75 min. | 2 | 55 min. | 3 | 40 min. | 4 | 30 min. | 5 |
| -32° to - 34° | -25°to - 29° | 75 min. | 2 | 55 min. | 3 | 40 min. | 4 | 30 min. | 5 | Non-emergency work should cease |  |
| -35° to - 37° | -30° to - 34° | 55 min. | 3 | 40 min. | 4 | 30 min. | 5 | Non-emergency work should cease |  |  |  |
| -38° to - 39° | -35° to - 39° | 40 min. | 4 | 30 min. | 5 | Non-emergency work should cease |  |  |  |  |  |
| -40° to - 42° | -40°to - 44° | 30 min. | 5 | Non-emergency work should cease |  |  |  |  |  |  |  |
| -43° & below | -45° & below | Non-emergency work should cease |  |  |  |  |  |  |  |  |  |

## Hot Weather

During hot weather, refer to the following charts as a guide to recognize and prevent heat stress. The chart should only be used as a guide and can be modified to represent the climate more closely for the site.

Before hot season starts, site shall review heat and heat stress conditions.

| Heat Index | Possible heat disorders for people in higher risk groups |
| --- | --- |
| Extreme Danger | Heatstroke/sunstroke highly likely with continued exposure. Work only with site supervision approval. |
| Danger | Sunstroke, heat cramps or heat exhaustion likely, and heat stroke possible with prolonged exposure and/or physical activity. |
| Extreme Caution | Sunstroke, heat cramps and heat exhaustion possible with prolonged exposure and/or physical activity. |
| Caution | Fatigue possible with prolonged exposure and/or physical activity. |
| Source: National Weather Service |  |

# Hurricane

Copperhead Solar, LLC is not currently in a threat location per Texas Division of Emergency Management (TDEM).

However, IF a Hurricane event threatens, Plant Management shall notify all plant and contractors of a potential hurricane threat upon notification by the Texas Division of Emergency Management (TDEM).

Before the start of the Hurricane season staff shall review the Hurricane preparedness checklist for the site and site emergency response protocols.

Understand hurricane threat levels:

## Warnings

Listen closely to instructions from local officials on TV, radio, cell phones or other computers for instructions from local officials. Evacuate immediately if told to do so.

Storm Surge Warning: There is a danger of life-threatening inundation from rising water moving inland from the shoreline somewhere within the specified area, generally within 36 hours. If you are under a storm surge warning, check for evacuation orders from your local officials.

Hurricane Warning: Hurricane conditions (sustained winds of 74 mph or greater) are expected somewhere within the specified area. NHC issues a hurricane warning 36 hours in advance of tropical storm-force winds to give you time to complete your preparations. All preparations should be complete. Evacuate immediately if so ordered.

Tropical Storm Warning: Tropical storm conditions (sustained winds of 39 to 73 mph) are expected within your area within 36 hours.

Extreme Wind Warning: Extreme sustained winds of a major hurricane (115 mph or greater), usually associated with the eyewall, are expected to begin within an hour. Take immediate shelter in the interior portion of a well-built structure.

Please note that hurricane and tropical storm watches and warnings for winds on land as well as storm surge watches and warnings can be issued for storms that the NWS believes will become tropical cyclones but have not yet attained all the characteristics of a tropical cyclone (i.e., a closed low-level circulation, sustained thunderstorm activity, etc.). In these cases, the forecast conditions on land warrant alerting the public. These storms are referred to as “potential tropical cyclones” by the NWS.

Hurricane, tropical storm, and storm surge watches and warnings can also be issued for storms 	that have lost some or all their tropical cyclone characteristics but continue to produce dangerous conditions. These storms are called “post-tropical cyclones” by the NWS.

## Watches

Listen closely to instructions from local officials on TV, radio, cell phones or other computers for instructions from local officials. Evacuate if told to do so.

Storm Surge Watch: There is a possibility of life-threatening inundation from rising water moving inland from the shoreline somewhere within the specified area, generally within 48 hours.

Hurricane Watch: Hurricane conditions (sustained winds of 74 mph or greater) are possible within your area. Because it may not be safe to prepare for a hurricane once winds reach tropical storm force, The NHC issues hurricane watches 48 hours before it anticipates tropical storm-force winds.

Tropical Storm Watch: Tropical storm conditions (sustained winds of 39 to 73 mph) are possible within the specified area within 48 hours.

# Load Shed Response

The site will, at the direction of the Transmission Operator (TOP) and/or Transmission Owner or Reliability Coordinator (RC) perform any load shed as directed.

# Pandemic

All site employees will review and implement the National Grid Renewables Pandemic Plan if a pandemic declaration is made by National Grid Renewables.

The VP of Operations will be responsible for a Pandemic Declaration at a plant with the guidance from Plant Management. Upon reviewing and verifying notifications from local health services, local emergency management, FEMA, WHO and/or the CDCC, Plant Management will notify personnel, their families, local emergency management agencies, the media (through National Grid Renewables’ media relations personnel), and suppliers and vendors as necessary.

## Pandemic Preparation

Plant Management will maintain hygiene supplies in suitable quantities to maintain an enhanced hygiene program. Supplies will be routinely rotated for general use and for exercises/drills to ensure a working shelf life. The following list may be required, but is not limited to:

Hygienic solutions including medical grade alcohol, household bleach, anti-germ cleaners and air sprays.

Cloth and paper cleaning towels.

Disposable paper uniforms and slippers.

Latex gloves.

Drawstring trash bags.

Bottled water

Air/microbial masks.

Over-the-counter drugs to reduce symptoms and promote recovery.

## Pandemic Declaration Response

### Hygiene

In response to a Pandemic Declaration, Plant Management may impose hygiene controls on all areas of the plant occupied or used by personnel. Additional attention will be given to equipment, door handles, restrooms, telephones, keyboards, keypads, file drawer handles and test equipment that are used by multiple people.

Plant Management may impose stringent hygiene rules that all personnel at the plant must follow, such as:

All common areas will be cleaned on a regular basis with anti-germ cleaners treated with anti-germ air sprays; and

All used cleaning supplies will be stored away from secured facilities and personnel.

Used cleaning supplies will be removed to a qualified health handling service and safely disposed.

### Incoming Supplies and Equipment

Incoming supplies and equipment or any other type of deliverable(s) that arrive at the plant immediately after the Pandemic Declaration may be required to be cleaned with anti-germ cleaners before being distributed.
All suppliers and vendors including transportation/delivery services must provide a statement of compliance and their pandemic procedures to National Grid Renewables personnel before their goods and services will be received.

### Continued Operations

The Plant will continue to operate during a Pandemic Declaration. Personnel who are directly affected by the Pandemic will not be expected to come to work. Personnel not affected will continue to perform maintenance and troubleshooting as normal. In the event it is unsafe for personnel to come to the plant, the plant will be operated remotely by the ROC.

# Grid Restoration Plan

The site will, at the direction of the Transmission Operator (TOP) and/or Transmission Owner or Reliability Coordinator (RC) provide any support in response to grid restoration effort. If the Transmission Operator or the Transmission Owner incorporates the site into the restoration plan the site will participate in the required training or drills.

# Criminal Threats

## Suspicious People

In case of suspicious people, it is the responsibility of all employees, contractors, and visitors to notify Plant Management and report the location and nature of the suspicious activity. Employees, contractors, and visitors should not confront or attempt to detain trespassers or suspicious people.

Plant Management will determine the scope of the emergency response. For reports of criminal behavior such as vandalism, shooting, or illegal vehicles the Plant Management or Emergency Coordinator shall phone 911 for assistance to summon police.

Investigation into suspicious individuals may require conversation with the individual to ascertain that person’s connection with the plant. At no time should any confrontation be allowed. If suspicious individuals seem hostile or violent, employees shall leave the area and inform Plant Management to summon immediate police response.

## Employee, Contractor, or Visitor

Confrontational situations between employees, contractors or visitors involving threats, harassment, confrontations or obscene acts or language shall be reported immediately to Plant Management.

If at any time an employee, contractor or visitor working at an asset is concerned about his or her safety, it is their responsibility to report the situation to appropriate management.

## Third party threats to the plant

In the event there is a threat to employees or the plant, Plant Management will designate an Emergency Coordinator, initiate the Evacuation Procedure, and contact law enforcement.

Once all employees have been accounted for, the Emergency Coordinator will order the plant evacuated.

Upon All Clear notification from law enforcement, employees may return to the building.

# Fire

All Employees and contractors shall notify the Plant Management immediately upon discovery of a fire. Plant Management will designate an Emergency Coordinator to manage the incident. Different types of fire will require different types of response.

## Grass, Brush, and Forest Fire

In the event of grass and brush fires, employees and contractors shall notify Plant Management.

Plant Management will designate an Emergency Coordinator to manage the incident.

The Emergency Coordinator will obtain details of the exact location and size of the fire from the notifier.

The Emergency Coordinator will contact 911 and coordinate with the notifier to lead fire-fighting equipment to the scene. The designated responder will be notified by the Emergency Coordinator by radio of the location at which to meet with the fire brigade.

The Emergency Coordinator will contact any landowners in the area with the location and size of the fire. Employees may be directed by the Emergency Coordinator to visit any buildings/dwellings that may be in the anticipated path of a fire.

Only employees trained to fight fires may do so and only under instruction from the civil authorities. In all other events, employees shall at no time attempt to extinguish or “fight” a large brush and grass fire.

## Fire at Battery Storage

In the event of a BESS fire, the worker discovering the fire shall contact Plant Management.

Plant Management will designate an Emergency Coordinator to manage the incident.

The Emergency Coordinator will obtain details of the exact location and size of the fire from the notifier.

The Emergency Coordinator will contact 911 and coordinate with the notifier to lead fire-fighting equipment to the scene. The designated responder will be notified by the Emergency Coordinator by radio of the location at which to meet with the fire department.

The responder will then proceed to the designated meeting point and be available to direct fire-fighting equipment to the scene.

Employees or contractors shall at no time attempt to fight a battery fire. The employee/contractor role is to notify Plant Management, liaise with the Emergency Coordinator, and lead fire-fighting equipment to the scene. Area shall be evacuated in a calm orderly fashion to the Site Muster Point.

Adjacent landowners and workers shall be notified.

Emergency Responders shall be trained ahead of time during site meeting and fire drills on appropriate BESS response.

Lithium-ion batteries, under normal operating conditions, do not produce any gases. However, under abnormal failure conditions, such batteries can rapidly evolve flammable/explosive gases. In the event of a fire in the cube or other emergency where a battery failure in the cube is suspected, stay outside of the site.

While solid aerosols are proven highly effective at extinguishing non-battery fires, explosive conditions may still develop when fire is not present as batteries continue to off-gas until cool.

While an explosive atmosphere is unlikely, should one occur, deflagration panels will direct any pressure resulting from explosions upward. The panels are tethered to the cube.

### Cube Fire Suppression System

Each Fluence Cube is equipped with an independent fire detection, alarm and suppression system comprising smoke detectors, heat detectors, a horn/strobe device, and a solid aerosol suppression system. The fire suppression systems in a row of cubes are addressed to a single fire alarm control panel (known as the Core Fire Panel).

### Battery Energy Storage System E-Stop

Each Battery Energy Storage Site has a single E-stop circuit that consists of multiple Estop pushbuttons. The purpose of the E-Stop is to shut down the entire site or a part of the site (row of cubes or entire core) during an emergency.

## Fire at the Solar Facilities

All weather notifications will be sent to Plant Manager via Inji Weather App.  Plant Manager shall decide on whether additional containment or mitigation practices shall be implemented as determined by specific conditions.

### Fire containment

In the event of a fire incident, Emergency Responders and site staff shall not attempt to extinguish the fire any larger than what could be easily extinguished by a fire extinguisher.  If conditions are unsafe employee shall make no attempt to extinguish fire.

In the event of a fire, follow site EAP to determine appropriate course of action.  When emergency responders arrive on-site make sure to inform them of the dangers associated with the panels and that all efforts should be placed on containment versus extinguishing fire.  Share the fire break map and sensitive areas with emergency responders so that they may be able to mor efficiently contain fire.

Plant Manager and site staff shall inform immediately adjacent neighbors that could be impacted by the fire incident of the imminent danger.  The rest of site staff not involved in notification and communication shall remain at site designated muster points until given all clear by emergency responders.

### Exposure hazards

### Owner/Operator Responsibilities

LOTO Procedures: Before any work to extinguish fire incident at site, NG Renewables or NovaSource shall lock out the equipment to ensure zero energy state.  Anyone impacted by the LOTO will be required to sign onto the LOTO Permit.  Only authorized persons shall be allowed to implement a Permit LOTO.  Emergency Responders shall not initiate LOTO on any NG Renewable equipment unless receiving direction from NG Renewables.

Manual zero degree stow: To ensure that damage is mitigated in the event of a fire incident within the solar array, plant manager or designee shall place all panels which are not part of the fire incident in a zero degree stow.  If placing the panels in a zero degree stow causes the employee or emergency responders to be place in immediate danger or creates additional hazards, plant manager can make decision on positioning of the panels.

## Fire at the Operations Facilities

In the event of a fire in the operations facilities, the worker discovering the fire will activate the building fire alarm.

At the alarm, Plant Management will designate an Emergency Coordinator who will immediately notify 911 and request the fire department and medical assistance.

The General Emergency Response and Evacuation Procedures will then be followed.

All employees, contractors and visitors will remain clear of buildings and structures until an all-clear notice is received from fire-fighting personnel.

Employees or contractors shall at no time attempt to extinguish or “fight” a fire.

## Fire at Electrical Facilities

In the event of a fire inside a substation, the worker discovering the fire will contact Plant Management.

Plant Management will designate an Emergency Coordinator to manage the incident.

The Emergency Coordinator will obtain details of the exact location and size of the fire from the notifier.

The Emergency Coordinator will contact 911 and coordinate with the notifier to lead fire-fighting equipment to the scene. The designated responder will be notified by the Emergency Coordinator by radio of the location at which to meet with the fire department

The worker will then proceed to the designated meeting point and be available to direct fire-fighting equipment to the substation.

Transformers and capacitors contain flammable, combustible material and all personnel must remain in safe areas away from these potentially explosive sources.

Employees or contractors shall at no time attempt to extinguish or “fight” a fire.

# Electrical Hazards

A Fluence Battey Energy Storage site contains electrical equipment with voltage ratings up to 34.5kV or above. Arc flash labels are present on all devices where arc flashes may occur.

The battery equipment contains stored electrical energy, even when disconnected. As such, care should be taken to not directly touch the battery equipment during the event or during overhaul operations. A subject matter expert should advise on how to handle stranded energy remaining in any of the damaged battery equipment.

The balance of plant equipment can be approached in the same way that other electrical 	   equipment or industrial plant equipment which is under fire conditions.

# Injury/Illness

## Injury/Illness

In the event of an injury/illness requiring medical treatment, employees will contact the Plant Management immediately.

The Plant Management will designate an Emergency Coordinator who will obtain details of the exact location and severity of the injury.

The Emergency Coordinator will contact 911 and coordinate meeting points with ambulance service and plant personnel.

## Chemical and Toxicity Hazards

### Lithium-Ion Batteries

Lithium-ion batteries pose chemical risks. Please read the Safety Data Sheet for more information.

Under abnormal conditions, lithium-ion batteries can produce toxic gases. However, from a toxicity perspective, the gases may be managed effectively through the appropriate Personal Protective Equipment (PPE), including Self Contained Breathing Apparatus (SCBA). The toxicity of gases released do not differ greatly from plastics fires. However, they should not be approached without SCBA, as concentrations of gases which cause immediate danger to life and health without PPE may be reached.

Sensors are present within the modules when Hydrogen, a by-product of thermal runaway is detected.

### Fire Suppression Agent

The Fire Suppression Agent used at this facility is Solid aerosol. When discharged in the event of a fire, the byproducts are known to cause eye and skin irritation and potential toxicity risks. Please read the Safety Data Sheet for more information.

# Security

## Cybersecurity

National Grid Renewables has a comprehensive cybersecurity suite of procedures for low impact facilities. These plans and procedures include:

CIP Master Policy

Cyber Security Awareness

Cyber Incident Reporting Protocols

Physical Security Reporting Protocols

Electronic Access Controls

TCA and RM Malicious Code Mitigation

In the event of a suspect cybersecurity incident the plant manager shall notify the Senior CIP Manager immediately.

The Plant Management will assist the Senior CIP Manager with details of the potential incident and the Senior CIP Manager will advise on the response.

The Senior CIP Manager will direct IT resources on a response and will coordinate the appropriate notifications internally and externally. The notification will follow the protocols within the Cyber Incident Response plan.

## Physical Security

National Grid Renewables has a comprehensive physical security suite of procedures for low impact facilities. These plans and procedures include:

Site Specific Visitor Access Logs

Site Specific Authorized Access Logs

Site Specific Physical Security Plan

Copperhead Solar and BESS sites are comprised of solar, battery storage, substations, control houses with an operations and maintenance office.

National Grid Renewables has implemented physical security controls based on the need to protect its facilities from damage and loss. The function of these physical security controls is to: control access, reduce and/or mitigate the risk of unauthorized individuals entering the site, and protect both equipment and personnel.

### Physical Controls

The secured rooms housing Applicable Systems inside of the operations and maintenance building shall serve as the primary physical security control.

Substation control houses are enclosed inside of perimeter fence and gate.

The control house structure shall serve as the primary physical security control for Applicable Systems.

All site structures housing Applicable Systems serve as the primary physical security control for individual resources’ protection and control systems.

### Entryways

Perimeter fence entryway to substations is equipped with multiple gates and secured by a Locking Device controlled by an Access Device.

Entryways to the substation control houses are equipped with multiple hardened doors secured by a Locking Device controlled by an Access Device.

Entryways to the secured room housing Applicable Systems inside of the operations and maintenance building are equipped with a hardened door secured by a Locking Device controlled by an Access Device.

Entryways to individual resources’ protection and control systems inside of the generation are equipped with a hardened door secured by a Locking Device controlled by an Access Device.

### Physical Security Control Condition

In the absence of operational personnel with Unescorted Access permissions in locations housing Applicable Systems, perimeter entryways and structure entryways shall be in a closed and locked state.

## Physical Access Management

Copperhead Solar and BESS utilizes a single specific Access Device and process for accessing the plant and individual resource protection and control equipment. Access Devices for at sites may include metal keys.

## Unescorted Access

Unescorted physical access privileges to Applicable Systems shall be granted by the Plant Supervisor or designee.

Prior to granting Unescorted Access, the Plant Supervisor or designee shall:

Ensure completion of site orientation.

Document the approval for Unescorted Access NERC.CIP.0034.1 Visitor Access Log

Visitors accessing Applicable Systems or individual protection and control systems shall receive approval based on the legitimacy of need as determined by National Grid Renewables.

Visitors shall be escorted by a designated National Grid Renewables employee or contractor familiar with the site with Unescorted Access as designated by the Plant Supervisor (henceforth: “Escort”).

Prior to entering locations housing Applicable Systems, the Escort shall:

Complete site orientation training.

Ensure completion of the NERC.CIP.0034.1 Visitor Access Log

While escorting visitors into locations housing Applicable Systems, the Escort shall have line of sight contact with Visitor.

# Drills, Tests and Exercises

National Grid Renewables shall conduct testing and exercises to evaluate the effectiveness of the preparation and response of the plans. Testing will:

Train personnel; clarify roles and responsibilities

Reinforce knowledge of procedures, facilities, systems, and equipment

Improve individual performance as well as organizational coordination and communications

Evaluate policies, plans, procedures and the knowledge and skills of employees

Reveal weaknesses and resource gaps

Comply with local laws, codes, and regulations

Gain recognition for the emergency management and business continuity program

National Grid Renewables will use a variety of methods to test and exercise the preparedness and response of the EOPs within this plan. To evaluate the program plans, procedures and capabilities National Grid Renewables may utilize:

Walkthroughs, workshops, or orientation

Tabletop exercises

Functional exercises

Full-scale exercises

Walkthroughs, workshops, and orientation are basic training for employees and contractors. They are designed to familiarize team members with emergency response, business continuity and crisis communications plans and their roles and responsibilities as defined in the plans.

Tabletop exercises are discussion-based sessions where employees and contractors meet in an informal, classroom setting to discuss their roles during an emergency and their responses to a particular emergency scenario. A facilitator guides participants through a discussion of one or more scenarios. The duration of a tabletop exercise depends on the audience, the topic being exercised and the exercise objectives.

Functional exercises allow employees and contractors to validate plans and readiness by performing their duties in a simulated operational environment. Activities for a functional exercise are scenario-driven, such as the failure of a critical business function or a specific hazard scenario. Functional exercises are designed to exercise specific team members, procedures, and resources (e.g., communications, warning, notifications, and equipment set-up).

A full-scale exercise is as close to the real thing as possible. It is a lengthy exercise which takes place on location using, as much as possible, the equipment and personnel that would be called upon in a real event.

# Event Reporting Requirements

When an event type involving damage or destruction of its Facility or physical threats to its Facility; whether it is a suspected or intentional physical act; is recognized by personnel, the individual shall communicate the circumstances of the event to Vice President of Operations.

If any event meets any of the threshold as outlined in the Site Specific Notification Protocols (NERC.EOP.004.1), Vice President of Operations shall follow the reporting protocols from The Site Specific Notification Protocols NERC.EOP.004.1) and then forward the factual matters pertaining to the event to the Electric Reliability Organization (ERO) and other organizations (e.g., Regional Entity, Interconnection, law enforcement, or governmental authority), using the NERC.EOP.004.2 Event Reporting Form.

Reporting must be done by the later of 24 hours of recognizing an event meeting an event type threshold for reporting or by the end of the National Grid Renewables facility’s next business day (4 PM local time will be considered the end of the business day) in accordance with the sites applicable Site-Specific Notification Protocols (NERC.EOP.004.1).

# References

REN.EHS.003.1 Emergency Action Plan Template

REN.EHS.003.2 Emergency Operation Plan Template

REN.EHS.003.3 Pandemic Plan

REN.EHS.007 Incident Reporting and Response

REN.EHS.012 Site EHS Orientation

Site Specific Visitor Access Logs

Site Specific Authorized Access Logs

Site Specific Physical Security Plan

CIP Master Policy

Cyber Security Awareness

Cyber Incident Reporting Protocols

Physical Security Reporting Protocols

Electronic Access Controls

TCA and RM Malicious Code Mitigation

EOP.004 Event Reporting

Winter Readiness and Summer Checklists

https://www.weather.gov/