# Scout Clean Energy Executive Summary

An emergency can occur at any time, suddenly and without warning. Proper planning is essential to minimize the impact of any emergency on the operations of Scout facilities.

The Emergency Operations Plan is designed to provide Scout Clean Energy with a management tool to facilitate a timely, effective, efficient, and coordinated emergency response to significant events affecting its sites or its personnel. It is based on integrating Scout Clean Energy emergency response resources with those of other government and emergency response agencies.

The Emergency Operations Plan does not replace existing emergency procedures but supplements them by defining the relationships between those and other procedures and organizations to build a unified command structure.

Emergency management consists of four continuous stages:

Risk Mitigation

This stage includes activities designed to reduce or eliminate risks to persons or property or to lessen the actual or potential effects or consequences of an incident. Mitigation measures may be implemented prior to, during, or after an incident. Riks Mitigation involves ongoing actions to reduce exposure to, probability of, or potential loss from equipment failure, hazards, and adverse environmental conditions. Measures may include analysis of hazard related data to determine where it is safe to build or locate temporary facilities.

Emergency Preparedness

Emergency Preparedness is a continuous process. Emergency Preparedness involves efforts at all levels to identify hazards, determine vulnerabilities, educate, and train employees, contractors, and agencies can identify required resources. Preparedness is operationally focused on establishing guidelines, plans, procedures, protocols, and standards for planning, training and exercises, personnel qualification and certification, and equipment certification.

Emergency Response –Section V. of P3703-OHS-RAN Ranchero Emergency Action Plan_With Annexes.pdf

Emergency Response includes activities that address the short-term and direct effects of an incident. It includes immediate actions to save lives, protect property and the environment, and meet basic human needs. Response also includes the execution of emergency operations plans and of mitigation activities designed to limit the loss of life, personal injury, property damage, and other unfavorable outcomes. As indicated by the situation, response activities include applying intelligence and other information to lessen the effects or consequences of an incident; increased security operations; and continuing investigations into the nature and source of the threat.

Recovery – Elements found in: Annex C: P9705 Accident Reporting Procedures, Annex E: Scout Incident reporting and Crisis Management, and Annex H: Scout Substation Unplanned Outage Procedure

Recovery incorporates the development, coordination, and execution of service- and site-restoration plans; the reconstitution of operations and services; long-term care and treatment of affected persons; additional measures for social, political, environmental, and economic restoration; evaluation of the incident to identify lessons learned; post incident reporting; and development of initiatives to mitigate the effects of future incidents.

​