Rodeo Ranch Energy Storage, LLC

Emergency Operations Plan – Executive Summary

Revision 1.0

# POWER GENERATION COMPANY INFORMATION

Rodeo Ranch Energy Storage, LLC (Rodeo Ranch or “Facility”), a 300 MW (at POI) BESS facility located in Reeves County, Texas. Rodeo Ranch is expected to commence commercial operations in December 2023 and is interconnected to Texas-New Mexico Power Company at the 138 kV Worsham Substation, located in the Electric Reliability Council of Texas (ERCOT) footprint.

| PGC Name | ERCOT Resource Name | Nameplate Rating | Commercial Operations Date (est.) |
| --- | --- | --- | --- |
| Rodeo Ranch Energy Storage, LLC | Rodeo Ranch_UNIT1 | 176MVA | 12/2023 |
| Rodeo Ranch Energy Storage, LLC | Rodeo Ranch_UNIT2 | 176MVA | 12/2023 |

# EXECUTIVE SUMMARY - EOP CONTENTS

Summary of Approval and Implementation

This section documents the applicability of the EOP and its associated annexes, identifies the areas of non-applicability due to the Facility not having the capabilities, technology or location within a zone that would require an annex, and general information about the facilities included within the EOP as well as the Roles and Responsibilities of the personnel responsible for developing, implementing and updating the EOP. Due to non-applicability, Rodeo Ranch does not maintain Annexes for the following;

| Section | Statement of Non-Applicability |
| --- | --- |
| (e)(2)(A)(ii) Adequacy and operability of fuel switching equipment | Rodeo Ranch as an energy store facility does not have the capability to utilize alternate fuels or to perform fuel switching. |
| (e)(2)(B) Water Shortage Annex | Rodeo Ranch does not utilize water in the generation of electricity. |
| (e)(2)(E) Hurricane Annex | Rodeo Ranch is not located in a hurricane evacuation zone (as defined by the Texas Division of Emergency Management (TDEM) |

  - Summary of Emergency Operations Plan

The Emergency Operations Plan is the over-arching document that sets the policies for emergency conditions that could impact the operation of the Facility as well as the safety of personnel at the Facility.  It includes applicability and non-applicability statements, information about the Facility, a process for activating the EOP as well as establishes the roles and responsibilities of site personnel and Rodeo Ranch’s Emergency Management Personnel. In addition to the various Plans and Annexes, The EOP also contains the general emergency site procedures (e.g. evacuation, personnel injuries and treatment, fire and hazardous material response). The EOP lays out requirements for training to relevant personnel and annual drill requirements.

Summary of Communications Plan

This section describes the training necessary for facility personnel who will interface with Media, the PUCT, the OPUC, local and State government officials and Emergency Operations Centers, the ERCOT Reliability Coordinator, and fuel suppliers. Rodeo Ranch, being an energy storage facility, does not utilize fuel and therefore does not communicate with fuel suppliers.

Summary of Plan for Pre-Identified Supplies for Emergency Use

Each of the annexes applicable to the PGC, including the Cold Weather Annex and Hot Weather Annex contain a list of supplies that are unique to the content of the annex and are completed pre-season and/or pre-event.

Summary of Plan that Addresses Staffing during Emergency Response

The EOP includes a plan for consideration of staffing during an event and, as appropriate, contains items to review and confirm staffing availability as well as request additional staffing before (if possible) and during an event.

Summary of Plan for Identification of Weather–Related Hazards

The EOP includes a plan built to identify weather-related hazards specific to Rodeo Ranch. The weather-related annexes are built on site-specific data, including information provided by the State, County, and regional emergency managers, as well as a consideration of local conditions as documented and published online.

Summary of Restoration of Service Annex

Includes a summary of the process for restoration of generation due to a failure to start or tripping off-line of the Rodeo Ranch facility as well as the availability of backup power from the utility feed and anticipated response time from an outage event.

Summary of General Emergency Procedure

Includes role and responsibilities for developing emergency situations, general emergency protocols for response, and management of in-progress site activities during an emergency.

Summary of Evacuation Procedures Annex

Provides guidance for notification to Field Services of a decision to evacuate, designated muster areas, roll calls to ensure all personnel are accounted for, and designated egress routes to post-evacuation muster area.

Summary of Personnel Injuries or Serious Health Conditions Annex

Provides guidance for basic First Response Actions when personnel are injured or experience a serious health condition at the job site and provides a list of first aid and emergency medical supplies and their locations.

Summary of Fire Response Plan Annex

Provides guidance for initial response and communications when a fire is discovered, incipient stage fire-fighting efforts, escalation to the local fire department, and an inventory and location of on-site fire-fighting equipment.

Summary of Chemical or Oil Spills and Releases Annex

Provides guidance for the handling of any chemical, oil, or hazardous material release at the facility including an inventory and location of mitigation and containment equipment at the facility.

Summary of Pandemic and Epidemic Preparedness Annex

The Pandemic and Epidemic Annex serves as the annex for maintaining essential functions and services during a pandemic. This document addresses the specialized continuity planning required by addressing considerations, challenges, and elements specific to the dynamic nature of a pandemic or epidemic. The Annex defines a crisis team that is responsible for evaluation and assessment, as well as the development of response actions and communications.

Summary of Hot Weather Annex

This annex documents the programs in place to maintain the Facility’s reliability and to prevent extreme hot weather-related events from having adverse impacts to reliability or operations. The annex documents the actions that will be taken in advance of each season and in accordance with requirements to safeguard personnel and the Facility's critical components from weather-related impacts. Included in the annex are checklists to document equipment and inventory reviews, pre-season assessments and communications (which include the review of best practices and lessons learned), as well as during-season reviews and communications.

Summary of Cold Weather Annex

This annex documents the programs in place to maintain the Facility’s reliability and to prevent extreme cold weather-related events from having adverse impacts to reliability or operations. The annex documents the actions that will be taken in advance of each season and in accordance with requirements to safeguard personnel and the Facility's critical components from weather-related impacts. Included in the annex are checklists to document equipment and inventory reviews, pre-season assessments and communications (which include the review of best practices and lessons learned), as well as during-season reviews and communications.

Summary of Cyber and Physical Security Incident Annex

This annex is specific to cyber security and physical security incidents and provides information on the identification and escalation of potential or actual cyber or physical security incidents. The annex addresses how to identify potential physical or cyber indicators of an incident, and how to escalate, investigate, and report a potential or actual incident.

# EXECUTIVE SUMMARY – DOCUMENT AND REQUIREMENTS MAPPING

| Requirement | Addressed in document | Where it is addressed in the document |
| --- | --- | --- |
| 16 TAC Sec. 25.53 (d) Information to be included in the emergency operations plan |  |  |
| (1)(A) | Emergency Operations Plan and Section 25.53 Executive Summary | Section 1.0 Approval and Implementation (EOP p.4) 1.1 Introduction 1.2 Applicability 1.3 Statements of §25.53 Non-Applicability |
| (1)(B) | Emergency Operations Plan | Section 1.0 Approval and Implementation B. Roles and Responsibilities (EOP p.5) |
| (1)(C) | Emergency Operations Plan | Section 1.0 Approval and Implementation C. Revision Control Summary (EOP p.7) |
| (1)(D) | Emergency Operations Plan | Section 1.0 Approval and Implementation C. Revision Control Summary (EOP p.7) |
| (1)(E) | Emergency Operations Plan | Section 1.0 Approval and Implementation D. Approvals (EOP p.7) |
| (2)(B) | Emergency Operations Plan | Section 3.0 Communication Plan (EOP p.8) |
| (3) | Emergency Operations Plan | Section 4.0 Plan for Pre-Identified Supplies for Emergency Use (EOP p.9) |
|  | Cold Weather Annex | 5.0 Cold Weather Preparation and Response Processes (Annex p.6) 5.2 Cold Weather Equipment Inventory List (Annex p.6) Attachment 2: Cold Weather Equipment Inventory (Annex p.14) |
|  | Hot Weather Annex | 5.0 Hot Weather Preparation and Response Processes (Annex p.6) 5.2 Hot Weather Equipment Inventory List (Annex p.6) Attachment 2: Hot Weather Equipment Inventory (p.14) |
|  | Fire Response Plan Annex | - Fire Fighting Equipment Inventory and Location (EOP p.29) |
|  | Chemical or Oil Spills and Releases Annex | - Chemical and Oil Spill Mitigation and Containment Equipment Guidance (EOP p.30) |
|  | Personnel Injuries and Serious Health Conditions Annex | - First Aid and Emergency Medical Supplies Inventory and Location (EOP p.27) |
| (4) | Emergency Operations Plan | Section 5.0 Plan to Address Staffing During Emergency Response (EOP p.9) |
| (5) | Emergency Operations Plan | Section 6.0 Identification of Weather-Related Hazards (EOP p.10) Section 2.0 Process for Activating the EOP (EOP p.8) |
| 16 TAC Sec. 25.53 (e) Annexes to be included in the emergency operations plan |  |  |
| (2)(A)(i) | Cold Weather Annex | Entire document |
|  | Hot Weather Annex | Entire document |
| (2)(A)(ii) | Cold Weather Annex | Not applicable as Rodeo Ranch does not have fuel switching equipment installed |
|  | Hot Weather Annex | Not applicable as Rodeo Ranch does not have fuel switching equipment installed |
| (2)(A)(iii) | Cold Weather Annex | 5.4 Post-Event and Annual Review Attachment 3: Pre-Winter Checklist Attachment 5: Pre-Event and Extreme Cold Checklist |
|  | Hot Weather Annex | 5.4 Post-Event and Annual Review Attachment 3: Pre-Summer Checklist Attachment 5: Pre-Event and Extreme Heat Checklist |
| (2)(B) | Water Shortage Annex | Not applicable as Rodeo Ranch does not utilize water in the generation of electricity |
| (2)(C) | Emergency Operations Plan | Attachment 2 Restoration of Service Annex Failure to Start or Tipping Off-line (EOP p19) Response Time and Backup Power (EOP p19) Generation Facility Startup Procedure (EOP p19) |
| (2)(D) | Pandemic and Epidemic Annex | Attachment 8. Pandemic Preparedness Annex Entire document |
| (2)(E) | Hurricane Annex | Not applicable as Rodeo Ranch is not located in a hurricane evacuation zone (as defined by the Texas Division of Emergency management (TDEM) |
| (2)(F) | Cyber and Physical Security Incident Annex | Attachment 9. Entire document |
| (2)(G) | Cyber and Physical Security Incident Annex | Attachment 9. Entire document |
| (2)(H) | Additional Annexes | Not applicable as Rodeo Ranch does not have any additional annexes |

# RECORD OF DISTRIBUTION AND TRAINING

This table presents information, as required, of the persons in the entity’s organization receiving access to and training on the EOP, as appropriate.

| Organization Name | Title | Individual | Date(s) of Distribution and Training EOP |
| --- | --- | --- | --- |

# AFFIDAVIT

Rodeo Ranch attaches an affidavit from [OFFICER NAME, TITLE], its highest-ranking representative, official, or officer with binding authority over Rodeo Ranch in accordance with 16 Tex. Admin. Code Sec. 25.53(c)(4)(C).

SEE NEXT PAGE