Hurricane Response Plan

12/26/2023

In the event of a hurricane, the first priority is always the health and safety of Greasewood II LLC (Tierra Bonita Solar) personnel. The Tierra Bonita Solar Hurricane Response Process/Plan (HRP) is listed below:

- Ensure all Tierra Bonita Solar personnel and any potentially affected public personnel are not in danger.

- By using the evacuation routes in the link below, Tierra Bonita Solar personnel must evacuate at a time recommended by local authorities.

- The Tierra Bonita Solar facility should be hardened, to the extent possible, against lasting damage from a hurricane. Some of these hardening details are listed below:

  - Ensure all loose material or equipment is secured.

  - Ensure proper draining channels exist and are functional

- Ensure all loose items and material are tied down, moored, or tethered, to reduce the likelihood of any blowing debris that may cause damage to personnel and/or equipment.

Tierra Bonita Solar facilities in Region 7, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

Checklist(s) for generating facility personnel to address emergency events

Tierra Bonita Solar shall use the checklist in Attachment C of Tierra Bonita Solar-PGCEOP-1.0 Emergency Operations Plan - Attachments B-E to identify which personnel shall address events that arise during the emergency.

When re-entry to the affected facility is safe, it is important to ensure all emergency gear and equipment that may be necessary to clear paths are available, serviceable, and on hand to be used, if necessary. This equipment may include, depending on the circumstances, saws, tire chains, etc.

In the event that the entry route is obstructed or compromised, ensure proper PPE is worn and utilized and normal safety measures are employed.

Always ensure communication is maintained between Tierra Bonita Solar personnel attempting re-entry and Tierra Bonita Solar leadership.

The following individuals are responsible for maintaining, implementing, and revising the HRP.

| Name | Title | Permission(s) |
| --- | --- | --- |
| Zahi Harel | Managing Director, US | Maintain/Implement |
| Dikla Fhima | VP, Engineering and Projects | Maintain/Implement |
| JC Culberson | EPE - Director of NERC and Regulatory Compliance | Revise |

- provides a revision control summary that lists the dates of each change made to the HRP since the initial HRP adoption.

| Version | Approval Date | Effective Date | Revision Summary |
| --- | --- | --- | --- |
| 1.0 | 12/26/2023 | 12/26/2023 | Initial Hurricane Plan |

As of 12/26/2023, annexes associated with EOP Version 1.0, approved on 12/26/2023, supersede all previous HRP annexes.