Hurricane Response Plan

12/08/2023

In the event of a hurricane, the first priority is always the health and safety of Sabanci Renewables Inc. - Rowland Solar II personnel. The Rowland Solar II Hurricane Response Process/Plan (HRP) is listed below:

- Ensure all Rowland Solar II personnel and any potentially affected public personnel are not in danger.

- By using the evacuation routes in the link below, Rowland Solar II personnel must evacuate at a time recommended by local authorities.

- The Rowland Solar II facility should be hardened, to the extent possible, against lasting damage from a hurricane. Some of these hardening details are listed below:

  - Ensure all loose material or equipment is secured.

  - Ensure proper draining channels exist and are functional

Rowland Solar II facilities in Region 4, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

Checklist(s) for generating facility personnel to address emergency events

Rowland Solar II shall use the checklist in Attachment C of SH-CSII-PGCEOP-1.0 Emergency Operations Plan - Attachments B-E to identify which personnel shall address events that arise during the emergency. The site will not normally be staffed during a hurricane. However, staffing decisions will be made in advance, to prepare the site for the emergency and to restore the site after the storm has passed.

When re-entry to the affected facility is safe, it is important to ensure all emergency gear and equipment that may be necessary to clear paths are available, serviceable, and on hand to be used, if necessary. This equipment may include, depending on the circumstances, saws, tire chains, etc.

In the event that the entry route is obstructed or compromised, ensure proper PPE is worn and utilized and normal safety measures are employed.

Always ensure communication is maintained between Rowland Solar II personnel attempting re-entry and Rowland Solar II leadership.

The following individuals are responsible for maintaining, implementing, and revising the HRP:

| Name | Title | Permission(s) |
| --- | --- | --- |
| Atilla Akarsu | Energy Group Manager | Maintain/ Implement |
| Ilker Araci | Secretary | Maintain/ Implement |
| JC Culberson | EPE - Director of NERC and Regulatory Compliance | Revise |

- provides a revision control summary that lists the dates of each change made to the HRP since the initial HRP adoption.

| Version | Approval Date | Effective Date | Revision Summary |
| --- | --- | --- | --- |
| 1.0 | 12/08/2023 | 12/08/2023 | Initial Hurricane Plan |
| 1.1 | 12/18/2023 | 12/18/2023 | Addition of statement of staffing levels. - JCC |

As of 12/18/2023, annexes associated with HRP Version 1.0, approved on 12/18/2023, supersede all previous HRP annexes.