Greasewood II LLC

Low Impact CIP Cyber Security Incident Response

| Revision | Revision Date | Summary of Changes | Prepared By |
| --- | --- | --- | --- |
| v1 | 12/15/2023 | Initial Version | Electric Power Engineers (EPE) |

Table of Contents

1. Purpose	3

2. Applicability	3

3. Responsibilities	3

4. Procedure Details	3

Identification & Classification	3

Incident Response (Reference Appendix 1: Low Impact CSIRP Diagram)	4

Incident Response Cont.	5

CIP Exceptional Circumstances (CEC)	5

Incident Management & Classification	5

Cyber Security Incident Reporting	7

Reporting Updates	7

CSIRP Review and Maintenance	7

CSIRP Testing	7

5. Glossary of Terms	7

6. Appendices	8

Appendix A: Low Impact CSRIP Diagram	9

Appendix B: Cyber Security Incident Response Form	10

# 1. Purpose

The purpose of this procedure is to provide Greasewood II LLC (Greasewood) written guidance on how to comply with NERC Standard CIP-003, Attachment 1, Section 4 for their Low Impact BES Cyber Systems.

This procedure shall be used to develop, implement, and maintain a Cyber Security Incident Response Plan (CSIRP) to respond to Cyber Security Incidents at all NERC CIP designated Facilities owned by Greasewood.

# 2. Applicability

Greasewood’s low impact BES Cyber Systems are subject to the processes herein.

# 3. Responsibilities

Below are the roles and responsibilities associated with Cyber Security Incident Response:

- Greasewood personnel and contractors shall notify the Site Management of any actual or suspected Cyber Security Incidents.

- Site Management must:

  - Take appropriate actions to respond to Cyber Security Incidents

  - Notify the Asset Manager and CIP Senior Manager (or delegate) of all Cyber Security Incidents.

  - Coordinate with the Asset Manager and CIP Senior Manager (or delegate) on Cyber Security Incident investigation, classification, reporting, response, recovery, and mitigation.

- Site security personnel and Greasewood ‘s Technical/IT Support team (if any) shall assist in the investigation, classification, reporting, response, recovery, and mitigation of Cyber Security Incidents as requested.

- The CIP Senior Manager (or delegate) and Operations Supervisor shall collaborate on Cyber Security Incident investigations to classify, report, respond, recover and mitigate identified incidents.

- Managed Security Service Provider (MSSP)

  - Provide assistance in the investigation, classification, reporting, response, recover and mitigation of identified incidents.

- CIP Senior Manager or Delegate shall:

  - Coordinate Cyber Security Incident investigation, classification, reporting, response, recovery, and mitigation with appropriate individuals.

  - Ensure that a Cyber Security Incident Response Exercise is performed at least:

    - once every 36 months for sites without Medium Impact BES Cyber Systems. (See the Low Impact CIP Cyber Security Policy) and

    - and that the Cyber Security Incident Plan is updated with any changes or updates within 60 calendar days of the change.

  - Ensure that, if need, the CSIRP is updated within 180 calendar days after completion of a Cyber Security Incident Response Plan test or action Reportable Cyber Security Incident.

# 4. Procedure Details

Identification & Classification

Cyber Security Events will typically be identified through automated system monitoring, notification, or direct observation. Refer to the “Incident Management & Classification” section (below) for examples of events that qualify as Cyber Security Incidents.

Based on the NERC glossary of terms for a Cyber Security Incident and Reportable Cyber Security Incident, Greasewood has identified the categories in the table below for incident identification. The identification of an incident is based on the outcome determined in the table below considering the BES Cyber System affected by the event.

| Outcome | Incident Descriptions | Low Impact BCS Applicability? | Reportable OR Non-Reportable? |
| --- | --- | --- | --- |
| Event | Security Event (Cyber or Physical) An event has occurred | Yes | Non-Reportable |
| Not a compromise or disruption | Non-Reportable Cyber Security Incident A malicious act or suspicious event that IS NOT found to be an attempt to compromise a BES Cyber System and/or associated Electronic Access Control or Monitoring System (EACMS) | Yes | Non-Reportable |
| Actual compromise or disruption | Reportable Cyber Security Incident A Cyber Security Incident that has compromised or disrupted one or more reliability tasks of a functional entity | Yes | Reportable |

Incident Response (Reference Appendix 1: Low Impact CSIRP Diagram)

The following activities outline the actions Greasewood complete when responding to potential Cyber Security Incidents:

Immediate Response

Attempts should be made to contact and consult with appropriate site management personnel prior to determining whether a Cyber Security Incident is Reportable or Not Reportable. In all cases, regulatory reporting criteria and timeframes must be met. Some reporting requirements for Cyber Security Incidents are within 1 hour.

Upon Identification that an event is a Cyber Security Incident (or suspected Incident), Greasewood personnel shall immediately report the Incident to the Operations Supervisor and any other appropriate management personnel.

Cyber Security Incidents

For Cyber Security Incidents, Site Management must contact and coordinate with the CIP Senior Manager or Delegate on the appropriate Cyber Security Incident Report and Response actions.

Physical Security Breach/Threat

For a physical security breach or threat, Site Management must formulate an immediate response that includes:

a. Alerting on-site personnel of any existing safety issues. If personnel safety is threatened, personnel may be directed to take shelter or further actions as the situation evolves.

b. Determine if additional assistance is immediately needed from local law enforcement.

i. Fort Stockton Police Department: (432) 336-4600

ii. Fort Stockton Fire Department: (432) 336-8971

c. Take actions to mitigate the immediate risk to reliable operation of the Bulk Electric System.

Incident Response Cont.

Site Management and the CIP Senior Manager or Delegate initiate response and communication to mitigate Cyber Security Incidents. During the initial response and investigation, as much detail as possible shall be collected including (but not limited to) the following:

- Description of the event; including how and when it was discovered

- Impact, or expected possible impact, to Operations and/or components of the Bulk Electric System

- Availability of backup or redundant systems

- Physical areas and/or systems affected

- Actions already taken to respond

- Estimated restoration timeline

The Site Management, CIP senior Manager or Delegate, or other designated personnel will begin documenting the incident in an Incident Report (See: Appendix 2: Cyber Security Incident Reporting Form).

CIP Exceptional Circumstances (CEC)

Greasewood shall determine if the Incident classification meets the definition of a CEC (Reference Section 5. Glossary of Terms). If so:

- The CIP Senior Manager or Delegate must make the declaration of a CEC for which the date and time shall be logged.

- Status notifications, including initiation and termination, of the declared CEC shall be made to senior management personnel by the CIP Senior Manager or Delegate.

- Once the CEC has been resolved, the CEC shall be declared complete for which the date and time shall be logged.

See CIP Exceptional Circumstance Form for additional details of processing a CEC.

Incident Management & Classification

The following identifies scenarios and actions taken by Greasewood to classify and respond to Cyber Security Incidents.  These actions are not intended to be all-inclusive, and any additional actions are determined by the Site Management and/or CIP Senior Manager or Delegate on a case-by-case basis.

Events & Suspected Activities

An event (Cyber or Physical) can occur during normal operations. Most have trivial causes requiring a routine maintenance action or other corrective actions that are not the result of malicious activity. These Events will not be considered or handled as Cyber Security Incidents.

All events & suspected activities should be treated as breaches until an initial investigation has been completed. The Site Management must be notified of the suspected activity. If a suspected physical/electronic breach or attack is determined to be invalid, normal operations should continue. Suspected activities may include:

- Unknown devices, equipment, packages within the Facility

- Unknown (abnormal) personnel

- Unexplained equipment malfunctions

- Abnormal behavior of Cyber Assets or absence in logging

Breaches

Physical Security Breaches – Physical security breaches must be investigated, and the security perimeter secured. If determined to be a malicious act or potentially malicious act, responses include:

- Ensuring the safety of on-site personnel

- Notifying law enforcement (as necessary)

- Determining whether the attack has caused damage to equipment that could compromise or disrupt reliable operations of the BES.

Electronic Security Breaches – The immediate response must focus on containment of the event to minimize its effects on equipment and prevent the spread to other parts of the system. This may include:

- Disabling all suspected network connectivity

- Confirmation of physical access controls

- Removing equipment or programs from service (provided its removal does not itself compromise or disrupt stable operations of the BES).

- Requesting necessary technical support as needed (engineering, maintenance, IT) to ensure appropriate response and for the backup and storage of information required to recover BES Cyber System functionality. Identify the teams to be contacted – engineering, maintenance, IT, etc.

Note: Data preservation should not impede or restrict recovery, but Cyber data, such as corrupted drives or recorded data, should, to the extent possible, be preserved for follow-up investigations and full recovery.

Attacks

Physical Security attacks – The immediate response must focus on ensuring the safety of on-site personnel and mitigating the risk to reliable operations of the BES by protecting, restoring, or securing equipment or by otherwise stabilizing or securing site operations.

Electronic Security attacks – The immediate response must focus on ensuring the LIBES is still secure and that the attack did not result in a breach of the LIBCS. Responses may include:

- Reviewing LIBCS configurations (firewall settings, intrusion detection logs, etc.)

- Validation that suspected Cyber Assets have not been compromised

- Requesting technical support as needed (engineering, maintenance, IT) to ensure appropriate response and for the backup and storage of information required to recover BES Cyber System functionality. Identify the teams to be contacted – engineering, maintenance, IT, etc.

Threats

Verbal Threats – Obtain all available information regarding the threat so that appropriate notifications and actions may begin.

- If a live caller is involved, obtain and document any available details that can be collected. If possible, remain on the phone with the caller to support call tracing.

- Notify the Site Management and other appropriate management so that reporting requirements may be considered.

Physical Security threats (bombs, sabotage, weaponry, etc...) – Notify Site Management and local law enforcement immediately. Conduct a review of protective measures that are in place to ensure mitigation capability is intact.

- Implement increased security measures such as more frequent security patrols or additional security personnel (as appropriate).

- Conduct searches of security perimeters and site areas for signs of ingress or attempted ingress and report to the Operations Supervisor and other appropriate management.

- Once the threat window has passed, consider returning measures and controls to the baseline security posture.

Electronic Security threats – while uncommon, threats to the ESP should be responded to using the same measures above for ESP attacks.

Note: CIP Exceptional Circumstance actions may be in exception to previously defined CIP related procedures and/or regulations. Exceptions to defined procedures should be noted for future review.

Cyber Security Incident Reporting

Greasewood is obligated to notify the E-ISAC of Reportable Cyber Security Incidents. Greasewood also reports such incidents to the appropriate Independent System Operator (ISO) and Reliability Entity (RE) as a best practice.

E-ISAC & DOE Reporting

As soon as practicable, and with consideration of the severity of the Cyber Security Incident and the filing horizon, the CIP Senior Manager and/or Site Management will contact the E-ISAC at (404) 446-9780 (Press 2) within one (1) hour from the time the Response Team concludes that functionality essential to performing reliability tasks has been compromised or disrupted (Reportable Cyber Security Incident).

Depending on the nature of the situation, Form OE-417 must be filed to the DOE either within one hour; six hours; or by the later of 24 hours after the recognition of the incident OR by the end of the next business day of the incident. The DOE reporting website provides provisions to include NERC and/or E-ISAC as additional recipients of the OE-417 submittal. For detailed procedure on reporting and filing OE-417 refer to filing instructions in the link:

https://www.oe.netl.doe.gov/OE417/Form/Home.aspx

Reporting Updates

Greasewood will provide updates to the initial report, if any, within seven (7) calendar days of determination of new or changes attribute information. Attribute information under this requirement include: the functional impact, the attack vector used and the level of intrusion that was achieved or attempted. If any of these attributes receive new or updated information, they must be reported to both E-ISAC and NCCIC and indicated as an “Update” to the initial and/or prior updates.

CSIRP Review and Maintenance

The Site Management is responsible for initiating updates to the CSIRP as necessary. Any changes to the roles or responsibilities, response groups or technology that would impact the ability to execute the plan will be reflected in the plan and communicated to respondents no later than 60 calendar days after the change. The Site Management will facilitate the documentation and communication of any such changes. A review of the Cyber Security Incident Response Plan will be completed at least once every 15 calendar months.

CSIRP Testing

Greasewood will schedule and execute tabletop testing of the CSIRP for Low Impact BES Cyber Systems with representatives of those facilities at least once every 36 calendar months. Any such test can include an actual Reportable Cyber Security Incident, an attempted compromise of a Cyber Security Incident, a paper drill or tabletop exercise of a Reportable Cyber Security Incident. CSIRP testing does not require removing a component or system from service during the test.

It is important to treat the test as if it were a real incident; including completion of a “Drill” Incident Response Report, Executive Report, and/or completion of a “Drill” OE-417, if required by the scenario. Tests should also include validating contact numbers, email addresses and weblinks.

No later than 180 calendar days after completion of a Cyber Security Incident Response Plan test or actual Reportable Cyber Security Incident, Greasewood shall update the CSIRP if needed.

# 5. Glossary of Terms

Bulk Electric System (BES)

See NERC “Glossary of Terms Used in NERC Reliability Standards” definition.

BES Cyber Asset (BCA)

A Cyber Asset that if rendered unavailable, degraded, or misused would, within 15 minutes of its required operation, misoperation, or non‐operation, adversely impact one or more Facilities, systems, or equipment, which, if destroyed, degraded, or otherwise rendered unavailable when needed, would affect the reliable operation of the Bulk Electric System. Redundancy of affected Facilities, systems, and equipment shall not be considered when determining adverse impact. Each BES Cyber Asset is included in one or more BES Cyber Systems.

BES Cyber System (BCS)

One or more BES Cyber Asset logically grouped by a responsible entity to perform one or more reliability tasks for a functional entity.

CIP Senior Manager

A senior management official with overall authority and responsibility for leading and managing the implementation of and continuing adherence to the requirements within the NERC CIP Standards.

Control Center

One or more facilities hosting operating personnel that monitor and control the Bulk Electric System (BES) in real-time to perform the reliability tasks, including their associated data center, of: 1) a Reliability Coordinator, 2) a Balancing Authority, 3) a Transmission Operator for transmission Facilities at two or more locations, or 4) a Generator Operator for generation Facilities at two or more locations.

Cyber Asset

Programmable electronic devices, including the hardware, software, and data in those devices.

Cyber Security Incident

A malicious act or suspicious event that: - For a high or medium impact BES Cyber System, compromises or attempts to compromise (1) an Electronic Security Perimeter, (2) a Physical Security Perimeter, or (3) an Electronic Access Control or Monitoring System; or- Disrupts or attempts to disrupt the operation of a BES Cyber System. **Note that for low impact BES Cyber Systems the only applicable portion of the definition of Cyber Security Incident is “A malicious act or suspicious event that: …Disrupts or attempts to disrupt the operation of a BES Cyber System.”

Interconnection Reliability Operating Limit (IROL)

A System Operating Limit that, if violated, could lead to instability, uncontrolled separation, or Cascading outages that adversely impact the reliability of the Bulk Electric System.

Special Protection Systems (SPS) / Remedial Action Scheme (RAS)

See “NERC Glossary of Terms Used in NERC Reliability Standards”

NERC Glossary of Terms

https://www.nerc.com/files/glossary_of_terms.pdf

# 6. Reference Documents

Appendix A: Low Impact CSIRP Diagram

Appendix B: Cyber Security Incident Response Form

CIP Exceptional Circumstance Form

Appendix A: Low Impact CSRIP Diagram

Appendix B: Cyber Security Incident Response Form

| ### General Information |  |
| --- | --- |
| ### Date Updated: | ### Incident Response #: |

| ### Respondent Information |  |
| --- | --- |
| ### Incident Response Lead: | ### Title: |
| ### Incident Support Lead: | ### Title: |

| ### Additional Participants/Respondents |  |  |
| --- | --- | --- |

| ### Dates and Times Associated with Incident |  |
| --- | --- |
| ### Initial Notification: | ### By: |
| ### Start of Incident: | ### *End of Incident: |
| ### Actual Initiation of Malicious Behavior (complete this section following root cause identification, if known): |  |

*In the “End of Incident” field, enter the date on which containment and eradication activities ended.

### Overall Description of Incident

### Root Cause

### Containment Activities

### Eradication & Recovery Activities

### Lessons Learned

| ### Threat Source (Attack Vector) |  |  |
| --- | --- | --- |
| ### ☐ Unknown | ### ☐ Email | ### ☐ Improper Usage |
| ### ☐ Attrition | ### ☐ External/Removable Media | ### ☐ Loss of Theft of Equipment |
| ### ☐ Web/Cloud | ### ☐ Impersonation/Spoofing | ### ☐ Unmanaged Devices |
| ### ☐ Other: |  |  |
| ### Additional Information: |  |  |

| ### Incident Classification & Associated Impact |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ### Incident Classification: | ### ☐ Reportable Cyber Security Incident |  |  | ### ☐ NON-Reportable Cyber Security Incident |  |
| ### Functional Area Impact: | ### ☐ Corporate | ### ☐ Generation | ### ☐ Transmission |  | ### ☐ Other: |
| ### Impact to Operations? | ### ☐ NO | ### ☐ YES (provide details): |  |  |  |

| ### Information Sharing |  |
| --- | --- |
| ### ☐ Legal |  |
| ### ☐ Communications |  |
| ### ☐ Human Resources |  |
| ### ☐ Physical Security |  |
| ### ☐ Law Enforcement |  |
| ### ☐ Regulatory Agencies |  |
| ### ☐ External Partners |  |
| ### ☐ Additional Contacts: |  |

| ### Associated Documents |  |
| --- | --- |
| ### ☐ OE-417 | ### Electric Emergency Incident and Disturbance Report |
| ### ☐ E-ISAC |  |
| ### ☐ FBI |  |
| ### ☐ DHS |  |
| ### ☐ NCCIC |  |
| ### ☐ Additional Contacts: |  |

| ### Near-Term Action Items (3-6 months) |  |  |  |  |
| --- | --- | --- | --- | --- |
| ### # | ### Description | ### Respondent | ### Due Date | ### Status |
| ### 1 |  |  |  |  |
| ### 2 |  |  |  |  |
| ### 3 |  |  |  |  |
| ### 4 |  |  |  |  |

| ### Long-Term Action Items (6+ months) |  |  |  |  |
| --- | --- | --- | --- | --- |
| ### # | ### Description | ### Respondent | ### Due Date | ### Status |
| ### 1 |  |  |  |  |
| ### 2 |  |  |  |  |
| ### 3 |  |  |  |  |
| ### 4 |  |  |  |  |

| ### Incident Log ### (Use this section to log incident activities. When respondents have the same initial, establish method to distinguish unique ID) |  |  |  |
| --- | --- | --- | --- |
| ### Date | ### Time | ### Initial | ### Description of Activity |