Greasewood Solar II

Emergency Operations Plan Executive Summary

# Executive Summary:

As a registered PGC, Greasewood Solar II is required to develop, maintain, and utilize (when necessary) an Emergency Operations Plan, pursuant to the requirements set forth in the PUCT Rule §25.53. Greasewood Solar II has developed this plan to comply with the PUCT Substantive rule and applicable NERC Reliability Standards, as well as ensure a greater likelihood of continued operations during an emergency. This plan must be filed with the PUCT either (a) before COD if it is a new facility or (b) within 30 days of a substantive change to the plan. Any substantive change to the plan, made between November 1st and April 30th must be filed no later than June 1st of that year. If a substantive change is made to the plan between May 1st and October 31st, the submission date is no later than December 1st of that same year. At all times, the most recent, approved copy of the Greasewood Solar II Emergency Operations Plan must be available at the Ashtrom Renewable Energy LLC main office for PUCT inspection.

For Greasewood Solar II, a PGC, the PUCT has ordered the following information be included and/or addressed in the Emergency Operations Plan:

# Maintenance of Pre-identified Supplies for Emergency Response

- List of primary and, if possible, backup emergency contacts

- Affidavit stating the following:

  - Relevant operating personnel are familiar with and have received training on the applicable contents and execution of the EOP, and such personnel are instructed to follow the applicable portions of the EOP except to the extent deviations are appropriate as a result of specific circumstances during the course of an emergency;

  - The EOP has been reviewed and approved by the appropriate executives;

  - Drills have been conducted to the extent required by subsection (f) of the rule;

  - The EOP or an appropriate summary has been distributed to local jurisdictions as needed;

  - The entity maintains a business continuity plan that addresses returning to normal operations after disruptions caused by an incident; and

  - The entity’s emergency management personnel who are designated to interact with local, state, and federal emergency management officials during emergency events have received the latest training.

- Annexes to be included in the EOP - A Generation resource/PGC must include

  - A weather emergency annex that includes

      - Operational plan for responding to a cold and hot weather emergency, distinct from the weather preparations required under § 25.55

        - EOP-001, page 7 and Annex W

      - Verification of the adequacy and operability of fuel switching equipment, if installed; and

        - EOP-001, page 9. It is not applicable to this site.

      - A checklist for generation resource personnel to use during a cold or hot weather emergency response that includes lessons learned from past weather emergencies to ensure necessary supplies and personnel are available through the weather emergency

        - Annex D

  - A water shortage annex that addresses supply shortages of water used in the generation of electricity;

    - EOP-001, page 8. This is not applicable to this site.

  - A restoration of service annex that identifies plans intended to restore to service a generation resource that failed to start or that tripped offline due to a hazard or threat;

    - Annex E

  - A pandemic and epidemic annex;

    - Annex F

  - A hurricane annex that include evacuation and re-entry procedures if facilities are located within a hurricane evacuation zone, as defined by TDEM;

    - Annex L

  - A cyber security annex;

    - Annex G

  - A physical security incident annex; and

    - Annex H

  - Any additional annexes as needed or appropriate to the entity’s particular circumstances

- Drills

  - Attachment B of Greasewood Solar II -PGCEOP-1.0 Emergency Operations Plan - Attachments B-E

As a registered PGC, it is the intent of Greasewood Solar II to fully comply with all requirements and expectations of the Public Utilities Commission of Texas, all applicable ERCOT protocols, Operating Guides, and Planning Guides, and Applicable NERC Reliability Standards.

The following individuals are responsible for maintaining, implementing, and revising the Executive Summary.

| Name | Title | Permission(s) |
| --- | --- | --- |
| Zahi Harel | Managing Director, US | Maintain/Implement |
| Dikla Fhima | VP, Engineering and Projects | Maintain/Implement |
| JC Culberson | EPE - Director of NERC and Regulatory Compliance | Revise |

- provides a revision control summary that lists the dates of each change made to Executive Summary adoption since the initial Executive Summary adoption.

| Version | Approval Date | Effective Date | Revision Summary |
| --- | --- | --- | --- |
| 1.0 | 12/XX/2023 | 12/XX/2023 | Executive Summary |

As of 12/XX/2023, Executive Summary Version 1.0, approved on 12/XX/2023, supersedes all previous Executive Summary adoptions.