Annex E- Greasewood Solar II

General Restoration Instructions

Introduction:

When the Greasewood Solar II facility trips offline, or is taken offline for any reason, there will be a set of details to consider. In the case of Tierra Bonita, consultation with the OEM provider, third-party consultants, ERCOT Operations staff, FERC staff, DOE, and internal operations staff may be necessary, depending on the nature of the incident that caused the generation Facility to go offline. This Annex, along with Attachment E of Greasewood Solar II-PGCEOP-1.0 Emergency Operations Plan - Attachments B-E, will serve to support Greasewood Solar II management and operations personnel in recovery efforts.

Staffing:

Depending on the reason for the outage, various Greasewood Solar II staff may be needed to address the incident. There can be many causes for a generator to trip, or be forced into an outage situation, requiring nuanced approaches to restoring power to the Facility. The following circumstances are meant to provide examples for different scenarios but is not an exhaustive list.

Operational Instruction from RC, BA, or TOP:

As a solar generating facility, Tierra Bonita must comply with any Operating Instruction from ERCOT (as the BA, RC, and TOP), as well as the operational TOP, Garland Power and Light (GPL). If there is a problem with complying with the Operating Instruction, Tierra Bonita operations personnel must communicate this to ERCOT or GPL operations staff, immediately. If the Operating Instruction was given by ERCOT, as the RC, BA, or TOP the communication shall be made with ERCOT, if the Operating Instruction was issued by GPL, as the Transmission Operator (TOP), the communication shall be with GPL staff. If the Operating Instruction violates safety or may damage Facility equipment, this must be communicated to the entity issuing the Operating Instruction.

Physical damage:

If it is determined that the damage sustained by the Facility is not due to malicious and intentional damage to the Facility, normal operations checks should be conducted on the equipment, to ensure it is possible to begin generating again. This may include consultation with the OEM, contract engineers, and internal maintenance and operations staff.

If the physical damage is determined to be a direct result of intentional damage to the Facility, please refer to Annex H-Greasewood Solar II-PGCEOP-1.0 Physical Security Plan. After completing the reporting process, communication with internal, ERCOT, and GPL operations staff is vital. Tierra Bonita staff should refer to restoration procedures when restoring power.

Cyber Security:

In any case that involves cyber security, threat of cyber damage, or actual damage to the Facility from a cyber security perspective, please refer to Annex G-Greasewood Solar II-PGCEOP-1.0 Cyber Security Incident Response Plan (CSIRP). Careful investigation must be carried out at the Facility to determine how to restore power.

Review and Correction:

After the incident, an in-depth review should be completed. This review should address communications best practices, actionable tasks for improvement of the procedures used for notification and operations, as well as addressing staff responses and actions. During this review, please use Attachment E of Greasewood Solar II-PGCEOP-1.0 Emergency Operations Plan - Attachments B-E.

The following individuals are responsible for maintaining, implementing, and revising the General Restoration Instructions.

| Name | Title | Permission(s) |
| --- | --- | --- |
| Zahi Harel | Managing Director, US | Maintain/Implement |
| Dikla Fhima | VP, Engineering and Projects | Maintain/Implement |
| JC Culberson | EPE - Director of NERC and Regulatory Compliance | Revise |

- provides a revision control summary that lists the dates of each change made to the General Restoration Instructions adoption since the initial General Restoration Instructions adoption.

| Version | Approval Date | Effective Date | Revision Summary |
| --- | --- | --- | --- |
| 1.0 | 12/XX/2023 | 12/XX/2023 | General Restoration Instructions |

As of 12/XX/2023, General Restoration Instructions Version 1.0, approved on 12/XX/2023, supersedes all previous General Restoration Instructions adoptions.