This Plan is designed to identify Greasewood Solar II’s weather critical components, which may lead to a downgrade of operations, should the component fail due to extreme weather conditions. Each year, by December 1st, the measures and steps, outlined in this plan, must be completed.

Identifying Greasewood Solar II’s weather critical components, as defined by the Public Utility Council of Texas

This methodology’s approach will focus on identifying components that are susceptible to failure during weather emergencies and assessing how such failures could significantly impact the solar plant's operations. Once the Weather Critical Components are identified, the list can be used to prove identification of Generator Cold Weather Critical Components, to satisfy compliance for requirements contained in NERC Reliability Standard EOP-012.

Complete the “Critical Components List” tab of the Greasewood Solar II-Winterization Checklist-PUCT SR 25.55 document.

- Component Identification and Inventory

- Inventory Creation - Compile a comprehensive inventory of all components in the solar generating plant, including the following equipment:

  - Solar panels

  - Batteries

  - Inverters

  - Transformers

  - Wiring systems

  - Control systems

  - Support structures

- Categorization - Categorize and rank (by criticality) components based on the following criteria:

  - Function

  - Location

  - Importance to the overall operation of the plant

- Vulnerability Assessment

- Weather Risk Analysis - Conduct a thorough analysis of local weather patterns and historical weather data to understand potential weather emergencies (e.g., hailstorms, extreme temperatures, high winds, heavy snowfall). Monitor the ERCOT ISO website for any alerts or warnings regarding availability of generation and imminent weather conditions.

- Component Susceptibility Evaluation

- Assessment - Assess each component's susceptibility to weather-related damage or failure. This will involve reviewing the following:

  - Manufacturer data

  - Inspection of equipment

    - Insulation

    - Heat Trace

    - Barriers for wind

    - Breaker and transformer cabinet heaters

    - Breaker and transformer cabinet weatherproofing

    - SF6 gas (where applicable)

    - Transformer oil and nitrogen levels & spare oil and nitrogen (where applicable)

  - Historical performance data

- Impact Analysis

Failure Mode Analysis - For each susceptible component, determine the modes of failure that could occur during a weather emergency, to include the following:

  - Physical damage

  - Overheating

  - Electrical failure

Operational Impact Assessment - Evaluate how the failure of each component would impact the   plant’s operations, focusing on the likelihood of a trip, derating, failure to start, or other significant operational hindrances.

- Criticality Ranking

Ranking Components - Based on the vulnerability and impact analysis, rank components in terms of criticality. Based on categorization and prioritization, identify the most critical components, which are those whose failure would most significantly hinder the plant’s operation or reduce its output by more than five percent (5%).

- Mitigation Strategy Development

Preventative Maintenance – During the regularly scheduled maintenance activities for equipment at the site, specifically address the vulnerabilities of critical components, as identified in the Component Identification and Inventory activities, as described in Section 1.

Mitigation Measures - Implement mitigation measures such as physical protections, redundant systems, or weatherproofing to reduce the risk of failure during weather emergencies.

- Emergency Response Planning

Response Procedures - Develop emergency response procedures to address failures of critical components during weather emergencies. This should include rapid repair and replacement strategies.

Training and Drills - Train staff on the site’s Emergency Operations Plan and conduct regular drills to ensure preparedness. This is required in PUCT §25.53.

- Review and Improvement

Data Collection and Analysis - Continuously collect data on component performance and failure rates, especially during and after weather events.

Review and Update - Regularly review and update the assessment of weather critical components based on new data, changes in weather patterns, and technological advancements.

- Documentation and Compliance

Documentation - Maintain thorough documentation of all steps taken, including assessments, decisions made, and actions implemented. This is done by completing the site’s Emergency Operations Plan.

Regulatory Compliance – Retain all evidence of drills, training, inspections, etc., in order to prove compliance with PUCT §25.53 and §25.55.

The following individuals are responsible for maintaining, implementing, and revising the Weatherization Plan.

| Name | Title | Permission(s) |
| --- | --- | --- |
| Zahi Harel | Managing Director, US | Maintain/Implement |
| Dikla Fhima | VP, Engineering and Projects | Maintain/Implement |
| JC Culberson | EPE - Director of NERC and Regulatory Compliance | Revise |

- provides a revision control summary that lists the dates of each change made to the Weatherization Plan since the initial EOP Drill Instructions adoption.

| Version | Approval Date | Effective Date | Revision Summary |
| --- | --- | --- | --- |
| 1.0a | 12/XX/2023 | 12/XX/2023 | Weatherization Plan |

As of 12/XX/2023, EOP Version 1.0, approved on 12/XX/2023, supersedes all previous Weatherization Plan.