## Critical Components List
GREASEWOOD SOLAR II
Weather Critical Components List
Criticality | Function/Type of Equipment | Identification Name/Number | Vulnerability Rating | Potential Mode(s) of Failure | LOCATION | Operational Impact Assessment | Mitigation Measures

## Winter Checklist
16 TAC § 25.55 (c) (1) ERCOT Inspector Winter Checklist Winter season: Dec 1, 2023 to Feb 29, 2024 Inspection Scheduling Period: Dec 4, 2023 to Feb 29, 2024
LIST OF COLD WEATHER CRITICAL COMPONENTS (CWCC): 1. Balance of Plant which is covered through the Substation monthly inspection checklist For site team will have the list documented in their records 1. Breakers: List all SF6 breakers 2. Main Transformer e
(c)(1)(A) Implement weather emergency preparation measures that could ensure the sustained operation of all Cold Weather Critical Components (CWCCs) during winter weather conditions.
Item | Check | Yes | No | N/A Explain in Comments
• Do we have records of implementation of weather emergency preparation measures that ensure the sustained operation of all Cold Weather Critical Components (CWCCs) during winter weather conditions
Comments:
(c)(1)(A)(i) Installation and maintenance of adequate wind breaks:
Item | Check | Yes | No | N/A Explain in Comments
• Records of installation and maintenance of adequate wind breaks
• Records of maintenance of adequate wind breaks
Comments:
(c)(1)(A)(ii) Installation and maintenance of insulation and enclosures for all cold weather critical components (CWCC):
Item | Check | Yes | No | N/A Explain in Comments
• Show records of installation and maintenance of insulation and enclosures for all Cold Weather Critical Components (CWCC)
• Show records of maintenance of insulation and enclosures for all CWCC and complete ongoing monthly requirements.
Comments:
(c)(1)(A)(iii) Inspection of existing thermal insulation and associated forms of water-proofing for damage or degradation, and repair of damaged or degraded insulation and associated forms of water-proofing.
Item | Check | Yes | No | N/A Explain in Comments
• Show records (prior to winter season) that have inspected and repaired existing thermal insulation and associated forms of water-proofing for damage or degradation for all CWCCs.
• Show records of inspection and maintenance of existing thermal insulation and associated forms of water-proofing for damage or degradation for all CWCCs throughout the winter season and monthly
Comments:
(c)(1)(A)(iv) Arrange and provide for the availability and appropriate safekeeping of sufficient chemicals, auxiliary fuels and other materials necessary for the sustained operation during a winter weather emergency:
Item | Check | Yes | No | N/A Explain in Comments
| • Prior to Winter season, show records of arranging and providing for the availability and appropriate safekeeping of: - Sufficient Chemicals - Auxiliare Fuels - other materials |  |  | X
| • Show records of arranging and providing for the availability and appropriate safekeeping of such materials for the sustained operation during a winter weather emergency throughout the winter season and any ongoing or monthly (if possible) |  |  | X
Comments: There are no auxiliary fuels or chemicals for this soalr generating facility
(c)(1)(A)(iv) Plan for and maintain the operability of instrument air moisture prevention systems:
Item | Check | Yes | No | N/A Explain in Comments
• Prior to Winter season, show records of monitoring, planning and maintenance of the operability of instrument air moisture prevention systems
• Show records of monitoring, planning and maintenance of instrument air moisture prevention systems throughout the winter season and any ongoing or monthly (if possible)
Comments:
(c)(1)(A)(iv) Maintenance of freeze protection equipment for all cold weather critical components (CWCCs), including fuel delivery systems controlled by the generation entity, and testing or verifying the functionality of freeze protection equipment prior to and on a monthly basis during the winter season:
Item | Check | Yes | No | N/A Explain in Comments
• Show records of maintaining freeze protection equipment for all Cold Weather Critical Components - SF6 Breakers - Main transformer
• Show records of maintaining freeze protection equipment for fuel delivery systems
• Show records of testing and verifying functionality of freeze protection equipment - Prior to the winter season - monthy during the winter season
Comments:
(c)(1)(A)(vii) Monitoring of all cold weather critical components, including circuitry that provides freeze protection or prevents instrument air moisture:
Item | Check | Yes | No | N/A Explain in Comments
• Show records of monitoring all CCWCs
• Show records of monitoring circuitry that provides freeze protection; or
• Show records of monitoring circuitry that prevents instrument air Moisture
Comments:
(c)(1)(B) What additional measures we are implementing to ensure sustained operation of the resource at the 95th percentile minimum average 72-hour wind chill temperature reported in ERCOT’s historical weather study, for the weather zone in which the resource is located.
Item | Check | Yes | No | N/A Explain in Comments
• Mechanism to self-determine if exiting measures are adequate (Wind Chill Value Calculation)
• Show records of determining adequacy of existing measures or implementing additional measures reasonably expected to ensure sustained operation at the resource's temperature in ERCOT's historical weather study.
Comments:
(c)(1)(C) Review the adequacy of staffing plans to be used during a winter weather emergency and revise the staffing plans, as appropriate:
Item | Check | Yes | No | N/A Explain in Comments
• Records of reviewing adequacy of staffing plans for a winter weather emergency
Comments:
(c)(1)(D) Train relevant operational personnel on winter weather preparations and operations:
Item | Check | Yes | No | N/A Explain in Comments
• Records of training personnel on winter weather preparations and operations
Comments: