# APPENDIX 8: THREATS TO THE FACILITY

In the event that the site receives threatening correspondence either by phone or by other means of communications, the following actions should be performed immediately:

Actions by the person receiving the threat:

- Gather as much information as possible from the person making the threat. If the threat is via written correspondence, place the correspondence in a location in which it will not be touched or otherwise disturbed until police can be contacted. If the threat is being made verbally (phone, or other), communicate and obtain information from the individual making the threat for as long as possible.

- Inform the Facility Lead Technician/Lead Technician and/or Field Ops Director of the situation.

The Facility Lead Technician/Lead Technician and/or Field Ops Director may consider any or all of the following actions to take in response to the threat situation, depending upon the circumstances of the threat:

  - Order an evacuation of the facility.

  - Call 911 for Police or Fire Assistance.

  - Arrange for additional security personnel for the facility.

  - Direct plant personnel to commence a controlled shutdown of the facility.

  - Direct searches to be performed on vehicles entering the facility.

# APPENDIX 4: EVACUATION PROCEDURES

## Immediate Site Evacuation Procedure

- Personnel present on‐site at the O&M Building shall immediately take the following actions:

  - Locate and obtain the visitor/contractor sign‐in sheet.

  - Locate and obtain all immediately accessible hand‐held radios.

  - Gather at the front entrance gate at facility, and determine the safest muster area to proceed to, depending upon the known circumstances of the emergency (as indicated on Appendix 3).

*NOTE: The primary muster area must be a predetermined location, with any alternate muster areas selected only when egress routes to the primary muster area are unsafe to proceed along.

  - Pass the following information over the plant radio system:

    - The muster area the employees will be proceeding to.

    - Visitors/contractors known to be in the operating areas (as indicated by the visitor/contractor sign‐in sheet).

  - Once emergency personnel have completed the preceding steps, they shall immediately proceed to their designated muster area. Personnel on‐site should not delay in evacuating or wait on other personnel that they anticipate may arrive.

  - Upon arriving at the designated muster area, the group shall designate a Person‐ in‐ Charge and take a head count of all personnel who are at the muster area, including contractors and visitors.

  - After a roll call of all personnel present at the muster area is taken, the Person‐in‐ Charge shall identify which operating area personnel are not accounted for. The Person‐in‐Charge will then query by radio for personnel who are unaccounted for. The Person‐in‐Charge shall then establish radio communication with the Emergency Coordinator (if applicable) and relay information on personnel who are not accounted for.

  - All personnel at the muster location shall remain at the muster location until an “ALL CLEAR” signal is sounded, or if directed by the Emergency Coordinator (if applicable) to leave the muster location. The “ALL CLEAR” signal will be communicated by radio or cellular telephone.

  - The Person‐in‐Charge shall continuously monitor the plant radio system when at the muster location.

- Personnel present in the field/substation area (other than the O&M Building) shall immediately perform the following actions:

  - If not monitoring the plant radio system, immediately turn on hand‐held radios.

  - Proceed to the designated muster area, unless the egress route to the muster area is not safe for travel. In such a case, proceed to an alternate muster area.

  - Instruct any personnel (including visitors and contractors) who are seen along the way to proceed to the designated muster area.

  - Upon reaching the appropriate muster area, report to the Person‐in‐Charge and continue to monitor the plant radio system. If no other personnel are present at the muster area upon arrival, communicate to the Site/Facility Lead Technician that no other personnel are present in the area.

- Personnel not in the operating areas of the plant (to include the O&M building and parking areas) shall immediately perform the following actions:

  - Locate and obtain all immediately accessible hand‐held radios.

  - Proceed to the designated muster area.

  - A Person‐in‐Charge shall be designated for the muster area. In many cases, this will be the Emergency Coordinator. The Person‐in‐Charge shall establish radio communications with operating area personnel and compare roll call lists to determine if any personnel are unaccounted for in the facility.

  - If the Emergency Coordinator is not present at the muster area, the Person‐in‐ Charge at the muster area will coordinate outside responding agency activities until the Emergency Coordinator arrives. In the event that the Emergency Coordinator is in plant operating areas or has proceeded to the alternate muster area, he/she may elect to designate the muster area Person‐in‐Charge to act in the capacity of Emergency Coordinator during the emergency

## Delayed Site Evacuation Procedures

- Personnel present on‐site at the O&M building shall immediately take the following actions:

  - Take necessary operating actions to place the facility in the most stable condition, based upon the type of emergency.

  - Locate and obtain the visitor/contractor sign‐in sheet

  - Communicate names of visitors/contractors currently in the operating areas to outside operating personnel. Instruct outside operating personnel to locate and direct all visitors/contractors to proceed to the Administrative Building for egress instructions.

  - When all visitors, contractors and non‐essential operating personnel have been accounted for and are present in the O&M building, the Facility Lead Technician (or Emergency Coordinator, as appropriate) shall designate a trained person to escort all non‐essential personnel to the designated muster area along the safest egress route.

  - Notify the Emergency Coordinator of the current facility status, and evacuation details.

  - Perform a controlled shutdown in accordance with appropriate procedures and directions from the Emergency Coordinator.

  - Once the shutdown has been completed, all essential personnel shall gather in the O&M and take roll call.  When all essential operating personnel are present and accounted for, evacuation to the designated muster area shall be performed, unless the egress route is not safe for travel. In such a case, proceed to the alternate muster area.

- Personnel present in the field/substation area (other than the O&M building) shall immediately perform the following actions:

  - Continuously monitor the radio system for information and instructions.

  - Perform immediate response actions, as appropriate, to place the facility in the most stable condition, based upon the type of emergency.

  - Locate and direct non‐essential personnel to proceed to the O&M building immediately.

  - Perform facility shutdown instructions as directed by the Facility Lead Technician/Lead technician.

  - Upon completion of shutdown, or upon direction by the Emergency Coordinator, proceed to the muster point for instructions.

- Personnel not in the operating areas of the facility (to include the O&M building and parking areas) shall immediately perform the following actions:

  - Locate and obtain all immediately accessible hand‐held radios. (b) Proceed to the designated muster area (see Site Map).

  - A Person‐in‐Charge shall be designated for the muster area. The Person‐in‐ Charge shall establish radio communications with operating area personnel and compare roll call lists to determine if any personnel are unaccounted for in the facility.

  - The Person‐in‐Charge at the designated muster area will coordinate outside responding agency activities and provide assistance (to include personnel, resources, and administrative functions) to the O&M building as directed by the Emergency Coordinator and/or Facility Lead Technician/Lead technician.

- The Emergency Coordinator shall immediately perform the following actions:

  - Proceed to the O&M building or to the location on the facility most appropriate for directing response actions for the emergency.

  - Coordinate actions related to the emergency and provide directions to muster area.

- Persons‐in‐Charge

  - In the event that the emergency escalates in severity or immediate danger to personnel, direct immediate evacuation of all essential operating personnel involved in plant shutdown activities.

## Designated Egress Routes and Muster Areas for Evacuations

- The Designated Muster Area is the primary gathering point for personnel and should be used during evacuations unless the emergency has rendered egress routes to the Muster Area unsafe for travel.

- The Alternate Muster Area is the alternate gathering point for such circumstances.

- Alternate muster location will be communicated at the time of evacuation and will take into consideration the event occurring that is causing the evacuation

| Designated Muster Area | O&M Building |
| --- | --- |
| Alternate Muster Area | Alternate muster location will be determined at the time of the event. |