Hurricane Plan

Elawan Energy

Version 1.1

Effective Date: 04/02/2024

In the event of a hurricane, the first priority is always the health and safety of Elawan Energy personnel. Elawan Energy’s hurricane response process is listed below:

- Ensure all Elawan Energy personnel and any potentially affected public personnel are not in danger.

- By using the evacuation routes in the link below, Elawan Energy personnel must evacuate at a time recommended by local authorities.

- Elawan Energy facilities should be hardened, to the extent possible, against lasting damage from a hurricane. Some of these hardening details are listed below:

  - Ensure all loose material or equipment is secured.

  - Ensure proper draining channels exist and are functional

Elawan Energy facilities in Region 1, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

Elawan Energy facilities in Region 2, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

Elawan Energy facilities in Region 3, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

Elawan Energy facilities in Region 4, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

Elawan Energy facilities in Region 5, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

Elawan Energy facilities in Region 6, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

Checklist(s) for generating facility personnel to address emergency events

Elawan Energy shall use the checklist in Annex C to identify which personnel shall address events that arise during the emergency.

When re-entry to the affected facility is safe, it is important to ensure all emergency gear and equipment that may be necessary to clear paths are available, serviceable, and on hand to be used, if necessary. This equipment may include, depending on the circumstances, saws, tire chains, etc.

In the event that the entry route is obstructed or compromised, ensure proper PPE is worn and utilized and normal safety measures are employed.

Always ensure communication is maintained between Broad Reach personnel attempting re-entry and Broad Reach leadership.

The following individuals are responsible for maintaining, implementing, and revising the PRP.

| Name | Title | Permission(s) |
| --- | --- | --- |

- provides a revision control summary that lists the dates of each change made to the PRP since the initial PRP adoption.

| Version | Approval Date | Effective Date | Revision Summary |
| --- | --- | --- | --- |
| 1.0 | 04/11/2022 | 04/15/2022 | Initial Hurricane Plan |
| 1.1 | 04/01/2024 | 04/02/2024 | Reviewed with no changes |

As of 04/02/2024, annexes associated with EOP Version 1.1, approved on 04/02/2024, supersede all previous PRP annexes.