Elawan Energy

Cyber Security Incident Response Plan

- Objective This Cyber Security Incident Response Plan (CSIRP) covers the response to all potential or actual Cyber Security Incidents that effect Elawan Energy’s BES Cyber Systems. This plan is used as a part of the compliance requirements outlined in NERC Reliability Standard CIP-003.

- Purpose The CSIRP will contain the following:

  - Identification, classification, and response to Cyber Security Incidents;

  - Determination of whether an identified Cyber Security Incident is a Reportable Cyber Security Incident and subsequent notification to the Electricity Information Sharing and Analysis Center (E-ISAC), unless prohibited by law;

  - Identification of the roles and responsibilities for Cyber Security Incident response by groups or individuals;

  - Incident handling for Cyber Security Incidents;

  - Testing the Cyber Security Incident response plan(s) at least once every 36 calendar months by: (1) responding to an actual Reportable Cyber Security Incident; (2) using a drill or tabletop exercise of a Reportable Cyber Security Incident; or (3) using an operational exercise of a Reportable Cyber Security Incident; and

  - Updating the Cyber Security Incident response plan(s), if needed, within 180 calendar days after completion of a Cyber Security Incident response plan(s) test or actual Reportable Cyber Security Incident.

- Terms and Definitions Terms defined in the NERC Glossary of Terms1 are capitalized and used as defined there. The additional terms listed in this section are specific to this document.

- Acronyms

| Acronym | Term |
| --- | --- |
| BES | Bulk Electric System |
| CSIRP | Cyber Security Incident Response Plan |
| CSIRM | Cyber Security Incident Response Manager |
| CSIRT | Cyber Security Incident Response Team |
| DOE | Department of Energy |
| E-ISAC | Electricity Information Sharing and Analysis Center |
| IDS | Intrusion Detection System |
| NERC | North American Electric Reliability Corporation |

- Roles and Responsibilities

  - Unless otherwise delegated in delegation document, the CIP Senior Manager will be the Cyber Security Incident Response Manager (CSIRM). A delegation by the CIP Senior Manager allows both the CIP Senior Manager and delegate(s) to be a Cyber Security Incident Response Manager.

  - The Cyber Security Incident Response Team (CSIRT) is a team made up of individuals who have the appropriate education, experience, or other expertise necessary in to assist the CSIRM in determining the classification and response for the specific Cyber Security Incident. These individuals may include, but are not limited to, technical SME’s, safety or security personnel, outside vendors, personnel and compliance staff. The members of the CSIRT will be determined by the CSIRM, as needed, for each potential or actual Cyber Security Incident.

| ROLE | INDIVIDUAL OR GROUP | RESPONSIBILITY |
| --- | --- | --- |
| Cyber Security Incident Response Manager (CSIRM) | CIP Senior Manager | Provides overall direction to the CSIRT. Establishing communications with outside agencies including NERC, DOE and E-ISAC. Providing information to other senior management during an incident. |
| Technical SME | ROC Manager | Provides for SCADA support and troubleshooting on all interfaces with the SCADA system Serves as potential backup to the CSIRM. Provides for support and troubleshooting on all cyber systems. Serves as potential backup to the CSIRM. |
| Physical Security SME | Site Manager | Provides for support for all actions regarding physical security. Serves as potential backup to the CSIRM. |

Table 2 List of Roles and Responsibilities

  - Additional individuals may be called upon for to provide technical expertise. These individuals

may perform an advisory role but have no responsibility for responding to the Cyber Security

Incident.

Table 3 Additional Resources

| AREA OF EXPERTISE | ORGANIZATION |
| --- | --- |
| SCADA Network | General Electric |
| Firewall Support | Checkpoint / Neighbourhood IT |
| Physical Security | Local Law Enforcement |
| Regulatory Guidance | Electric Power Engineers, LLC |

- Cyber Security Incident Procedure

  - Identification: Potential Cyber Security Incidences may be identified by, but are not limited to the following:

    - The announcement of an exploit from a vendor, E-ISAC, or other source.

    - Suspicious request for information related to cyber systems. The information requested may be regarding, but is not limited to, logon credentials, system configuration, system maintenance, make and model of equipment.

    - Physical damage or modification to cyber equipment or systems. In addition to equipment or equipment enclosures which are physically damaged or altered the unexpected addition or removal of devices or cabling should be considered a potential cyber security incident.

    - Observation of abnormal system or component behavior. Abnormal behavior may include, but is not limited to:

      - Unusually heavy or light network traffic

      - Out of disk space or significantly reduced free disk space

      - Unusually high CPU usage

      - Creation of new user accounts

      - Attempted or actual use of administrator-level accounts

      - Locked-out accounts

      - Cleared log files

      - Full log files with an unusually large number of Incidents

      - Disabled antivirus software and other security controls

      - Unexpected patch changes

      - Unexpected system shutdown

    - Automated detection.

      - The Cyber Security Incident may be detected using systems or applications such as but not limited to IDS, antivirus programs and/or network monitors.

    - Other suspicious activity or situation that may indicate a threat or attack. Possible indicators or examples of this type of activity are: drones, suspected observation or surveillance, suspicious packages or containers.

  - Response

    - When an employee or staff member sees or believes that a Cyber Security Incident has occurred, they will inform the CSIRM of the situation. The CSIRM shall make an initial determination on the potential classification associated with the suspected Cyber Security Incident. Based on the initial potential classification, if necessary, the CSIRM shall assemble those members of the CSIRT deemed appropriate by the CSIRM.

  - Classification: The classification of the Cyber Security Incident is done according to the Incident Types table located in Appendix A.

  - Reporting

    - Using the information listed in Appendix A, the CSIRT will document the incident and shall notify the identified contacts of the type of incident in accordance with the reporting and timing requirements established by the appropriate entities to be contacted. Reports to E-ISAC must be made within one hour of the determination that the incident is reportable and shall be done by emailing the E-ISAC Report Form located in Attachment 1 or using the DOE OE-417 reporting portal. Initial reports to the E-ISAC may be only a preliminary notice. The U. S. Department of Energy requires one-hour reporting of all physical and cyber events that cause interruption of electric system operations. Reporting within six-hours is required for physical attacks or cyber events that could potentially impact electric power system adequacy or reliability and vandalism which targets components of any security systems. This reporting is done using Form OE-417. This can be filed electronically filed at https://www.oe.netl.doe.gov/OE417/.

  - Incident Handling: The handling of the Cyber Security Incident shall be done as detailed in the Incident Types table located in Appendix A. Specific handling actions will be determined at the time of the incident and may not include all or be limited to those actions specified in Appendix A.

- CSIRP Testing

  - This Cyber Security Incident Response Plan will be tested and updated according to the table below. Updates need only be done when it is determined that changes need to be made.

| BES CYBER SYSTEM RATING | CSIRP TEST INTERVAL |
| --- | --- |
| High or Medium | 15 months |
| Low | 36 months |

Table 4 CSIRP Testing Interval

  - This test is to be one of the following:

    - Actual Reportable Cyber Security Incident, or

    - Tabletop exercise of a Reportable Cyber Security Incident, or

    - An operational exercise of a Reportable Cyber Security Incident

  - A table top exercise may cause the activation of a CSIRT in order to respond appropriately to a “mock” cyber incident.

  - An operational exercise may be part of a larger test including other agencies. This test may be hosted by Elawan Energy or an outside agency. The NERC GridEx exercise is an example of an exercise hosted by an outside agency.

  - Documentation of Testing

    - . A summary of the test shall be documented using the CSIRP Incident and Testing Form included in Attachment 2. All deviations from this CSIRP must be included in this testing documentation form

  - Lessons Learned

    - All lessons learned, or a statement that no lessons were learned, must be included in the testing documentation form within 90 days of the test or incident.

- CSIRP Updates

  - Update this CSIRP if it is determined at any time that updates are needed. Updates identified as part of an actual incident or a test must be completed within the CSIRP Update listed in the CSIRP Update Interval table below.

Table 5 CSIRP Update Interval

| BES CYBER SYSTEM IMPACT RATING - UPDATE CAUSE | CSIRP UPDATE |
| --- | --- |
| High or Medium – updates identified in Lessons Learned | 90 Days |
| High or Medium – updates because of changes in roles and responsibilities or technology that would impact this document | 60 Days |
| Low – all updates | 180 Days |

- Notification of Updates

  - The authorization of this document is considered notification of that authorizing individual of updates to this document. In cases where the authorizing individual is not the CIP Senior Manager, the CIP Senior Manager will be notified of any updates to this document. All individuals delegated by the CIP Senior Manager to perform the specific action or role of CSIRM and all individuals or groups, if any, with assigned roles and responsibilities, will also be notified of updates to this document. These notifications will be done within ninety days for updates made as a result of lessons learned. All other notifications will be made within sixty days of the authorization of this updated document.

- Document Retention

  - All documents related to the implementation, testing or performance of this CSIRP shall be retained for a minimum of three years. Documentation of non-compliance with a CIP standard must be retained the longer of three years or until the time when mitigation is complete.

| CLASSIFICATION | DESCRIPTION | HANDLING | CONTACTS |
| --- | --- | --- | --- |
| Denail of Service (DoS) | A cyber-attack that prevents or impairs the authorized use of networks, systems, or applications by exhausting resources. | • Review cyber access logs • Correct the vulnerability or weakness that is being exploited • Request the ISP implement filtering • Implement filtering based on the characteristics of the attack • Relocate the target | All identified attempts: E-ISAC All attempts that result in impact to the capabilities of one or more BES Assets: Transmission Operator RRO RC Internal contacts |
| Malicious Code | A virus, worm, Trojan horse, or other code-based malicious entity that infects a host | • Review cyber access logs • Identify and isolate infected hosts • Send unknown malicious code to antivirus vendors • Configure email servers and clients to block offending emails • Block identified hosts • Shut down email servers • Isolate networks from the Internet • Disable services • Disable connectivity | All identified attempts: E-ISAC All attempts that result in impact to the capabilities of one or more BES Assets: Transmission Operator RRO RC Internal contacts |
| Unauthorized Access | Electronic – gaining remote access to a network or device through a port, or other means Physical – gaining local access to a network or device through a port, or other means | • Review cyber access logs • Isolate the affected systems • Disable the affected service • Eliminate the attacker’s route into the environment • Disable user accounts that may have been used in the attack • Enhance physical security measures including strong password authentications • Review new or modified network accounts • Securing and establishing a chain of custody for unauthorized materials. | All identified attempts: E-ISAC All attempts that result in impact to the capabilities of one or more BES Assets: Transmission Operator RRO RC Internal contacts |
| Port Scan/Hacking Attempt | Scanning host(s) for vulnerabilities or attempts to gain access or exploit vulnerabilities | • Review security logs • Identify source of scan/hacking • Review firewall rules and network security settings • Adjust security settings to prevent future scans where possible | All identified attempts: E-ISAC All attempts that result in impact to the capabilities of one or more BES Assets: Transmission Operator RRO RC Internal contacts |
| Sabotage | Malicious damage of a system | • Review security logs • Identify methods employed and individuals involved • Implement recovery plan where appropriate. • Report to E-ISAC, NERC and DOE where appropriate • Review and implement potential methods for preventing future sabotage events • Securing and establishing a chain of custody for unauthorized materials | All identified attempts: E-ISAC All attempts that result in impact to the capabilities of one or more BES Assets: Transmission Operator RRO RC Internal contacts |
| Inappropriate Usage | User (employee or vendor) violates security policies and procedures | • CSIRM shall notify the Human Resources as appropriate • CSIRT Technical SME shall also investigate the incident and determine the severity of the inappropriate usage | All identified attempts: E-ISAC All attempts that result in impact to the capabilities of one or more BES Assets: Transmission Operator RRO RC Internal contacts |
| Information Theft or Loss | Theft or loss of information that would assist in the electronic access to BES Cyber Systems | • Where possible, change system to make the impacted information inaccurate • Review protection measures for impacted information | All identified attempts: E-ISAC All attempts that result in impact to the capabilities of one or more BES Assets: Transmission Operator RRO RC Internal contacts |
| Unauthorized Data Modification | Data modified in a way that adversely impacts a BES Cyber System or BES Asset | • When possible, copy modified information for future analysis • Restore impacted data to the appropriate values | All identified attempts: E-ISAC All attempts that result in impact to the capabilities of one or more BES Assets: Transmission Operator RRO RC Internal contacts |
| Other - Malicious | Any type of event that does not meet the descriptions above, but is malicious or is suspected as malicious | • CSIRM will instruct the CSIRT members on appropriate actions to take based on the nature of the event. | All identified attempts: E-ISAC All attempts that result in impact to the capabilities of one or more BES Assets: Transmission Operator RRO RC Internal contacts |
| Other - Suspicious | Any type of event that does not meet the descriptions above may be an indicator of an event in the future. | • CSIRM will instruct the CSIRT members on appropriate actions to take based on the nature of the event. | All identified events: Internal contacts As determined by the CSIRM: Law enforcement |

| CONTACT INFORMATION |  |
| --- | --- |
| E-ISAC | • OE-417 reporting portal, https://www.oe.netl.doe.gov/OE417/ • operations@esisac.com • P: (202) 790-6000 |
| Transmission Operator (TOP) | XXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXX |
| Regional Reliability Organization (RRO) | Texas Reliability Entity Phone: (512) 583-4900 Email: information@texasre.org |
| Reliability Coordinator (RC) | Electric Reliability Council of Texas Phone: (512) 248-6800 |
| Law Enforcement | XXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXX |

Document Control:

| Name | Title | Date |
| --- | --- | --- |
| Rogelio Hernandez | Construction & Technical Director | 04/10/2022 |

| Version | Approval Date | Effective Date | Revision Summary |
| --- | --- | --- | --- |
| 1.0 | 04/10/2022 | 04/15/2022 | Initial Physical Security Plan |

Attachment 1: E-ISAC Report Form

Send the completed form to: E-ISAC at operations@eisac.com. E-ISAC telephone number is:404-446-9780, option 2.

1. Submitter Information

Reporting Entity’s Name:__________________________________________________________________

Contact: Specify Name, Duty Position, Phone, and Email:

| Name |  |
| --- | --- |
| Duty/Position |  |
| Phone |  |
| Email |  |

2. Incident Information

Affected Entity Name:_____________________________________________________________________

Date and Time of Incident:

| Month | Day | Year | Time (hh:mm) | Time Zone |
| --- | --- | --- | --- | --- |

Date and Time of Restoration:

|  | Month | Day | Year | Time (hh:mm) | Time Zone |
| --- | --- | --- | --- | --- | --- |
| Estimated |  |  |  |  |  |
| Actual |  |  |  |  |  |

Not Applicable

Incident Location:

| NERC Region |  |
| --- | --- |
| Balancing Authority |  |
| City, State |  |

CSIRT Team Members Notified

Law Enforcement Involvement:

Yes

Please check all that apply:

Local

FBI

Other____________________________________________________________________________

No

3. Incident Description

Type of Incident:

Emergency Action (e.g., public appeal, voltage reduction firm load shedding, relocation of control center operations)

System Disturbance (e.g., loss of firm load, forced outage, frequency excursion, voltage

excursion or collapse, islanding or separation, or blackout)
		Sabotage/Tampering/Vandalism (e.g., Security breaches, suspected physical or cyber

intrusion, surveillance activities, threats)

Equipment failure (e.g., control or monitoring system failure or compromise,

communications system failure or compromise)
		Other

Incident Details

Please provide the following information, as appropriate, regarding the incident:

Cause, if known:

Insert Details Here

Names and voltage classes of affected transmission assets

| NAME | Voltage Class |
| --- | --- |

Names and MW sizes of affected generation assets

| NAME | MW |
| --- | --- |

Types of affected cyber assets (e.g., SCADA, relay, automation system)

Describe the impact, if any, on critical infrastructure, public health and safety, or environment.

Narrative (please provide other additional information):

Attachment 2: CSIRP Incident and Testing Form

Date of incident or test _________________________________________________________________________

List of participants _____________________________________________________________________________

Description of test scenario ______________________________________________________________________

Were there any lessons learned as a result of this Incident or Test? _______________________________________

Lessons Learned______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Updates to the CSIRP ____________________________________________________________________________

Date updates are complete _______________________________________________________________________