Akuo Energy - TG East Wind Power, LLC

Emergency Operations Drill

Introduction:

It is imperative to consider as many emergency-related issues as possible when developing the tasks for your Emergency Operations Drill (Drill). Equally as important is determining the appropriate staff to address these issues, timing, contracts and dependencies on external entities, all while maintaining clear and unambiguous instructions. This Drill is designed to ensure Akuo Energy’s TG East Wind Power, LLC addresses as many of these issues as possible, helping to ensure continued operations of its generating facilities during emergency conditions.

Staffing:

All TG East Wind Power personnel participating in the Drill will be notified directly, with a clear set of tasks to be completed. Should the tasks need to be performed in a sequential order, appropriate personnel shall be instructed on the timing and order of tasks, stressing clear, concise communication throughout the process. Example - If a switchyard operator is required to open a breaker, he must have the proper switching order as a prerequisite and abide by TG East Wind Power’s Lock-out/Tag-out process. It is important to identify adequate staff to complete the necessary tasks to ensure continuous operation of the generating facility, to the extent possible.

Task Identification:

For inverter-based resources, such as wind, storage, and solar facilities, the weatherization tasks may require less barriers and portable heaters than a conventional generation site; however, these measures can be utilized to keep exposed equipment above freezing temperatures or sheltered from precipitation where necessary.

Carefully list all tasks to be performed in Attachment B of the Emergency Operations Plan, as well as assigning the tasks to the appropriate personnel. It is important to note that severe conditions may warrant more resources to execute a task than normal operating conditions, so it is imperative that equipment like snow chains, de-icing solution(s), extra fuel, etc., are available.  Attachment B will require an action item be assigned to personnel (listed by name), a description of the task, date, completion status (for tracking purposes), and any notes or comments taken during the drill.

Sample Tasks:

- Procurement and distribution of fuel for emergency generators, if applicable.

- Procurement and distribution of spare SF6, nitrogen, or oil for switchyard equipment.

- Management of transportation for personnel participating in the Drill.

- Establishment of emergency operations communications, cell phones, satellite phones, radios, etc.

- Communication of tasks and continual updates via the communication platforms used in the Drill.

- Erection of temporary barriers

- Procurement and placement of portable heaters and extra fuel.

- Inspection of plant and balance of plant equipment to ensure heaters (breaker panels, for example) and instrumentation are serviceable and properly insulated, where applicable.

- All necessary PPE is on hand and available for staff.

- Establish communication with ERCOT, QSE, and appropriate transmission entities, to keep them informed of any developing issues that may impact operation of the facility.

- Ensure proper equipment is on hand and available for clearing paths to the facility, should there be downed vegetation or obstructions.

Review and Correction:

In the vent that vulnerabilities or issues were identified during the Drill, appropriate TG East Wind Power staff shall conduct a review of the Drill, corrective actions to be taken, and document those corrective actions in Attachment B. This review should include an extent of conditions assessment and root cause analysis in order to address any latent issues that may exist in other areas.