Annex L - Hurricane Response Plan

Akuo Energy

TG East Wind Power, LLC

Version 1.0

Effective Date: 04/15/2022

In the event of a hurricane, the first priority is always the health and safety of TG EAST WIND POWER personnel. TG EAST WIND POWER’s hurricane response process is listed below:

- Ensure all TG EAST WIND POWER personnel and any potentially affected public personnel are not in danger.

- By using the evacuation routes in the link below, TG EAST WIND POWER personnel must evacuate at a time recommended by local authorities.

- TG EAST WIND POWER facilities should be hardened, to the extent possible, against lasting damage from a hurricane. Some of these hardening details are listed below:

  - Ensure all loose material or equipment is secured.

  - Ensure proper draining channels exist and are functional

TG EAST WIND POWER facilities in Region 1, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

TG EAST WIND POWER facilities in Region 2, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

TG EAST WIND POWER facilities in Region 3, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

TG EAST WIND POWER facilities in Region 4, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

TG EAST WIND POWER facilities in Region 5, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

TG EAST WIND POWER facilities in Region 6, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

Checklist(s) for generating facility personnel to address emergency events

TG EAST WIND POWER shall use the checklist in Annex C to identify which personnel shall address events that arise during the emergency.

For re-entry to TG EAST WIND POWER’s facility, the route should be surveyed, to the extent possible, to gauge accessibility. Should accessibility be obstructed, pre-identified equipment, such as chain saws, tire chains, or other emergency equipment must be on hand and available to clear a path, should the need present itself. At all times, proper PPE must be worn and communication between designated TG EAST WIND POWER staff and leadership must be maintained.