Navasota Valley Electric Cooperative, Inc.’s

Comprehensive EOP Summary

Navasota Valley Electric Cooperative, Inc. (“Navasota Valley”) maintains an emergency operations plan (“EOP”) in anticipation of natural disasters or situations involving curtailments or major interruptions in electrical service.  The EOP sets forth organizational and personnel assignments, describes emergency communication procedures and lists emergency contacts.  It also contains information concerning all types of critical load customers and plans for communication with all customer classes.

A significant portion of the EOP concerns the coordination of emergency assistance with Local Office of Emergency Management and other local emergency agencies, neighboring cooperatives, construction contractors, and other utilities.  It outlines procedures for securing assistance according to the plan developed by Texas Electric Cooperatives (“TEC”).

Navasota Valley’s EOP has been revised based on the model developed by TEC so that there would be significant uniformity from cooperative to cooperative.

PURPOSE

The purpose of the EOP is to set forth the procedures and information for the restoration of service to Navasota Valley’s members prior to interruptions due to storms or other causes.  The EOP should maximize the time, effort, and opportunities for responding to emergency events impacting Navasota Valley’s system.  The EOP will also be a guideline for training staff on handling critical load customer needs.

The EOP will be reviewed annually by the General Manager.  Critical load customers and contact information will be updated annually and as necessary by the Dispatch Supervisor. The official copy will be maintained by Navasota Valley’s Dispatch Supervisor at 2281 East U.S. Hwy 79, Franklin, Texas.

A critique of the EOP and its effectiveness will be conducted following each major outage.  The critique should generate improvements to the EOP and formulate solution strategies with regard to noted weaknesses in the EOP.

The following provides a detailed summary of the major sections of the EOP and how the EOP addresses the specific requirements of P.U.C. Substantive Rule 25.53(h):

- Critical Load Customers

Navasota Valley makes every effort to be aware of critical load customers that it serves.  It is the responsibility of residential customers who have life-sustaining electrical equipment to inform Navasota Valley of special medical needs.  However, Navasota Valley attempts to identify these customers by asking new members at the time of establishing an account whether any person at that service location requires life-sustaining equipment and by reminding members through articles in the Texas Co-op Power that Navasota Valley needs to be informed of special needs.  Annual letters to residential customers who have registered with Navasota Valley as having special needs helps keep the registry current.

A registry of these customers is included in the Emergency Operations Manual.  Copies are accessible to appropriate utility personnel including the General Manager, Receptionist, Dispatcher, Line Superintendent, Linemen and Engineering personnel.  Our customer accounting system and outage reporting system also includes special notation for critical needs customers.

Communication with the General Manager, Line Superintendent, Linemen and Engineering personnel help identify industrial and public safety critical load customers. The Dispatch Supervisor is responsible for maintaining a current list of all critical load customers.

In the event of an unplanned outage or emergencies, Navasota Valley will make telephone calls to specified critical care customers.  Methods to communicate with these customers during emergencies when telephone service is not available include visits by linemen and other utility personnel, and working through law enforcement officers and emergency medical personnel in the field.

- Communications

During prolonged outages that affect a large number of consumers or a particular area that can be identified, a message will be given to radio and/or TV stations that are popular in each area.  Sample news releases and local radio and TV stations contact numbers are included in the Emergency Operations Manual.  Information regarding the nature of the problem and the expected time of service restoration will be given.  If an outage is expected to continue, advice will be given about the care of frozen foods, etc.

Navasota Valley maintains a staffed phone system on a 24/7 basis.  In the event of large outages, Navasota Valley also uses an automated answering system (“IVR”) to handle customer calls that allows customers to speak with a customer service representative (if during normal business hours) or to leave recorded information to report outages, complaints, or other messages.  Such information is transcribed to an outage report that can be relayed to Navasota Valley’s field personnel, as appropriate.  Customers can request a call back, and Navasota Valley will take all reasonable efforts to return the call to such customers to provide relevant information.

- Curtailment

Due to liability concerns, Navasota Valley has established a priority list for load curtailment in times of emergencies or generation shortages by category (industrial, water supply, schools, fire departments, communications, medical) rather than by name.  Navasota Valley will attempt to inform customers in advance of planned outages or rotating blackouts by telephone or by using radio and/or television media.

Brazos Electric Power Cooperative, Inc. will coordinate and inform Navasota Valley in advance of the need to shed load.

- Priorities for restoration of service

Navasota Valley has listed priorities for restoration of service by category rather than by name.  Generally, this list will be the reverse of curtailment priorities.

In addition to priorities concerning community health and safety, Navasota Valley crews will be assigned to defined areas.  Generally, crews will concentrate on a given feeder, working to the end or to a sectionalizing point, and then returning to restore service on single-phase lines or taps of the feeder.  Restorations will be done systematically, avoiding pressure from individuals for special attention.  However, one or more crews may be assigned to locations where special hazards exist or where especially critical loads require immediate attention.  When not on special assignment, these crews may be used to repair individual services.

- Pandemic Plan

Navasota Valley has adopted a plan to ensure continuous and adequate service during a pandemic.  In preparation, Navasota Valley employees will be educated annually about the possibility of pandemic and the possible impacts on Navasota Valley’s business operations.  Measures have been implemented to mitigate the impact of an influenza pandemic on employees and Navasota Valley.  Plans and policies for responding to a pandemic are reviewed annually by the General Manager.  Navasota Valley promotes employee wellness and minimizes

opportunities for employees to be exposed to the disease while at work.

- Hurricane Plan

Navasota Valley is not included in the hurricane evacuation and re-entry procedures as defined by the Governor's Division of Emergency Management.

- Power Plant Weatherization

Not applicable to Navasota Valley.

- Alternative Fuel and Storage Capacity

Not applicable to Navasota Valley.

- Recovering Generation Capacity

Not applicable to Navasota Valley.

## PROCEDURES FOR SECURING EMERGENCY HELP

April 2022

1.	Survey the extent of damage and determine as nearly as possible the outside personnel and equipment needed.

2.	Contact the TEC Loss Control director and advise the director of your needs.

| Name | Work | Home | Mobile |  | E-Mail |
| --- | --- | --- | --- | --- | --- |
| Danny Williams | 512-454-0311 |  | 512-413-0509 |  | dwilliams@texas-ec.org |
| Curtis Whitt | 512-454-0311 |  | 512-694-0232 |  | cwhitt@texas-ec.org |

3.	When calling for help, give the following information:

- Nature of emergency

- Number and type of trucks needed

- Other equipment and tools needed

- Personnel and classification needed

- Materials needed

- Weather and road conditions

- Where the crews should report, and to whom

- How to contact your cooperative

- Name of person to receive this information

- Telephone numbers other than normal usage

4.	Key TEC staff that may be able to assist you:

The main number at TEC is 512-454-0311

TEC telephone numbers for key staff are as follows:

- Mike Williams, 512-486-6203 Office

- Martin Bevins, 512-486-6249 Office

- Johnny Andrews, 1-877-868-8610 Office---(512) 763-3330 Cell

To facilitate giving of above information over substandard communications media, or when the message must be relayed through persons unfamiliar with the terms, use the form for "Requesting Assistance from TEC”.  (See next page.)

## TEC Plan of Action

- The person at statewide receiving any call for help will attempt to learn:

- The nature of the emergency and its apparent severity,

- What has been done,

- Who has already been contacted,

- What help the cooperative thinks it will need,

- Where they want help to report, and to whom,

- What equipment and materials are needed first,

- A rough guess as to how long help may be needed, and

- What means of communication seems likely to serve best.

After alerting the TEC General Manager, TEC Loss Control will start immediate action to enlist appropriate help.  All calls and assignments will be logged in such manner that others can immediately determine what has been done

## Requesting Assistance from TEC

Cooperative requesting emergency assistance: _______________________________

Telephone number(s):___________________________________________________
						(Use headquarters town name)

Nature of disaster: _____________________________________________________

Number and type of trucks needed: _________________________________________

Other equipment and tools needed: _____________________________________________________________________

_____________________________________________________________________

_____________________________________________________________________

_____________________________________________________________________

_____________________________________________________________________

Personnel and classifications needed: ______________________________________

Materials needed: ______________________________________________________

Weather and road conditions: _____________________________________________

Where crews should report and to whom: ____________________________________

Estimate of how long the help may be needed: ________________________________

How to contact your cooperative during the emergency: _________________________

Name of person to receive this information: __________________________________

Date: ____________________Time:___________________________

## TEC Mutual Aid Agreement

In consideration of the mutual commitments given herein, each of the Signatories to this Mutual Aid Agreement agrees to render aid to any of the other Signatories as follows:

- Request for aid The Requesting Signatory agrees to make its request in writing to the Aiding Signatory within a reasonable time after aid is needed and with reasonable specificity.  The Requesting Signatory agrees to compensate the Aiding Signatory as specified in this Agreement and in other agreements that may be in effect between the Requesting and Aiding Signatories.

- Discretionary rendering of aid. Rendering of aid is entirely at the discretion of the Aiding signatory.  The agreement to render aid is expressly not contingent upon a declaration of a major disaster or emergency by the federal government or upon receiving federal funds. Invoice to the Requesting Signatory.  Within 90 days of the return to the home work station of all labor and equipment of the Aiding Signatory, the Aiding Signatory shall submit to the Requesting Signatory an invoice of all charges related to the aid provided to this Agreement.  The invoice shall contain only charges related to the aid provided pursuant to this Agreement. Charges to the Requesting Signatory. Charges to the Requesting Signatory from the Aiding Signatory shall be as follows:

- Labor force. Charges for labor force shall be in accordance with the Aiding Signatory’s standard practices.

- Equipment. Charges for equipment, such as bucket trucks, digger derricks, and other special equipment used by the aiding Signatory, shall be at the reasonable and customary rates for such equipment in the Aiding Signatory’s location.

- Transportation. The Aiding Signatory shall transport needed personnel and equipment by reasonable and customary means and shall charge reasonable and customary rates for such transportation.

- Meals, lodging and other related expenses.  Charges for meals, lodging and other expenses related to the provision of aid pursuant to this Agreement shall be the reasonable and actual costs incurred by the Aiding Signatory.

- Counterparts. The Signatories may execute this Mutual Aid Agreement in one or more counterparts, with each counterpart being deemed an original Agreement, but with all counterparts being considered one Agreement.

- Execution. Each party hereto has read, agreed to and executed this Mutual Aid Agreement on the date indicated.

Date________________________ Entity___________________________________

By ____________________________________

Title____________________________________

ORGANIZATIONAL AND PERSONNEL ASSIGNMENTS

1. SITUATION ASSESSMENT

The General Manager is responsible for monitoring threats to the reliability of the system and for assessing damages.  He will determine if outside assistance is required.

2.  INCOMING CALLS

The Dispatch Supervisor is responsible for managing incoming telephone calls by members reporting outages and trouble reports.  The following individuals may be assigned to telephone or front office duty:

Ashley Hernandez			Janet Summers

Lisa Sanders				Kaylyn Barrett

DeLynn Barrett			Robin Cancilla

Delana Towns			Robin Powell

Terry Cambiano			Joyce Kadlacek

Nicole Spillers			Audra Golden

Delana Towns			Alysha Dies

3.  DISPATCHING

The individuals listed below are authorized to perform dispatching duties.  Visitors and unauthorized personnel are not allowed in the dispatch room.  Dispatching should be handled by two employees.  They may not work more than twelve hours on a shift.

Kayla Sanders			Joanna Tilson

Jessica Pruitt				DeLynn Barrett

Janet Summer			Jarad Summers

Ashley Hernandez			Hannah Hunt

Jacky Hancock			Bruce Wiggins

Delana Towns			Kaylyn Barrett

Steve Jones				Terry Cambiano

Josh Box				Audra Golden

4.  COMMUNICATIONS EQUIPMENT

The Member Services Manager is responsible for maintenance of additional radios and other communications equipment for use during an emergency.

5.  REPORTING:  PUC, POWER SUPPLIER, CONTROL AREA, NEWS MEDICA, LOCAL EMERGENCY OPERATIONS CENTERS

The General Manager is responsible for reporting emergency information to the Public Utility Commission, the Cooperative’s power supplier, the Reliability Council Control Area, local news medical and local government emergency operations centers.  The General Manager may delegate this responsibility to the Office Manager or Line Superintendent.

6.  MAINTAINING SYSTEM MAPS

The Mapping Coordinator is responsible for maintaining the appropriate number of up-to-date maps.

7.  INVENTORY CONTROL

The Material Clerk is responsible for issuing all materials and keeping accurate records.

8.  TREE REMOVAL EQUIPMENT

The Line Superintendent is responsible for keeping or arranging for tree cutting and removal equipment.  He is also responsible for securing assistance from local residents or businesses, if needed.

9.  SUBSTATION TRANSFORMERS – NOT APPLICABLE

10.  POWER FEEDS

The Foreman of each crew is responsible for informing each crew of source(s) of all power being fed into the area to be worked.

11. CONSUMER ASSISTANCE

The Member Services Manager is responsible for assisting consumers with locating portable generators, dry ice and other items or services.

12.  SUPPORT FOR VISITING WORK CREWS

The Office Manager is responsible for coordination with visiting crews including the following duties:

Secure lodging and food

Arrange for fuel and servicing of trucks

Insure that visiting crews understand and agree to comply with safety rules described in this document

Provide information concerning persons in charge of operations and dispatching.

Provide revised estimates of work left to be completed.

Reach an understanding concerning the handling of expenses.

Franklin Office

April 2022

General Manager

Steve Jones			979-828-6414

979-828-5978

Cell 		979-777-5047    			Radio	Unit #22

Line Supervisor

Jacky Hancock			979-828-6421

979-828-3496

Cell 		979-229-8055    			Radio	Unit #13

Dispatch/Operations

Kayla Sanders			979-828-6431

979-814-0880

Staking Technicians

Chuck Smith			979-828-6424

Coop Cell		979-324-9550			Radio	Unit #14

Jeff Hrncir				979-828-6432

Cell		979-255-3052

Cell		979-324-7906			Radio	Unit #03

Mapping

Jessica Pruitt			979-828-6415

979-595-3502

Jay Rasberry	 (GPS)	979-828-6423

Coop Cell			979-255-3054			Radio	Unit #01

Warehouse/Materials Clerk

Frank Reistino			979-828-6417

Cell	979-218-0005

Mechanic

Bobby Marriott			979-828-6418

979-571-2224

Office Personnel

DeLynn Barrett			979-828-6412			Cell	979-219-9213

Lisa Sanders			979-828-4902			Cell	979-676-1109

Delana Towns			979-828-6437			Cell	979-676-2744

Alysha Dies			979-828-6428			Cell 	979-777-4784

Nicole Spillers			979-828-6422			Cell 	979-587-3319

Ashley Garcia			979-828-6413			Cell	979-204-0313

Audra Golden			979-828-6411			Cell  	979-324-7195

Dispatchers

Kayla Sanders			979-814-0880

Joanna Tilson			979-218-7408

Hannah Hunt			979-571-9490

Ashley Hernandez		979-204-0313

Josh Box				979-820-4938

Bruce Wiggins			979-777-9381

Kellie White			979-848-4219

Jessica Pruitt			979-595-3502

Delana Towns			979-676-2744

DeLynn Barrett			979-219-9213

Misc. Franklin Information

Office phone numbers					800-443-9462

979-828-3232

Unpublished number for linemen only		828-3368

Fax number						828-5563

Mailing address						P.O. Box 848; Franklin, TX 77856

Physical address						2281 E. US Hwy 79

FRANKLIN LINEMEN        			               HOME/OTHER

April 2022

Jesse Burns					Cell		  	1-254-394-1557

Home			828-4806

Trey Evans					Home			828-5471

Cell			255-0485

Bobby Green					Home			828-5438

Cell			218-0005

Jeff Hrncir					Cell			255-3052

Cell			324-7906

Fernando Jackson				Cell 			254-229-1030

Robert Johnson				Cell	  		979-676-0648

Darryl McCormick				Cell			906-8944

Chuck Smith					Cell	 		324-9550

Robert Stearns				Cell			979-436-6011

Aaron Wegscheid				Cell			218-535-1702

Kyle Willis					Cell			254-652-8492

Cell			979-255-6037

Bobby Green					Home			828-5438

Cell			218-0005

Bobby Marriott				Home			828-4784

Has to go with a Lineman			Home			828-1866

Cell			571-2224

Mart Office

April 2022

Office Manager

Janet Summers			254-828-6463		Cell	254-640-2377

Line Superintendent

Jarad Summers 			254-828-6456		Cell	254-709-5815

Staking Technician

Tracy Adler				254-479-0639		Cell	979-324-8541

Brandon Hoelscher		254-723-4090

Warehouse/Materials Clerk

Robert Schlemmer		254-789-2090		Cell	254-709-3957

Office Personnel

Robin Cancilla			254-876-3581		Cell	254-744-5027

Joyce Kadlacek			254-896-6531		Cell   254-855-3331

Jennifer Reesing			254-876-2825		Cell	254-715-1311

Kaylyn Barrett			979-828-6462		Cell  	979-906-0366

Misc. Mart information

Therrell Alarm 					800-234-1216

Office phone numbers  			979-828-3232

254-876-2581 or 2582

Mart line #4		        			828-3915

800-445-8920

Unpublished number for linemen

and county emergency personnel		254-876-3800

Fax number					254-876-2583

Mailing address					P.O. Box 60

Mart, Texas 76664

Physical address					450 Battle Road

Mart, TX  76664

MART LINEMEN						    	HOME/OTHER

April 2022

Tracy Adler								254-479-0639

Cell		         		979-324-8541

Russell Carroll			Cell	      			254-405-1744

Alt #				254-405-0555

Robert Hickman			Cell				254-855-9469

Jimmy(Bubba) Hill		Cell				254-315-1301

Cell #2			254-315-1661

Brandon Hoelscher		Cell				254-723-4090

Cell #2			254-723-2095

Ty Marshall			Cell				254-227-0100

Brian Rogers			Cell				281-932-6445

Home			254-896-6419

Tyron Sanchez			Cell				254-709-2729

Cell #2			254-709-1559

Robert Schlemmer					      	254-789-2090

Has to go with a lineman		Cell				254-709-3957

Thomas Smith			Cell				254-715-5761

Has to go with a lineman

Jarad Summers			Cell				254-709-5815

Cell				979-255-4277

Landon Summers		Cell				254-709-4198

Cell				254-723-6220

Jacob Vanous			Cell				254-716-9506

Chris Wehmeyer							254-214-1465

COMMUNICATIONS

Updated May 1, 2008

During prolonged outages that affect a large number of consumers or a particular area that can be identified, a message will be given to radio and/or TV stations that are popular in each area.  Sample news releases and local radio and TV stations contact numbers are included in the Emergency Operations Manual.  Information regarding the nature of the problem and the expected time of service restoration will be given.  If an outage is expected to continue, advice will be given about the care of frozen foods, etc.

Navasota Valley maintains a staffed phone system on a 24/7 basis.  In the event of large outages, Navasota Valley also uses an automated answering system ("IVR") to handle customer calls that allows customers to speak with a customer service representative (if during normal business hours) or to leave recorded information to report outages, complaints, or other messages.  Such information is transcribed to an outage report that can be relayed to Navasota Valley's field personnel, as appropriate.  Customers can request a call back, and Navasota Valley will take all reasonable efforts to return the call to such customers to provide relevant information.

1.  Complaint Handling Procedures

During an emergency, the cooperative’s telephone system will be staffed around the clock in order to receive information from customers, emergency authorities and others.

2.  Coordination with Visiting Work Crews

If visiting crews operate on the same radio frequency as the cooperative, the dispatchers will communicate directly with the radio-equipped trucks.  For those trucks operating on a different frequency or without radio equipment, the cooperative may issue hand-held radios to communicate with the dispatchers.  The cooperative also reserves one unpublished telephone line for communications with crew members.

Page 1 of 2

3.  Critical Loads

When telephone service is not available, the cooperative will attempt to notify critical loads either before or at the onset of an emergency through broadcast radio and/or television announcements, working with law enforcement officers and utility personnel in the field.

4.  Reporting Requirements

The General Manager will assign responsibilities for reporting to the Public Utility Commission, the reliability council control area, and local emergency officials.

MEDIA PLAN

During prolonged outages that affect a large number of consumers or a particular area that can be identified, a message will be given to radio and/or TV stations that are popular in each area. WBAP AM radio station in Arlington will be used to inform customers in the Buffalo area of an outage during a storm.  The Bryan and Waco radio and television stations will be used to inform the northern and southern areas.  See following pages for sample news releases.

Information regarding the nature of the problem and the expected time of service restoration will be given.  If an outage is expected to continue, advice will be given about the care of frozen foods, etc. (See section M, “For Your Members.”)

WTAW (1620 AM, Bryan)		www.wtaw.com	(979) 695-9595

news@wtaw.com	(979) 695-3219

Aggie 96 (96.1 FM, Bryan)		www.aggie96.com	(979) 268-9696

Waco 100 (99.9 FM, Waco)		www.waco100.com	(254) 388-5100

KSTAR (99.7 FM, Conroe)		www.kvst.com		(936) 788-1035

(936) 788-2525 Fax

KSAM	 (101.7 FM, Huntsville)	www.ksam1017.com	(936) 295-2651

(936) 295-8201 Fax

WBAP (820 AM, Arlington)		www.wbap.com	(817) 695-1820

(817) 695-0048

(817) 695-0018 Fax

KWTX (Ch. 10 TV, Waco) 		www.kwtx.com	(254) 776-3242 (Newsroom)

(254) 776-1330 (Switchboard)

(254) 776-4010 (Fax)

KBTX (Ch. 3 TV, Bryan)		www.kbtx.com 	(979) 846-7777(Switchboard)										(979) 846-1888 (Fax)

SAMPLE NEWS RELEASES

Several generic news releases have been provided by TEC Communication Department on weather emergencies.  Copies of the samples are on the following pages and are provided for use when preparing local news releases.

These releases are also available on the TEC Business Portal Section of the TEC website (www.texas-ec.org).   Using your unique log-in each co-op has access to the "Members Only" section.   Select Member Resources under the Members Area heading.   On the next screen look under the Communications banner for Sample News Releases & Crisis Communication Information.

In order to answer questions from the media, two sheets are included at the end of this section.  The Power Outage Information Report will assist co-op personnel in collection information on a crisis.  The Crisis Situation Fact Sheet lists the questions the media will want answered.   These reports will help everyone involved keep abreast with the latest news.

### PUC Department Telephone & Fax Directory

| Department | Phone | Fax |
| --- | --- | --- |
| Accounting | 512- 936-7070 | 512- 936-7058 |
| Central Records | 512- 936-7180 | 512- 936-7188 |
| Commissioners | 512- 936-7001 | - |
| Complaints | 888- 782-8477 | 512- 936-7003 |
| Customer Protection | 512- 936-7150 | 512- 936-7003 |
| Enforcement | 512- 936-7200 | 512- 936-7208 |
| Executive Director | 512- 936-7040 | 512- 936-7036 |
| Financial Review | 512- 936-7389 | 512- 936-7428 |
| Human Resources | 512- 936-7060 | 512- 936-7054 |
| Information Technology | 512- 936-7100 | 512- 936-7098 |
| Legal | 512- 936-7260 | 512- 936-7268 |
| Library | 512- 936-7080 | 512- 936-7079 |
| Mailroom | 512- 936-7085 | - |
| Relay Texas | - | 512- 936-7428 |
| Retail Markets | 512- 936-7360 | 512- 936-7361 |
| Wholesale Markets | 512- 936-7360 | 512- 936-7361 |

### Contact the PUC

Mailing Address, Phone & Hours Address:; 1701 N. Congress Avenue PO Box 13326 Austin, TX 78711-3326. Phone:; Agency Switchboard: 512-936-7000 Assistance Hotlines: 888-782-8477 or 512-936-7120 Central Records: 512-936-7180. Hours:; Agency Switchboard: 8AM - 5PM, M-F Assistance Hotlines: 9AM - 4PM, M-F Central Records: 9AM - 5PM, M-F, Closed Friday Noon - 1PM. Email:; customer@puc.state.tx.us.

PUBLIC UTILITY COMMISSION

Outage Report Information

INITIAL NOTICE

Pursuant to PUC Substantive Rules, Section 25.52 (e)(1)

Each utility must send the following information to the Public Utility Commission as soon as

reasonably possible after a significant interruption of service has occurred.

Utility name:____________________________________________________________

Utility contact person:________________________Phone:_______________________

Date and time of significant interruption:______________________________________

Estimated date and time of full restoration:____________________________________

Suspected cause of the interruption:_________________________________________

______________________________________________________________________

Location, substation and feeder identifiers of all affected facilities (if known at time of report):________________________________________________________________

______________________________________________________________________

______________________________________________________________________

Estimated total number of customers affected:_________________________________

______________________________________________________________________

Local authorities that have been notified of the interruption:_______________________

______________________________________________________________________

Local media that are aware of the interruption:_________________________________

______________________________________________________________________

______________________________________________________________________

If the outage lasts more than 24 hours, the utility shall update this information daily and file a Summary Report with the Public Utility Commission.

# Emergency Contacts

Brazos County

- P.U.C.     						(512) 875-2678

B.	Brazos Electric Power Cooperative, Inc.     	(254) 750-6500

# C.  TEC Loss Control

Austin, Texas					(512) 454-0311

D.  Emergency Management Contact

Brazos County Director				(979) 361-4140

Brazos County Judge				(979) 361-4102

DeMerle Giordano					(979) 361-4140

# E.  Law Enforcement Offices

Brazos County Sheriff				(979) 361-4100 or 911

Bryan Police Department				(979) 361-3888 or 911

College Station Police Department		(979) 764-3600 or 911

# F.	Fire Department

Bryan/College Station				911 (Ask for Brazos Co.)

(979) 764-3700

# G.	Emergency Medical Services

Bryan/College Station				911 (Ask for Brazos Co.)

# H.  Area Hospitals

St. Joseph Hospital					(979) 776-3777

College Station Medical Center			(979) 764-5100

# I.	Area Doctors

Scott and White Clinic – College Station		(979) 691-330

Urgent Care					(979) 691-3300

# J.   Radio and TV Stations

96.1 FM; Bryan					(979) 846-5597

104.9 FM; Mexia					(254) 562-5328

100 FM, Waco					(254) 388-5100

WBAP AM; Arlington				(817) 695-1820 (Switchboard)

(817) 695-0048 (Newsroom)

(817) 695-0018 (Fax)

KTAM; Bryan						(979) 776-1240

(979) 776-0123 (Fax)

KAND; Corsicana					(903) 874-7421 (Business line)

(903) 874-1340 (Request line)

(903) 874-0789 (Fax)

KWTX Radio & TV; Waco				(254) 776-3242 (Newsroom)

(254) 776-1330 (Switchboard)

(254) 776-4010 (Fax)

KBTX TV; Bryan					(979) 846-7777 (Switchboard)

(979) 846-1888 (Fax)

# K.  Telephone Companies

AT&T							(800) 288-2020

Windstream Communication			(877) 520-5220

# L.  Utilities

Bryan Texas Utilities (BTU)			(979) 821-5700			Brazos Electric Co-Op (Hearne)			(979) 279-2343

Brazos Electric Co-Op (Navasota)		(936) 825-3376

Entergy						(800) 368-3749

Mid-South Synergy					(936) 825-5100

TXU Electric & Gas					(800) 242-9113

# M.  Schools

Bryan ISD						(979) 361-5200

College Station ISD					(979) 764-5400

Texas A&M University Police Dispatcher		(979) 845-2345

Falls County

- P.U.C.     						(512) 875-2678

B.	Brazos Electric Power Cooperative, Inc.     	(254) 750-6500

# TEC Loss Control

Austin, Texas					(512) 454-0311

D.  Emergency Management Contact

Falls County Judge					(254) 883-1426

Rob Douglas						(254) 422-3268

# E.	Law Enforcement Offices

Lott Police						(254) 584-2681

Marlin Police						(254) 883-9255

Falls County Sheriff					(254) 883-1431

Falls County Highway Patrol			(254) 803-2046

# F.	Fire Department

Lott Fire						(254) 584-2261

Marlin Fire 						(254) 883-3544

# G.	Emergency Medical Services

Falls County EMS					(254) 883-3443

Lott, Marlin, Reagan EMS				(254) 883-5445

# H.	Area Hospitals

Falls Community Hospital & Clinic, Marlin	(254) 803-3561

# I.	Area Doctors

Falls Community Hospital & Clinic, Marlin	(254) 883-3561

# J.	Radio and TV Stations

96.1 FM; Bryan					(979) 268-9696

104.9 FM; Mexia					(254) 562-5328

100 FM, Waco					(254) 388-5100

WBAP AM; Arlington				(817) 695-1820 (Switchboard)

(817) 695-0048 (Newsroom)

(817) 695-0018 (Fax)

KTAM; Bryan						(979) 776-1240

(979) 776-0123 (Fax)

KAND; Corsicana					(903) 874-7421 (Business line)

(903) 874-1340 (Request line)

(903) 874-0789 (Fax

KWTX Radio & TV; Waco				(254) 776-3242 (Newsroom)

(254) 776-1330 (Switchboard)

(254) 776-4010 (Fax)

KBTX TV; Bryan					(979) 846-7777 (Switchboard)

(979) 846-1888 (Fax)

# K.	Telephone Companies

AT&T		 					(800) 288-2020

Windstream Communication			(877) 520-5220

# L.	Utilities

Bluebonnet Electric Co-Op				(800) 949-4414

Entergy						(800) 368-3479

Hilco Electric Co-Op				(800) 338-6425

McLennan Electric Co-Op				(254) 840-2871

TXU Electric & Gas					(800) 242-9113

TXU Sesco						(800) 550-9803

Heart Of Texas Co-Op				(254)583-7955

Area Towns

Chilton	Lott

Marlin		Otto

Perry

Reagan

Rosebud

Freestone County

- P.U.C.     						(512) 875-2678

B.	Brazos Electric Power Cooperative, Inc.     	(254) 750-6500

# TEC Loss Control

Austin, Texas					(512) 454-0311

# Emergency Management Contacts

Freestone County, Charles Nicholson		(903) 389-2776

(903) 389-4675

Freestone County Judge				(903) 389-3335

# Law Enforcement Offices

Donie, Oakwood, Teague				911 (Ask for Freestone Co.)

Fairfield Police Dept.				(903) 389-3901

Freestone County Sheriff				(903) 389-3236

# Fire Department

Donie							(979) 828-3794

Fairfield						(903) 389-6187

Teague						(254) 739-2132

# Emergency Medical Services

Fairfield						(903) 389-6511

Teague						(254) 739-2536

# Area Hospitals

East Texas Medical – Fairfield			(903) 389-2124

Freestone Family Clinic				(903) 389-6112

Teague Hospital District				(254) 739-5322

# Area Doctors

Fairfield Family Practice				(903) 389-6112

# Radio and TV Stations

96.1 FM; Bryan					(979) 268-9696

104.9 FM; Mexia					(254) 562-5328

100 FM, Waco					(254) 388-5100

WBAP AM; Arlington				(817) 695-1820 (Switchboard)

(817) 695-0048 (Newsroom)

(817) 695-0018 (Fax)

KTAM; Bryan						(979) 776-1240

(979) 776-0123 (Fax)

KAND; Corsicana					(903) 874-7421 (Business line)

(903) 874-1340 (Request line)

(903) 874-0789 (Fax)

KWTX Radio & TV; Waco				(254) 776-3242 (Newsroom)

(254) 776-1330 (Switchboard)

(254) 776-4010 (Fax)

KBTX TV; Bryan					(979) 846-7777 (Switchboard)

(979) 846-1888 (Fax)

# Telephone Companies

AT&T							(800) 288-2020

Windstream Communication			(877) 520-5220

# Utilities

Entergy						(800) 368-3749

Navarro County Electric Coop			(800) 771-9095

TXU Electric & Gas					(800) 242-9113

# Schools

Fairfield ISD						(903) 389-2148

Teague ISD						(254) 739-3071

Area Towns

Dew

Donie

Fairfield

Teague

Hill County

A.  P.U.C.     						(512) 875-2678

B.  Brazos Electric Power Cooperative, Inc.     	(254) 750-6500

# TEC Loss Control

Austin, Texas					(512) 454-0311

# Emergency Management Contact

Hill County, Jeff Lions					(254) 582-5313

Hill County Judge					(254) 582-5313

# Law Enforcement Offices

Hill County Sheriff					(254) 576-3323 										(254) 582-5313

Hubbard Police					(254) 576-2900

Mt. Calm Police					(254) 582-5313

# Fire Department

Hubbard Fire						(254) 576-2576

Mt. Calm Fire					(254) 582-5313

# Emergency Medical Services

Mt. Calm EMS					(254) 582-5313

# Area Hospitals

Hillcrest Baptist Hospital – Waco			(254) 202-2000

Providence Health Center – Waco		(254) 751-4000

# Area Doctors

Parkview Clinic, Hubbard				(254) 576-2547

Scott and White Clinic – Waco			(254) 741-4444

# Radio and TV Stations

96.1 FM; Bryan					(979) 268-9696

104.9 FM; Mexia					(254) 562-5328

100 FM, Waco					(254) 388-5100

WBAP AM; Arlington				(817) 695-1820 (Switchboard)

(817) 695-0048 (Newsroom)

(817) 695-0018 (Fax)

KTAM; Bryan						(979) 776-1240

(979) 776-0123 (Fax)

KAND; Corsicana					(903) 874-7421 (Business line)

(903) 874-1340 (Request line)

(903) 874-0789 (Fax)

KWTX Radio & TV; Waco				(254) 776-3242 (Newsroom)

(254) 776-1330 (Switchboard)

(254) 776-4010 (Fax)

KBTX TV; Bryan					(979) 846-7777 (Switchboard)

(979) 846-1888 (Fax)

# Telephone Companies

AT&T							(800) 288-2020

Sprint							(800) 877-2000

Windstream Communication			(877) 520-5220

# Utilities

Hilco Electric Co-Op				(800) 338-6425

McLennan Electric Co-Op				(254) 840-2871

TXU Electric and Gas				(800) 242-9113

Navarro Electric Co-Op				(903) 874-7411

# Schools

Hill County School Co-Op				(254) 576-2805

Hubbard ISD						(254) 576-2564

Mt Calm ISD						(254) 993-2611

Area Towns

Hubbard

Mt. Calm

Hillsboro

Leon County

- P.U.C.     						(512) 875-2678

B.	Brazos Electric Power Cooperative, Inc.     	(254) 750-6500

# TEC Loss Control

Austin, Texas					(512) 454-0311

# Emergency Management Contact

Leon County Coordinator, Bill Vest		(903) 536-2749

Leon County Judge					(903) 536-2331

# Law Enforcement Offices

Buffalo Highway Patrol				(903) 322-5449

Area Office					(903) 536-2275

Buffalo Police					(903) 322-5347 or 911

Hilltop Lakes Security Guard			(936) 855-2813

Leon County Sheriff					(903) 536-2749

# Fire Department

Buffalo						(903) 322-4292 or 911

Centerville						(903) 536-2266

Hilltop Lakes						(936) 855-2551 or 855-1974

Jewett	, Marquez					(903) 626-4411 or 911

Normangee						(936) 396-3131

# Emergency Medical Services

Jewett							(903) 626-6500 or 911

NW Resources/Jewett Mine/Rescue Team	(903) 626-6399

# Area Hospitals

Centerville Heath Care Center			(903) 536-2596

Normangee – Rural Health Clinic			(936) 396-2806

# Area Doctors

Buffalo Medical Center				(903) 322-1307

East Texas Diagnostic Clinic – Buffalo		(903) 322-4067

# Radio and TV Stations

96.1 FM; Bryan					(979) 268-9696

104.9 FM; Mexia					(254) 562-5328

100 FM, Waco					(254) 388-5100

WBAP AM; Arlington				(817) 695-1820 (Switchboard)

(817) 695-0048 (Newsroom)

(817) 695-0018 (Fax)

KTAM; Bryan						(979) 776-1240

(979) 776-0123 (Fax)

KAND; Corsicana					(903) 874-7421 (Business line)

(903) 874-1340 (Request line)

(903) 874-0789 (Fax)

KWTX Radio & TV; Waco				(254) 776-3242 (Newsroom)

(254) 776-1330 (Switchboard)

(254) 776-4010 (Fax)

KBTX TV; Bryan					(979) 846-7777 (Switchboard)

(979) 846-1888 (Fax)

# Telephone Companies

AT&T 							(800) 288-2020

Windstream Communication			(877) 520-5220

# Utilities

Buffalo Water Dept					(903) 322-4741

Centerville Water Dept				(903) 536-2515

Jewett Water Dept					(903) 626-4416

Lone Star Gas					(936) 348-2285

Marquez Water Dept				(903) 529-3020

Navarro County Electric Coop			(800) 771-9095

Normangee Water Dept				(936) 396-3691

Oakwood Water Dept				(903) 545-2131

TXU Electric & Gas					(800) 242-9113

# Schools

Buffalo ISD						(903) 322-3765

Centerville ISD					(903) 536-2674

Leon ISD						(903) 626-5090

Normangee ISD					(936) 396-1664

Oakwood High School				(903) 545-2889

Area Towns

Buffalo

Centerville

Flynn

Hilltop Lakes

Jewett

Marquez

Normangee

Oakwood

Limestone County

- P.U.C.     						(512) 875-2678

B.	Brazos Electric Power Cooperative, Inc.     	(254) 750-6500

# TEC Loss Control

Austin, Texas					(512) 454-0311

# Emergency Management Contacts

Limestone County Judge				(254) 729-3810

Don Ford						(817) 729-2101

# Law Enforcement Offices

Limestone County Sheriff				(254) 729-3278

Department of Public Safety – Groesbeck	(254) 729-5147

Groesbeck Police					(254) 729-3278 or 729-3497

Kosse Police						(254) 375-2212 or 911

Mexia Police						(254) 562-4150 or 911

Thornton Police					(254) 385-6204 or 911

# Fire Department

Coolidge						(254) 786-2399 or 911

Groesbeck – Mexia – Lake Mexia			911

Kosse							(254) 375-2401

Tehuacana Volunteer				(254) 395-4888

Thornton						(254) 385-6624 or 911

# Emergency Medical Services

Coolidge - Groesbeck - Kosse –  Mexia – Thornton  911 (Ask for Limestone Co.)

# Area Hospitals

Limestone Medical Center				(254) 729-3281 or 729-3411

Parkview Hospital – Mexia				(254) 562-0408

Hillcrest Baptist Medical Center - Waco		(254) 202-2000

Providence Health Center – Waco		(254) 751-4000

# Area Doctors

Scott and White – Waco				(254) 741-4444

Parkview Clinic – Mexia				(254) 562-9321

# Radio and TV Stations

96.1 FM; Bryan					(979) 268-9696

104.9 FM; Mexia					(254) 562-5328

100 FM, Waco					(254) 388-5100

WBAP AM; Arlington				(817) 695-1820 (Switchboard)

(817) 695-0048 (Newsroom)

(817) 695-0018 (Fax)

KTAM; Bryan						(979) 776-1240

(979) 776-0123 (Fax)

KAND; Corsicana					(903) 874-7421 (Business line)

(903) 874-1340 (Request line)

(903) 874-0789 (Fax)

KWTX Radio & TV; Waco				(254) 776-3242 (Newsroom)

(254) 776-1330 (Switchboard)

(254) 776-4010 (Fax)

KBTX TV; Bryan					(979) 846-7777 (Switchboard)

(979) 846-1888 (Fax)

# Telephone Companies

AT&T							(800) 288-2020

Sprint							(800) 788-3600

Windstream Communications			(877) 520-5220

Embarq						(800) 880-2822

# Utilities

Coolidge Water					(254) 786-4814

Entergy						(800) 368-3749

Groesbeck Water					(254) 729-5959

Mexia Water						(254) 562-4130

Navarro County Electrical Co-Op			(800) 771-9095

Thornton Water					(254) 385-6438

TXU Electric & Gas					(800) 242-9113

# Schools

Coolidge ISD						(254) 786-4822

Groesbeck ISD					(254) 729-5167

Mexia ISD						(254) 562-2888

Area Towns

Coolidge

Groesbeck

Kosse

Mexia

Prairie Hill

Tehuacana

Thornton

Madison County

- P.U.C.     						(512) 875-2678

B.	Brazos Electric Power Cooperative, Inc.     	(254) 750-6500

# TEC Loss Control

Austin, Texas					(512) 454-0311

# Emergency Management Contact

Jodi Morris						(979) 222-1389

Madison County Judge				(936) 348-2670

# Law Enforcement Offices

Madison County Sheriff				(936) 348-2755

Madisonville Police					(936) 348-9297 or 911

# Fire Department

Madisonville – North Zulch				911 (Ask for Madison Co.)

# Emergency Medical Services

Madisonville – North Zulch				911 (Ask for Madison Co.)

# Area Hospitals

Madison County St. Joseph Health Center	(936) 348-2631

Trinity Medical Center – Brenham			(979) 836-6173

# Area Doctors

# Radio and TV Stations

96.1 FM; Bryan					(979) 268-9696

104.9 FM; Mexia					(254) 562-5328

100 FM, Waco					(254) 388-5100

KMVL Radio, Madisonville				(936)348-9200

WBAP AM; Arlington				(817) 695-1820 (Switchboard)

(817) 695-0048 (Newsroom)

(817) 695-0018 (Fax)

KTAM; Bryan						(979) 776-1240

(979) 776-0123 (Fax)

KAND; Corsicana					(903) 874-7421 (Business line)

(903) 874-1340 (Request line)

(903) 874-0789 (Fax)

KWTX Radio & TV; Waco				(254) 776-3242 (Newsroom)

(254) 776-1330 (Switchboard)

(254) 776-4010 (Fax)

KBTX TV; Bryan					(979) 846-7777 (Switchboard)

(979) 846-1888 (Fax)

# Telephone Companies

AT&T							(800) 288-2020

Sprint							(800) 788-3500

Windstream Communication			(877) 520-5220			Verizon						(800) 483-4000

# Utilities

Bryan Texas Utilities (BTU)			(979) 821-5700			Brazos Electric Co-Op (Hearne)			(979) 279-2343

Brazos Electric Co-Op (Navasota)		(936) 825-3376

Entergy						(800) 368-3749

Mid-South Synergy					(936) 825-5100

TXU Electric & Gas					(800) 242-9113

# Schools

Madisonville ISD					(936) 348-2797

North Zulch ISD					(936) 399-4151

Area Towns

Madisonville

North Zulch

McLennan County

- P.U.C.     						(512) 875-2678

B.	Brazos Electric Power Cooperative, Inc.     	(254) 750-6500

# C.	TEC Loss Control

Austin, Texas					(512) 454-0311

# D.	Emergency Management Contact

McLennan County Emergency Director		(254) 750-5911

McLennan County Judge				(254) 757-5049

# E.	Law Enforcement Offices

Mart Police Department				(254) 876-3334

After 5 p.m. and weekends			(254) 757-5222

McLennan County Sheriff				(254) 757-5222

Riesel Police						(254) 896-2666

West Police						(254) 826-5311

# F.	Fire Department

Mart Fire Department				(254) 876-2323

Riesel Fire Department				(254) 896-2201

West Fire Department				(254) 826-5110

# G.	Emergency Medical Services

Mart EMS						(254) 876-3322 or 876-2327

West Ambulance Service				(254) 826-3778

# H.	Area Hospitals

Providence Health Center – Waco		(254) 751-4000

Hillcrest Baptist Hospital – Waco			(254) 202-2000

# I.	Area Doctors

Scott and White Clinic – Waco			(254) 741-4444

West Medical and Surgical Clinic			(254) 826-5372

# J.	Radio and TV Stations

96.1 FM; Bryan					(979) 268-9696

104.9 FM; Mexia					(254) 562-5328

100 FM, Waco					(254) 388-5100

WBAP AM; Arlington				(817) 695-1820 (Switchboard)

(817) 695-0048 (Newsroom)

(817) 695-0018 (Fax)

KTAM; Bryan						(979) 776-1240

(979) 776-0123 (Fax)

KAND; Corsicana					(903) 874-7421 (Business line)

(903) 874-1340 (Request line)

(903) 874-0789 (Fax)

KWTX Radio & TV; Waco				(254) 776-3242 (Newsroom)

(254) 776-1330 (Switchboard)

(254) 776-4010 (Fax)

KBTX TV; Bryan					(979) 846-7777 (Switchboard)

(979) 846-1888 (Fax)

# K.	Telephone Companies

AT&T							(800) 288-2020

Windstream Communication			(877) 520-5220

L. Utilities

Axtell Water						(254) 863-0001

Entergy						(800) 368-3749

Hilco Electric Co-Op				(800) 338-6425

Heart Of Texas Co-Op				(254) 583-7955

Reliant Energy					(866) 222-7100

Riesel Water						(254) 896-6681

TXU Energy						(800) 233-2133 or 242-9113

TXU Sesco						(800) 550-9803

M.	Schools

Axtell ISD						(254) 863-5301

Mart ISD						(254) 876-2762

Riesel ISD						(254) 896-5000

West ISD						(254) 826-7500

Area Towns

Axtell

Hewitt

Mart

Riesel

Waco

West

Robertson County

- P.U.C.     						(512) 875-2678

B.	Brazos Electric Power Cooperative, Inc.     	(254) 750-6500

# TEC Loss Control

Austin, Texas					(512) 454-0311

# Emergency Management Contact

Jerry Henry						(979) 778-0732

Robertson County Judge				(979) 828-3542

# Law Enforcement Offices

Bremond Police Dept.    				(254) 746-7710 or 911

Calvert Police Dept.   				(979) 364-2223

Camp Creek Patrolman	  			(979) 828-3860

Franklin Police Dept.     				(979) 828-3444

Hearne Police Dept.    				(979) 279-5333

Robertson Co. Sheriff Dept.     			(979) 828-3299 or 828-3290

Texas Highway Patrol – Buffalo 			(903) 322-5449

- Fairfield 			(903) 389-3237

- Area Emergency		(979) 776-3130

# Fire Department

Bremond						(254) 746-7001 or 911

Calvert						911

Franklin  						(979) 828-5831

Hearne						(979) 279-2323

# Emergency Medical Services

Bremond – Calvert – Franklin – Hearne 		911

# Area Hospitals

Bryan

St. Joseph Hospital				(979) 776-3777

College Station Medical Center		(979) 764-5100

# Area Doctors

# Bremond FCHC Medical Clinic			(254) 746-7264

# Franklin St. Joseph Medical Clinic		(979) 828-4540

# Hearne St. Joseph Medical Clinic

# Little River Med. Clinic				(979) 280-0022

(979) 775 3133

Scott and White Clinic – College Station		(979) 691-3300

Urgent Care					(979) 691-3300

# Radio and TV Stations

96.1 FM; Bryan					(979) 268-9696

104.9 FM; Mexia					(254) 562-5328

100 FM, Waco					(254) 388-5100

WBAP AM; Arlington				(817) 695-1820 (Switchboard)

(817) 695-0048 (Newsroom)

(817) 695-0018 (Fax)

KTAM; Bryan						(979) 776-1240

(979) 776-0123 (Fax)

KAND; Corsicana					(903) 874-7421 (Business line)

(903) 874-1340 (Request line)

(903) 874-0789 (Fax)

KWTX Radio & TV; Waco				(254) 776-3242 (Newsroom)

(254) 776-1330 (Switchboard)

(254) 776-4010 (Fax)

KBTX TV; Bryan					(979) 846-7777 (Switchboard)

(979) 846-1888 (Fax)

# Telephone Companies

AT&T							(800) 228-2020

Windstream Communication			(877) 520-5220

# Utilities

Brazos Electric Co-Op (Hearne)			(979) 279-2343

Bremond Water Dept				(254) 746-7228

Entergy						(800) 368-3749

Franklin Water Dept					(979) 828-3257

Hearne Utilities					(979) 279-3461

After hours						(979) 279-5333

TNP – Bremond Plant				(254) 746-7604

TXU Electric & Gas					(800) 242-9113

# Schools

Bremond ISD					(254) 746-7145

Calvert ISD						(979) 364-2824

Franklin ISD						(979) 828-1900

Gause ISD						(979) 279-5891

Hearne ISD						(979) 279-3200

Mumford ISD						(979) 279-3678

AREA TOWNS

Bremond

Calvert

New Baden

Franklin

Hearne

Wheelock

FEDERAL AGENCY PHONE NUMBERS AND WEBSITES

Federal Emergency Management Agency

800-621-FEMA (3362)

www.fema.gov

Federal Disaster Assistance Process for Individuals

800-462-7585

www.fema.gov/about/process

Department of Homeland Security

202-282-8000

www.dhs.gov/dhspublic

Government Benefits Search

800-333-4636

www.govbenefits.gov

Administration of Aging

202-619-0724

http://www.aoa.gov/prof/aoaprog/disaster_assist/docs/FINAL%20SUA%20Directory%202003.pdf

Department of Health and Human Services

877-696-6775

http://www.hhs.gov/disasters/

Center for Disease Control

888-246-2675

http://www.bt.cdc.gov/

Small Business Administration

800-659-2955

http://www.sba.gov/localresources/district/tx/

NON-PROFIT AGENCIES

American Red Cross

800-HELP-NOW

www.redcross.org

Salvation Army

800-SAL-ARMY

www.salvationarmyusa.org

United Way

800-833-5948

http://national.unitedway.org

TEXAS STATE AGENCY PHONE NUMBERS AND WEBSITE

State of Texas

877-452-9060

www.state.tx.us

Texas Division of Emergency Management

512-424-2208

www.puc.state.tx.us/emr/districtcontact.cfm

Office of the Attorney General Consumer Protection

800-621-0508

www.oag.state.tx.us/consumer

Texas Department of Insurance

800-578-4677

www.tdi.state.tx.us

Texas Department of Health and Human Services

877-541-7905

www.hhsc.state.tx.us

2-1-1 Texas Information and Referral Network

877-541-7905

www.211texas.org

## Texas Emergency Management Response
Disaster District Contacts

In Accordance with the State Emergency Management Plan, when an emergency occurs or threatens to occur and is beyond the capability of local government to respond, state assistance will be requested by the local government chief elected official to the appropriate Disaster District Committee (DDC) Chairman as prescribed in the state emergency management plan. The DDC is chaired by the Highway Patrol commanding officer and is the first step in management of state resources during emergencies.

| District | City | Chair | Telephone | Regional Liasion Officer | Telephone |
| --- | --- | --- | --- | --- | --- |
| 1A | Garland | Capt. Joel McKinny | 214-861-2155 | Mark Shipman | 214-861-2380 |
| Sub 1A | Hurst | Lt. Michael Scullin | 817-299-1311 | Mark Shipman | 214-861-2380 |
| 1B | Tyler | Capt. Mark Kennedy | 903-939-6031 | Michael Brock | 903-939-6072 |
| 2A | Houston | Capt. Jude Schexnyder | 281-517-1217 | Tom Ryan | 281-517-1353 |
| 2B | Beaumont | Capt. Paul Davis | 409-924-5422 | Clay Kennelly | 409-924-5427 |
| Sub 2B | Lufkin | Lt.Fred Richnow | 936-634-4493 | Clay Kennelly | 409-924-5427 |
| 2C | Conroe | Capt. Tim Thompson | 936-539-2221 | Tome Ryan | 281-517-1353 |
| Sub2C | Pierce | Lt. Alan Spears | 979-543-6878 | Tome Ryan | 281-517-1353 |
| 3A | Cropus Christi | Capt. Juan Galvan | 361-698-5613 | Randy Sijansky | 361-698-5650 |
| 3B | San Antonio | Capt. Joe Hamilton | 210-531-2206 | Randy Sijansky | 361-698-5650 |
| 3C | McAllen | Capt. Laurencio Saenz | 956-684-5608 | Randy Sijansky | 361-698-5650 |
| Sub 3C | Laredo | Lt. Jesse "Tom" Sharp | 956-728-2292 | Randy Sijansky | 361-698-5650 |
| 4A | Midland | Capt. Ron Joy | 915-498-2141 | Doug Crabtree | 915-498-2175 |
| Sub 4A | El Paso | Lt. William B. Thomas | 915-855-2105 | Doug Crabtree | 915-498-2175 |
| 4B | Abilene | Capt. John W. Madden | 915-795-4020 | Bobby Densman | 915-795-4029 |
| Sub 4B | San Angelo | Lt. Michael Thomson | 915-942-8203 | Bobby Densman | 915-795-4029 |
| 5A | Lubbock | Capt. Audra Livingston | 806-472-2794 | Steve Reddish | 806-472-2820 |
| Sub 5A | Wichita Falls | Lt. Scot Houghton | 940-851-5521 | Steve Reddish | 806-472-2820 |
| 5B | Amarillo | Capt. Russell Davis | 806-468-1310 | Steve Reddish | 806-472-2820 |
| 6A | Waco | Capt. James Sanders | 254-759-7160 | Steve Vaughn | 254-759-7165 |
| 6B | Austin | Capt. Chuck Smith | 512-997-4101 | Steve Vaughn | 251-759-7165 |

### DPS Regional Commanders

| Region | City | Commander | Telephone |
| --- | --- | --- | --- |
| 1 | Garland | Major Wendell Miller | 214-861-2460 |
| 2 | Houston | Major J.R. Allen | 281-517-202* |
| 3 | Corpus Christi | Major Artemio Garza | 361-698-5606 |
| 4 | Midland | Vacant | 915-498-2113 |
| 5 | Lubbock | Major Lamar Beckworth | 806-472-2701 |
| 6 | Waco | Major Danny Smith | 254-759-7141 |

Division of Emergency Management Contacts
The Division of Emergency Management is responsible for the administration of a program of Comprehensive Emergency Management. The program is designed to reduce the vulnerability of citizens and communities of this State to damage, injury and loss of life and Property by providing a system for the mitigation of, preparation for, response to, and recovery from natural or man-made disasters, riots and/or hostile military or paramilitary actions. If the DDC is unable to meet requests for State assistance, the Chair will request State assistance from the State Emergency Management Council through the Division of Emergency Management. That assistance may then come from State assets, i.e., the National Guard or other State agencies or from neighboring Disaster Districts. If necessary, requests for federal assistance would be sent in the name of the Governor to the Federal Emergency Management Agency (FEMA) regional headquarters in Denton, Texas.

Duty Officer (24 hour) - 512-424-2208
Jack Colley, State Coordinator - 512-424-2443
Vacant, Assistant State Coordinator (Response Issues) - 512-424-2434
Ed Laundy, Assistant State Coordinator (Recovery Issues) - 512-424-2437
Frank Cantu, Field Operations Administrator - 512-424-2455
Mary Lenz, Public Information Officer - 512-424-2432

http://www.puc.state.tx.us/emr/districtcontact.cfm

Printed March 20, 2009

NVEC Suppliers & Contacts

| Company Name | Contact Person | Phone | Phone or Fax | Address | City | Email |
| --- | --- | --- | --- | --- | --- | --- |
| AGNITEK |  |  |  |  |  |  |
| Computer IT Service | Office | 979-260-8324 |  | 700 University Dr. E. #106 | C.S., TX 77840 |  |
|  | Allen Shearer | 979-260-8324 x 303 |  |  |  | ashearer@agnitek.com |
| Website help | Becky Jacobson | 979-260-8324 x 402 |  |  |  | rjacobson@agnitek.com |
|  | David Ohendalski, President |  |  |  |  | davido@agnitek.com |
|  |  |  |  |  |  | www.agnitek.com |
| AIR CONDITIONING/HEATING |  |  |  |  |  |  |
| Closs Air Conditioning | Cody Closs | 979-364-2133 | 979-777-1210 | P.O. Box 141 | Calvert, TX 78378 |  |
| BILLING (company name: IMS) |  |  |  |  |  |  |
| Help | Sy | 800-255-3190 |  |  | San Antonio, TX | sy@totalims.com |
| Sales | John Reed | 800-255-3190 |  |  |  |  |
| CAD SUPPLIES |  |  |  |  |  |  |
| Plotter paper and ink | 512-833-9800 |  |  |  |  |  |
| CAMERAS |  |  |  |  |  |  |
| Brazos Electric | Andrew Mattei | BEC ext. 767 | 254-750-6500 | 2404 LaSalle Ave | Waco, TX 76702 | amattei@brazoselectric.com |
| Brazos Electric | Charles Derrick | BEC ext. 385 | 254-750-6500 | 2404 LaSalle Ave | Waco, TX 76702 | cderrick@brazoselectric.com |
| CHAIN SAW |  |  |  |  |  |  |
| Bryan Outboard, Inc | a/c #427 | 979-822-6836 | 979-775-4864(F) | 702 N Texas Ave | Bryan, TX 77803 |  |
| Cutter's Choice | a/c #102678 | 800-824-8521 |  | 2008 East 33rd St | Erie, PA 16510 |  |
| Forestry Suppliers, Inc. | a/c # 11162 | 601-354-3565 | 601-292-0185(F) | 205 W Rankin St | Jacksonville, MI 39284 | www.forestry-suppliers.com |
| CLEANING SUPPLIES |  |  |  |  |  |  |
| Talley Chemical & Supply | a/c #NAVAS365 | 254-562-5583 | 254-562-7233 (F) | 818 Hwy 171 | Mexia, TX 76667 |  |
|  |  |  |  |  |  | password: l5t5b5lt |
| CONSULTANT |  |  |  |  |  |  |
| Professional Environmental Consultant | Ted Benson | 417-881-0349 | 417-848-1131 | P.O. Box 4877 | Springfield, MO 65808 | benson9999@sbcglobal.net |
| CONTRACTORS |  |  |  |  |  |  |
| S&H Powerline | Marvin Hickey, owner | 254-848-4100 | 254-744-3381 |  |  |  |
|  | Larry LaFoe, Foreman | 254-405-3540 |  |  |  |  |
|  | Buda, Foreman | 254-709-6994 |  |  |  |  |

| Tree Trimming Crew (R.O.W.) | Danny Coulter | 903-626-6673 | 903-388-8731 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Jay | 903-388-4789 |  |  |  |  |
| COPY MACHINE |  |  |  |  |  |  |
| Dahill Industries Equip I.D. #61587 |  | 979-774-2200 |  | 1869 Briarcrest | Bryan, TX 77802 | www.dahillindustries.com |
| Service |  | 800-750-2411 |  |  |  |  |
| Supplies (Ink cartridges) |  | 800-774-2200 |  |  |  |  |
| DAFFRON - AS400 |  |  |  |  |  |  |
| Help Desk | Help Desk | 800-325-0208 |  |  |  |  |
| Marketing Rep | John Bleiker | 800-325-0208 |  |  |  |  |
| WinStake | Tim Pittser | 800-325-0208 |  |  |  |  |
| AS-400 IBM server & printer | Joyce Porter | 800-325-0208 |  |  |  |  |
| Maintenance on AS-400 server | IBM Service | 800-426-7378 |  |  |  |  |
| Ebiz | Brian Shimp | 314-569-9639 |  |  |  | brian@daffron.com |
| DisSPATCH / Calls Manager |  |  |  |  |  |  |
| Milsoft | Brian Carr | 800-344-5647 |  | 4400 Buffalo Gap Rd | Abilene, TX | brian.carr@milsoft.com |
| Milsoft | Roger Lunceford | 800-344-5647 | 770-596-1106 | 3412 Uncle Gene's Way | Conyers, GA | roger.lunceford@milsoft.com |
| DOOR LOCK |  |  |  |  |  |  |
| (Lock on employee entrance) |  |  |  |  |  |  |
| Griffin Locksmith & Hardware |  | 979-822-2705 |  | 500 Sulphur Springs Rd | Bryan, TX |  |
| EATON CORPORATION |  |  |  |  |  |  |
| UPS repair & replacement | Anthony Martin | 800-843-9433 x 7039 | 800-356-5737 | 8609 Six Forks Rd | Raleigh, NC 27615 | AnthonyMartin@eaton.com |
| Franklin office: Ferr UPS FE Series |  |  |  |  |  |  |
| Mart office: Model #: ME2.1KVA |  |  |  |  |  |  |
| Serial #: ME2.1K08289 |  |  |  |  |  |  |
| ELECTRIC GATE |  |  |  |  |  |  |
| Walschak Welding |  | 979-279-3001 | 979-218-3657 | 3642 S. Hwy 6 | Hearne, TX 77859 |  |
| ELECTRICAL SUPPLY |  |  |  |  |  |  |
| Central Electrical Supply | a/c # 213851 | 979-823-5217 | 979-822-1935 | 1800 Cavitt Ave | Bryan, YX 77801 |  |
| FIRE EXTINGUISHERS |  |  |  |  |  |  |
| American Fire & Safety, Inc. |  | 979-779-0030 | 800-234-5738 | 200 Ross St | Bryan, TX 77801 |  |

| FUEL |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PROPANE-Tank Capacity - 250 gallons |  |  |  |  |  |  |  |
| Sharp Propane |  | 979-778-2365 |  | 1609 N. Texas Ave | Bryan, TX |  |  |
| GASOLINE-Tank Capacity-7500 gallons |  |  |  |  |  |  |  |
| Thomas Petroleum | a/c #6907 | 800-548-9180 |  |  | LaGrange, TX |  |  |
| H & M Wholesale |  | 979-690-8925 |  |  | Bryan, TX |  |  |
| DIESEL |  |  |  |  |  |  |  |
| #1 Tank Capacity - 500 gallons |  |  |  |  |  |  |  |
| #2 Tank Capacity - 1200 gallons |  |  |  |  |  |  |  |
| K.D. Timmons | John Mitchell | 979-220-1411 |  |  | Franklin, TX |  |  |
| GENERATOR |  |  |  |  |  |  |  |
| REPAIRS |  |  |  |  |  |  |  |
| Waukesha-Pearce Industries |  | 405-670-1381 |  | 1128 SE 25th Street | Oklahoma City, OK |  |  |
| S-Con Services, Inc. | Scott Hendrickson | 979-204-5568 cell |  | 8326 W Hwy 21 | Bryan, TX 77807 |  | shendrickson@sconservices.com |
|  |  | 979-822-4445 ofc | 979-822-3479(f) |  |  |  |  |
| PROPANE-Tank Capacity-250 gallons |  |  |  |  |  |  |  |
| Sharp Propane |  | 979-778-2365 |  | 1609 N. Texas Ave | Bryan, TX |  |  |
| GLOVES, SAFETY |  |  |  |  |  |  |  |
| Uneda Glove & Safety, Inc | Deryl W. Brumley | 936-588-6088 | 936-203-6738 | P.O. Box 724 | Montgomery, TX 77356 |  |  |
| Testing and Replacement |  |  |  |  |  |  |  |
| Southeastern Testing Lab., Inc |  | 706-769-6645 | 706-769-6647 | P.O. Box 149 | Bishop, GA 30621 |  |  |
| IBM SERVICE |  |  |  |  |  |  |  |
| Provides maintenance on AS-400 server |  | 800-426-7378 |  |  |  |  |  |
| INSURANCE (customer claims) |  |  |  |  |  |  |  |
| Scarbrough, Medlin & Assoc. | Candy Redding | 214-423-3333 | 214-423-3350(f) | 5700 Granite Pkwy, Suite 500 | Plano, TX 75024 |  | candy@scarbrough-medlin.com |
| INTERNET |  |  |  |  |  |  |  |
| Brazos Electric | Andrew Mattei | BEC ext. 767 | 254-750-6500 | 2404 LaSalle Ave | Waco, TX 76702 |  | amattei@brazoselectric.com |
| Brazos Electric | Charles Derrick | BEC ext. 385 | 254-750-6500 | 2404 LaSalle Ave | Waco, TX 76702 |  | cderrick@brazoselectric.com |
| IMS (printing bills) |  |  |  |  |  |  |  |
| Help | Sy | 800-255-3190 |  |  | San Antonio, TX |  | sy@totalims.com |
| Sales | John Reed | 800-255-3190 |  |  |  |  |  |
| MC CORD ENGINEERING |  |  |  |  |  |  |  |
| Work Plan | Mike Morris | 979-764-8356 |  |  | College Station, TX |  |  |
| Work Plan | Paul P. | 979-764-8356 |  |  | College Station, TX |  |  |
| Inspector | Mitchell Keith | 979-764-8356 |  |  | College Station, TX |  |  |
| METERS |  |  |  |  |  |  |  |
| Purchase Refurb Meters |  |  |  |  |  |  |  |
| Hillsboro Meter Company | Mark Bowman | 254-582-2271 |  | 117 E Franklin | Hillsboro, TX 76645 |  |  |
| Repair and Testing and Recalibrate |  |  |  |  |  |  |  |
| Hillsboro Meter Company | Mark Bowman | 254-582-2271 |  | 117 E Franklin | Hillsboro, TX 76645 |  |  |
| Purchase Turtles |  |  |  |  |  |  |  |
| Landis-Gyr (Hunt) Technologies | Help Desk | 800-828-4055 | 800-926-6254 | 6436 County Rd 11 | Pequot Lakes, MN 56472 |  |  |
|  | Support | 888-390-5733 |  |  |  |  |  |
| Return non-working Turtles | http://www.landisgyr.com/na//en/pub/index.cfm |  | cust # 003201 | 6436 County Rd 11 | Pequot Lakes, MN 56472 |  |  |
|  |  | Support: |  |  |  |  |  |
|  |  | Return/Authorization RMA: |  |  |  |  |  |
| Turtle Computer Program"Command Center" |  |  |  |  |  |  |  |
| Landis-Gyr (Hunt) Support |  | 888-390-5733 |  |  |  |  |  |
| Meter Can Protector |  |  |  |  |  |  |  |
| Sycom Surge, Inc. |  | 800-622-9904 |  | 4505 131st Ave North #27 | Clearwater, FL 33762 | www.sycomsurge.com |  |
| MILSOFT |  |  |  |  |  |  |  |
| DisSpatch Client & Calls Mgr | Brian Carr | 800-344-5647 |  | 4400 Buffalo Gap Rd | Abilene, TX | brian.carr@milsoft.com |  |
|  | Roger Lunceford | 800-344-5647 | 770-596-1106 | 3412 Uncle Gene's Way | Conyers, GA | roger.lunceford@milsoft.com |  |
|  | 24 Hr Helpline | 800-344-5647 |  | 4400 Buffalo Gap Rd | Abilene, TX |  |  |
| Automated Answering (Porche IVR) | Marilyn Webster | 800-344-5647 | 850-477-6477 | 7100 Plantation Rd #17 | Pensacola, FL | marilyn.webster@milsoft.com |  |
|  | 24 Hr Helpline | 800-344-5647 |  | 4400 Buffalo Gap Rd | Abilene, TX |  |  |
| Mapping - WindMil | Jeff K. | 800-344-5647 |  | 4400 Buffalo Gap Rd | Abilene, TX |  |  |
| Mapping - WindMil Map | Jeff Carr | 800-344-5647 |  | 4400 Buffalo Gap Rd | Abilene, TX |  |  |
| PORCHE IVR (AUTOMATED ANSWERING) |  |  |  |  |  |  |  |
| Milsoft | Marilyn Webster | 800-344-5647 | 850-477-6477 | 7100 Plantation Rd #17 | Pensacola, FL | marilyn.webster@milsoft.com |  |
|  | 24 Hr Helpline | 800-344-5647 |  | 4400 Buffalo Gap Rd | Abilene, TX |  |  |
| PORTA-POTTY |  |  |  |  |  |  |  |
| Hebronville Lone Star Rentals |  | 361-527-4800 | 361-527-4802 f | 10 FM 3073 | Hebbronville, TX 78361 | Isirentals@aol.com |  |
|  | Xavier Gonzalez | 361-701-7449 |  | Hwy 79 | Franklin, TX 77856 |  |  |
| QUILL |  |  |  |  |  |  |  |
| Office Supplies | a/c # 334580 | 800-789-1331 |  | P.O. Box 94080 | Palatine, IL 60094 | www.quill.com |  |
| RADIO for TRUCKS |  |  |  |  |  |  |  |
| Ware Radio | Bill | 254-752-2711 | 800-723-9327 |  |  |  |  |
| S&H Powerline |  |  |  |  |  |  |  |
| construction contractors | Marvin Hickey, owner | 254-848-4100 | 254-744-3381 |  |  |  |  |
|  | Larry LaFoe, Foreman | 254-405-3540 |  |  |  |  |  |
|  | Buda, Foreman | 254-709-6994 |  |  |  |  |  |
| SCADA |  |  |  |  |  |  |  |
| Brazos Electric | Jon Booth | BEC ext. 279 | 254-717-1793 | 2404 LaSalle Ave | Waco, TX 76702 | jonbooth@brazoselectric.com |  |
| Brazos Electric | Bill Farley | BEC ext. 535 | 254-717-6500 | 2404 LaSalle Ave | Waco, TX 76702 | wfarley@brazoselectric.com |  |
| QEI, Inc. | Shawn Sabo | 770-339-4600 | 908-512-3699 | 1555 Mill Run Ct | Lawrenceville, GA 30045 | ssabo@qeiinc.com |  |
| SEPTIC SERVICE |  |  |  |  |  |  |  |
| Young's Septic Service | James Young | 979-279-6641 | 979-574-5369 | PO Box 404 | Hearne, TX 77859 |  |  |
| SOLOMON CORP |  |  |  |  |  |  |  |
| Transformer maintence/testing | Jan Sexton | 800-234-2867 ext. 123 |  |  | Solomon, Kansas | jsexton@solomoncorp.com |  |
| TEC LOSS CONTROL |  |  |  |  |  |  |  |
| Safety Meeting Coordinator | Joe Snyder | 512-750-9951 |  |  |  | joes@texas-ec.org |  |
| TEC Safety Manuals | Tami Knipstein | 512-486-6271 | 512-486-6273(f) | 2550 S. IH-35 | Austin, TX 78704 | tknipstein@texas-ec.org |  |
| TECHLINE |  |  |  |  |  |  |  |
| Main Office |  | 512-833-5410 | 512-833-5407(f) | 9609 Beck Circle | Austin, TX 78758 | www.techline-inc.com |  |
| Billing Office |  | 512-833-5401 |  | P.O. Box 674005 | Dallas, TX 75267 |  |  |
| Techline Rep | Brad Slaughter | 512-656-1967 cell |  |  |  |  |  |
|  | Shane Yates | 903-520-3874 cell | 903-589-4358 (h) | 702 E. Cherokee | Jacksonsville,TX 75766 | syates@techline-inc.com |  |
|  |  | 903-589-1889 ofc | 903-589-1705(f) |  |  |  |  |

| TELEPHONE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Service |  |  |  |  |  |  |
| Goss Communication | Danny Goss | 800-550-1292 | 979-830-1292 | P.O. Box 1793 | Brenham, TX 77833 | dgoss@gosscominc.com |
|  | Bryan Goss | 800-550-1292 | 979-830-1292 | P.O. Box 1793 | Brenham, TX 77833 | bgoss@gosscominc.com |
| Providers |  |  |  |  |  |  |
| AT&T | see next pages |  |  |  |  |  |
| Windstream | for phone number |  |  |  |  |  |
| Embarq | and account numbers |  |  |  |  |  |
| TEXAS WESTMORELAND |  |  |  |  |  |  |
| On-site training for s/m | David Evans | 903-626-5486 |  |  | Jewett, TX |  |
| Tree Trimming Crew (R.O.W.) |  |  |  |  |  |  |
| Tree Trimming Crew (R.O.W.) | Danny Coulter | 903-626-6673 | 903-388-8731 |  |  |  |
|  | Jay | 903-388-4789 |  |  |  |  |
| UPS SYSTEM |  |  |  |  |  |  |
| Franklin office: Ferr UPS FE Series |  |  |  |  |  |  |
| Mart office: Model #: ME2.1KVA |  |  |  |  |  |  |
| Serial #: ME2.1K08289 |  |  |  |  |  |  |
| Eaton Corporation | Anthony Martin | 800-843-9433 ext. 7039 | 800-356-5737 | 8609 Six Forks Rd | Raleigh, NC 27615 | AnthonyMartin@eaton.com |
| WAREHOUSE SUPPLIERS |  |  |  |  |  |  |
| Grainger | a/c #802636027 | 979-821-0100 |  | 1408 W Villa Maria Rd | Bryan, TX 77801 |  |
| Techline |  | 512-833-5410 | 512-883-5407 (f) | 9609 Beck Circle | Austin, TX 78758 | www.techline-inc.com |
| Shane Yates |  | 903-520-3874 cell | 903-589-4358 (h) | 702 E. Cherokee | Jacksonville, TX | syates@techline-inc.com |
|  |  | 903-589-1889 ofc | 903-589-1705(f) |  |  |  |
| Brad Slaughter |  | 512-656-1967 cell |  |  |  |  |

PRIORITIES FOR RESTORATION OF SERVICE

Navasota Valley Electric Cooperative has listed priorities for restoration of service by category rather than by name.  Generally, this list would be the reverse of curtailment priorities.

In addition to priorities concerning community health and safety, crews will be assigned to defined areas.  Generally, crews will concentrate on a given feeder, working to the end or to a sectionalizing point, and then returning to restore service on single-phase lines or taps of the feeder.  Restorations will be done systematically, avoiding pressure from individuals for special attention.  However, one or more crews may be assigned to locations where special hazards exist or where especially critical loads require immediate attention.  When not on special assignment, these crews may be used to repair individual services.

CURTAILMENT PRIORITIES

Updated April 2022

The Cooperative will attempt to inform customers in advance of planned outages or rotating blackouts.

Brazos Electric Cooperative will inform Navasota Valley Electric Cooperative in advance of the need to shed load.

Navasota Valley Electric Cooperative will inform customers of power interruptions by telephone or by using radio and/or television media.

The pages listed in the next two sections detail substation and feeders with critical needs customers.  It will be used in reverse order for load shedding and Brazos Electric will be kept informed as to the feeders that are available to be shed.

PROCEDURES FOR LOAD SHEDDING

All power sold by Navasota Valley Electric Cooperative is bought from Brazos Electric Power Cooperative, Inc., either by contract or directly through them.

Navasota Valley Electric Cooperative has and will in the future cooperate and work with Brazos Electric to fulfill the needs they have to curtail load and rotate outages in compliance with their emergency action plan.

However, Navasota Valley Electric Cooperative does require Brazos Electric to contact either General Manager, Line Superintendent, Dispatch Supervisor prior to any curtailment.  Arrangements with consumers on life-sustaining equipment, industrial loads will be made and implemented with as little inconvenience as possible.

NVEC			800-443-9462

BEC			254-750-6260

Steve Jones		979-828-5978

979-777-5047

Jacky Hancock	979-828-3496

979-229-8055

Jarad Summers	254-709-5815

Kayla Sanders	979-814-0880

Load Shedding or Rolling Black Out Procedures for NVEC

April 2022

BEC TELEPHONE CALLS REGARDING ERCOT SITUATIONS

Beginning September 2007, BEC will use a ring-down phone call to inform all participants of the current gird operating conditions and any specific actions requested by ERCOT.  During the ring-down phone call, one person from BEC will call all 18 electrical utilities with one phone call (similar to a large conference call.)   THERE COULD BE A LOT OF STATIC ON THE LINE, DON'T HANG UP, PLEASE WAIT.  After describing the current conditions the BEC operator will ask for acknowledgement from each Coop by calling roll.  You can also ask questions or get clarification at this time.

This will eliminate BEC having to make 18 telephone calls and telling each utility the same message.  This will also ensure each utility gets the same message. BEC will first try to contact us on the Brazos phone (ext.509), if they don't get an answer, next they will call the Brazos line (254-750-6510).

All other procedures for NVEC will stay the same.  If you have any questions, let me know.

ERCOT STEPS IN AN

ENERGY EMERGENCY ALERT (EEA)

April 2022

|  | ERCOT action | BEC response | NVEC response |
| --- | --- | --- | --- |
| EEA LEVEL 1 | Adjusted Responsive Reserve (ARR) has fallen below 2500 MW | Calls all Coops to say ERCOT has initialized Level 1. | Nothing, we might receive calls from NVEC customers who heard about the public appeal. Review procedures for rolling outages |
| EEA LEVEL 2A | Adjusted Responsive Reserve (ARR) has fallen below 1750 MW | Calls all Coops to say ERCOT has initialized Level 2. Deploy VRC's (Voltage Reduction Control) or Block Load Transfers or LaaR's | Nothing, does not apply to NVEC. We have no VRC measures or Block Load Transfers or LaaR's |
| EEA LEVEL 2B | Adjusted Responsive Reserve (ARR) continue to fall Deploy remaining Emergency Interruptible Load | Calls all Coops to say ERCOT has initialized Level 2B. Deploy emergency interruptible loads. | Nothing, does not apply to NVEC. We have no contracts for Emergency Interruptible Load. Review procedures for rolling outages - that will be the next action. |
| EEA LEVEL 3 | Instruct transmission owners to shed firm load | Calls dispatcher and informs NVEC to shed 1300 KW of load ASAP. | Follow directions on next pages, shed 1300 KW of load. Continue rolling outages around until BEC calls back and says emergency is over. |

Please be prepared for skipping levels 2a and/or 2b and going straight to level 3.

BEC will also call when/if EEA is cancelled.

April 2022

LOAD SHEDDING OR ROLLING BLACK OUT

If Brazos Electric calls and tells us we have to shed load because of an ERCOT emergency, repeat their instructions and immediately open the first feeder on the next page.  Then use the following schedule to open and close feeders throughout our system to keep our required load of 1100 kW off line.

In a rolling black out, you open one set of feeders for approximately 15 minutes.  Then open the next set of feeders.  After the second set is open, go back and close the first set of feeders.  You must keep the same amount of "load" off the grid at all times.  This schedule spreads the outages around our systems so that one set of customers is not out the entire time.

Normally, rolling black outs last for 3 hours, but circumstances can change.  Continue opening and closing feeders until BEC calls and tells you the emergency is over and you can discontinue rolling black out.

STEP 1:	You will receive a telephone call from BEC, informing us of a state wide emergency and request us to shed 1100 kW of load

STEP 2:	Look at the SCADA screen for the first feeder to be opened and write down the amount of current KW

STEP 3:	Using SCADA, open FIRST feeder from attached list.  Write down the time

STEP 4:	Put dispatcher phone on "OUT OF SERVICE" so only the IVR will be answering.

STEP 5:	Call Kayla Sanders – 979-814-0880

STEP 6:	In DisSpatch, verify feeder(s) open.

STEP 7:	Using the IVR program "PorcheOCM" on Jessica's computer, open the program and start the Aware Message about the ERCOT outage.  This message is already recorded in the program and when added to the active message section will play when a customer calls in. (Complete directions in back of this notebook.)

STEP 8: 	Check the time.  If it's been 10-15 minutes since the first feeder was opened - check the list and open SECOND set of feeders using SCADA. Write down the kW and time.  Be careful to open correct feeders – take your time.

STEP 9:	Using SCADA, close FIRST feeder that has opened for 15 minutes.

STEP 10:	 Call Steve Jones - home (9)279-3759 or cell: (9)255-3051

STEP 11:	In DisSpatch, verify SECOND set of feeders open.

STEP 12:	In DisSpatch restore FIRST feeder and close outage

CONTINUE ROLLING BLACK OUT USING THE SCHEDULE UNTIL:

BEC calls and informs you the emergency has passed and you can restore all feeders to normal.

WHEN ROLLING BLACK OUT IS OVER:

1)  Call Steve Jones

IDENTIFYING AND COMMUNICATING WITH CRITICAL LOAD CUSTOMERS AND DESCRIPTION OF REGISTRY

Updated April 2022

Navasota Valley Electric Cooperative makes every effort to be aware of critical load customers.  It is the responsibility of the residential customers who have life-sustaining electrical equipment to inform Navasota Valley of special medical needs.  However, Navasota Valley attempts to identify these customers by asking new members at the time of establishing an account whether any person at that service location requires life-sustaining equipment and by reminding members through articles in Texas Co-op Power that Navasota Valley needs to be informed of special needs.  Annual letters to residential customers who have registered with Navasota Valley as having special needs helps keep the registry current.

A registry of these customers is included in the next section of the Emergency Operations Manual.  Copies are accessible to appropriate utility personnel including the General Manager, Receptionist, Dispatcher, Line Superintendent, Linemen and Engineering personnel.  Our customer accounting system and outage reporting system also includes special notation for critical needs customers.

Communication with the General Manager, Line Superintendent, Linemen and Engineering personnel help identify industrial and public safety critical load customers.  The Dispatch Supervisor is responsible for maintaining a current list of all critical load customers.

In the event of an unplanned outage or emergencies, Navasota Valley will make telephone calls to specific critical care customers.  Methods to communicate with these customers during emergencies when telephone service is not available include visits by linemen and other utility personnel, and working through law enforcement officers and emergency medical personnel in the field.

Priority Customers

This section includes customers categorized as:

Chicken Houses

Fire Department

Media

High Priority

Industry

Medical

Schools

Miscellaneous

Railroad

Water Supply

Their priority status is based on their need for continuous power or their impact on other industries.

FOR OUR MEMBERS

Quickly providing accurate information about the incident and its estimated duration is key to good customer relations.  Surveys indicate that customers are satisfied with their cooperatives’ response to a crisis – no matter how long the outage – as long as they receive information on the status of the system and when their electricity is expected to be reinstated.  This helpful information may reassure customers:

Unopened food freezers can maintain stored frozen foods safely from 36 to 48 hours depending upon the amount of food stores, capacity of the freezer and the normal temperature of operation of the freezer.

During prolonged outages, dry ice can save thousands of pounds of stored food.  (Locating suppliers for this source could be very helpful to customers and even making arrangements in advance for it to be sent to a central location, whereby local radios can inform people of its availability.)

Dry Ice is available from:

Praxair, 321 Lacy Drive, Waco (254) 799-6201

Praxair, 4923 Franklin Ave, Waco (254) 420-3832

Waco Carbonic Co. 431 LaSalle, Waco (888) 280-3914

Praxair, 2324 S. College Ave, Bryan (979) 822-3783

HEB and Wal-Mart stores

There may be situations where members are isolated due to road conditions.  They should be warned about energized lines which are down.  They should be encouraged to notify the cooperative office when they notice broken lines, poles down, etc.

Tell customers to assume that any downed power line is “live.”  If power lines are lying on the ground or dangling near the ground, do not touch them. They can notify their utility company or local law enforcement authorities as soon as possible that the lines have been damages, or that the lines are down.  Remind them they should not attempt to move or repair the power lines.  If possible, remain on the scene to warn others away from the downed lines.

Explain to customers that if their have appliances or equipment that has been exposed to water, never assume they are safe to use after they have dried.  Before trying to use any electrical appliance that has been exposed to water, take it to a qualified service electrician.  The item may be fine, it may need reconditioning, or it might require replacement.

If a customer is inside a car in contact with a downed power line, stay put!  They can safely use a cellular phone to call for help.

A vehicle should never drive across a downed power line.

If someone is shocked by contact with a downed power line, by-standers should not touch that person.  Use a dry plastic or wooden object, such as a broom handle, to try to separate the victim for the power source.  Call 911 for help immediately.

How to Operate Portable Generators Safely

People should exercise extreme caution when operating portable generators, warns Navasota Valley Electric Cooperative.

"These generators are useful when temporary or remote electric power is needed, but they also can be hazardous," said James Calhoun, General Manager, Navasota Valley Electric Cooperative.

The primary hazards to avoid when using a generator are "backfeeding" power into the electric system, electric shock or electrocution, carbon monoxide (CO) poisoning from the toxic engine exhaust, and fire.  Every year, people die in incidents related to portable generator use.

Avoid "Backfeeding"

Never try to power the house wiring by plugging the generator into a wall outlet, a practice known as "backfeeding."  This is an extremely dangerous practice that presents an electrocution risk to cooperative utility workers and neighbors served by the same utility transformer.  It also bypasses some of the built-in household circuit protection devices.

If you must connect the generator to the house wiring to power appliances, have a qualified electrician install the appropriate equipment in accordance with local electrical codes.  Or, check with your cooperative to see if someone on staff can install an appropriate power transfer switch.

Plug appliances directly into the generator, or use a heavy duty, outdoor-rated extension cord that is rated (in watts or amps) to at least equal to the sum of the connected appliance loads.  Check that the entire cord is free of cuts or tears and that the plug has all three prongs, especially a grounding pin.

Keep the generator dry and do not use in rainy or wet conditions. Operate it on a dry surface under an open, canopy-like structure. Make sure your hands are dry before touching the generator.

For power outages, permanently installed stationary generators are better suited for providing backup power to the home. Even a properly connected portable generator can become overloaded. This may result in overheating or stressing the generator components, possibly leading to a generator failure.

Danger from CO (Carbon Monoxide)

Never use a generator in enclosed or partially enclosed spaces. Generators can produce high levels of CO very quickly, which you cannot smell or see. Even if you can’t smell exhaust fumes, you may still be exposed to CO. If you start to feel sick, dizzy or weak while using a generator, get to fresh air right away. Do not delay. The CO from generators can rapidly lead to full incapacitation and death.

If you experience serious symptoms, get medical attention immediately. Inform medical staff that CO poisoning is suspected. If you experienced symptoms while indoors, have someone call the fire department to determine when it is safe to re-enter the building.

Follow these safety tips to protect against CO poisoning:

*            Never use a generator indoors, including homes, garages, basements, crawl spaces, and other enclosed or partially enclosed areas, even with ventilation. Opening doors and windows or using fans will not prevent CO buildup in the home.

*            Follow the instructions that come with your generator. Locate the unit outdoors and away from doors, windows and vents that could allow CO to come indoors.

*            Install battery-operated CO alarms or plug-in CO alarms with battery backup in your home, according to the manufacturer’s instructions. The CO alarms should be certified to the requirements of the latest safety standards.

*            Test your CO alarms frequently and replace dead batteries.

Fire Hazards

Never store fuel for your generator in the home. Gasoline, propane, kerosene and other flammable liquids should be stored outside of living areas in properly labeled, non-glass safety containers. Do not store them near a fuel-burning appliance, such as a natural gas water heater in a garage. If the fuel is spilled or the container is not sealed properly, invisible vapors from the fuel can travel along the ground and can be ignited by the appliance’s pilot light or by arcs from electric switches in the appliance.

Before refueling the generator, turn it off and let it cool down. Gasoline spilled on hot engine parts could ignite.

Source:  U.S. Consumer Product Safety Committee

This information on operating generators safely was provided by TEC and is useful as a New Release.

Navasota Valley Electric Cooperative

PANDEMIC

PREPAREDNESS

## PLAN

April 2022

## Objectives of the Plan

To prepare the Cooperative for the possibility of a pandemic, including:

1.  To educate employees about a possible pandemic and its possible impacts on the Cooperatives’ business operations

2. To implement reasonable measures to mitigate the impact of an influenza pandemic on the Cooperative and employees

3.  To develop plans and policies for responding to a pandemic

4.  To promote employee wellness and minimize opportunities for employees to be exposed to the disease while at the Cooperative

Definitions

Seasonal (or common) flu – is a respiratory illness that can be transmitted person to person. Most people have some immunity, and a vaccine is available.

Avian (or bird) flu – is caused by influenza viruses that occur naturally among wild birds.  The H5N1 variant is deadly to domestic fowl and can be transmitted from birds to humans. There is no human immunity and no vaccine is available.

(Since 2003, a growing number of human H5N1 cases have been reported in Asia and the Middle East and more than half of the people infected with the H5N1 virus have died.  These cases are all believed to have been caused by exposure to infected poultry.  However, the concern is that H5N1 will evolve into a virus capable of human to human transmission.  Should it do so, it will spread easily through the human population, since no prior immunity will exist.)

Pandemic flu – is a global outbreak, or pandemic, that occurs when a new flu virus appears which can spread easily from person to person.  Because people have not been exposed to this new virus before, they have little or no immunity to the virus; therefore serious illness or death is more likely to result. Currently, there is no pandemic flu.

Probable Impacts on NVEC Business Operations

Pandemics are unpredictable.  The timing of the outbreak of a pandemic is uncertain and depends on many factors.  Nevertheless, we must make assumptions to facilitate planning efforts.   The following ideas are taken from the Electricity Sector Influenza Pandemic Planning, Preparation and Response Reference Guide, developed by the North American Electric Reliability Council (NERC):

1.  Once human to human transmission begins, the disease will spread very rapidly around the world within three to eight weeks.  The typical incubation period (interval between infection and onset of symptoms) for influenza is approximately 2 days.

2.  Attack rate for the general population is expected to be in the range of 30 percent and these people would be very ill for up to a week.

3.  Absentee rates for employees may be in the range of 35 percent for the duration of the pandemic due to illness and other factors such as needing to take care of family members. The pandemic could last for 6 months. Absentee rates will not be uniform and will be caused by employee illness as well as family care issues or inability to get to work, etc.

4.  Persons who contract the virus are not expected to contract it a second time due to a build up of immunity.  However, if the virus mutates, recurrences for the same individual would be possible.

5.  Personnel will need to be managed differently to conduct essential business processes and to minimize the spread of the virus.

6.  Not enough anti-viral medicines or vaccines will be available for the entire population. There may be none in the early stages and then limited quantities for select populations. Anti-viral medicines, such as Tamiflu, present a variety of difficult issues such as availability, effectiveness against specific virus strains and dosage levels for pre-infection prevention as compared to post-infection treatment.

7.  A pandemic will strike in at least two waves, each lasting six to eight weeks. The first wave will peak in three to four weeks. The second wave will be three to six months after the first and will likely be stronger than the first. There may also be a third wave with characteristics similar to the second.

8.  It will be important to provide accurate and timely information to employees, local health organizations and government before and during the pandemic.

9.  Interdependencies with other segments of the electricity sector (Generators, transmission operators, distribution providers) and other critical infrastructures (Communications, nuclear, natural gas, petroleum, transportation, emergency services, etc) as well as contractors and suppliers will be severely tested during a influenza pandemic.

Preparation and Response Efforts

Employee Education

Efforts will be made to educated employees about influenza, how it spreads, how to prevent it spreading and how to avoid it.  Educational resources available from the World Health Organization (WHO) and the Center for Disease Control (CD) and US Government Pandemic Flu website www.pandemicflu.gov will be distributed and posters will be used to convey this information to employees.

Flu Shots

Employees will be encouraged to obtain flu shots annually.  While no flu vaccine exists for a yet unknown strain of flu, there is some evidence that immunity to one strain of flu may provide some benefits related to other strains.  Having more of our employees vaccinated would be beneficial at any rate.

Sanitary Practices

Supplies to maintain a sanitary environment will be kept on hand and deployed, as necessary, including:

1.  Hand soap

2.  Hand sanitizer

3.  Disinfectant spray

4.  Rubber gloves

5.  Tissues

6.  Office cleaning supplies

Policy Modifications

With possible impacts from a pandemic in mind, polices related to sick leave will be reviewed on a case-by-case basis.  The following guidelines will be considered:

1. A relaxing of the definition of sick leave during a pandemic to allow leave to be taken to care for an employee's sick family members.

2. Mandatory leave for employees with influenza-related symptoms (e.g., fever, headache, cough, sore throat, runny or stuffy nose, muscle aches, or upset stomach)

3. Require employees to be fever free for 24 hours prior to returning to work to help prevent spreading the disease.

4.  Missed time for employees that do not wish to come to work for fear of exposure.

5.  Reduce face-to-face contact during a pandemic by closing the lobby and suspending customer appointments.

6. Stagger work shifts as absenteeism rises.

Business Continuity

It is the intention of NVEC to have all critical tasks redundantly trained.  In most instances this task will have at least two persons proficient in its completion.

Close contact with local and state health departments monitoring the pandemic and adjusting our disaster plan to maintain services for customers.