Hamilton County Electric

Cooperative Association

Emergency Operation Plan

Version 1.1

Table of Contents

Emergency Operation Plan Objective	1

HCEC Organizational Structure Chart	2

HCEC Employee Listing (Confidential: Removed)	3-5

Organizational and Personnel Responsibilities during an Emergency	6

Problem Resolution Diagram	7

Critical Account Setup and Contact Procedures	8

Listing of Consumer Critical Accounts (Confidential: Removed)	9-12

Business/Infrastructure Critical Accounts	13-27

Communications Plan	28

TV Stations Contact List	29-35

Newspapers Contact List	36-39

Radio Station Contact List	40-58

Planned Outages, Load Shedding and Restoration Priorities	59

Pandemic Mitigation Guidelines	60-61

Severe Weather and Wildfire Guidelines	62-66

Material/Supplies Contact List & Acquiring Replacement Materials	67-68

Phone System Restoration Contact List (Confidential: Removed)	69

IT / Billing System Restoration Contact Lists (Confidential: Removed)	70

Local Emergency Organizations Contact List	71-76

TEC Contacts/FEMA Mutual Aid Participating Cooperatives Lists	77-78

Surrounding Utilities and Local Utility Contractors	79-80

Fuel Supplies Contact List	81-87

Food Supplies Contact List	88-99

Lodging Contact List	100-102

PUCT Departmental Phone Directory	103-104

National Emergency Contact List	105-111

RUS Contact Information List	112-114

FEMA Eligibility Requirements	115-123

Main Office Evacuation Routes & Fire Extinguisher Locations	124-125

Backup Facilities Location	125

EOP Revision History	126

Emergency Operation Plan Objective

Hamilton County Electric Cooperative Association (“HCEC”) maintains an emergency restoration plan in anticipation of natural and unnatural disasters or situations involving curtailments or major interruptions in electrical service. The plan sets forth organizational and personnel assignments, describes emergency communications procedures and lists emergency contacts.

HCEC will conduct a disaster drill annually, whether it is table top, simulated or a review of a disaster event.

The engineering department of HCEC, located at our main building at 420 North Rice St. in Hamilton, TX, is responsible for maintaining the Emergency Operation Plan.
Engineering Personnel:

Brian Geeslin, Manager of Engineering
Michael Blakley, Engineering Technician

This current version supersedes all previous versions of the EOP.

HCEC Organizational Structure Chart

HCEC Employee Listing

Removed Confidential Employee Information

HCEC Employee Listing

Removed Confidential Employee Information

HCEC Employee Listing

Removed Confidential Employee Information

Organizational and Personnel Responsibilities

During an Emergency

- Situation Assessment

The General Manager is responsible for monitoring threats to the reliability of the system and for assessing damages. He will determine if outside assistance is required. The General Manger or other HCEC personnel may use the problem resolution diagram, located on page 7, to assist in an emergency for determining which issues have the highest priority.

- Incoming Calls

The Service Department is responsible for managing incoming telephone calls reporting outages and for receiving outage reports from members. Office personnel may be assigned to telephone or front office duty as required.

- Dispatching/Communications

The Line Superintendent or his designee will handle dispatching. The Line Superintendent is also responsible for maintenance of additional radios and other communications equipment for use during an emergency.

- Reporting

The General Manager or his designee is responsible for reporting emergency information to the Public Utility Commission of Texas, HCEC’s power supplier, and local government emergency operations centers. All contacts with local new media will be handled by a representative from Nitche Group, our insurance provider.

- Securing Repair and Reconstruction Assistance

The General Manger or his designee is responsible for contacting other cooperatives, Texas Electric Cooperatives (“TEC”), or any other outside entities to request emergency assistance.

Problem Resolution Diagram

Critical Accounts Setup and Contact Procedure

Critical Accounts – Location(s) of List

- The “critical” accounts listing for consumers are maintained in HCEC’s billing system.

- There is also a copy maintained in another electronic form in the “Emergency Response Plan” folder on the network drive.

Critical Accounts – Adding Accounts to Registry

- Once HCEC has been notified that there is a reason to list a location as a “critical” account, HCEC adds a note to the consumers account. A list of these accounts is available from the billing system by running the “Outage Priority Listing” report in iVUE.

Critical Accounts – Communicating with Critical Accounts during Prolonged Outages

- If HCEC encounters an extended outage situation, all reasonable efforts will be made to contact “critical” accounts in the affected area. If we are able to contact the member, we will relay the estimated time of the outage if known. If we are unable to contact the member, we will dispatch a service man or men to the location or locations of the critical care customers.

Critical Accounts – Staff / Dispatcher Training

- All staff / dispatchers are aware that they need to make note of any critical care customers that call in during an outage. All reasonable efforts are made to contact service personnel in the area so they know that this location is a priority for restoration or may require assistance.

List of Consumer Critical Accounts

Removed Confidential Medical Necessity Customer Information

List of Consumer Critical Accounts

Removed Confidential Medical Necessity Customer Information

List of Consumer Critical Accounts

Removed Confidential Medical Necessity Customer Information

List of Consumer Critical Accounts

Removed Confidential Medical Necessity Customer Information

Business/Infrastructure Critical Accounts

| Service Location # | Customer Name | S A | Map Location Service Area | Description of Site |
| --- | --- | --- | --- | --- |
| 15001406 | Tx Department of Transportation | 2 | 43 6- 84- 99 | Signal Light Olin |
| 143370 | EMBARQ | 2 | 4312- 24- 84 | CARR Site Gum Branch YL |
| 2204 | BNSF Railway Company | 2 | 4312- 30- 21 | Communications TWR |
| 143297 | EMBARQ | 2 | 4312- 62- 50 | Pec. Val. Carr. 3-98 & YL |
| 15000767 | AAT Communications Corp | 2 | 4312- 63- 33 | Tower Base 1 TX-20987-A |
| 15006515 | EMBARQ | 2 | 4312- 64- 31 | Carrier (Cozby) |
| 143255 | EMBARQ | 2 | 4312- 76- 89 | Prov. Carr. Site & YL |
| 141432 | Lone Star Pipeline Co. | 2 | 4312- 77- 12 | Rect. K5-1-40 |
| 15001026 | EMBARQ | 2 | 4312- 83- 40 | Carrier & YL-Hidden Vly. |
| 144212 | EMBARQ | 2 | 4312- 87- 88 | Carr.-Egg Crk. & YL (5-98) |
| 15006860 | ATMOS Energy | 2 | 4316- 49- 17 | Rectifier |
| 145672 | EMBARQ | 2 | 4316- 67- 44 | Carr.-Indian Gap & YL |
| 15006609 | Del Petroleum | 2 | 4316- 68- 61 | Gas Well |
| 15006604 | Del Petroleum | 2 | 4316- 68- 63 | Gas Well |
| 8334 | Del Petroleum | 2 | 4316- 78- 16 | Commercial |
| 14787129 | Verizon Wireless | 2 | 4316- 78- 17 | Tower |
| 8359 | Del Petroleum | 2 | 4316- 78- 17 | Pump |
| 8375 | Del Petroleum | 2 | 4316- 78- 48 | Commercial |
| 8391 | Del Petroleum | 2 | 4316- 78- 54 | Commercial |
| 8755 | Del Petroleum | 2 | 4316- 88- 35 | Dehydrating Station |
| 14785929 | Pottsville Vol Fire Dept. | 2 | 4316- 58- 16 POT | Firehouse & 2 YL |
| 10322 | EMBARQ | 2 | 4316- 58- 42 POT | Pottsville Exchange |
| 9878 | Lone Star Pipeline Co. | 2 | 4317- 37- 64 | K5-1-A-10 Rectifier |
| 10280 | Hamilton Production, LLC | 2 | 4317- 44- 90 | Oil Pump(Christens Batt) |
| 15001043 | Hamilton Production, LLC | 2 | 4317- 44-100 | Oil Well (Christenson #3) |
| 10264 | Hamilton Production, LLC | 2 | 4317- 45- 52 | Oil Well (Christens SWD) |
| 10272 | Hamilton Production, LLC | 2 | 4317- 45- 71 | Christenson Well #1 |
| 144287 | EMBARQ | 2 | 4317- 48- 22 | Carr-Lund Valley & YL |
| 143446 | EMBARQ | 2 | 4317- 54- 28 | Carrier-Gordel & 1YL |
| 144253 | EMBARQ | 2 | 4317- 69- 1 | Carr.-Todds CRN & YL |
| 143420 | EMBARQ | 2 | 4317- 84- 67 | Gholson CR Carr. & YL |
| 15000922 | EMBARQ | 2 | 4318- 29- 64 | Carrier-Rock House & YL |
| 15002425 | EMBARQ | 2 | 4318- 68- 54 | Carrier (Alexander CRK) |
| 14785385 | Verizon Wireless | 2 | 4318- 68- 63 | CM - Tower House |
| 15006477 | EMBARQ | 2 | 4318- 68- 63 | Carrier Site (HWY 36) |
| 144931 | EMBARQ | 2 | 4318- 84- 24 | Carrier-BL.Ridge & YL |
| 134023 | Multi County Water Supply | 2 | 4318- 84- 44 | Plant #1 & YL |
| 143966 | EMBARQ | 2 | 4318- 87- 57 | Carr.-Aleman & YL |
| 16063 | Chaparral Pipeline Company | 2 | 4318- 95- 36 | Commercial |
| 12724 | Bill Adams | 2 | 4318- 21- 54 HAM | Airplane Hanger |
| 14784583 | David Zschiesche | 2 | 4318- 21- 55 HAM | Hanger |
| 142075 | Alexander Molding Mill | 2 | 4318- 21- 58 HAM | Door Unit & YL |
| 12815 | Alexander Molding Mill | 2 | 4318- 21- 58 HAM | Door Unit |
| 12781 | City of Hamilton | 2 | 4318- 21- 63 HAM | Airport Lights |
| 12765 | Mercury 1 Aircft Serv | 2 | 4318- 21- 63 HAM | Hanger |
| 12849 | City of Hamilton | 2 | 4318- 21- 74 HAM | Water Well |
| 14784955 | Alexander Molding Mill | 2 | 4318- 21- 80 HAM | Finger Joint & Saw room |
| 15006514 | EMBARQ | 2 | 4318- 22- 43 HAM | Carrier (Airport) |
| 15000059 | Alexander Molding Mill | 2 | 4318- 22- 62 HAM | Shop Base 1 |
| 15000058 | Alexander Molding Mill | 2 | 4318- 22- 62 HAM | Shop Base II |
| 12872 | Alexander Molding Mill | 2 | 4318- 22- 73 HAM | CM – Pump & YL |
| 12880 | Alexander Molding Mill | 2 | 4318- 22- 81 HAM | Saw & Finger Joint |
| 12898 | Alexander Molding Mill | 2 | 4318- 22- 82 HAM | Lights Motors & YL |
| 12914 | Alexander Molding Mill | 2 | 4318- 22- 83 HAM | Mill & YL |
| 14786981 | City of Hamilton | 2 | 4318- 49- 58 HAM | Water Treatment PL&2YL |
| 14786982 | City of Hamilton | 2 | 4318- 49- 58 HAM | Water Treatment Plant |
| 135731 | County of Hamilton | 2 | 4318- 65- 42 HAM | County Jail |
| 133447 | Multi County Water Supply | 2 | 4318- 66- 61 HAM | Pump Station #1 |
| 143438 | EMBARQ | 2 | 4323- 7- 81 | Carrier & YL-Shive |
| 21675 | County of Hamilton | 2 | 4323- 7- 91 | Co Barn Prec #4 |
| 144261 | EMBARQ | 2 | 4323- 19- 84 | Carrier Vista Moun. & YL |
| 15007496 | Central Texas Tele Coop | 2 | 4323- 77- 57 | Evant RST4B RT.4 |
| 144279 | EMBARQ | 2 | 4324- 2- 44 | Pole Yard Carr & YL |
| 134007 | City of Hamilton | 2 | 4324- 2- 68 | Radio App. |
| 124099 | EMBARQ | 2 | 4324- 27- 64 | Plum Creek-Carrsite & YL |
| 130617 | EMBARQ | 2 | 4324- 44- 47 | Carr.-Parsley Cross & YL |
| 14785686 | Central Tex Tele Coop | 2 | 4324- 51- 80 | Evant 5A DLC RT 5-38 |
| 15007884 | Central Tex Tele Coop | 2 | 4324- 72- 47 | Evant DLC5B |
| 15001257 | Dobson Cellular | 2 | 4324- 72- 57 | Tower ( Clary) Base #3 |
| 15001259 | American Tower Corp. | 2 | 4324- 72- 57 | Tower ( Clary ) Base #1 |
| 133454 | EMBARQ | 2 | 4324- 88- 37 | Perryman CXR |
| 15000794 | Central Tex Tele Coop | 2 | 4329- 58- 82 | Evant 6A DLC RT 6-12 |
| 15000797 | Central Tex Tele Coop | 2 | 4329- 90- 22 | Evant 3A DLC RT 3-53 |
| 137778 | EMBARQ | 2 | 4330- 10- 73 | G’Ville-Brooks Ranch |
| 15001088 | Lightower | 2 | 4330- 12- 61 | Tower SBA Towers (TX13885) (Evant) |
| 15001163 | Texas Telecommunications | 2 | 4330- 12- 61 | Tower Evant Base 1 |
| 15001162 | T-Mobile West Corporation | 2 | 4330- 12- 61 | Tower (596 W US HWY 84-Evant) Base 3 |
| 15001564 | City of Evant Water Department | 2 | 4330- 13- 92 | Well |
| 15006978 | Central Tex Tele Coop | 2 | 4330- 27- 32 | Evant 1A RT 1-66 |
| 135285 | Multi County Water Supply | 2 | 4330- 33- 49 | Evant Plant |
| 145656 | Verizon Wireless | 2 | 4330- 34- 92 | Comm Tower Evant |
| 14786703 | Sunoco Logistics | 2 | 4330- 42- 88 | Evant Pumping Station |
| 134015 | Multi County Water Supply | 2 | 4330- 59- 77 | Pump Stat #2 |
| 14784681 | Central Tex Tele Coop | 2 | 4330- 76- 21 | Evant 2A DLC RT 2-34 |
| 14784377 | EMBARQ | 2 | 4330- 87- 10 | Car HS CR & YL |
| 14784514 | Lone Star Pipeline Co. | 2 | 4330- 2- 58 EVT | Evant – Pressure Recorder |
| 14786210 | City of Evant Water Department | 2 | 4330- 15- 60 EVT | Lift Station-84 & 281 |
| 40048 | City of Evant Water Department | 2 | 4330- 18- 87 EVT | Water Dept-T Sawyer &84 |
| 40097 | City of Evant Water Department | 2 | 4330- 20- 84 EVT | Water Dept-Pump-HWY 84 |
| 15007288 | Tx Dept of Transportation | 2 | 4330- 28- 18 EVT | Lights (Evant 84) |
| 135459 | City of Evant | 2 | 4330- 29- 27 EVT | City Hall, VFD, & YL |
| 41657 | Central Tex Tele Coop | 2 | 4330- 35- 39 EVT | Evant Central Office |
| 15002595 | City of Evant Water Department | 2 | 4330- 35- 69 EVT | Water Tower |
| 42036 | TXDOT District 09 | 2 | 4330- 36- 91 EVT | Commercial |
| 42564 | City of Evant Water Department | 2 | 4330- 39- 99 EVT | Water Dept-184 & Anna |
| 42812 | City of Evant Water Department | 2 | 4330- 45- 37 EVT | Water Dept-Liveoak&Bell |
| 42820 | City of Evant | 2 | 4330- 45- 37 EVT | City Hall & Vol Fire DP |
| 135459 | City of Evant | 2 | 4330- 29- 27 EVT | City Hall, VFD, & YL |
| 43687 | City of Evant Water Department | 2 | 4330- 55- 98 EVT | Water Dept-281 & L Cove |
| 14785405 | Evant School | 2 | 4330- 56- 49 EVT | School & YL |
| 43794 | Evant School | 2 | 4330- 56- 90 EVT | School |
| 42572 | City of Evant Water Department | 2 | 4330- 69- 71 EVT | Water Dept-Live Oak-184 |
| 15000882 | Verizon Wireless | 2 | 4335- 9- 78 | TWR-BS 3 G Race BTF-221 |
| 15000883 | Cellular One/Dobson | 2 | 4335- 9- 78 | TWR-Lampasas Race |
| 15003472 | Sunoco Logistics | 2 | 44 1- 81- 50 | Pipeline Rectifier |
| 84038 | Lone Star Pipeline Co | 2 | 44 7- 21- 100 | K-5-1-30 Cathodic Sta |
| 15001881 | EMBARQ | 2 | 44 7- 77- 26 FRY | Fairy/Stephenville |
| 145680 | EMBARQ | 2 | 4413- 3- 92 | Carr & YL – Lanham |
| 15001537 | EMBARQ | 2 | 4413- 8- 89 | Carrier – Oglesby |
| 15002917 | EMBARQ | 2 | 4413- 55- 12 | Carrier Pleasant Valley |
| 143883 | EMBARQ | 2 | 4413- 82- 7 | Carr – WhtWy & YL |
| 14786260 | EMBARQ | 2 | 4413- 94- 39 | Carr & YL (Manning) |
| 15000800 | EMBARQ | 2 | 4419- 12- 87 | Carrier – Bethel & YL |
| 137539 | EMBARQ | 2 | 4419- 63- 55 | FM 932 & CR 398 & YL |
| 137760 | EMBARQ | 2 | 4419- 84- 77 | G’Ville-Evergreen Carr |
| 15003186 | Global Tower Partners | 2 | 4425- 53- 43 PUR | Tower-Purmela |
| 15003439 | Texas Telecommunications | 2 | 4425- 53- 43 PUR | Tower (Walls-Purmela) |
| 88021 | EMBARQ | 2 | 4425- 54- 61 PUR | Purmela & YL |
| 15006872 | Tx Dept of Transportation | 2 | 4425- 82- 59 PUR | Caution Light-Purmela |
| 14787207 | Tx Dept of Transportation | 2 | 4425- 83- 52 PUR | Caution Signal-Purmela |
| 15007445 | BNSF Railway | 4 | 4334- 64- 68 | CR 2659 MP 297.8 |
| 130096 | BNSF Railway | 4 | 4334- 64- 68 | SIG EQ CR59 |
| 14784673 | LCRA | 4 | 4334- 86- 93 | Radio Tower |
| 14787194 | BNSF Railway | 4 | 4334- 96- 6 | Signal Light |
| 135954 | EMBARQ | 4 | 4335- 53- 74 | Car.Site FM 1047 & FM581 |
| 15003748 | Southwestern Bell | 4 | 4335- 79-100 | RT Cabinet (XU1062) |
| 15005343 | Global Tower Partners | 4 | 4335- 99- 20 | Tower (Adamsville) TX5669 |
| 15005436 | Dobson Cellular | 4 | 4335- 99- 20 | Tower (Adamsville) Base 2 |
| 14787167 | Tx Dept of Transportation | 4 | 4335- 78- 15 ADM | Signal Light – Adamsville |
| 50872 | Lampasas County | 4 | 4335- 78- 56 ADM | Fire Sta (Adamsville)YL |
| 50989 | Southwestern Bell | 4 | 4335- 78- 57 ADM | Commercial XP3403 |
| 50633 | Lampasas County | 4 | 4335- 79- 44 ADM | Cnty Barn & YL(PRNCT 4) |
| 54577 | LCRA | 4 | 4339- 27- 81 | Stream Flow Meter |
| 15001792 | LCRA | 4 | 4339- 36- 29 | Raw Water Intake |
| 15005907 | Skyway Towers II | 4 | 4339- 37- 33 | Tower (San Saba) |
| 15006220 | Dobson Cellular | 4 | 4339- 37- 33 | Tower |
| 140277 | Central Texas Communication Inc. | 4 | 4339- 63- 67 | Tower Site - San Saba |
| 15006017 | Central Tex Tele Coop | 4 | 4339- 86- 3 | Bend RST6A RT.6-10 |
| 14786626 | EMBARQ | 4 | 4340- 16- 8 | Carrier CR-79 |
| 135947 | EMBARQ | 4 | 4340- 23- 31 | 190 & CR61-Carr. Site |
| 15002333 | LCRA | 4 | 4340- 25- 8 | Toe Drain |
| 15001791 | CORIX UTILITIES | 4 | 4340- 25- 20 | Water Treatment Plant |
| 15005140 | LCRA | 4 | 4340- 26- 11 | Well |
| 135269 | BNSF Railway | 4 | 4340- 26- 20 | Sig Eq-Lometa |
| 14785840 | CORIX UTILITIES | 4 | 4340- 27- 3 | Storage Tank Owens MTN |
| 14784823 | Tx Dept of Transportation | 4 | 4340- 36- 5 | MP |
| 59048 | Tx Dept of Transportation | 4 | 4340- 37- 54 | Flash Beac.-183 & 190 |
| 59154 | CORIX UTILITIES | 4 | 4340- 37- 82 | Sewer Treatment Plant |
| 15001363 | City of Lometa | 4 | 4340- 37- 92 | Pump Stat-Sewer |
| 119396 | CORIX UTILITIES | 4 | 4340- 38- 2 | Storage Tank Kirby MTN |
| 14785490 | Verizon Wireless | 4 | 4340- 57- 6 | TWR Site-Lometa |
| 62828 | BNSF Railway | 4 | 4340- 69- 7 | Sig EQ-Lometa |
| 131896 | BNSF Railway | 4 | 4340- 70- 62 | Sig EQ MP 286.5 Lometa |
| 15007663 | Lampasas County | 4 | 4340- 76- 28 | County Barn Pct. 2 |
| 15001301 | Central Tex Tele Coop | 4 | 4340- 94- 49 | Bend DLC 1A RT 1-34 |
| 15003185 | Global Tower Partners | 4 | 4340- 25- 78 LOM | Tower Base 1 - Lometa |
| 15003478 | Texas Telecommunications | 4 | 4340- 25- 78 LOM | Tower Base 2 |
| 15005464 | Dobson Cellular | 4 | 4340- 25- 78 LOM | Tower (Lometa) Base 3 |
| 15008065 | T-Mobile West Corporation | 4 | 4340- 25- 78 LOM | Tower (16693 N US HWY 183-Lometa) |
| 15002918 | BNSF Railway | 4 | 4340- 36- 19 LOM | Yard Lights |
| 126466 | BNSF Railway | 4 | 4340- 37- 31 LOM | Cross Light (Elm St) |
| 59592 | CORIX UTILITIES | 4 | 4340- 42- 13 LOM | Lift Station #1 |
| 59675 | Cellular One/Dobson | 4 | 4340- 43- 51 LOM | Tower - Lometa |
| 14784355 | City of Lometa | 4 | 4340- 46- 55 LOM | Fire Dept Base 2 |
| 14784312 | City of Lometa | 4 | 4340- 46- 55 LOM | City Hall |
| 60244 | City of Lometa | 4 | 4340- 46- 65 LOM | Fire Station |
| 60285 | EMBARQ | 4 | 4340- 46- 75 LOM | Commercial |
| 60467 | BNSF Railway | 4 | 4340- 47- 61 LOM | Railroad Station |
| 60541 | City of Lometa | 4 | 4340- 48- 24 LOM | City Barn |
| 14787160 | Tx Dept of Transportation | 4 | 4340- 56- 34 LOM | Signal Light-Lometa |
| 14785135 | BNSF Railway | 4 | 4340- 57- 1 LOM | Sig Xing Railway & Main |
| 130062 | BNSF Railway | 4 | 4340- 57- 11 LOM | Sig EQ Mi Post 291.3Lom |
| 61853 | Lometa High School | 4 | 4340- 59- 17 LOM | Lometa School & 2YL |
| 14785134 | BNSF Railway | 4 | 4340- 77- 33 LOM | Signal E Railway & Oak |
| 59006 | CORIX UTILITIES | 4 | 4340- 42- 75 MDA | Lift Station #2 |
| 14785470 | Debra L. Witcher | 4 | 4341- 2- 76 | Radio Sta-Tower |
| 64402 | Lone Star Pipeline Co. | 4 | 4341- 14- 42 | N-6 Rectifier |
| 15000886 | Verizon Wireless | 4 | 4341- 59- 69 | TWR BS 3 Brown BTF-223 |
| 15000887 | Cellular One/Dobsom | 4 | 4341- 59- 69 | Tower Lampasas 2 - Brown |
| 14786957 | Lone Star Pipeline CO. | 4 | 4341- 68- 64 | Sub Sta (1-04) Bear Gate |
| 65623 | Southwestern Bell | 4 | 4341- 69- 39 | XP6181 |
| 15005566 | BNSF Railway | 4 | 4341- 73- 72 | Switch House #2 |
| 144659 | Southwestern Bell | 4 | 4341- 75- 82 | Carrier CR-41 XP6563 |
| 124719 | Tx Dept of Transportation | 4 | 4341- 82- 37 | Radio Tower |
| 143214 | Lampasas County | 4 | 4341- 82- 46 | Tower-EMS |
| 15005629 | BNSF Railway | 4 | 4341- 84- 55 | Switch House #1 |
| 15001114 | Lightower | 4 | 4341- 93- 8 | Tower SBA Towers Tx |
| 15001214 | Texas Telecommunications | 4 | 4341- 93- 8 | Tower Carter Mtn Base 4 |
| 15001218 | Cingular Wireless LLC | 4 | 4341- 93- 8 | Tower Carter Mtn Base 1 |
| 15003869 | Southwestern Bell | 4 | 4341- 93- 8 | Purcell Cabinet XR0056 |
| 15005561 | BNSF Railway | 4 | 4341- 96- 27 | Switch House #3(CR2001) |
| 15006399 | BNSF Railway | 4 | 4341- 97- 37 | Crossing Lights |
| 15001241 | Central Tex Tele Coop | 4 | 4345- 23- 39 | Bend DLC 5C RT 5-23 |
| 70292 | Lone Star Pipeline Co. | 4 | 4345- 28- 43 | N-3 Rectifier |
| 14784795 | Lone Star Pipeline Co. | 4 | 4345- 29- 3 | Rectifier N-55 |
| 15002137 | LCRA | 4 | 4345- 39- 3 | Hydra Station |
| 71837 | Seminole Pipe Line | 4 | 4345- 62- 99 | Rectifier (MP 287.850) |
| 15001719 | LCRA | 4 | 4345- 76- 14 | Stream Flow Meter |
| 71480 | Central Tex Tele Coop | 4 | 4345- 38- 69 BND | Bend Central Office |
| 144733 | Southwestern Bell | 4 | 4346- 18- 77 | CARR CR-15 NX XP5212 |
| 72694 | Lampasas County | 4 | 4346- 18- 78 | Cnty Barn (PRNCT 2) |
| 15001303 | Central Tex Tele Coop | 4 | 4346- 42- 98 SMR | Bend DLC 2A RT 2-16 |
| 75150 | Metrotel Communications | 4 | 4347- 11- 70 | Radio Tower |
| 75226 | Texas DPS | 4 | 4347- 12- 42 | Radio Tower Base #2 |
| 15002809 | Cingular Wireless LLC | 4 | 4347- 17- 34 | Tower #6183 |
| 15005567 | BNSF Railway | 4 | 4347- 18- 9 | Switch House #4 |
| 146647 | Southwestern Bell | 4 | 4347- 22- 33 | Carr CR-51 XP5209 |
| 15002806 | Southwestern Bell | 4 | 4347- 69- 90 RDS | REM TER XU6825 |
| 14784385 | Kempner Water Supply Corp | 4 | 4348- 35- 62 KEM | Office & 2YL |
| 79004 | Kempner Water Supply Corp | 4 | 4348- 35- 91 KEM | Booster STA-Office Plnt |
| 14784447 | Kempner Fire Dept | 4 | 4348- 65- 29 KEM | Vol Fire Dept |
| 77198 | City of Lampasas | 4 | 4348- 72- 4 HRS | Hewgley Tank Site 15 |
| 77180 | Kempner Water Supply Corp | 4 | 4348- 72- 15 HRS | Pump - 580 Tank |
| 15004188 | Kempner Water Supply Corp | 4 | 4437- 52- 73 2-2 | Pressure Pump |
| 14784864 | Central Tex Tele Coop | 5 | 4315- 67- 8 | Priddy 1D DLC RT 1-18R |
| 4630 | Tx Dept of Transportation | 5 | 4315- 16- 37 PRI | Caution Light - Priddy |
| 120816 | Priddy Vol Fire Dept. | 5 | 4315- 34- 88 PRI | Fire Hall |
| 120030 | Priddy School | 5 | 4315- 35- 26 PRI | New School |
| 4796 | Priddy Water Corp | 5 | 4315- 35- 51 PRI | Pump |
| 4788 | Priddy School | 5 | 4315- 35- 63 PRI | High School & YL |
| 4887 | Central Tex Tele Coop | 5 | 4315- 36- 66 PRI | Priddy Central Office |
| 4911 | Priddy Water Corp | 5 | 4315- 44- 4 PRI | Pump & YL |
| 135137 | Priddy Water Corp | 5 | 4315- 44- 17 PRI | Pump |
| 5959 | Tx Dept of Transportation | 5 | 4315- 66- 1 PRI | Caution Light-Pri School |
| 15007622 | MidTex Cellular | 5 | 4316- 51- 78 | Cell Tower |
| 15002206 | ATT Communications Corp | 5 | 4316- 51- 90 | Tower-Priddy TX09254-A |
| 15002219 | Dobson Cellular | 5 | 4316- 51- 90 | Towersite (Priddy) |
| 14784866 | Central Tex Tele Coop | 5 | 4316- 53-100 | Priddy 2A DLC RT 2-27 |
| 15007651 | Central Tex Tele Coop | 5 | 4316- 83- 60 | Carrier (Priddy DLC 1B RT 2-5F-4) |
| 119222 | Westchester Gas Co. | 5 | 4320- 63- 74 | Pump & Tower |
| 119230 | Westchester Gas Co. | 5 | 4320- 63- 78 | Hanger |
| 15000625 | LCRA | 5 | 4320- 86- 34 | Mullin River Gage |
| 14787031 | Central Tex Tele Coop | 5 | 4320- 86- 43 | Mullin 5D DLC RT 5-50 |
| 15000593 | Central Tex Tele Coop | 5 | 4320- 89- 10 | Mullin 5E DLC RT 5-19 |
| 17038 | Ronnie Head | 5 | 4321- 27- 32 | Radio Tower |
| 14784865 | Central Tex Tele Coop | 5 | 4321- 28- 7 | Priddy 1A DLC RT 1-42 |
| 18747 | Sunoco Logistics | 5 | 4321- 88- 89 | Goldthwaite MW |
| 15000714 | Central Tex Tele Coop | 5 | 4322- 23- 48 | Star 1B DLC RT 1-59 |
| 15000713 | Central Tex Tele Coop | 5 | 4322- 53- 66 | Star 1A DLC RT 1-41 |
| 135996 | Sunoco Logistics | 5 | 4322- 62- 46 | Rect Inst #1463 |
| 14784523 | Central Tex Tele Coop | 5 | 4322- 69- 96 | Star 5A DLC RT 5-22 |
| 20859 | Mills Co. Precinct #2 | 5 | 4322- 75- 41 | County Barn |
| 35816 | Lone Star Pipeline Co. | 5 | 4322-100- 33 | N-10 Rectifier |
| 26641 | J. C. Walter, Jr. | 5 | 4326- 18- 77 | Aircraft Runway Lights |
| 15007938 | Central Tex Tele Coop | 5 | 4326- 23- 49 | Cabinet B-18 ( Ridge ) |
| 128520 | New Horizons Ranch | 5 | 4326- 37- 20 | Transfer Pump |
| 15000403 | New Horizons Ranch | 5 | 4326- 38- 11 | Pump |
| 15002133 | New Horizons Ranch | 5 | 4326- 38- 15 | Sewer Plant |
| 15001972 | New Horizons Ranch | 5 | 4326- 38- 21 | Water Treatment Plant |
| 15002273 | New Horizons Ranch | 5 | 4326- 38- 34 | Grinder Pump |
| 27391 | New Horizons Ranch | 5 | 4326- 38- 37 | Pump & 2YL Good |
| 14786505 | Central Tex Tele Coop | 5 | 4326- 38- 66 | Big Valley DLC 1-27B |
| 15008067 | Central Tex Tele Coop | 5 | 4326- 86- 30 | Cabinet ( DLC-11-B ) |
| 15007497 | Central Tex Tele Coop | 5 | 4327- 13- 44 | Big Valley RST7B RT.7-26 |
| 118430 | Mills Co. Precinct #4 | 5 | 4327- 33- 84 | County Barn |
| 15002616 | BNSF Railway | 5 | 4327- 47- 94 | Switch Site #5 MP311.90 |
| 30866 | Central Tex Tele Coop | 5 | 4327- 54- 8 | BGVY Central Office |
| 31054 | LCRA | 5 | 4327- 57- 16 | Microwave Tower |
| 15002615 | BNSF Railway | 5 | 4327- 67- 55 | Switch Site #4 MP310.45 |
| 31690 | BNSF Railway | 5 | 4327- 67- 65 | Signal Lights |
| 14784693 | Central Tex Tele Coop | 5 | 4327- 67- 84 | BGVY 2B DLC RT 2-31 |
| 15002556 | BNSF Railway | 5 | 4327- 78- 2 | Switch Site #3 MP309.6 |
| 15000440 | Central Tex Tele Coop | 5 | 4327- 82- 17 | BGVY 5B DLC RT 5-16 |
| 28225 | BNSF Railway | 5 | 4327- 1- 89 GWT | Signal Lights |
| 15002686 | BNSF Railway | 5 | 4327- 22- 34 GWT | Switch Site #6 MP316.0 |
| 29066 | Tex Dept of Transportation | 5 | 4327- 22-100 GWT | Caution Light (84 & 16) |
| 15000790 | Central Tex Tele Coop | 5 | 4327- 29- 18 GWT | Star 8A DLC RT 8-12 |
| 29348 | Geeslin Gas Co | 5 | 4327- 33- 22 GWT | Propane Pump |
| 141226 | Central Texas Communications Inc. | 5 | 4327- 64- 97 GWT | Tower Site - Gwaite |
| 14786239 | Dobson Cellular | 5 | 4327- 64- 97 GWT | Tower Site - (Goldthwaite) |
| 15003013 | Alamosa PCS | 5 | 4327- 64- 97 GWT | GWT - Tower |
| 31849 | Tx Dept of Transportation | 5 | 4327- 73- 40 GWT | Safety LGHTS-LP 15 GWT |
| 14784524 | Lone Star Pipeline CO | 5 | 4327- 74- 18 GWT | Goldthwaite-Pres REC |
| 142968 | Tx Dept of Transportation | 5 | 4327- 74- 19 GWT | Meter Pole |
| 139097 | Midtex Cellular | 5 | 4327- 74- 49 GWT | Cell Phone Hut TXV240 |
| 32086 | Andrews Tower Rental | 5 | 4327- 74- 49 GWT | Cable Vision Tower &YL |
| 15002614 | BNSF Railway | 5 | 4327- 56- 47 RMM | Switch(SITE #2)MP307.75 |
| 14785005 | Central Tex Tele Coop | 5 | 4328- 22- 72 | Star 6A DLC RT 6-50A |
| 33829 | Central Tex Tele Coop | 5 | 4328- 26- 55 | Star Central Office |
| 15003792 | Robert T. Hoyer | 5 | 4328- 43- 89 | Hanger |
| 15007166 | Central Tex Tele Coop | 5 | 4328- 72- 99 | Carrier DLC 4B |
| 14785085 | Central Tex Tele Coop | 5 | 4328- 85- 56 | Star 4C DLC RT 4-37 |
| 35915 | Sunoco Logistics | 5 | 4329- 12- 15 | CPL 1414 |
| 15007650 | Central Tex Tele Coop | 5 | 4329- 15- 90 | Carrier (Evant DLC 4A RT 4 & F3) |
| 15007649 | Central Tex Tele Coop | 5 | 4329- 55- 11 | Carrier (Star DLC 9B RT10FR) |
| 15000796 | Central Tex Tele Coop | 5 | 4329- 76- 57 | Evant 6B DLC RT 6-26 |
| 15006018 | Central Tex Tele Coop | 5 | 4329- 82- 68 | STAR RST4D RT.4-17 |
| 14786986 | Star Vol Fire Dept. | 5 | 4329- 24- 88 STR | Fire Dept |
| 15003187 | Global Tower Partners | 5 | 4329- 44- 53 STR | Tower (Boykin-Star) |
| 15003446 | Texas Telecommunications | 5 | 4329- 44- 53 STR | Tower (Boykin-Star) |
| 14786034 | Central Tex Tele Coop | 5 | 4329- 65- 67 STR | Star 9C DLC RT 9 |
| 14784997 | Star School | 5 | 4329- 84- 59 STR | Pump |
| 38729 | Star School | 5 | 4329- 95- 28 STR | School Cafeteria & YL |
| 145607 | Star School | 5 | 4329- 95- 29 STR | School Min BLDG & 2YL |
| 15002475 | LCRA | 5 | 4332- 20- 83 | Hydra Station |
| 15008013 | Central Tex Tele Coop | 5 | 4332- 40- 13 | Cell Site (RST1C San Saba) |
| 15007703 | Global Tower Partners | 5 | 4332- 40- 13 | Tower |
| 15000328 | Central Tex Tele Coop | 5 | 4332- 50- 52 | SSBA 1A DLC RT 1-82 |
| 15000371 | Central Tex Tele Coop | 5 | 4333- 7- 75 | BGVY 3B DLC RT 3-11 |
| 46300 | BNSF Railway | 5 | 4333- 19- 17 | Signal Lights |
| 14784642 | Central Tex Tele Coop | 5 | 4333- 19- 19 | BGVY 2A DLC RT 2-12 |
| 15002613 | BNSF Railway | 5 | 4333- 20- 82 | Switch(Site#1)MP305.48 |
| 138354 | North San Saba Water | 5 | 4333- 62- 71 | Pump Site |
| 15000360 | Central Tex Tele Coop | 5 | 4334- 31- 49 | BGVY 2C DLC RT 2-28 |
| 15006388 | Midtex Cellular | 5 | 4334- 32- 4 | Cell Tower (Bishop) |
| 47902 | BNSF Railway | 5 | 4334- 32- 80 | Signal Lights |
| 14784473 | Southwestern Bell | 6 | 4336- 66- 6 | Carrier XP-1392 |
| 134734 | Multi County Water Supply | 6 | 4336- 77- 11 | Plant #3 Izoro |
| 64774 | Southwestern Bell | 6 | 4341- 29- 29 | CAR XP6182 |
| 15002861 | Cingular Wireless LLC | 6 | 4341- 89- 83 | Tower #6184 |
| 15000122 | Kempner Water Supply Corp | 6 | 4342- 33- 7 | Booster Pump |
| 67850 | Dept of Transportation | 6 | 4342- 52- 20 | VORTAC |
| 144543 | Southwestern Bell | 6 | 4342- 66- 8 | XP5210-CAR Rumley |
| 126185 | Southwestern Bell | 6 | 4342- 86- 35 | RPL 315 XP6340 |
| 14786023 | EMBARQ | 6 | 4342- 44- 13 BCR | Carrier-Binion Creek |
| 75390 | City of Lampasas | 6 | 4347- 18- 88 | Commercial (AWOS) |
| 119388 | City of Lampasas | 6 | 4347- 28- 20 | FBO Shop Airport |
| 75556 | Rex K. Johnson Co | 6 | 4347- 28- 29 | Hanger At Airport Base2 |
| 14786000 | City of Lampasas | 6 | 4347- 28- 29 | Airport Fuel Storage |
| 15003752 | City of Lampasas | 6 | 4347- 28- 30 | Office (Pilot Lounge) |
| 14787183 | City of Lampasas | 6 | 4347- 29- 31 | Shop |
| 14787184 | City of Lampasas | 6 | 4347- 29- 41 | Hangers (South) |
| 15005483 | LCRA | 6 | 4347- 39- 2 | City of Lampasas Pump |
| 15001500 | Tx Dept of Transportation | 6 | 4348- 6- 89 | Light-FM 580N Lampasas |
| 15004108 | BNSF Railway | 6 | 4348- 36- 77 | Switch House #6(CR 3010) |
| 15006632 | BNSF Railway | 6 | 4348- 37- 27 | Crossing Lights |
| 14785807 | BNSF Railway | 6 | 4348- 38- 35 | Signal MP265.1 |
| 15002899 | BNSF Railway | 6 | 4348- 43- 25 | Crossing MP 271.69 |
| 15005562 | BNSF Railway | 6 | 4348- 44- 31 | Switch House #5(CR 3010) |
| 140616 | BNSF Railway | 6 | 4348- 46- 11 | Signal Lights |
| 15006661 | Tx Dept of Transportation | 6 | 4348- 47- 19 | Lights (HWY 190) |
| 15001989 | EMBARQ | 6 | 4348- 60- 23 LRP | Carrier-FM 2313 |
| 77248 | Lampasas County | 6 | 4348- 24- 68 KEM | Cnty Barn & 3YL(PRNCT1) |
| 142315 | BNSF Railway | 6 | 4348- 25- 77 KEM | Switch HS 263.1 |
| 15002315 | BNSF Railway | 6 | 4348- 35- 19 KEM | X-ING FM 2313 |
| 14786055 | Tx Dept of Transportation | 6 | 4348- 35- 89 KEM | Street Lights – Kempner |
| 80317 | EMBARQ | 6 | 4348- 45- 18 KEM | Commercial & YL |
| 82388 | Lampasas County | 6 | 4348- 65- 39 KEM | Fire Sta & YL (Kempner) |
| 83030 | Southwestern Bell | 6 | 4348- 74- 80 TC1 | REM TER XP6148 |
| 15002631 | Cingular Wireless LLC | 6 | 4348- 75- 81 TC1 | TWR #6121 (190 CR 3061) |
| 15000344 | Southwestern Bell | 6 | 4348- 8- 78 HTP | XP9702 (FM 580 & CR 5) |
| 14785612 | Southwestern Bell | 6 | 4348- 88- 62 CCR | CM - Carrier XP1108 |
| 78444 | City of Lampasas | 6 | 4348- 35- 65 GPA | Valve, 580 Waterline, YL |
| 15000364 | Global Tower Partners | 6 | 4348- 48- 65 WWH | Comm Tower Base A |
| 15001341 | Cingular Wireless LLC | 6 | 4348- 48- 65 WWH | TWR #6120 (389 CR 4492) |
| 15001340 | T-Mobile West Corporation | 6 | 4348- 48- 65 WWH | BS D-#TK01361A-Titan Tw |
| 15000475 | Sprint PCS | 6 | 4348- 48- 65 WWH | Tower Base B AU33XC231 |
| 139717 | AT&T Wireless Services | 6 | 4431- 85- 78 | Cell & YL (601 Harmon RD) |
| 15001115 | Verizon Wireless | 6 | 4431- 85- 87 | Tower-Topsy (#13020) |
| 143479 | EMBARQ | 6 | 4431- 96- 21 | Carr-Topsey & YL |
| 110536 | Facilities Engineering | 6 | 4437- 35- 14 1-2 | Tower |
| 129478 | EMBARQ | 6 | 4437- 42- 98 1-2 | 580/1113 Topsey Carrier |
| 117895 | Topsey Water Supply Corp | 6 | 4437- 52- 29 1-2 | Office & YL |
| 128900 | EMBARQ | 6 | 4437- 86- 21 1-2 | Commercial (Lutheran Church) |
| 15003565 | Sprint PCS | 6 | 4437- 35- 43 2-2 | Tower Site |
| 129486 | EMBARQ | 6 | 4437- 45- 36 2-2 | Commercial (FM1113) |
| 113936 | Topsey Water Supply Corp | 6 | 4437- 45- 44 2-2 | Commercial |
| 15002576 | Cingular Wireless LLC | 6 | 4437- 30- 62 BSS | TWR #6162 Cactus & 116 |
| 128207 | EMBARQ | 6 | 4437- 47- 54 BSS | Com. (Hemphill) Base 2 |
| 14784332 | EMBARQ | 6 | 4437- 28- 48 WSO | Carrier WSO |
| 15000787 | Kempner Water Supply Corp | 6 | 4437- 82- 76 SOE | Water System |
| 15005818 | City of Copperas Cove | 6 | 4443- 13- 38 | Pump Station (Big Divide) |
| 115980 | BNSF Railway | 6 | 4443- 13- 74 | Crossing Lights |
| 15000792 | EMBARQ | 6 | 4443- 61- 88 | Carrier TA-750 |
| 14785536 | EMBARQ | 6 | 4443- 34- 32 PVA | Pecan Valley SLIK-5 |
| 15001416 | EMBARQ | 6 | 4443- 46-100 SKV | Carrier SKV-II |
| 14786904 | Tx Dept of Transportation | 6 | 4443- 4- 87 TCR | Signal Light Kempner |
| 15000726 | EMBARQ | 6 | 4443- 4- 88 TCR | Carrier Taylor Creek |
| 45369 | SONOCO Logistics | 7 | 4330- 90- 43 | CPL 1415 |
| 15001121 | EMBARQ | 7 | 4425- 30- 2 | Carrier Lev – Bluecreek |
| 15000937 | EMBARQ | 7 | 4425- 48-100 | Carrier-Bethel Heights |
| 14786601 | Central Tex Tele Coop | 7 | 4425- 59- 27 | SM Comm Bldg-Purmela |
| 135772 | EMBARQ | 7 | 4425- 74- 39 | Bones Xing-Carr Site |
| 135095 | Multi County Water Supply | 7 | 4425- 87- 62 | King Plant #4 |
| 15002761 | EMBARQ | 7 | 4425- 90- 1 | Carrier (Plainview) |
| 134239 | Multi County Water Supply | 7 | 4425- 96- 14 | Pump Stat King |
| 135780 | EMBARQ | 7 | 4425- 88- 46 ARN | Arnet Carr Site |
| 15002857 | EMBARQ | 7 | 4426- 34- 27 1-7 | Carrier-Moccasin Bend |
| 138263 | EMBARQ | 7 | 4426- 68- 73 1-7 | Mocassin Bnd-Carrier&YL |
| 15007043 | T-Mobile Corporation | 7 | 4426- 76- 94 1-7 | Tower |
| 132563 | Becky Berry | 7 | 4426- 80- 3 1-7 | Hanger |
| 14784535 | Multi County Water Supply | 7 | 4426- 92- 56 1-7 | CM - Office |
| 15001811 | Coryell County | 7 | 4426- 93- 46 1-7 | County Barn |
| 104745 | Mountain Water Supply | 7 | 4426- 79- 88 2-7 | Office & Strge Bldg |
| 104737 | Mountain Water Supply | 7 | 4426- 79- 88 2-7 | Water Well Community |
| 90944 | City of Gatesville | 7 | 4426- 3- 86 CCL | Lift Sta Chick Town Rd |
| 91983 | Lone Star Pipeline Co. | 7 | 4426- 21- 47 CCL | Gas Valve-Base #2 |
| 15001889 | Tx Dept of Transportation | 7 | 4426- 55- 33 CCL | Light at US 84 & FM 116 |
| 14787103 | City of Gatesville | 7 | 4426- 6- 82 3-7 | Lift Station |
| 15000299 | Lynn Massingill | 7 | 4426- 25- 67 3-7 | Hanger |
| 92395 | City of Gatesville | 7 | 4426- 25- 67 3-7 | Beacon Light |
| 92411 | City of Gatesville | 7 | 4426- 25- 87 3-7 | Commercial & YL |
| 15002358 | Bowhead Eagle LLC | 7 | 4426- 26- 52 3-7 | CM Shop & 4 YLs |
| 15006736 | Laerdal Medical Corporation | 7 | 4426- 26- 53 3-7 | Commercial (New) |
| 92494 | Laerdal Medical Corporation | 7 | 4426- 26- 53 3-7 | Commercial |
| 92486 | Laerdal Medical Corporation | 7 | 4426- 26- 53 3-7 | Commercial Bldg #2 |
| 92502 | Laerdal Medical Corporation | 7 | 4426- 26- 53 3-7 | Foundry |
| 92510 | Laerdal Medical Corporation | 7 | 4426- 26- 53 3-7 | Commercial |
| 122770 | Laerdal Medical Corporation | 7 | 4426- 26- 53 3-7 | Bldg-Compressor |
| 123927 | Laerdal Medical Corporation | 7 | 4426- 26- 54 3-7 | Office |
| 15001709 | Laerdal Medical Corporation | 7 | 4426- 26- 63 3-7 | Commercial |
| 15007117 | T-Mobile West Corporation | 7 | 4426- 64- 66 3-7 | Tower (Bald Knob) |
| 14785713 | EMBARQ | 7 | 4426- 67- 17 3-7 | Carr & YL-Grgtwn |
| 102954 | City of Gatesville | 7 | 4426- 69- 72 4-7 | Lift STA(36-107) |
| 142901 | Ft. Gates Water Corp | 7 | 4426- 89- 8 4-7 | Well Storage Bldg |
| 132217 | Ft. Gates Water Corp | 7 | 4426- 89- 16 4-7 | 3 Phase Pump #4 |
| 106021 | Ft. Gates Water Corp | 7 | 4426- 89- 26 4-7 | 3 Phase Pump # 1 |
| 15007457 | City of Gatesvill | 7 | 4426- 99- 70 4-7 | Lift Station ( Ft. Gates ) |
| 14787104 | City of Gatesville | 7 | 4426- 57- 43 CCA | Lift Station ( Straws Mill & Lakewood ) |
| 15000793 | City of Gatesville | 7 | 4426- 75- 10 CCA | Lift STN Riverplacewest |
| 14787281 | City of Gatesville | 7 | 4426- 89- 75 CCA | Lift Station Pollard |
| 99101 | City of Gatesville | 7 | 4426- 55- 91 VLV | Lift Station |
| 15002102 | EMBARQ | 7 | 4426- 82- 55 VLV | Carrier-Valley View CSA |
| 14786918 | Lone Star Pipeline Co | 7 | 4426- 93- 17 VLV | Ft. Gates Station |
| 15000875 | Verizon Wireless | 7 | 4426- 59- 49 6-7 | Tower Base 2 DO-1074 (#12819) |
| 15000876 | Sprint Finance Network | 7 | 4426- 59- 49 6-7 | Tower Base 3 DO-1074 |
| 105189 | Verizon Wireless | 7 | 4426- 83- 52 6-7 | Microwave Tower Gville |
| 15001093 | Cingular Wireless LLC | 7 | 4426- 95- 41 6-7 | Tower #6062 10039827 |
| 92981 | City of Gatesville | 7 | 4426- 29- 41 ROK | Fire Station & 2 YL's |
| 120188 | EMBARQ | 7 | 4426- 38- 9 ROK | Ft. Gates Office |
| 14784399 | City of Gatesville | 7 | 4426- 50- 59 ROK | Lift Station |
| 14787105 | City of Gatesville | 7 | 4426- 76- 44 ROK | Lift Station |
| 130294 | Ft. Gates Water Corp | 7 | 4426- 47- 16 7-7 | City Hall & YL |
| 14786511 | City of Gatesville | 7 | 4426- 63- 23 7-7 | Lift Station ( HWY 36 & Leon River ) |
| 14784423 | EMBARQ | 7 | 4431- 1- 79 | Carrier |
| 136432 | EMBARQ | 7 | 4431- 5- 64 | King Carrier Site |
| 15002649 | Cingular Wireless LLC | 7 | 4431- 20- 51 | TWR #6182 (4875 FM 116) |
| 15000947 | Crown Castle USA, Inc. | 7 | 4431- 38- 78 | Tower #3010766 |
| 15000948 | Verizon Wireless | 7 | 4431- 38- 78 | Tower Base 2 (#13021) |
| 15000949 | Cingular Wireless LLC | 7 | 4431- 38- 78 | TWR #6180 (7541 FM 116) |
| 15000950 | Nextel Partners Inc. | 7 | 4431- 38- 78 | Tower Base 4 |
| 15006659 | EMBARQ | 7 | 4431- 38- 78 | Carrier (Wright) |
| 15000979 | Crown Communications Inc. | 7 | 4431- 86- 35 | TWR-PDCK BS 1 BU#804172 |
| 15000980 | T-Mobile West Corporation | 7 | 4431- 86- 35 | TWR Site# TK01351D (Pidcoke Base 2) |
| 109751 | Facilities Engineering | 7 | 4431- 86- 49 | Radio Tower |
| 136580 | EMBARQ | 7 | 4431- 15- 3 KCR | Slater Carr Site & YL |
| 14784916 | EMBARQ | 7 | 4431- 35- 69 SRV | Carrier & YL Vista |
| 134148 | Sunoco Logistics | 7 | 4431- 39- 68 SRV | Rect 1464 Cath. |
| 109868 | EMBARQ | 7 | 4431- 79- 73 PID | Pidcodke Tele Carrier |
| 113985 | Kempner Water Supply Corp | 7 | 4437- 55- 44 2-2 | Pump - N E Tank |
| 15004488 | Kempner Water Supply Corp | 7 | 4437- 36- 96 OSP | Pump & YL |
| 15001518 | J. D. Loertcher | 7 | 4443- 17- 79 SKV | Converter 3101 Colorado #0000079721 |
| 15001654 | J. D. Loertcher | 7 | 4443- 66- 88 SKV | Converter - SKV #0000079721 |
| 15006132 | J. D. Loertcher | 7 | 4443- 34- 49 SKV2 | Converter ( 3649 Big Divide ) |

HCEC Communications Plan

Communications – Contacting Media (TV, Radio, Newspaper)

- During an extended outage period, the Nitche Group, our insurance provider, will be responsible for contacting the various media outlets that serve our service area. They will be responsible for conveying the following information to the various media outlets:

- The reason for the outage.

- The extent of our service area affected by the outage.

- The estimated time of recovery for the affected area.

Communications – Telephone System

- HCEC’s telephone system is manned by cooperative personnel during normal business hours. HCEC personnel are instructed to activate forwarding of all received calls to dispatchers for after hours and weekend calls.

Communications – Critical Accounts (Consumer & Commercial/Business Customers)

- Critical consumer accounts will be handled according to the Critical Accounts Setup and Contact Procedures.

- Most critical commercial accounts already have some sort of monitoring system in place for unmanned locations. HCEC will make all reasonable efforts to inform critical commercial customers as to the cause of the outage and the estimated recovery time.

Communications – Complaints by Consumers & Commercial/Business Customers

- All personnel working with consumers on the extended outage will be informed by the service department, engineering, or line superintendent as to the nature of the outage and when to expect restoration of service. If the consumer is not satisfied with the response, the call will be redirected to the member service representative or management.

TV Station Contact List (includes stations broadcast as local on DSS)

|  | Station Address | URL | E-Mail | Phone | Fax |
| --- | --- | --- | --- | --- | --- |
| Local Stations: |  |  |  |  |  |
| KWTX Digital 10 | 6700 American Plaza Waco, TX 76702 | http://www.kwtx.com | news@kwtx.com | (254) 776-1330 News Tip: (254) 776-3242 or (800) 749-5957 | (254) 751-1088 |
| KCEN Digital 6.1 MYTX Digital 6.2 | P.O. Box 6103 Temple, TX 76503 | http://www.centraltexasnow.com | news@kcentv.com | (254) 859-5481 |  |
| KXXV Ch 26 Digital Ch 25.1 ABC Ch 25.2 Telemundo Ch 25.3 Weather | P.O. Box 2522 Waco, TX 76702 | http://www.kxxv.com | ideas@kxxv.com {Use website to submit story suggestions.} | (254) 754-2525 Tip Line: (254) 757-2525 |  |
| KWKT Ch 44 | P.O. Box 2544 Waco, TX 76712 | http://www.kwkt.com | http://www.kwkt.com/info/contact | (254) 776-3844 | (254) 388-5958 |
| KNCT Ch 46.1 PBS Ch 46.2 Pentagon CH 46.3 Create TV | Central Texas College P.O. Box 1800 Killeen, TX 76540-1800 | http://www.knct.org | knct@knct.org | (254) 526-1176 | (254) 526-1850 |
| Austin Stations: |  |  |  |  |  |
| KTBC Ch 7 | KTBC Fox 7 119 E. 10th Street Austin, TX 78701 | http://myfoxaustin.com | news@fox7.com | (512) 476-7777 News Hotline: (512) 472-0988 | (512) 495-7001 News Fax: (512) 495-7060 |
| KLRU Ch 22 Ch18.1 PBS 18.2 Create TV 18.3 KLRU-Q | KLRU-TV, Austin PBS P.O. Box 7158 Austin, TX 78713-7158 2504-B Whitis Ave Austin, TX 78712 | http://www.klru.org | info@klru.org | (512) 471-4811 After Hours Trouble: (512) 475-9068 | (512) 475-9090 |
| KVUE Ch 33 Digital Ch 24.1 ABC Ch 24.2 Estrella TV CH 24.3 Weather | 3201 Steck Avenue Austin, TX 78757 | http://www.kvue.com | news@kvue.com or Can use website to submit story information. | (512) 459-6521 News Hotline: (512) 459-9442 | Newsroom Fax: (512)533-2233 |
| KXAN-TV Ch 21 Digital Ch 36.1 NBC KXAM Ch 14 | KXAN Austin News 908 W Martin Luther King Jr. Blvd. Austin, TX 78701 | http://www.kxan.com | news36@kxan.com Or can use Contact Us on website to submit information | (512) 476-3636 News Tips: (512) 703-5300 | Fax: (512) 476-1520 |
| KEYE-TV Ch 43 Digital Ch 42.1 CBS Ch 42.2 Telemundo <SpL> | 10700 Metric Blvd. Austin, TX 78758 | http://www.keyetv.com | Can use website to contact them, no reference to an email address. Probably safer to phone or fax. | Main: (512) 835-0042 News Hotline: (512) 835-0355 (800) 563-9742 | Main: (512) 837-6753 News Fax: (512) 490-2111 |
| KNVA Ch 49 Digital Ch 54.1 The CW Ch 54.2 theCoolTV |  |  | News is re-broadcast of KXAN-TVs broadcast. These are shown throughout the day. |  |  |
| KAKW-TV Ch 13 Digital Ch 62 Univision <SpL> |  | http://univisionaustin.univision.com |  |  |  |
| Dallas/Ft. Worth: |  |  |  |  |  |
| KDTN Ch 43 Digital CH 2 | Daystar Television Network 3901 Hwy 121 Bedford, Tx 76021 | http://www.daystar.com Note: This is an international religious broadcasting network. May not do informational broadcast for disasters. |  | (817) 571-1229 | (817) 571-7458 |
| KDWF Ch 35 Digital Ch 4 | KDWF Fox 4 400 N. Griffin St. Dallas, TX 75202 | http://www.myfoxdfw.com | Use Website under Contact Us to submit new story | Main: (214) 720-4444 Tip Line: (214) 720-3155 (800) 677-5339 | Newsroom Fax: (214) 720-3263 (214) 720-3333 |
| KXAS-TV Ch 41 Digital Ch 5.1 NBC Ch 5.2 NBC Plus Ch 5.3 Sports | P.O. Box 1780 Ft. Worth, TX 76101-1780 | http://nbcdfw.com | http://www.nbcdfw.com/contact-us/ Or tips@nbcdfw.com | Main: (800) 232-5927 News Hotline: (800) 654-5927 | Main: (817) 654-6325 |
| WFAA-TV Ch 8 Digital Ch 8.1 ABC Ch 8.2 News 8 Ch 8.3 Live Well | 606 Young St. Dallas, TX 75202 | http://www.wfaa.com | http://www.wfaa.com/on-tv/contact Or feedback@wfaa.com | (214) 748-9631 |  |
| KTVT Ch 11 Digital Ch 11 KTVT KTXA Ch 18 Digital Ch 21.1 KTXA | 5233 Bridge St. Fort Worth, TX 76103 Dallas Office: 10111 N. Central Expressway Dallas, TX 75231 | http://www.cbs11tv.com | news@ktvt.com | Main: (817) 451-1111 News Tips: (817) 496-7711 |  |
| KERA Ch 14 Digital Ch 13.1 PBS Ch 13.2 World | 300 Harry Hines Boulevard Dallas, TX 75201 | http://www.kera.org | Feed Back form available on website. Would probably be better to call station if used for information dispersion | (214) 871-1390 Metro: (972) 263-3151 | (214) 754-0635 |
| KUNV-TV Ch 23 Digital Ch 23.1 Univision <SpL> | Univision 23 y Telefutura 49 se encuentran localizados en el 2323 Bryan Street Suite 1900, Dallas, TX 75201 | http://univisiondallas.univision.com | noticias23dfw@univision.net | (214) 758-2340 |  |
| KDFI Ch 36 Digital Ch 27.1 KDFI | KDFW/FOX4 400 N. Griffin St. Dallas, Tx 75202 | http://www.watchmy27.com Owned by KDFW Ch 4 | Feed Back form available on website. Would probably be better to call station if used for information dispersion |  |  |
| KMPX Ch 30 Digital Ch 29.1 Estrella TV <SpL> Ch 29.2 Inmigrante <SpL> | 4201 Pool Road Colleyville, Tx 76034 | http://www.kmpx29.tv | KMPXinfo@kmpx29.tv | (817) 868-2900 |  |
| KDAF- Ch 32 Digital Ch 33.1 The CW Ch 33.2 Antenna TV Ch 33.3 This TV | The 33 8001 John W. Carpenter Freeway Dallas, TX 75247 | http://www.the33tv.com | cw33news@tribune.com | Main: (214) 252-9233 Newsroom: (214) 252-3333 | Newsroom Fax: (214) 252-3379 |
| KXTX-TV Ch 40 Digital Ch 39.1 Telemundo <SpL> Ch 39.2 Inmigrante |  |  |  |  |  |
| KTAQ Ch 47 | P.O. Box 224297 Dallas, Tx 75222-4297 | http://www.mikesimons.com Promiseland Television Network [Station is in Bankruptcy] | Wikipedia reports this station as shut down. | (800) 717-0765 |  |
| KSTR-TV Ch 48 Digital Ch 49.1 TeleFutura <SpL> Ch 49.2 TeleFutura <SpL> |  | http://www.univision.com |  |  |  |
| KFWD Ch 9 Digital Ch 52.1 |  | http://www.kfwd.tv |  |  |  |
| KLDT Ch 39 Digital Ch 54.1 |  |  |  |  |  |
| KDTX-TV Ch 45 Digital Ch 58.1 TBN Ch 58.2 Church Ch. Ch 58.3 JCTV Ch 58.4 Enlace USA <SpL> Ch 58.5 Smile | KDTX-DT 45 2823 W Irving Blvd Irving, TX 75061 | http://www.tbn.org | Manager: Steve Fjordbak | (972) 313-1333 |  |
| KPXD-TV Ch 42 Digital Ch 68.1 KPXD Ch 68.2 Qubo Ch 68.3 ION life |  | http://www.iontelevision.com | Feed Back form available on website. Would probably be better to call station if used for information dispersion | (888) 467-2988 Viewer Hotline |  |

Newspaper Contact List

| Name | Website | Address | Phone |
| --- | --- | --- | --- |
| Publisher/Publishing Company |  | E-Mail | Fax |
| Austin |  |  |  |
| Austin American Statesman | http://www.statesman.com Also http://www.austin360.com | P.O. Box 670 Austin, TX 78767 Physical Address: 305 S. Congress Ave. Austin, TX 78704 (See Website For Email) | Editor: Fred Zipp (512) 912-2983 Managing Editor: Debbie Hiott (512) 445-3851 |
| Austin Chronicle | http://www.austinchronicle.com | P.O. Box 49066 Austin, TX 78765 | (512) 454-5766 |
|  |  | Submission via Contact Us page on website | (512) 458-6910 |
| Brownwood |  |  |  |
| Brownwood Bulletin | http://www.brownwoodbulletin.com | 700 Carnegie Brownwood, TX 76801 | (325) 646-2541 |
|  |  | news@brownwoodbulletin.com | (325) 646-6835 |
| Copperas Cove |  |  |  |
| The Leader Press | http://www.coveleaderpress.com | P.O. Box 370 Copperas Cove, TX 76522 (See Website For Email) | (254) 547-4207 |
|  |  |  | (254) 542-3299 |
| Dallas |  |  |  |
| The Dallas Morning News | http://www.dallasnews.com | 508 Young St. Dallas, Tx 75202 | (214) 977-8222 |
|  |  | Use Website for story submission |  |
| Ft. Worth |  |  |  |
| Ft. Worth Star-Telegram | http://www.star-telegram.com | Mailing: P.O. Box 1870 Fort Worth, Tx 76101 Physical: 400 W. Seventh St. Fort Worth, Tx 76101 | Ft. Worth Office: (817) 390-7761 |
| Gatesville |  |  |  |
| The Gatesville Messenger & Star Forum | http://www.gatesvillemessenger.com | 116 S. 6th P.O. Box 799 Gatesville, TX 76528-2052 | (254) 865-5212 |
| Marshall Day publisher@gatesvillemessenger.com |  | Larry Kennedy editor@gatesvillemessenger.com | (254) 865-2361 |
| Goldthwaite |  |  |  |
| Goldthwaite Eagle | http://www.goldthwaiteeagle.com | 1002 Fisher P.O. Box 249 Goldthwaite, TX 76844 | 325-648-2244 or (800) 254-2680 |
|  | Hours: 8am to 5pm – Monday - Friday | goldnews@centex.net | (325) 648- 2024 |
| Granbury |  |  |  |
| Hood County News | http://www.hcnews.com | 1501 S. Morgan P.O. Box 879 Granbury, TX 76048 | (817) 573-7066 |
|  |  |  | (817) 279-8371 |
| Hamilton |  |  |  |
| Hamilton Herald-News | http://www.thehamiltonherald-news.com | P.O. Box 833 Hamilton, TX 76531-0833 | (254) 386-3145 |
|  |  | Kenneth Miller, Editor kmiller@hearld-news.com | (254) 386-3001 |
| Killeen |  |  |  |
| Killeen Daily Herald | http://www.kdhnews.com | P.O. Box 1300 Killeen, TX 76540-1300 | (254) 634-2125 |
| Cove Herald | http://www.kdhnews.com/copperascove | Cove Terrace, Suite 102 Copperas Cove, Tx 76522 | (254) 501-7470 |
| Fort Hood Herald | http://www.kdhnews.com/forthood | P.O. Box 1300 Killeen, TX 76540-1300 | (254) 501-7499 |
| Lampasas |  |  |  |
| Lampasas Dispatch Record | http://www.lampasasdispatchrecord.com | P.O. Box 631 Lampasas, TX 76550-0631 | (512) 556-6262 |
|  |  | news@lampasasdispatchrecord.com |  |
| Llano |  |  |  |
| The Llano News | http://www.llanonews.com | P.O. Box 187 Llano, TX 78643 | (325) 247-4433 |
|  |  | thenews@verizon.net | (325) 247-3338 |
| Round Rock |  |  |  |
| Round Rock Leader | http://www.rrleader.com |  | (512) 255-5827 |
| San Saba |  |  |  |
| San Saba News & Star | http://www.sansabanews.com | 505 E. Wallace St. P.O. Box 815 San Saba, TX 76877 | (325) 372-5115 |
|  |  | sabanews@centex.net | (325) 372-3973 |
| Stephenville |  |  |  |
| Stephenville Empire-Tribune | http://www.empiretribune.com | 590 E. South Loop P.O. Box 958 Stephenville, TX 76401 | (254) 965-3124 |
|  |  |  | (254) 965-4269 |
| Temple |  |  |  |
| Temple Daily Telegram | http://www.tdtnews.com | P.O. Box 6114 Temple, TX 76503 | 254-778-4444 |
|  |  | Use http://www.tdtnews.com/contact/ to submit article via e-mail |  |
| Waco |  |  |  |
| Waco Tribune-Herald | http://www.wacotrib.com | Physical: 900 Franklin Ave. Waco, TX 76701 Mailing: P.O. Box 2588 Waco, TX 76702-2588 | (800) 678-8742 News: (254) 757-5701 |
|  |  | http://www.wacotrib.com/services/submit_news/ To submit article via e-mail” news@wacotrib.com | News Fax: (254) 757-0302 |

Radio Station Contact List

| Call Letters | URL / Station Address | Phone | News E-Mail |
| --- | --- | --- | --- |
| Arlington |  |  |  |
| KLTY FM 94.9 | http://www.klty.com 94.9 FM KLTY 6400 Belt Line Rd Suite 120 Irving, TX 75063 | (972) 870-9949 [Driect] |  |
| Austin |  |  |  |
| KASE FM 101 Austin, TX | http://www.kase101.com KASE 101 3601 South Congress Avenue Building F Austin, TX 78704 | (512) 684-7300 [Business] |  |
| KAZI FM 88.7 Austin, TX | http://www.kazifm.org KAZI 88.7FM 8906 Wall Street STE 203 Austin, TX 78754-4541 | (512) 836-9544 [Office] (512) 836-9563 [Fax] |  |
| KFON AM 1490 Austin, TX | http://lapalabra1490.com La Palabra 1490AM 6633 Hey. 290 East Suite 302 Austin, TX 78723 | (512) 637-9300 |  |
| KKMJ FM 95.5 Austin, TX | http://www.majic.com KKMJ-FM 4301 Westbank Dr. Escalade B, 3rd Floor Austin, TX 78746 | (512) 327-9595 |  |
| KLBJ AM 590 Austin, TX | http://www.590klbj.com News Radio 590 KLBJ 8309 North IH 35 Austin, TX 78753 | (877) 590-5525 [Main?] (512) 832-4027 [News] | newsroom@emmisausitn.com |
| KLBJ FM 93.7 Austin, TX | http://www.klbjfm.com 93.7 KLBJ 8309 N IH-35 Austin, TX 78753 | (512) 832-4000 |  |
| KMFA FM 89.5 Austin, TX | http://www.kmfa.org Classical 89.5 KMFA 3001 N. Lamar Suite 100 Austin, TX 78705 | (512) 476-5632 [Main] (512) 474-7463 [Fax] (866) 472-2221 [Toll Fre] After Hours Emergency: (512) 705-6722 (512) 669-6126 | Public Service Announcement: psa@kmfa.org |
| KPEZ FM 102.3 Austin, TX | http://www.thebeatatx.com KPEZ-FM 3601 South Congress Avenue Building F Austin, TX 78704 | (512) 684-7300 [Business] |  |
| KROX FM 101.5 Austin, TX | http://www.krox.com KROX 8309 North IH 35 Austin, TX 78753 | (512) 832-4000 [Business] |  |
| KUT FM 90.5 Austin, TX | http://www.kut.org KUT Radio University of Texas at Austin 1 University Station A0704 Austin, TX 78712 | (512) 471-1631 [Main] (512) 471-3700 [Fax] (512)232-5441 [News Fax] | edonahue@kut.org |
| KVET AM 1300 Austin, TX | http://am1300thezone.com KVET-AM 3601 South Congress Avenue Building F Austin, TX 78704 | (512) 684-7300 [Business] |  |
| KVET FM 98.1 Austin, TX | http://www.kvet.com KVET 3601 South Congress Avenue Building F Austin, TX 78704 | (512) 684-7300 [Business] |  |
| KVRX FM 91.7 Austin, TX | http://www.kvrx.org KVRX Student Radio C/O UT P.O. Box D Austin, TX 78713-7209 | (512) 471-5106 [Business] |  |
| Belton |  |  |  |
| KOOC FM 106.3 Belton, TX | http://www.myb106.com MYB106 608 Moody LN Temple, TX 76504 | (877) 477-1063 |  |
| Brownwood |  |  |  |
| KBUB FM 90.3 Brownwood, TX | KBUB-FM P.O. Box 1522 901 CC Woodson RD Brownwood, TX 76804 | (915) 646-3364 |  |
| KBWD AM 1380 Brownwood, TX | {See KOXE} |  |  |
| KHBW FM 91.7 Brownwood, TX | KHBW 1000 Fisk Ave Brownwood, TX 76801 |  |  |
| KOXE FM 101.3 AM 1380 Brownwood, TX | http://www.koxe.com KOXE 300 Carnegie Brownwood, TX 76801 | (325) 646-3505 | webmaster@koxe.com |
| KPBE FM 89.3 Brownwood, TX | KPBE P.O. Box 252 McAllen, TX 78505 | (956) 686-6382 [Business] (956) 686-2999 [Fax] |  |
| KPSM FM 99.3 Brownwood, TX | http://www.kpsm.net KPSM 910 CC Woodson RD Brownwood, TX 76801 | (325) 646-5993 (325) 643-9772 [Fax] | kpsm@gmail.com |
| KQBZ FM 96.9 Brownwood, TX | http://www.wendleebroadcasting.com/KQBZ.htm Wendlee Broadcasting 600 Fisk St. Brownwood, TX 76801 | (325) 646-3535 [Main Office] (325) 646-5347 [Fax] (325) 643-5477 [Studio] | Breeze@wendlee.com |
| KSTA AM 1000 Brownwood, TX | http://www.wendleebroadcasting.com/KSTA.htm Wendlee Broadcasting 600 Fisk St. Brownwood, TX 76801 | (325) 646-3535 [Main Office] (325) 646-5347 [Fax] (325) 625-4188 [Studio] | KSTA1000@gmail.com |
| KXYL FM 102.3 AM 1240 Brownwood, TX | http://www.wendleebroadcasting.com/KXYL.htm Wendlee Broadcasting 600 Fist St. Brownwood, TX 76801 | (325) 646-3535 [Main Office] (325) 646-5347 [Fax] (325) 646-1055 [Studio] | NewsTalk@wendlee.com |
| Burnet |  |  |  |
| KBEY FM 92.5 Burnet, TX KRHC AM 1340 Burnet, TX | http://www.radiohillcountry.com KBEY FM/KRHC AM Radio 5526 N US HWY 281 Marble Falls, TX 78654 | (830) 693-5551 (830) 693-5107 [Fax] |  |
| Cedar Park |  |  |  |
| KGSR FM 93.3 Cedar Park, TX | http://www.kgsr.com KGSR 8309 N IH 35 Austin, TX 78753 | (512) 832-4000 [Business] |  |
| Comanche |  |  |  |
| KCOM AM 1550 Comanche, TX KYOX FM 94.3 Comanche, TX | http://www.kyoxfm.com Cherry Creek Radio, LLC 218 N. Austin St. Comanche, TX 76442 | (325) 356-3090 [KYOX] (325) 356-2558 [KCOM] (325) 356-3120 [Fax] | kyox@comanchetx.com kcom@comanchetx.com |
| Copperas Cove |  |  |  |
| KSSM FM 103.1 Copperas Cove, TX | http://www.mykiss1031.com KSSM 108 E. Avenue E. Copperas Cove, TX 76522 | (254) 547-8889 [Business] (254) 547-2394 [Fax] |  |
| Dallas |  |  |  |
| KAAM AM 770 Dallas, TX | http://www.kaamradio.com | (972) 445-1700 [Business] |  |
| KBFB FM 97.9 Dallas, TX | http://www.thebeatdfw.com Radio One Dallas KBFB-97.9 The Beat 13331 Preston Rd Suite 1180 Dallas, TX 75240 | (972) 331-5400 [Main] (972) 331-5560 [Fax] |  |
| KCBI FM 90.9 Dallas, TX | http://www.kcbi.org KCBI 411 Ryan Plaza Drive Arlington, TX 76011 | (817) 792-3800 [Business] (817) 299-4298 [Fax] |  |
| KDBN FM 93.3 Dallas, TX | http://www.i93hits.com Cumulus Radio Dallas KLIF-FM 3500 Maple Avenue Suite 1310 Dallas, TX 75219 | (214) 526-7400 [Business] (214) 525-2525 [Fax] |  |
| KDMX FM 102.9 Dallas, TX | http://www.mix1029.com KDMX-FM Mix 102.9 Clear Channel Radio 14001 North Dallas Parkway Suite 300 Dallas, TX 75240 | (214) 866-8000 [Business] |  |
| KERA FM 90.1 Dallas, TX | http://www.kera.org/radio KERA 3000 Harry Hines Boulevard Dallas, TX 75201 | (214) 871-1390 [Business] (972) 263-3151 [Metro] (214) 754-0635 [Fax] Audience & Member Services: (214) 740-9272 (972) 263-3151, ext. 272 |  |
| KFXR AM 1190 Dallas, TX | http://www.dfw1190am.com |  |  |
| KGGR AM 1040 FM 102.5 Dallas, TX | http://www.kggram.com KGGR 5787 South Hampton Road Suite 285 Dallas, TX 75232 | (972) 572-5447 [Business] (214) 330-6133 [Fax] |  |
| KHKS FM 106.1 Dallas, TX | http://www.106kissfm.com KHKS-FM 106.1 KISS FM 14001 N. Dallas Parkway Suite 300 Dallas, TX 75240 | (214) 866-8000 [Business] (214) 866-8501 [Fax] |  |
| KJKK FM 100.3 Dallas, TX | http://www.jackontheweb.radio.com CBS Radio Dallas 4131 N Central Expressway Suite 1000 Dallas, TX 75204 | (214) 525-7000 [Business] |  |
| KKDA-FM FM 104.5 Dallas, TX | http://www.k104fm.com K104FM 621 NW 6th St. Grand Prairie, TX 75050 | (972) 647-5000 [Business] |  |
| KKXT FM 91.7 Dallas, TX | http://www.kxt.org |  |  |
| KLIF AM 570 Dallas, TX | http://www.klif.com Talk Radio 570 KLIF 3500 Maple Avenue 16th Floor Dallas, TX 75219 | (214) 526-2400 [Business] |  |
| KLUV FM 98.7 Dallas, TX | http://www.kluv.com KLUV 4131 North Central Expressway Suite 1000 Dallas, TX 75204 | (214) 525-7000 [Business] |  |
| KNIT AM 1480 Dallas, TX | KNIT-AM 3102 Oak Lawn Ave. Suite 215 Dallas, TX 75219 |  |  |
| KNON FM 89.3 Dallas, TX | http://www.knon.org KNON 89.3 FM 5353 Maple Ave Dallas, TX 75235 | (214) 828-9500 [Office] |  |
| KRLD AM 1080 FM 105.3 Dallas, TX | http://www.csbfw.com KRLD 4131 North Central Expressway Suite 500 Dallas, TX 75204 | (214) 525-7000 [Business] (214) 525-7473 [News Tips] |  |
| KSKY AM 660 Dallas, TX | http://www.ksky.com News/Talk 660 K-SKY 6400 N. Belt Line Rd. Suite# 110 Irving, TX 75063 | (214) 561-9673 [Business] |  |
| KTCK AM 1310 KTDK FM 104.1 Dallas, TX | http://www.theticket.com SportsRadio 1310 The Ticket 3500 Maple Avenue Suite 1310 Dallas, TX 75219 | (214) 526-7400 [Business] |  |
| KWRD FM 100.7 Dallas, TX | http://www.thewordfm.com John Peroyea 6400 N. Belt Line Rd. Suite# 110 Irving, TX 75063 | (214) 561-9673 [Business] |  |
| KZPS FM 92.5 Dallas, TX | http://www.lonestar925.com Lone Star 92.5 Clear Channel Radio 14001 North Dallas Parkway Suite 300 Dallas, TX 75240 | (214) 866-8000 [Business] |  |
| WRR FM 101.1 Dallas, TX | http://www.wrr101.com WRR Classical 101.1 FM 1516 First Ave Dallas, Tx 75210 | (214) 670-8888 [Business] (972) 263-9771 [Metro] (214) 670-8394 [Fax] |  |
| Dublin |  |  |  |
| KSTV-FM FM 93.1 Dublin, TX | http://www.kstvfm.com KSTV Radio P.O. Box 289 3209 W. Washington Stephenville, TX 76401 | (254) 968-2141 [Business] (254) 968-6221 [Fax] |  |
| Fort Worth |  |  |  |
| KDKR FM 91.3 Dallas, TX | http://www.kdkr.org KDKR Radio 5617 Diamond Oaks Drive South Ste. 200 Fort Worth, TX 76117 | (817) 831-9130 [Business] (877) 588-9130 [Toll Free] (888) 781-6007 [Fax] |  |
| KEGL FM 97.1 Fort Worth, TX | http://www.kegl.com KEGL-FM Clear Channel Radio 14001 North Dallas Parkway Suite 300 Dallas, TX 75240 | (214) 866-8000 [Business] |  |
| KFJZ AM 870 Fort Worth, TX | KFJZ-AM 2214 East 4th Street Fort Worth, TX 76102 | (817) 429-1630 [Business] (817) 338-1205 [Fax] |  |
| KFLC AM 1270 Fort Worth, TX | KFLC-AM 3102 Oak Lawn Avenue Suite 215 Dallas, Tx 75219 |  |  |
| KHVN AM 970 Fort Worth, TX | http://www.khvnam.com KHVN 5787 S. Hampton Suite 258 Dallas, TX 75232 | (214) 331-5486 [Business] (214) 331-1908 [Fax] |  |
| KNLO FM 94.1 Fort Worth, TX | http://laquebuena941.univision.com KLNO 7700 John Carpenter Freeway Dallas, TX 75247 | (214) 525-0400 [Business] (214) 631-1196 [Fax] |  |
| KMVK FM 107.5 Fort Worth, TX | http://mega1075.radio.com CBS Radio Dallas 4131 N. Central Expressway Suite 1000 Dallas, TX 75204 | (214) 525-7000 [Business] |  |
| KPLX FM 99.5 Fort Worth, TX | http://www.995thewolf.com 99.5 The Wolf 3500 Maple Avenue Suite 1600 Dallas, TX 75219 | (214) 526-2400 [Business] |  |
| KSCS FM96.3 Fort Worth, TX | http://www.kscs.com 96.3 KSCS – The Texas Original 2221 East Lamar Blvd. Suite 300 Arlington, TX 76006 | (817) 640-1963 [Business] |  |
| KTCU FM 88.7 Fort Worth, TX | http://www.ktcu.net KTCU FM 88.7 Radio Station TCU Box 298020 Fort Worth, TX 76129 | (817) 257-7631 [Listner Line] | ktcu@tcu.edu |
| WBAP AM 820 FM 96.7 Fort Worth, TX | http://www.wbap.com WBAP News/Talk 820 & 96.7 FM 2221 East Lamar Blvd. Suite 300 Arlington, TX 76006 | (817) 695-1820 [Business] (817) 429-6397 [News Tips] |  |
| KDGE FM 102.1 Fort Worth, TX | http://www.kdge.com 102.1 The Edge – KDGE 14001 North Dallas Parkway Suite 300 Dallas, TX 75240 | (214) 866-8000 [Business] |  |
| KKGM AM 1630 Fort Worth, TX | http://www.kkgmam.com KKGM 5787 S. Hampton RD Dallas, TX 75232 | (214) 337-5700 [Business] (214) 337-5707 [Fax] |  |
| Georgetown |  |  |  |
| KHFI FM 96.7 Georgetown, TX | http://www.967kissfm.com KHFI-FM 3601 South Congress Avenue Building F Austin, TX 78704 | (512) 684-7300 [Business] |  |
| KLJA FM 107.7 Georgetown, TX | http://lajefa1077.univision.com La Jefa 107.1 57 West South Temple Suite 700 Salt Lake City, UT 84101 |  |  |
| Glen Rose |  |  |  |
| KTFW FM 92.1 Glen Rose, TX KFWR FM 95.9 Granbury, TX | http://www.ilove921.com Ft. Worth Office: 92.1 KTFW 115 West 3rd. Fort Worth, TX 76102 Granbury Office: 92.1 KTFW 403 Temple Hall Hwy Suite 8 Granbury, TX 76048 | Ft. Worth Office: (817) 332-0959 [Business] (817) 348-8373 [Fax] Granbury Office: (817) 573-9339 [Business] (817) 579-1248 [Fax] |  |
| KPIR AM 1420 Granbury, TX | http://www.kpir.com KPIR 1420AM 1620 Weatherford Hwy Grandbury, TX 76048 | (817) 736-0360 [Business] (817) 736-0344 [Fax] | *Web Site* |
| Hamilton |  |  |  |
| KCLW AM 900 Hamilton, TX | http://www.kclw.com KCLW P.O. Box 631 Hamilton, TX 76531 | (254) 386-8804 [Business] (254) 386-8804 [Fax] |  |
| Harker Heights |  |  |  |
| KLFX FM 107.3 Harker Heights, TX | http://www.1073rocks.com 107.3 The Fox 100 West Central Expressway Harker Heights, TX 76348 | (254) 699-5000 [Business] (254) 680-4212 [Fax] |  |
| KUSJ FM 105.5 Harker Heights, TX | http://www.myus105.com My US 105 Moody & Salsbury Temple, TX | (877) 447-1055 [Studio] | kusj@cumulus.com |
| Highland Park – Dallas |  |  |  |
| KVCE AM 1160 Highland Park, TX | http://www.kvceradio.com KVCE Radio 222 W. Las Colinas Blvd. Suite 1650 Irving, TX 75039 | (281) 588-4800 [Business] |  |
| KVIL FM 103.7 Highland Park – Dallas, TX | http://1037litefm.radio.com CBS Radio Dallas 4131 N. Central Expressway Suite 1000 Dallas, TX 75204 | (214) 525-7000 [Business] |  |
| Hillsboro |  |  |  |
| KBRQ FM 102.5 Hillsboro, TX | http://www.1025thebear.com | (254) 776-3900 [Business] (254) 399-8134 [Fax] | thebear@clearchannel.com |
| KHBR AM 1560 Hillsboro, TX | http://www.khbrhillsboro.com |  |  |
| Kempner |  |  |  |
| KHLE FM 106.9 Kempner, TX | http://www.piratefmonline.com | (254) 833-5855 [Business] (254) 833-8844 [Fax] | laura@radiohillcountry.com |
| Killeen |  |  |  |
| KIIZ FM 92.3 Harker Heights, TX | http://www.kiiz.com KIIZ 100 West Central Expressway Harker Heights, TX 76548 | (254) 699-5000 [Business] (254) 399-8134 [Fax] |  |
| KNCT FM 91.3 Killeen, TX | http://www.knct.org KNCT-FM Central Texas College P.O. Box 1800 Killeen, TX 76540-1800 | (254) 526-1176 [Business] (254) 526-1850 [Fax] | knct@knct.org |
| KRMY AM 1050 Killeen, TX | http://www.krmyradio.com KRMY-AM 1050 Radio The Light! 314 N. 2nd Street Killeen, TX 76541 | (254) 628-7070 [Business] (254) 634-5263 [Fax] |  |
| Lampasas |  |  |  |
| KCYL FM 101.9 AM 1450 Lampasas, TX | http://www.lampasasradio.com Lampasas Radio 505 N. Key Ave. Lampasas, TX 76550 | (512) 556-6193 [Business] (512) 556-2197 [Fax] |  |
| Leander |  |  |  |
| KXBT FM 98.9 Leander, TX | http://www.989bigtalker.com Border Media Radio Austin 912 S. Capital of Texas Hwy. Suite 400 Austin, Tx 78746 | (512) 416-1100 [Business] |  |
| Llano |  |  |  |
| KAJZ FM 96.3 Llano, TX | http://www.smoothjazznow.com |  | home@smoothjazznow.com |
| KITY FM 102.9 Llano, TX | http://www.kityradio.com KITY FM 719 Ford Street Suite 200 Llano, TX 78643 | (325) 247-4539 [Business] | Info@kityradio.com |
| Lometa |  |  |  |
| KACQ FM 101.9 Lometa, TX | {See Lampasas} |  |  |
| KBAL FM 106.1 AM 1410 San Saba, TX | http://www.kbalfm.com | (325) 372-5225 (325) 372-5224 REQ. (325) 372-3817 FAX | kbal@kbalfm.com |
| Round Rock |  |  |  |
| KFMK FM 105.9 Round Rock, TX | http://www.spirit1059.com Spirit 105.9 3600 N Capital of Texas Hwy Suite A200 Austin, TX 78746 | Tim McCoy General Manager (512) 541-0632 [Direct] | info@spirit1059.com |
| KNLE FM 88.1 Round Rock, TX | http://www.candle88.com |  |  |
| San Saba |  |  |  |
| KBAL FM 106.1 San Saba, TX | http://www.kbalfm.com | (915) 372-5225 [Business] |  |
| KNVR AM 1410 San Saba, TX | http://www.kbalradio.com |  |  |
| Stephenville |  |  |  |
| KEQX FM 89.7 Stephenville, TX | http://www.keqxpurecountry.com | (254) 445-2473 [Business] (254) 445-2764 [Fax] |  |
| KQXS FM 89.1 Stephenville, TX | KQXS 206 Wiggs Lane Weatherford, TX 76086 |  |  |
| KSTV FM 93.1 AM 1510 Stephenville, TX | http://www.kstvfm.com KSTV Radio P.O. Box 289 3209 W. Washington Stephenville, TX 76401 | (254) 968-2141 [Business] (254) 968-6221 [Fax] |  |
| Temple |  |  |  |
| KBDE FM 89.9 Temple, TX | http://www.afa.net/radio/ American Family Association P.O. Box 3206 Tupelo, MS 38803 |  |  |
| KLTD FM 101.7 Temple, TX | http://www.1017theticket.com | (866) 501-1017 [Studio] |  |
| KTEM AM 1400 Temple, TX | http://www.myktem.com | (866) 597-1400 [Studio] |  |
| KVLT FM 88.5 Temple, TX | http://www.klov.com K-LOVE P.O. Box 2098 Omaha, NE 68103-2098 | (800) 525-5683 [General Line] |  |
| Waco |  |  |  |
| KBCT FM 94.5 Waco, TX | http://www.kbct.com http://94.5infofm.com KBCT FM 4701 West Waco Drive Waco, TX 76710 | (254) 399-9450 [Business] | info@kbct.com |
| KBGO FM 95.7 Waco, TX | http://www.kbgo.com KBGO 314 W. State HWY 6 Waco, Tx 76712 | (254) 776-3900 [Business] (254) 399-8134 [Fax] |  |
| KRZI AM 1660 Waco, TX | http://www.1660espn.com 1660 ESPN 5501 Bagby Waco, TX 76711 | (254) 772-0930 [Business] |  |
| KWBU FM 103.3 Waco, TX | http://www.kwbu.org KWBU One Bear Place #97296 Waco, TX 76798-7296 | (254) 710-3426 [Business] |  |
| KVLW FM 88.1 Waco, TX | http://www.klove.com | (800) 525-5683 [General Info.] |  |
| KWTX FM 97.5 AM 1230 Waco, TX | http://www.975online.com http://www.newstalk1230.com KWTX 97.5 FM or KWTX 1230 AM 314 W. State HWY 6 Waco, TX 76712 | (254) 776-3900 [Business] (254) 399-8134 [Fax] |  |
| WACO FM 99.9 Waco, TX | http://www.waco100.com WACO 99.9 FM 314 W. State HWY 6 Waco, TX 76712 | (254) 776-3900 [Business] (254) 399-8134 [Fax] |  |
| KBBW AM 1010 Waco, TX | http://www.kbbw.com or http://www.facebook.com/pages/KBBW/152319517984 KBBW 1010 AM 1019 Washington Ave. Waco, TX 76701 | (800) 460-1010 [General] |  |

Planned Outages, Load Shedding and Restoration Priorities

Planned Outages

- HCEC will notify members via letter of planned outages scheduled in an area. The letter will inform the members of the date and the approximate time of the start of the planned outage and the expected duration of the outage. If there are any critical accounts (consumer or business) these members are also contacted via telephone before the outage.

Load Shedding

- If a supply grid overload occurs Brazos Electric Power Cooperative, Inc. will inform HCEC via phone and e-mail message that it is necessary to begin load shedding procedures. LCRA will inform HCEC via phone, text message or email that it is necessary to begin load shedding procedures.

- The line superintendent or engineer will either perform the load shedding procedure themselves or instruct service personnel. Cooperative personnel answering phones will be made aware of the situation as soon as possible.

Restoration Priority

- Outage restoration priority will be based on the following items:

- Availability of personnel and material to restore system operation.

- Priority critical consumer accounts without power.

- Priority business/infrastructure accounts without power.

- Location of crews in service area.

- Extent of outage affecting HCEC’s distribution system.

State Operations Center (SOC) Declared Event or Inquiry

- During a “SOC” declared event or inquiry the Cooperative shall provide updates on the status of operations, outages, and restoration efforts. Updates shall continue until all event-related outages are restored or until notified by commission staff that reporting by the Cooperative is no longer required.
Pandemic Mitigation Guidelines

- Pandemic is Declared

- Management and Supervisors meet to discuss plan of action

2.  Employee Education & Awareness

- Inform employees about how to prevent spreading the disease. Encourage employees to get vaccinated yearly for influenza and pneumonia.

- Place posters and send out e-mails to reinforce preventing spreading the disease from the CDC and other reputable sources.

- Inform employees to keep physical contact to a bare minimum or not at all. Building personnel will isolate to their own building. Crews and servicemen will also isolate from each other.

- Inform employees who are sick to stay home. If employees may have been exposed management will inform the employees and send them home for the required time to determine if they develop symptoms. Employees will communicate with their supervisor if they experience any symptoms.

- Consider taking temperature of employees and vendors as they enter the building.

3.  Keeping Workspace Environment Clean

- Make sure that enough supplies of hand sanitizer and disinfecting wipes are on hand.

- Clean and disinfect touch points such as doorknobs, counters, light switches.

- Execute deep cleaning in any areas where an infected employee has been.

4.  Members and Vendor contact

- Close main lobby to limit contact between Members and employees.

- Limit the number of nonessential visitors.

- Inquire the health status from any visitors that might access the building as to if they are having symptoms of the disease.

5.  Work-From-Home and Meetings

- Use teleconferencing/videoconferencing as to in person meetings.

- Discontinue nonessential travel for meetings/events. Inquire if an employee has been to an affected area recently.

- Work-from-home will be at the discretion of management based on job function.

6.  Workplace Continuity

- Use staggered work schedules as needed. This includes picking up material for crews and servicemen from the warehouses.

- Workplace duties may need to be reassigned/distributed if an employee becomes sick or is absent and cannot perform their job function.

Severe Weather and Wildfire Guidelines

General Actions

This section of HCEC’s EOP will describe the general actions that HCEC will take to ensure that it identifies potentially significant cold or hot weather events. This will also include making sure that adequate staffing and materials are available should the situation require it. The Cooperative will make every effort to make sure that it has completed this in advance of an approaching event through proactive planning so that it can deal with the operating challenges and initial response to any event in an efficient manner.

Identification and Communication of Sever Weather Events

HCEC’s Engineering Manager and Line Superintendent keep track of weather events that can affect the Cooperative via messages sent from ERCOT, Brazos, and Various other weather services (NWS, Local TV stations).

These alerts allow for an early identification of weather events that could be of significant to the Cooperative for emergency planning in the event this Emergency Operation Plan (EOP) needs to be implemented. The decision to implement the EOP will be based on the conditions or combinations of conditions that may threaten the Cooperative ability to provide electric service to its members. The methods used for identification and communicating of severe weather events will be as follows:

- HCEC’s Engineering Manager or Line Superintendent shall inform Cooperative personnel of impending severe weather affecting the Cooperatives service area.

- HCEC’s Engineering Manager and/or Line Superintendent shall evaluate the available weather information and decide if the implementation of the EOP is justified for the situation. The following guidelines will be used to help determine this implementation:

- An event wither it be by environmental or weather that is judged to pose a threat to HCEC’s distribution system

- Severe weather such as lightning storms, thunderstorms, tornados, or ice/snow with/or high winds and flooding that have the potential to impact a large portion of HCECs service area.

- Hot weather conditions that are estimated to remain over an extended period of time with temperatures remaining above 103F which can effect components on HCEC’s distribution system. The main concerns in this condition(s) are forced outages due to equipment failures and/or overloading or rolling blackouts mandated by our power supplier, ECT.

- Wildfire and/or drought conditions in HCEC’s service area that could affect the system such as insulators coated in dust, evacuations due to water shortages in portions of the Cooperative’s service area, ECT.

- Cold weather conditions that are estimated to remain over an extended period of time with temperatures remaining below 20F in addition to wind chill which can effect components on HCEC’s distribution system. The main concerns in this condition(s) are galloping conductors, freezing on Cooperative distribution equipment, and rolling blackouts mandated by out power supplier, ECT.

- HCEC will assemble all available supervisors and other required personnel to implement the activation of the Server Weather and Wildfire Guidelines portion of the EOP. This will include preparation for the event and deciding on responses to the actions outlined as follows:

- The activation of the EOP will be communicated to appropriate personnel via phone, text, or e-mail. This will serve to raise the level of awareness and the need start preparation for a potential imminent event which will impact the operations of the Cooperative.

- Cooperative personnel will either prepare a potential list of responses or go off of responses covered in one of the Cooperatives disaster drills which may have impact on the current situation. All personal that will be required to deal with the event will be called into service. Supervisors and management will meet to discuss the most effective strategies and courses of action to deal with the impending situation(s).

- Should the need arise Cooperative management will be in contact with neighboring electrical distribution and/or transmission providers concerning coordinating a response to the impending situation(s). Cooperative personnel will conduct themselves in a professional manner when dealing with personnel from other electrical distribution and/or transmission providers.

- Cooperative personnel will strive to maintain situational awareness at all times during the duration of the event. Making sure key personnel are provided with the planned response actions and assigning personnel to be points-of-contact for coordination of the response actions.

- Cooperative personnel will also determine when the event conditions are past and Cooperative operations can return to normal, this may also involve communications with Brazos Electric depending on the conditions the Cooperative had. The Cooperative will then conduct an after event meeting to assess the Cooperatives response to the event and look for ways to improve the Cooperatives response and/or procedures for future events that may occur. Any policies or procedures that need to be updated or changed should be noted and action takes to update these as required.

Should the Cooperative have the need to communicate with the Public the Cooperative will use the communications guidelines laid out in the HCEC’s Communications Plan portion of the EOP. As of 5/27/2015 Cooperative personnel that have been designated for contact with our members or who will interact with local, state, or federal emergency management officials have not currently received Federal Emergency Management Agency (FEMA) National Incident Management Systems (NIMS) training, specifically IS-700.a, IS-800.b, IS-100.b, IS-200.b training. This will be rectified in the near future.

- Severe Storms

The following is a list of potential actions that may be implemented for severe storm threats such as thunderstorms, intense lightning storms, tornados, ice and show accompanied with high winds, or flooding conditions:

- Cancel any current maintenance activities on the Cooperative’s system unless such maintenance will help with the current weather situation.

- Notify all Cooperative personnel to prepare for extended working hours should the need arise.

- If determination of effected areas can be determined early enough, send personnel to the area to be effected before the storms impacts the service in these areas.

- If a tornado is reported in an area make sure personnel have gotten sufficient materials to deal with the damage of downed lines and poles.

- Ensure the generator at the Cooperative’s main office is filled with fuel incase the offices loose power for an extended period.

- Severely Cold Weather

The following is a list of potential actions that may be implemented for potentially severe cold weather conditions:

- Make sure there is sufficient personal available to make it into the office for answering phones and performing repair to the Cooperative’s distribution system.

- Notify all Cooperative personnel to prepare for extended working hours should the need arise.

- Cancel any current maintenance activities on the Cooperative’s system unless such maintenance will help with the current weather situation.

- Cancel any maintenance on computer or phone systems unless such maintenance is critical to keeping the Cooperative’s ability to communicate with consumers and other entities.

- Prepare for the implementation of other emergency procedures.

- Severely Hot Weather

The following is a list of potential actions that may be implemented for potential severe, hot weather conditions:

- Make sure there is sufficient personnel available to make it into the office for answering phones and performing repair to the Cooperatives’ distribution system.

- Cancel any current maintenance activities on the Cooperative’s system unless such maintenance will help with the current weather situation.

- Cancel any maintenance on computer or phone systems unless such maintenance is critical to keeping the Cooperative’s ability to communicate with consumers and other entities.

- Prepare for the implementation of other emergency procedures.

- Drought and Wildfire Threats

The following is a list of potential actions that may be implemented for drought and related wildfire conditions:

- Monitor Nations Weather Service (NWS) or other agencies for Red Flag Warnings. Identify any Cooperative equipment or facilities that may be impacted in the Wildfire threat area. Concerns include water shortages, threatened distribution equipment, contamination of insulators.

- Notify all personnel to prepare for possible extended working hours and placing crews close the areas that might be effected. Check all trucks and make sure there is a fuel card available for use and if not get a spare card.

- Determine if any OCRs or other equipment need to be opened up to minimize impact to the Cooperative’s system by isolation of the affected area from the distribution system.

- Prepare for crews and office personnel to be on-site for extended periods by making sure that essential items such as water, food, personal hygiene items, etc. are available. Make sure that arrangements have been made with local restaurants for outside personal in the field to get meals easily.

Materials/Suppliers Contact List

| Name | PH # | Contact | Address |
| --- | --- | --- | --- |
| TEC Materials | (325) 330 - 0185 | Mary Johnson Erwin | 100 Cooperative Way Georgetown, TX 78626 |
| TEC Poles | (325) 330 - 0185 | Mary Johnson Erwin | 100 Cooperative Way Georgetown, TX 78626 |
| TEC Transformers | (325) 330 - 0185 | Mary Johnson Erwin | 100 Cooperative Way Georgetown, TX 78626 |
| Techline | (855) 610 - 6030 |  | 9609 Beck Circle Austin, TX |
| Landis+Gyr | (888) 390-5733 | Kim Pohl | PO Box 1450 Minneapolis, MN 55488 |
| HD Supply | (800) 431 - 3000 |  | PO Box 840123 Dallas, TX 75284 |
| Irby | (210) 661 - 2348 | Mark Stevens | 2800 Quail Run Drive Corinth, TX 76208-5313 |
| Quill | (800) 789 - 7020 | Natasa Filipovic | 100 Schelter Rd Lincolnshire, IL 60069 |
| Hillsboro Meter | (254) 582-2271 | Mark Bowman | PO Box 542 Hillsboro, TX 76645 |
| Belltec | (254) 654 - 0108 | Roger Kaminsky | 2057 Commerce St. Belton, TX 76513 |
| KBS Electrical Distribution | (800) 927 - 8855 (512) 416 - 6063 |  | 5811 Trade Center Dr Suite 950 Austin, TX 78744 |
| JL Matthews | (800) 421 - 3360 |  | 620 West Felix Street Fort Worth, TX 76115 |
| Schaeffer Lubricants | (325) 885 - 2790 Cell: (325) 669 - 5078 | Ross Ellis CLS (Comanche, TX) | 102 Barton Street St. Louis, MO 63104 |
| Solomon Corporation | (800) 234-2867 |  | 100 Cooperative Way Georgetown, TX 78626 |
| Texas Meter Device | (254) 799 - 0261 |  | 300 S 8th Street Waco, TX 76701 |
| Zee Medical Services | (254) 744-8843 |  | 8711 Burnet Rd Austin, TX 78757 |
| Elliott Electrical Supply | (254) 965-8083 |  | 1035 S. Gram St. Stephenville, TX 76401 |
| R. J. Trading | (936) 632-9450 |  | 3410 Old Union Rd Lufkin, TX 75904 |

Procedure for Acquiring Replacement Materials during a Disaster Situation

- The Line Superintendent and Manager of Engineering will assess the damage to the system and the available material on hand in our warehouse.

- The Line Superintendent or Manager of Engineering will then inform the Warehouse Supervisor the estimated quantities of materials required to restore the distribution system to full operation.

- The Warehouse Supervisor will then provide estimated delivery time given by the supplier to either the Line Superintendent or Manager of Engineering.

- The Cooperatives material inventory is now managed by Texas Electric Cooperatives (TEC). We have been assured by TEC that getting adequate materials during an event will not be an issues because they maintain a reserve at their warehouse in Georgetown, TX just for situations outlined in the previous section. There are certain critical items that the Cooperative does keep in stock for unplanned events.

Phone System Restoration Contact

Removed Confidential Information

IT / Billing System Restoration Contacts/Contingencies

Removed Confidential Information

Contingency Plan for Total Decimation of the Cooperative’s IT Infrastructure

- Contact NISC to have them implement loading of remote disaster recovery backup for billing system. This process takes approximately 2 hours, accessible from any Internet accessible computer with remote desktop capabilities. HCEC would then transfer operations to the off-site emergency office location (Pole Yard) until new computer hardware could be secured.

- The PLEX system or Command Center is hosted off-site at a data center contracted by Landis+Gyr. The system is accessible from any internet-based computer: Removed Website URL

Provided that phone communications are available at the substations, HCEC is capable of retrieving information from its meters.

| Local Emergency Organizations Contact List |  |  |  |  |
| --- | --- | --- | --- | --- |
| County / City | Emergency | Ambulance (Non – Emergency) | Fire (Non-Emergency) | Law Enforcement (Non-Emergency) |
| Mills County: | 911 | Mills County Ambulance Ser.: (325) 648-3422 Air Evac Lifeteam(Brownwood): (325) 641-8988 [20-30 minute flight] | Mills Co. Sheriff Office: (325) 648-2245 | Mills Co. Sheriff Office: (325) 648-2245 |
| Goldthwaite | 911 | Mills County Ambulance Ser. (325) 648-3422 [0.0 miles] Air Evac Lifeteam(Brownwood): (325) 641-8988 [10-20 minute flight] | Goldthwaite VFD (325) 648-2315 Mills County VFD (325) 648-2222 | Mills Co. Sheriff Office: (325) 648-2245 |
| Priddy (Unincorporated) | 911 | Mills County Ambulance Ser. (325) 648-3422 [16.0. miles] Comanche Community Hospital (325) 356-5241 [16.27 miles] Hamilton County Ambulance Serv.: (254) 386-5442 [23.3 miles] Air Evac Lifeteam(Brownwood): (325) 641-8988 [10-20 minute flight] | Priddy VFD < No Phone> | Mills Co. Sheriff Office: (325) 648-2245 |
| Star (Unincorporated) | 911 | Mills County Ambulance Ser. (325) 648-3422 [14.97 miles] Hamilton County Ambulance Serv.: (254) 386-5442 [20.22 miles] Air Evac Lifeteam(Killeen): (254) 628-1275 [20 minute flight] | Star VFD (325) 648-3595 | Mills Co. Sheriff Office: (325) 648-2245 |
| Hamilton County: | 911 | (254) 386-5442(Hamilton) (254) 796-2333(Hico) Air Evac Lifeteam(Killeen): (254) 628-1275 [20-30 minute flight] | Hamilton Co. Sheriff Office: (254) 386-8128 | Hamilton Co. Sheriff Office: (254) 386-8128 |
| Evant | 911 | Hamilton County Ambulance Serv.: (254) 386-5442 [15.98 miles] Mills County Ambulance Serv.: (325) 648-3422 [24.66 miles] Capital Ambulance & Transit Serv.: (512) 556-0086 [28.39 miles] Air Evac Lifeteam(Killeen): (254) 628-1275 [33.1 miles] | Evant VFD INC (254) 471-5567 | Hamilton Co. Sheriff Office: (254) 386-8128 |
| Hamilton | 911 | Hamilton County Ambulance Serv.: (254) 386-5442 [0.0 miles] Air Evac Lifeteam(Killeen): (254) 628-1275 [20-30 minutes flight] | Hamilton Co. Sheriff Office: (254) 386-8128 | Hamilton Co. Sheriff Office: (254) 386-8128 |
| Hico | 911 | Hamilton County Ambulance Serv.: (254) 386-5442 [19.77 miles] Air Evac Lifeteam(Brownwood): (325) 641-8988 [30 minutes flight] | Hico VFD (254) 485-6781 | Hamilton Co. Sheriff Office: (254) 386-8128 |
| Carlton (Unincorporated) | 911 | Hamilton County Ambulance Serv.: (254) 386-5442 [15.11 miles] Commanche Community Hospital: (325) 356-5241 [25.4 miles] Air Evac Lifeteam(Brownwood): (325) 641-8988 [20-30 minutes flight] | Carlton VFD (254) 785-2525 | Hamilton Co. Sheriff Office: (254) 386-8128 |
| McGirk (Unincorporated) | 911 | Hamilton County Ambulance Serv.: (254) 386-5442 Air Evac Lifeteam(Brownwood): (325) 641-8988 [20-30 minutes flight] | Hamilton Co. Sheriff Office: (254) 386-8128 | Hamilton Co. Sheriff Office: (254) 386-8128 |
| Shive | 911 | Hamilton County Ambulance Serv.: (254) 386-5442 Air Evac Lifeteam(Killeen): (254) 628-1275 [20-30 minutes flight] | Shive VFD (254) 372-4412 | Hamilton Co. Sheriff Office: (254) 386-8128 |
| Coryell County: | 911 | Coryell Memorial Hospital: (254) 865-8251 Killeen Metroplex Hospital: (254) 526-7523 Air Evac Lifeteam(Killeen): (254) 628-1275 [5-20 minutes flight] | Coryell Co. Sheriff Office: (254) 865-7201 | Coryell Co. Sheriff Office: (254) 865-7201 |
| Copperas Cove | 911 | Killeen Metroplex Hospital: (254) 526-7523 [6.17 miles] Carl R. Darnall Army Medical Cntr.: (254) 288-8000 [7.66 miles] Scott & White Memorial Hospital: (254) 501-4104 [8.34 miles] Air Evac Lifeteam(Killeen): (254) 628-1275 [6.34 miles] | Copperas Cove Fire Department (254) 547-2514 | Copperas Cove Police Department: (254) 547-4272 Coryell Co. Sheriff Office: (254) 865-7201 |
| Gatesville | 911 | Coryell Memorial Hospital (Main): (254) 865-8251 Air Evac Lifeteam(Killeen): (254) 628-1275 [10 minutes flight] | Gatesville VFD (254) 865 - 6416 [Phone] (254) 865 - 6423 [Fax] | Gatesville Police Department: (254) 865-2226 Coryell Co. Sheriff Office: (254) 865-7201 |
| Jonesboro | 911 | Coryell Memorial Hospital (Main): (254) 865-8251 Hamilton General Hospital: (254) 386-1700 [15.25 miles] Goodall-Witcher Hospital: (254) 675-8322 [20.33 miles] Air Evac Lifeteam(Killeen): (254) 628-1275 [10-20 minute flight] | Jonesboro VFD (254) 463-4241 | Coryell Co. Sheriff Office: (254) 865-7201 |
| South Mountain | 911 | Coryell Memorial Hospital (Main): (254) 865-8251 Air Evac Lifeteam(Killeen): (254) 628-1275 [10 minutes flight] | Gatesville VFD (254) 865-6416 [Phone] (254) 865 - 6423 [Fax] | Coryell Co. Sheriff Office: (254) 865-7201 |
| Ft. Gates | 911 | Coryell Memorial Hospital (Main): (254) 865-8251 Air Evac Lifeteam(Killeen): (254) 628-1275 [10 minutes flight] | Gatesville VFD (254) 865-6416 [Phone] (254) 865 - 6423 [Fax] | Coryell Co. Sheriff Office: (254) 865-7201 |
| San Saba County: | 911 | San Saba County: (325) 247-5040 Air Evac Lifeteam(Brownwood): (325) 641-8988 [8-30 minutes flight] | San Saba Co. Sheriff’s Office: (325) 372-5551 | San Saba Co. Sheriff’s Office: (325) 372-5551 |
| Bend | 911 | San Saba County: (325) 247-5040 [13.89 miles] Capital Ambulance & Transit Serv.: (512) 556-0086 [19.71 miles] Mills County Ambulance Service: (325) 648-3422 [24.43 miles] Air Evac Lifeteam(Marble Falls): (830) 693-3851 [20 minutes flight] | San Saba Co. Sheriff’s Office: (325) 372-5551 | San Saba Co. Sheriff’s Office: (325) 372-5551 |
| Cherokee | 911 | San Saba County: (325) 247-5040 [14.78 miles] Capital Ambulance & Transit Serv.: (512) 556-0086 [31.72 miles] Air Evac Lifeteam(Marble Falls): (830) 693-3851 [10-20 minutes flight] | Cherokee VFD <No Phone> | San Saba Co. Sheriff’s Office: (325) 372-5551 |
| San Saba | 911 | San Saba County: (325) 247-5040 [0.03 miles] Mills County Ambulance Service: (325) 648-3422 [19.63 miles] Capital Ambulance & Transit Serv.: (512) 556-0086 [33.01 miles] Air Evac Lifeteam(Brownwood): (325) 641-8988 [10-20 minutes flight] | San Saba VFD (325) 372-5544 | San Saba Police Department: (325) 372-5144 San Saba Co. Sheriff’s Office: (325) 372-5551 |
| Lampasas County: | 911 | (512) 556-8888 or Capital Ambulance: (512) 556-0086 Air Evac Lifeteam(Killeen): (254) 628-1275 [10-20 minutes flight] | Lampasas Co. Sheriff’s Department: (512) 556-8255 | Lampasas Co. Sheriff’s Department: (512) 556-8255 |
| Adamsville | 911 | Capital Ambulance & Transit Serv.: (512) 556-0086 Air Evac Lifeteam(Killeen): (254) 628-1275 [10-20 minutes flight] | Adamsville Fire Department (512) 768-3333 | Lampasas Co. Sheriff’s Department: (512) 556-8255 |
| Copperas Cove | 911 | Metroplex Hospital: (254) 526-7523 [6.17 miles] Carl R. Darnall Army Medical Cntr.: (254) 288-8000 [7.66 miles] Rollins Brook Community Hospital: (512) 556-3682 Air Evac Lifeteam(Killeen): (254) 628-1275 [>5 minutes flight] | Copperas Cove Fire Department (254) 547-2514 | Copperas Cove Police Department (254) 547-4274 Lampasas Co. Sheriff’s Department: (512) 556-8255 |
| Kempner | 911 | Capital Ambulance & Transit Serv.: (512) 556-0086 [10.61 miles] Metroplex Hospital: (254 526-7523 [12.24 miles] Carl R. Darnall Army Medical Cntr.: (254) 288-8000 [13.98 miles] Rollins Brook Community Hospital: (254) 556-3682 Air Evac Lifeteam(Killeen): (254) 628-1275 [>10 minutes flight] | Kempner VFD (512) 932-3993 | Kempner Police Department: (512) 932-2180 Lampasas Co. Sheriff’s Department: (512) 556-8255 |
| Lampasas | 911 | Capital Ambulance & Transit Serv.: (512) 556-0086 [0.18 miles] Air Evac Lifeteam(Killeen): (254) 628-1275 [>15 minutes flight] | Lampasas Fire Department (512) 556-3446 Lampasas VFD (512) 556-3446 | Lampasas Police Department: (512) 556-3644 Lampasas Co. Sheriff’s Department: (512) 556-8255 |
| Lometa | 911 | Capital Ambulance & Transit Serv.: (512) 556-0086 [16.32 miles] Mills County Ambulance Service: (325) 648-3422 [19.13 miles] San Saba County: (325) 247-5040 [19.23 miles] Air Evac Lifeteam(Killeen): (254) 628-1275 [>20 minutes flight] | Lometa VFD (512) 752-3333 | Lampasas Co. Sheriff’s Department: (512) 556-8255 |
| Llano County: | 911 | Marble Falls Area EMS: (830) 693-7277 North Hays County EMS: (512) 753-2108 Air Evac Lifeteam(Marble Falls): (830) 693-3851 [20 minutes flight] | (325) 247-5767(s) Tow VFD <No Phone> Cherokee VFD <No Phone> | LLANO COUNTY SHERIFF’S OFFICE: (325) 247-5050 |

TEC Contacts / FEMA Mutual Aid Participating Cooperatives

TEC Contact Information

Primary Emergency Contact:

Mary Johnson Erwin | mjohnson@texas-ec.org | CELL: (325) 330 - 0185

| Name | Title | Business Phone |
| --- | --- | --- |
| Mike Williams | President/CEO |  |
| Eric Craven | Sr. Vice President, Government Relations & Legal Affairs | (512) 486 - 6222 |
| Martin Bevins | Vice President, Communications & Member Services | (512) 486 - 6200 |
| Jeff Marshall | CFO |  |
| Evan Autry | Director, Legislative Affairs |  |
| Danny Williams | Manager of Loss Control | (512) 413 - 0509 |
| Curtis Whitt | Loss Control Regional Supervisor | (512) 694 - 0232 |
| Ronald Wiggins | Loss Control Specialist | (512) 709 - 1177 |
| Phillip Henricks | Loss Control Specialist | (806) 438 - 0067 |
| James Busby | Loss Control Specialist |  |
| Tami Knipstein | Program Coordinator | (512) 486 - 6271 |
| Esther Dominguez | Youth Tour Coordinator | (512) 486 - 6211 |
| Karen Nejtek | Production Manager | (512) 486 - 6244 |
| Andy Doughty | Creative Manager |  |
| Veronica Labay | Controller | (512) 486 - 6234 |
| Antoinette Loving | Accounting Manager | (512) 486 - 6232 |
| David Painter | IT Director | (512) 486 - 6260 |
| Chris Ruiz | Strategic Account Manager | (877) 868 - 8610 EXT 318 |
| Johnny Andrews | Chief Operating Officer | (877) 868 - 8610 |
| Archie Lopez | Director of Strategic Initiatives |  |

List of Cooperatives Participating In FEMA Mutual Aid Agreement

| Bailey County EC | Denton Municipal Electric | Lea County EC | San Bernard EC |
| --- | --- | --- | --- |
| Bandera EC | East Texas EC | Lighthouse EC | San Miguel EC |
| Bartlett EC | Fannin County EC | Lyntegar EC | San Patricio EC |
| Belfalls EC | Fayette EC | Magic Valley EC | South Plains EC |
| Big Country EC | FEC Electric | McLennan County EC | South Texas EC |
| Bluebonnet EC | Fort Belknap EC | Medina EC | Southwest Rural EC |
| Bowie-Cass EC | Golden Spread EC | Mid-South Synergy | Southwest Texas EC |
| Brazos EC | Grayson-Collin EC | Navarro County EC | Swisher EC |
| BTU, (Bryan Texas Utilities) | Greenbelt EC | Navasota Valley EC | Taylor EC |
| Cap Rock Electric | Guadalupe Valley EC | North Plains EC | Tri-County EC |
| Central Texas EC | Hamilton County EC | Northeast Texas EC | Trinity Valley EC |
| Cherokee County EC | HILCO EC | Nueces EC | United Cooperative Services |
| Coleman County EC | Houston County EC | Panola-Harrison EC | Upshur-Rural EC |
| Comanche EC | J-A-C EC | Pedernales EC | Victoria EC |
| Concho Valley EC | Jackson EC | Rayburn Country EC | Webster EC |
| Cooke County EC | Jasper-Newton EC | Rio Grande EC | Wharton County EC |
| CoServ EC | Karnes EC | Rita Blanca EC | Wise EC |
| Deaf Smith EC | Lamar County EC | Rusk County EC | Wood County EC |
| Deep East Texas EC | Lamb County EC | Sam Houston EC |  |

Surrounding Utilities List

| Power Suppliers / Surrounding Cooperative | Telephone Number |
| --- | --- |
| Brazos Electric Power Cooperative (Power Supplier) http://www.brazoselectric.com Jonny York (VP of Transmission Division) Tony Kroskey (Manager of Transmission/System Operations) Tip Tipton (System Operator) System Operator EMERGENCY Fax System Operator | (254) 750 - 6500 (254) 750 - 6377 (254) 750 - 6357 (254) 750 - 6260 (254) 750 - 6267 (254) 750 - 6288 |
| Lower Colorado River Authority (LCRA) (Power Supplier) http://www.lcra.org Electric Emergency System Operations & Control Center, Austin | (254) 473 - 3200 or (800) 776 - 5272 (512) 482 - 6210 or (800) 223 - 7622 (512) 385 - 7131 |
| Heart of Texas Electric Cooperative http://www.hotec.coop Brandon Young, General Manager | (254) 840 - 2871 (800) 840 - 2957 FAX: (254) 840 - 4250 |
| United Cooperative Services, Inc. (Cleburne – Main Office) Stephenville Office http://www.united-cs.com Cameron L. Smallwood, CEO/General Manager | (817) 447 - 9292 FAX: (817) 782 - 8331 Stephenville Office: (254) 965 - 3153 |
| Comanche Electric Cooperative http://www.ceca.coop Alan Lesley, General Manager | (325) 356 - 2533 (800) 915 - 2533 FAX: (325) 356 - 3038 |

Local Utility Contractor List

| Utility Contractor | Telephone Numbers |
| --- | --- |
| Scott Pole Line 150 CR 224, Stephenville, TX 76401 Emergency Contact: Jeff Scott Michael Scott | Main: (254) 965 - 8564 (254) 979 - 0574 (254) 485 - 2894 |
| S&H Powerline Construction INC. 725 Bellview Road, Crawford, TX 76638 Marvin Hickey - President Mark McPherson - Shop Foreman Tony Arnold - General Foreman/Safety Coordinator | Main: (254) 848 - 4100 (254) 744 - 3381 (254) 848 - 9579 (254) 707 - 2145 |

Local Fuel Supply Contact List

| Fuel Supplier | Street Address | Telephone Number |
| --- | --- | --- |
| Comanche County |  |  |
| Pop’s Quick Stop Duran Holding LTD (SHELL) Un-Leaded | 303 E. Central Ave Comanche, TX 76442 | (325) 356-9400 |
| Comanche Fina (FINA) Un-Leaded | 600 E Central Ave Comanche, TX 76442-2519 | (325) 356-3389 |
| Food Plaza #12 (EXXON) Un-Leaded | 1001 E. Central Ave Comanche, TX 76442 | (325) 356-5061 |
| Brookshire’s Un-Leaded | 402 W. Central Ave Comanche, TX 76442 | (325) 356-3248 |
| Ottmers Oil Inc (SHELL) Un-Leaded / Diesel | 405 W. Central Ave Comanche, TX 76442 | (325) 990-0232 |
| Taylor Food Mart #085 (FINA) Un-Leaded | 905 W. Central Ave Comanche, TX 76442 | (325) 356-2970 |
| Allsups Convenience Store # 247 (FINA) Un-Leaded / Diesel | 907 N. Austin AVE Comanche, TX 76442 | (325) 356-5572 |
| Ross Petroleum Inc Chevron Oil Products | 508 East Mill Ave Comanche, TX 76442 | (325) 356-2888 |
| Fina #0207 (FINA) Diesel | 1160 Main St Comanche, TX 76442 | (325) 356-3474 |
| Theford Git N Go | 101 E Lucy Bertram St Gustine, TX 76468 | (325) 667-7013 |
| Proctor Grocery | 2201 Highway 67/377 Gustine, TX 76468 | (254) 879-2727 |
| Gina’s Food Mart (CHEVRON) Un-Leaded / Diesel | 2296 HWY 377 Proctor, TX | (254) 879-4040 |
| Pride Refining Co | 648 West Navarro St De Leon, TX 76444 | (254) 893-2405 |
| Gooden Petroleum Inc. | 108 West Navarro St De Leon, TX 76444 | (254) 893-2125 |
| Lone Star Duran Holdings LTD (Shell) | 100 East Navarro St De Leon, TX 76444-1154 | (254) 893-5656 |
| Allsup’s Convenience Store #181 Un-Leaded / Diesel | 632 North Texas St De Leon, TX 76444 | (254) 893-5224 |
| Texas Chevron | 400 South Texas Street De Leon, TX 76444-1948 | (254) 893-3007 |
| Hamilton County |  |  |
| Allsups Convenience Store #226 (FINA) Un-Leaded / Diesel | 218 S Rice St Hamilton, TX 76531-2158 | (254) 386-8732 |
| Bert Schrank L P Gas Co. Diesel | 1203 S. Rice St Hamilton, TX 76531 | (254) 386-8144 (800) 824-0108 |
| Cefco Convenience Store # 34 (EXXON) Un-Leaded / Diesel | 1101 E Main St Hamilton, TX 76531-1618 | (254) 386-8850 |
| Cefco Convenience Store #66 (SHELL) Un-Leaded / Diesel 24 Hour | 312 N. Rice St Hamilton, TX 76531-1853 | (254) 386-5588 |
| Haile’s Convenience Store Rangler’s Stores (EXXON) Un-Leaded | 600 N Rice St Hamilton, TX 76531 | (254) 386-8903 |
| Ranglers Convenience Store Duran Holding LTD (SHELL) Un-Leaded / Diesel | 502 W. Main St Hamilton, TX 76531-1830 | (254) 386-8855 |
| Rangler’s Convenience Store #4 (EXXON) Un-Leaded / Diesel | 502 N Second St Hico, TX 76457 | (254) 796-4182 |
| Stephen’s County Corner (VALERO) Un-Leaded | 404 N Second St Hico, TX 76457 | (254) 796-9899 |
| Duran Holding LTD (SHELL) Un-Leaded / Diesel | 504 N. Second St Hico, TX 76457 | (254) 796-4676 |
| Bailey’s Fuel (Wholesale) Diesel | 411 S. Elm St Hico, TX 76457 | (254) 796-4643 |
| Handy Mart INC (SHELL) Un-Leaded / Diesel | 1353 State Highway 22 Cranfills Gap, TX | (254) 597-9412 |
| Elk Stop (CITGO) Un-Leaded / Diesel | 14981 US HWY 281 Evant, TX 76525 | (254) 471-3557 |
| Mills County |  |  |
| Miller’s Citgo | 1219 Fisher St. Goldthwaite, TX 76844 | (325) 648-3664 |
| Quick Check #6 (EXXON) Convenience Store Cafe | 1418 Fisher St. Goldthwaite, TX 76488 | (325) 648-3020 |
| Minute Stop Grocery (FINA) | 1290 Us Highway 84 W. Goldthwaite, TX 76488 | (325) 648-3647 |
| Oliver’s Place Texaco #0352440 (CHEVRON) Un-Leaded / Diesel | 1170 HWY 84 W Goldthwaite, TX 76488 | (325) 648-2277 |
| San Saba County |  |  |
| 7-Eleven Skinny’s #0106 (FINA) Un-Leaded | 106 E. Wallace St. San Saba, TX 76877-3426 | (325) 372-3482 |
| San Saba Oil Co. | 121 E. Wallace St. San Saba, TX 76877-3425 | (325) 372-5223 |
| Stafford Chevron & Hardware (CHEVRON) Un-Leaded / Diesel | 705 E. Wallace St San Saba, TX 76877-3606 | (325) 372-5520 |
| Jud’s Food Store (SHELL) Un-Leaded | 1200 W. Wallace St San Saba, TX 76877 |  |
| Stripes #249 (STRIPES) Town & Country #249 Un-Leaded / Diesel | 1306 W Wallace St San Saba, TX | (325) 372-6518 |
| Shamrock Service Station West End Convenience | 1802 W. Wallace St. San Saba, TX 76877 | (325) 372-3846 |
| Rick’s One Stop (EXXON) | 307 N. High St. San Saba, TX 76877 | (325) 372-6028 |
| R & R Fuel Stop | 604 N. 8th St. San Saba, TX 76877-2210 | (325) 372-3027 |
| Coyote One Stop | 105 E. Cayote Trl Richland Springs, TX 76871-2027 | (325) 452-3224 |
| S & S Mini Mart | Highway 190 Richland Springs, TX 76871 | (325)452-3356 |
| Cherokee Texaco | Highway 16 Cherokee, TX 76832 | (325) 622-4590 |
| Lampasas County |  |  |
| Valero Corner Store #109 (VALERO) Un-Leaded / Diesel | 207 N. Key Ave Lampasas, TX 76550-1844 | (512) 556-3244 |
| Te’s Mart Tex Mart (TEXACO) Un-Leaded / Diesel | 404 N Key Ave Lampasas, TX 76550 | (512) 556-5601 |
| Berkly’s C-Store Ottmer’s Oil INC (SHELL) Un-Leaded | 508 N Key Ave Lampasas, TX 76550 | (512) 556-6828 |
| Skinny’s Convenience Store # 0113 (FINA) Un-Leaded / Diesel | 108 S Key Ave Lampasas, TX 76550 | (512) 556-6465 |
| All Star Convenience Store #7 (Exxon) | 602 S Key Ave Lampasas, TX 76550 | (512) 564-1799 |
| H.E.B. Gas Station #432 (HEB) Un-Leaded | 705 S. Key Ave Lampasas, TX 76550 | (512) 556-4771 |
| Skinny’s Convenience Store # 0114 (FINA) Un-Leaded / Diesel | 1401 S Key Ave Lampasas, TX 76550 | (512) 556-6609 |
| Murphy USA #7043 Un-Leaded / Diesel | 1712 Central Texas Expy Lampasas, TX 76550 | (512) 556-5690 |
| JMC Grocery Big Chief Distribution Un-Leaded / Diesel | 12444 E HWY 190 Kempner, TX | (512) 932-2000 |
| Christensons – Phillips 66 Un-Leaded / Diesel | FM 2657 & FM 2808 Kempner, TX | (254) 547-0733 |
| Big’s #104 | 201 N. 4th St. Lometa, TX 76853-2006 | (512) 752-5901 |
| Coryell County |  |  |
| Harrington’s Shamrock Un-Leaded | 695 E US Highway 84 Evant, TX 76525-6831 | (254) 471-5520 |
| Cefco Convenience Store # 31(EXXON) Un-Leaded / Diesel | 101 HWY 36 Bypass N Gatesville, TX 76528 | (254) 865-1237 |
| Pruitt’s (SHELL) Un-Leaded / Diesel | 1316 Highway 36 BYP N Gatesville, TX 76528 | (254) 865-5602 |
| Cefco Convenience Store | 4609 S HWY 36 Gatesville, TX 76528 | (254) 865-9195 |
| K Express #1 (SHELL) Un-Leaded | 1201 E Main St Gatesville, TX 76528 | (254) 865-6395 |
| H.E.B. Gas Station # 403 (HEB) Un-Leaded | 1207 E Main St Gatesville, TX 76528 | (254) 248-0758 |
| Cefco Convenience Store # 65 (SHELL) Un-Leaded / Diesel | 1620 W Main St Gatesville, TX 76528 | (254) 865-2712 |
| Sidra Foodmart Fina # 1336 (FINA) Un-Leaded | 2603 E Main St Gatesville, TX 76528 | (254) 865-5963 |
| Murphy USA #7223 (MURPHY) Un-Leaded / Diesel | 2801 S Highway 36 Gatesville, TX 76528 | (254) 865-1326 |
| Watson’s One Stop (EXXON) Un-Leaded | 11410 N State Highway 36 Jonesboro, TX 76538 | (254) 463-2621 |
| 7-Eleven Un-Leaded | 2012 W. Avenue B Copperas Cove, TX 76522 | (254) 547-3001 |
| Quality Star Food Mart Exxon Mobile (EXXON) #47800032 Un-Leaded | 301 N 1st St Copperas Cove, TX 76522-1637 | (254) 542-4600 |
| 7-Eleven Un-Leaded | 501 N 1st St Copperas Cove, TX 76522-1308 | (254) 547-1661 |
| Fasttime Fina #5070 (FINA) | 502 N 1st St Copperas Cove, TX 76522 | (254) 547-8487 |
| Valero Corner Store #1312 Un-Leaded / Diesel | 1102 S FM 116 Copperas Cove, TX 76522-3660 | (254) 547-0405 |
| A Stop | 2102 S FM 116 Copperas Cove, TX 76522-4206 | (254) 547-1011 |
| Star Mart Cook’s Mini Mart (EXXON) | 238 W Highway 190 Copperas Cove, TX 76522-2857 | (254) 518-8270 |
| Skinny’s # 0108 (FINA) Un-Leaded | 102 W Highway 190 Copperas Cove, TX 76522 | (254) 547-5185 |
| Mickey’s Convenience Food Stores Chevron #0202108 (CHEVRON) Un-Leaded | 1306 Georgetown RD Copperas Cove, TX 76522-3901 | (254) 547-9786 |
| 7-Eleven #16802 Un-Leaded | 2124 E Highway 190 Copperas Cove, TX 76522 | (254) 547-3555 |
| Coast to Coast Petroleum, INC. On The Move Convenience Store Texaco #0305935 (TEXACO) Un-Leaded | 2411 E Highway 190 Copperas Cove, TX 76522-2557 | (254) 542-8087 |
| Murphy USA # 5664 (MURPHY USA) Un-Leaded | 2712 E Highway 190 Copperas Cove, TX 76522 | (254) 547-7127 |

Food Supplies Contact List

| Food Supplier | Street Address | Telephone Number |
| --- | --- | --- |
| Comanche County |  |  |
| Comanche Trail BBQ | 703 N Austin St Comanche, TX 76442-1730 | (325) 356-3717 |
| Allsup’s Convenience Store | 907 N Austin St Comanche, TX 76442-1787 | (325) 356-5572 |
| CJ’s Diner | 135 W Grand Ave Comanche, TX 76442-2483 | (325) 356-5330 |
| Starbeaus | 134 W Central Ave Comanche, TX 76442 | (325) 356-2869 |
| Brookshire’s | 402 W Central Ave Comanche, TX 76442-2706 | (325) 356-3248 |
| Dairy Queen | 403 W Central Ave Comanche, TX 76442-2705 | (325) 356-3942 |
| Subway Smith Co. Marketing Corp. | 409 W Central Ave Comanche, TX 76442 | (325) 356-2224 |
| Taqueria Sierra | 801 W Central Ave Comanche, TX 76442 | (325) 356-3801 |
| K C’s Diner | 903 W Central Ave Comanche, TX 76442-2749 | (325) 356-5331 |
| Pizza Pro | 303 E Central Ave Comanche, TX 76442 | (325) 356-7564 |
| Allsup’s Convenience Store | 501 East Central Ave Comanche, TX 76442-2516 | (325) 356-3474 |
| Miguel’s Little Mexico Restaurant | 1000 E Central Ave Comanche, TX 76442-2838 | (325) 356-5368 |
| Food Plaza | 1001 E Central Ave Comanche, TX 76442-2837 | (325) 356-5061 |
| China Star | 1009 East Central Ave Comanche, TX 76442-2837 | (325) 356-9899 |
| Sonic Drive-In | 1202 E Central Ave Comanche, TX 76442-2804 | (325) 356-5080 |
| Chicken Express | 1213 E Central Ave Comanche, TX 76442 | (325) 356-5100 |
| Rockin’ J’s Convenience Store & Café | 1308 E Central Ave Comanche, TX 76442-2857 | (325) 356-1955 |
| City Café | 103 E Lucy Bertram St Gustine, TX 76455 | (325) 667-7002 |
| Hamilton County |  |  |
| Koffee Kup Family Restaurant | 300 N 2nd St Hico, TX 76457 | (254) 796-4839 |
| Chicken Express | 404 N 2nd St Hico, TX 76457 | (254) 796-4044 |
| Rock House BBQ | 801 N 2nd St Hico, TX 76457 | (254) 796-4013 |
| Super S Foods | 300 E 3rd St Hico, TX 76457 | (254) 796-4623 |
| Jersey Lilly’s After Dark | 128 N Pecan St Hico, TX 76457 | (254) 796-0999 |
| Ranglers Convenience Store | Highway 6 Hico, TX 76457 | (254) 796-4838 |
| El Jardin | 200 N Bell St Hamilton, TX 76531 | (254) 386-3660 |
| Wenzel’s Lonestar Meat Market | 209 N Bell St Hamilton, TX 76513 | (254) 386-8242 |
| Giovannis 2 | 320 N Bell St Hamilton, TX 76531 | (254) 386-3255 |
| China Wok | 121 E Henry St Hamilton, TX 76531 | (254) 386-9990 |
| Sonic Drive-In | 701 E Main St Hamilton, TX 76531-1537 | (254) 386-8824 |
| Burrito Barn | 822 E Main St Hamilton, TX 76531-1540 | (254) 386-3012 |
| Storm’s Hamburgers | 923 E Main St Hamilton, TX 76531-1541 | (254) 386-3143 |
| David’s Supermarkets # 18 | 1201 E Main St Hamilton, TX 76531 | (254) 386-8744 |
| Chicken Express / Taco Express | 305 N Rice St Hamilton, TX 76531 | (254) 386-4334 |
| Subway | 312 N Rice St Hamilton, TX 76531-1853 | (254) 386-5563 |
| Pizza Inn | 600 N Rice St Hamilton, TX 76531-1217 | (254) 386-8904 |
| Hamburger Hill | 809 N Rice St Hamilton, TX 76531 | (254) 386-3181 |
| Central Perk | 423 S Rice St Hamilton, TX 76531 | (254) 386-5960 |
| Smoke Shack | 702 S Rice St Hamilton, TX 76531-2534 | (254) 386-5246 |
| Dairy Queen | 810 S Rice St Hamilton, TX 76531-2530 | (254) 386-3048 |
| Taco Loco | 1103 S Rice St Hamilton, TX 76531-9600 | (254) 386-8444 |
| Lazy T BBQ | Hamilton, TX 76531 |  |
| Ortega Mexican Restaurant | 1204 S Rice St Hamilton, TX 76531 | (254) 386-5074 |
| Crossfire Café | 4007 W Highway 36 Hamilton, TX 76531 | (254) 386-3559 |
| Mills County |  |  |
| Dairy Queen | 1140 US Highway 84 W Goldthwaite, TX 76844 | (325) 648-3325 |
| Schwartz Food | 1500 W Fisher St Goldthwaite, TX 76844-2015 | (325) 648-3313 |
| Mary’s Tacos & Burgers | Highway 183 S Goldthwaite, TX 76844 | (325) 648-3839 |
| El Tapatio | 1903 Fisher St Goldthwaite, TX 76844-2027 | (325) 648-2900 |
| Cahoots Cafe Buffet Style Pizza | 1418 Fisher St Goldthwaite, TX 76844-2034 | (325) 648-3909 |
| Peabody’s Restaurant | 1206 Fisher St Goldthwaite, TX 76844 | (325) 648-3708 |
| Subway | 1110 Fisher St Goldthwaite, TX 76844 | (325) 648-3355 |
| Texas Star | 1006 Fisher St Goldthwaite, TX 76844 | (325) 648-2612 |
| Benvenutos | 1107 Reynolds St Goldthwaite, TX 76844 | (325) 648-3481 |
| Wagon Wheel Restaurant | 1004 Fisher St # 1012 Goldthwaite, TX 76844 | (325) 648-3535 |
| Los Amigos Restaurant | 808 Fisher St Goldthwaite, TX 76844 | (325) 648-3375 |
| A & B Grocery | 903 Fisher St Goldthwaite, TX 76844 | (325) 648-3477 |
| Keller’s Kitchen | 707 Fisher St Goldthwaite, TX 76844 | (325) 648-3655 |
| Oliver’s Place | 1170 Us HWY 84 Goldthwaite, TX 76844 | (325) 648-2277 |
| Minute Stop Grocery | 1290 US HWY 84 E Goldthwaite, TX 76844 | (325) 648-3647 |
| Hohertz Grocery | HWY 16 W Town Site Priddy, TX 76870 | (325) 966-3546 |
| San Saba County |  |  |
| Little Kitchen | 214 N High St San Saba, TX 76877-3522 | (325) 372-3494 |
| Boney & Clauds | 2104 W Story St San Saba, TX 76877-3531 | (325) 372-6887 |
| Los Amigos Mexican Restaurant | 406 N High St San Saba, TX 76877-2529 | (325) 372-5605 |
| Broken Spoke Bar B Que Grill | 806 N High St San Saba, TX 76877-2537 | (325) 372-3095 |
| El Jalapeno | 1006 N High St San Saba, TX 76877 | (325) 372-3998 |
| Commie’s Tacos | 101 W Wallace St San Saba, TX 76877-3427 | (325) 372-5780 |
| Twin Mesquites Main | 608 W Wallace St San Saba, TX 76877-4322 | (325) 372-4512 |
| Ma & Pa’s Bar B Que & Grill | 609 W Wallace St San Saba, TX 76877-4035 | (325) 372-4035 |
| Storm’s Restaurant | 707 W Wallace St San Saba, TX 76877 | (325) 372-5717 |
| Larry’s Corner Café | 902 W Wallace St San Saba, TX 76877-4217 | (325) 372-5094 |
| Sonic Drive-In | 1006 W Wallace St San Saba, TX 76877-4219 | (325) 372-4680 |
| Our Place Café | 1104 W Wallace St San Saba, TX 76877-4221 | (325) 372-3112 |
| Double G Pit Stop | 1108 W Wallace St San Saba, TX 76877-4221 | (325) 372-5546 |
| Dairy Mart | 1203 W Wallace St San Saba, TX 76877-4127 | (325) 372-5433 |
| Subway | 1306 W Wallace St San Saba, TX 76877 | (325) 372-6518 |
| Town & Country Food Store | 1306 W Wallace St San Saba, TX 76877-4130 | (325) 372-6518 |
| Pizza Pro | 1306 W Wallace St San Saba, TX 76877 | (325) 372-6519 |
| Cactus Restaurant | 1409 W Wallace St San Saba, TX 76877-4131 | (325) 372-6044 |
| Dairy Queen | 1508 W Wallace St San Saba, TX 76877-4008 | (325) 372-5214 |
| Poor Boy’s Bar-B-Que | 1608 W Wallace St San Saba, TX 76877-4020 | (325) 372-5175 |
| Diane’s Home Cooking & Catering | 509 E Wallace St San Saba, TX 76877 | (325) 372-5685 |
| G & R Grocery & Market | 502 E Commerce St San Saba, TX 76877-4701 | (325) 372-3364 |
| Lampasas County |  |  |
| Hart’s Firehouse BBQ | 1799 S Highway 281 Lampasas, TX 76550-9666 | (512) 556-8787 |
| Sweet Pickle Deli | 1908 U.S. 281 Lampasas, TX 76550-9685 | (512) 556-8330 |
| Cove Rice & Chinese Buffet | 303 W North Ave Lampasas, TX 76550-1857 | (512) 556-9898 |
| Subway | 108 N Key Ave Lampasas, TX 76550-1841 | (512) 556-6440 |
| Storm’s Drive-In Restaurant | 201 N Key Ave Lampasas, TX 76550 | (512) 556-6269 |
| County Kitchen & Bakery | 307 N Key Ave Lampasas, TX 76550-1846 | (512) 556-6152 |
| Sonic Drive-In | 702 S Key Ave Lampasas, TX 76550 | (512) 556-6834 |
| HEB | 705 S Key Ave Lampasas, TX 76550 | (512) 556-3461 |
| Giovanni’s Italian Restaurant | 801 S Key Ave Lampasas, TX 76550-3153 | (512) 556-3362 |
| Mc Donald’s | 804 S Key Ave Lampasas, TX 76550-3152 | (512) 556-2202 |
| Taco Bell | 908 S Key Ave Lampasas, TX 76550 | (512) 556-8528 |
| Dairy Queen | 1110 S Key Ave Lampasas, TX 76550-3545 | (512) 556-6254 |
| Pizza Hut | 1602 S Key Ave Lampasas, TX 76550-3520 | (512) 556-8211 |
| Bushes Chicken | 1621 S Key Ave Lampasas, TX 76550-3521 | (512) 556-6044 |
| Yumm Factory Café & Catering | 1902 S Key Ave Lampasas, TX 76550 | (512) 556-0550 |
| Eve’s Café (German) | 521 E 3rd St Lampasas, TX 76550-2901 | (512) 556-3500 |
| Brad’s Burgers | 105 W 6th St Lampasas, TX 76550-3186 | (512) 556-3144 |
| Alfredo’s Mexican Restaurant | 8190 E Highway 190 Lampasas, TX 76550 | (512) 556-4447 |
| El Rodeo Mexican Restaurant | 609 Central Texas Expy Lampasas, TX 76550-3376 | (512) 556-8757 |
| El Taco Jalisco | Ste. B 609 Central Texas Expy Lampasas, TX 76550 | (512) 556-6118 |
| Wal-Mart Supercenter | 1710 Central Texas Expy Lampasas, TX 76550 | (512) 556-8217 |
| Little Caesars Pizza | 1708 Central Texas Expy #3 Lampasas, TX 76550-3565 | (512) 564-1050 |
| Kemp Fire BBQ | 392 Depot St Kempner, TX 76539 | (512) 932-2120 |
| Kempner Brick Oven | 12093 E HWY 190 Kempner, TX 76539 | (512) 932-2597 |
| Durham’s General Store & Deli | 12121 E HWY 190 Kempner, TX 76539 | (512) 932-3211 |
| Los Tauqitos | 12128 E HWY 190 Kempner, TX 76539 | (512) 932-9696 |
| Chili Reds | 12492 E HWY 190 Kempner, TX 76539 | (512) 932-2555 |
| Rebecca’s Kitchen | 121 Commanche St Kempner, TX 76539 | (512) 932-3170 |
| Christensen’s Grocery | 6740 FM 2657 Kempner, TX 76539 | (254) 547-0733 |
| Coryell County |  |  |
| C & G Grocery | 101 E Brooks St Evant, TX 76525 | (254) 471-5861 |
| Evant Café | 202 US HWY 281 Evant, TX 76525 | (254) 471-3174 |
| 281 Roadhouse Café | 320 US HWY 281 Evant, TX 76525 | (254) 471-5542 |
| Feedlot | 109 N 7th St Gatesville, Tx |  |
| Pizza Hut | 2509 S Hwy 36 Gatesville, TX 76528 | (254) 865-8945 |
| Taco Bell | 2318 S State Hwy 36 Gatesville, TX 76528 | (254) 248-1205 |
| El Tapatio | 1509 W Main St Gatesville, TX 76528 | (254) 865-5726 |
| Courthouse Café | 710 E Leon St Gatesville, TX 76528 | (254) 865-1161 |
| Jumbo Buffet | 1409 E Main St Gatesville, TX 76528 | (254) 865-8082 |
| Dairy Queen | 1606 E Main St Gatesville, TX 76528 | (254) 865-6717 |
| Burger Boy | 1901 E Main St Gatesville, TX 76528 | (254) 865-7944 |
| Sonic Drive-In | 1910 E Main St Gatesville, TX 76528 | (254) 865-7333 |
| Backyard | 2216 E Main St Gatesville, TX 76528 |  |
| Mc Donald’s | 2302 E Main St Gatesville, TX 76528 | (254) 865-8884 |
| Taqueria Los Agaves | 2558 E Main St Gatesville, TX 76528-2628 | (254) 248-0003 |
| Swindalls Drive In Groc No 1 | 2524 E Main St Gatesville, TX 76528 | (254) 865-2359 |
| Prima Pasta | 2503 E Main St Gatesville, TX 76528 | (254) 865-8311 |
| Chuck Wagon BBQ | 2540 ½ East Main St Gatesville, TX 76528 | (254) 865-6531 |
| J & M Hill Country BBQ | 2601 E Main St Gatesville, TX 76528 | (254) 865-8706 |
| Studebakers Pizza | 2701 E Main St Gatesville, TX 76528 | (254) 865-8389 |
| Subway | 2400 S State HWY 36 Gatesville, TX 76528 | (254) 865-2100 |
| Wal-Mart Supercenter | 2401 S State HWY 36 Gatesville, TX 76528 | (254) 865-8991 |
| Subway | 2805 S State HWY 36 Gatesville, TX 76528-2738 | (254) 865-1266 |
| Las Agaves | 4301 S State HWY 36 Gatesville, TX 76528 | (254) 248-0006 |
| Mi Mexico Grill | 309 Highway 36 Byp S Gatesville, TX 76528-2695 | (254) 865-0115 |
| Bush’s Chicken | 2415 A-S. HWY 36 Gatesville, TX 76528 | (254) 865-0180 |
| Ranchers Steak House & Grill | 107 Highway 36 Byp N Gatesville, TX 76528 | (254) 865-5863 |
| HEB | 1207 Main St Gatesville, TX 76528 | (254) 865-8491 |
| Rebecca’s Kitchen | 121 Comanche St Copperas Cove, TX 76522 | (512) 932-3170 |
| Papa John’s Pizza | 210 Constitution Dr Building B Copperas Cove, TX 76522 | (254) 542-5050 |
| Lil-Tex Restaurant | 502 S Main St Copperas Cove, TX 76522 | (254) 542-6677 |
| Little Caesars Pizza | 300 Cove Ave Copperas Cove, TX 76522 | (254) 542-6711 |
| Pizza Pro’s Delivery | 234 Town Sq Copperas Cove, TX 76522 | (254) 542-4341 |
| Szechuan Chinese Restaurant | 374 Town Sq #B Copperas Cove, TX 76522 | (254) 547-1555 |
| Cove Thai Café | 100 W HWY 190 #406 Copperas Cove, TX 76522 | (254) 542-3172 |
| Arby’s | 205 Liberty Bell Ln Copperas Cove, TX 76522 | (254) 542-6333 |
| Top’s Pizza | 211 Liberty Bell Ln Ste 121 Copperas Cove, TX 76522 | (254) 542-2500 |
| Dairy Queen | 206 N 1st St Copperas Cove, TX 76522 | (254) 547-2925 |
| Mel’s Burger Joint | 302 S 1st St Copperas Cove, TX 76522 | (254) 542-5173 |
| Russ’ Pizza & More Dial-A-Pizza | 212 S 2nd St Copperas Cove, TX 76522 | (254) 542-4400 |
| Pizza To Go | 206 S 8th St Copperas Cove, TX 76522 | (254) 542-4242 |
| J & J Café | 105 E Avenue E Copperas Cove, TX 76522 | (254) 542-4800 |
| El Nopality Mexican Restaurant | 308 E Avenue D Copperas Cove, TX 76522 | (254) 539-2841 |
| Aaron’s Chopped Beef | 414 E Avenue D Copperas Cove, TX 76522 | (254) 542-4670 |
| Schlotzsky’s Deli | 80 Cove Terrace Shopping Ctr Copperas Cove, TX 76522 | (254) 542-1107 |
| Thai House Cuisine | 120 Cove Terrace Shopping Ctr Copperas Cove, TX 76522 | (254) 542-3310 |
| Beijing Chinese Café | 218 Cove Terrace Shopping Ctr Copperas Cove, TX 76522 | (254) 542-8588 |
| Taqueria Mexicano Grill | 232 Cove Terrace Shopping Ctr Copperas Cove, TX 76522 | (254) 542-7700 |
| Little Caesars Pizza | 300 Cove Terrace Shopping Ctr Copperas Cove, TX 76522 | (254) 542-6711 |
| Giovanni’s Italian Restaurant | 310 Cove Terrace Shopping Ctr Copperas Cove, TX 76522 | (254) 518-2227 |
| Dairy Queen | 1406 Georgetown Rd Copperas Cove, TX 76522 | (254) 547-7226 |
| Family Food Mart | 2011 Urbantke Ln. Copperas Cove, TX 76522 | (254) 547-5121 |
| Pizza Hut | 106 E HWY 190 Copperas Cove, TX 76522 | (254) 547-9696 |
| El Corral Resturant | 301 E HWY 190 Copperas Cove, TX 76522 | (254) 542-5561 |
| China Chess | 411 E. HWY 190 Copperas Cove, TX 76522 | (254) 547-8999 |
| Church’s Chicken | 501 E HWY 190 Copperas Cove, TX 76522 | (254) 547-7766 |
| HEB | 804 E HWY 190 Copperas Cove, TX 76522 | (254) 547-6333 |
| Sonic Drive-In | 830 E HWY 190 Copperas Cove, TX 76522 | (254) 547-7047 |
| Jack in the Box | 901 E HWY 190 Copperas Cove, TX 76522 | (254) 547-9898 |
| Burger King | 1001 HWY 190 Copperas Cove, TX 76522 | (254) 547-1825 |
| Taco Bell | 1110 E HWY 190 Copperas Cove, TX 76522 | (254) 542-1004 |
| El Taco Jalisco II | 1217 E HWY 190 Copperas Cove, TX 76522 | (254) 547-8177 |
| Mc Donald’s | 1418 E HWY 190 Copperas Cove, TX 76522 | (254) 547-8212 |
| Kettle Restaurant | 1504 E HWY 190 Copperas Cove, TX 76522 | (254) 547-3101 |
| Cove Rice | 1807 E HWY 190 Copperas Cove, TX 76522 | (254) 542-5898 |
| Subway | 2726 E HWY 190 Copperas Cove, TX 76522 | (254) 542-7299 |
| Domino’s Pizza | 2127 E HWY 190 Copperas Cove, TX 76522 | (254) 547-7566 |
| Long John Silver’s | 2301 E HWY 190 Copperas Cove, TX 76522 | (254) 542-4000 |
| KFC | 2303 E HWY 190 Copperas Cove, TX 76522 | (254) 547-4066 |
| Applebee’s | 2525 E. HWY 190 Copperas Cove, TX 76522 | (254) 518-3001 |
| Bush’s Chicken | 2625 E HWY 190 Copperas Cove, TX 76522 | (254) 542-6796 |
| Wal-Mart Supercenter | 2706 E HWY 190 Copperas Cove, TX 76522 | (254) 518-3729 |
| Mc Donald’s | 2706 E HWY 190 Copperas Cove, TX 76522 | (254) 547-3666 |
| Casa Ole | 2730 E HWY 190 Copperas Cove, TX 76522 | (254) 518-2224 |
| Wendy’s | 2740 E HWY 190 Copperas Cove, TX 76522 | (254) 547-9558 |
| Subway | 214 W HWY 190 Copperas Cove, TX 76522 | (254) 542-7827 |
| Lunch Box | 181 West HWY 190 Ste 4 Copperas Cove, TX 76522 | (254) 542-5862 |
| Seoul Garden | 185 W HWY 190 Ste 3 Copperas Cove, TX 76522 | (254) 542-5544 |

Lodging Contact List

| Lodging Supplier | Street Address | Telephone Number |
| --- | --- | --- |
| Comanche County |  |  |
| Comanche Inn | 508 W Central Ave Comanche, TX 76442-5267 | (325) 356-5267 |
| Country Comfort Motor Inn | 900 W Central Ave Comanche, TX 76442 | (325) 356-2543 |
| Regency Inn | 1301 E Central Ave Comanche, TX 76442 | (325) 356-2508 |
| Best Western Comanche Inn | 1505 E Central Ave Comanche, TX 76442-2850 | (325) 356-2300 |
| Hamilton County |  |  |
| Hico Hills Inn | 401 N Railroad Ave Hico, TX 76457 | (254) 796-4217 |
| Value Lodge In Motel | 704 N Rice (HWY 281 N) Hamilton, TX 76531 | (254)386-8959 |
| Western Motel | 1208 S Rice St Hamilton, TX 76531 | (254) 386-3141 |
| Best Western-Inn / Circle T Arena | 4021 W HWY 36 Hamilton, TX 76531 | (254)386-3209 |
| Mills County |  |  |
| Redbud Inn | 1501 Fisher St Goldthwaite, TX 76844 | (325) 648-3061 |
| Relax Inn | 1230 US Highway 84 Goldthwaite, TX 76844 | (325) 648-2288 |
| San Saba County |  |  |
| Executive Inn L & L Motel & Resturant | 1010 N High St San Saba, TX 76877 | (325) 372-5193 |
| Two Rivers Lodge | 2301 W Wallace St San Saba, TX 76877 | (325) 372-3452 |
| Hill County Inn | 1805 E Wallace St San Saba, TX 76877 | (325) 372-4113 |
| Evening Star Cottages | 702 W Wallace St San Saba, TX 76877 | (325) 372-3184 |
| Burnham’s Lodging | 507 East Wallace St San Saba, TX 76877 | (325) 372-6067 |
| Lampasas County |  |  |
| Saratoga Motel | 1408 S Key Ave Lampasas, TX 76550 | (512) 556-6244 |
| Holiday Inn Express Hotel & Suites | 1200 Central Texas Expressway Lampasas, TX 76550 | (512) 556-9292 |
| Country Inn & Suites | 1502 S Key Ave Lampasas, TX 76550 | (512) 556-6201 |
| Coryell County |  |  |
| Best Western Chateau Ville Motor Inn | 2501 E Main St Gatesville, TX 76528 | (254) 865-2281 |
| Ramada | 111 N HWY 36 Bypass Gatesville, TX 76528 | (254) 865-1207 |
| Regency Inn | 2307 E Main St Gatesville, TX 76528 | (254) 865-8405 |
| Gatesville Inn | 2430 East Main Street Gatesville, TX 76528-1821 | (254) 865-8772 |
| Howard Johnson Super 8 Coppeeras Cove | 302 West HWY 190 Copperas Cove, TX 76522 | (254) 547-2345 |
| Relax Inn | 1714 U.S. 190 Copperas Cove, TX 76522 | (254) 542-6615 |
| Cactus Inn & Suites | 1211 E HWY 190 Copperas Cove, TX 76522 | (254) 547-4271 |
| Luxury Inn & Suites | 2125 E HWY 190 Copperas Cove, TX 76522 | (254) 518-2601 |
| Best Western Inn & Suites | 321 Constitution Dr. Copperas Cove, TX 76522-2580 | (254) 518-3363 |
| Days Inn | 341 Constitution Dr Copperas Cove, TX 76522 | (254) 547-1599 |
| Comfort Suites | 1816 Martin Luther King Jr. Copperas Cove, TX 76522 | (254) 518-8840 |

Public Utility Commission of Texas

| Address: | 1701 N. Congress Avenue PO Box 13326 Austin, TX 78711-3326 |  |
| --- | --- | --- |
| Physical Location: | William B. Travis Building 1701 N. Congress Avenue 7th Floor Austin, TX 78701 |  |
| Phone: | Agency Switchboard Assistance Hotlines Central Records | (512) 936 - 7000 (888) 782 - 8477 or (512) 936 - 7120 (512) 936 - 7180 |
| Hours: | Agency Switchboard Assistance Hotlines Central Records: | 8am – 5pm, M-F 9am – 4pm, M-F 9am – 5pm, M-F Closed Friday Noon – 1pm |
| Email: | customer@puc.texas.gov centralrecords@puc.texas.gov web@puc.texas.gov |  |

PUCT Departmental Phone Directory

| Department | Phone Number |
| --- | --- |
| Customer Service Directory |  |
| Consumer Hotline (Complaints & Inquiries) | (512) 936 - 7120 |
| Customer Hotline Toll Free | (888) 782 - 8477 |
| Fax | (512) 936 - 7003 |
| Receptionist & General Information | (512) 936 - 7000 |
| Commissioners |  |
| Chairman – McAdams, Will | (512) 936 - 7001 |
| Commissioner – Cobos, Lori | (512) 936 - 7001 |
| Commissioner – Glofelty, Jim | (512) 936 - 7001 |
| Executive Director |  |
| Executive Director – Gleeson, Thomas | (512) 936 - 7040 |
| General Directory |  |
| Agency Counsel | (512) 936 - 7144 |
| Central Records | (512) 936 - 7180 |
| Competitive Markets | (512) 936 - 7360 |
| Customer Protection | (512) 936 - 7120 |
| External Affairs | (512) 936 - 7400 |
| Fiscal Services | (512) 936 - 7074 |
| Human Resources | (512) 936 - 7060 |
| Information Technology | (512) 936 - 7100 |
| Infrastructure & Reliability | (512) 936 - 7197 |
| Internal Auditor | (512) 936 - 7448 |
| Legal | (512) 936 - 7260 |
| Library | (512) 936 - 7075 |
| Mailroom | (512) 936 - 7086 |
| Media | (512) 936 - 7135 |
| Office of Policy & Docket Management | (512) 936 - 7200 |
| Oversight & Enforcement | (512) 936 - 7201 |
| Rate Regulation | (512) 936 - 7105 |
| Water Utility Regulation | (512) 936 - 7405 |

National Emergency Contact List

- Chemical Incident

National Response Center

c/o United States Coast Guard (CG-5335) – Stop 7581

2100 2nd Street, SW

Washington, DC 20593-0001

HQS-DG-1st-NRCINFO@uscg.mil

Report an incident on-line	http://www.nrc.uscg.mil/

(800) 424 - 8802

- Biological Incident

CDC Office of Public Health Preparedness and Response (OPHPR)

(800) 232 - 4636

CDC Division of Bioterrorism Preparedness and Response (DBPR)

(800) 232 - 4636

Texas Department of State Health Service (Region 7)

http://www.dshs.texas.gov/region7/default.shtm

Sharon K. Melville, M.D., M.P.H., Regional Medical Director

Carol M. Davis, Deputy Regional Director

2408 South 37th Street

Temple, Texas 76504

Phone: (254) 778 - 6744

Fax: (254) 778 - 3049

TTY: (254) 771 - 6785

- Radiation Incident

Armed Forces Radiobiology Research Institute (AFRRI)

http://www.usuhs.edu/afrri

Uniformed Services University of the Health Sciences

4301 Jones Bridge Road

Bethesda, MD 20814

Medical Radiobiology Advisory Team: (301) 295 - 0989

AFRRI Security Desk: (301) 296 - 3038

Radiation Emergency Assistance Center/Training Site (REAC/TS)

http://orise.orau.gov/reacts/

ORISEinfo@orise.orau.gov (General Information)

reacts@orau.org (Report an incident)

8 am to 4:30 pm (CST)	(865) 574 - 7607

After Hours (Ask for REAC/TS)	(865) 576 - 1005

U.S. Nuclear Regulatory Commission (NRC)

U.S. Nuclear Regulatory Commission

Washington, DC 20555-0001

24-Hour Ops Ctr for Emergencies: (301) 816 - 5100

General Contact: (800) 368-5642 or (301) 415 - 7000

Safety or Security Concern: (800) 695 - 7403

Public Affairs: (301) 415 - 8200

Public Affairs (Fax): (301) 415 - 3716

Region IV

U.S. NRC Region IV

1600 East Lamar Boulevard

Arlington, TX 76001-4511

Hours: 7:30am to 4:15pm (CT) Monday through Friday

(817) 860 - 8100

Toll Free: (800) 952 - 9677

TDD: (301) 415 - 5575

National Nuclear Security Administration (NNSA)

http://nnsa.energy.gov/

U.S. Department of Energy

Office of Nuclear Energy

1000 Independence Ave., S.W.

Washington, D.C. 20585

Main Switchboard: (202) 586 - 5000

Office of Nuclear Energy: (202) 586 - 2240

- Health Incident

U.S. Department of Health and Human Services

http://www.hhs.gov

200 Independence Avenue, S.W.

Washington, D.C. 20201

(877) 696 - 6775

Center for Disease Control

http://www.cdc.gov

(24 hours)	(800) 232 - 4636

Texas Department of State Health Services (See “Biological Incident Section” for info)

- Criminal or Terrorist Incident

Federal Bureau of Investigation

http://www.fbi.gov/

FBI Headquarters

935 Pennsylvania Avenue, NW

Washington, D.C. 20535-0001

National Office	 (202) 324 - 3000

San Antonio Office

http://sanantonio.fbi.gov

sanantonio@ic.fbi.gov (E-Mail)

5740 University Heights Boulevard

San Antonio, TX 78249

(210) 225 - 6741

Fax: (210) 650 - 6153

Counties: Coryell, Hamilton

Waco Texas FBI Office

510 North Valley Mills Road

Waco, TX 76710

Waco Field Office: (254) 772 - 1627

Counties: Lampasas, Llano, San Saba

Austin

Suite 400, Building 7

12515-7 Research Blvd.

STE 400

Austin, TX 78759

Austin Field Office: (512) 345 - 1111

Dallas Office

https://www.fbi.gov/contact-us/field-offices/dallas

One Justice Way

Dallas, TX 75220

(972) 559 - 5000

Counties: Mills

400 Pine Street

Suite 920

Abilene, TX 79601

Abilene Field Office: (325) 677 - 6191

National Infrastructure Coordinating Center (NICC) – DHS

http://www.dhs.gov/national-infrastructure-coordinating-center

nicc@hq.dhs.gov (E-Mail)

Security Incident that has occurred: (888) 282 - 0870

(You may also call 911 or your local FBI field office)

(202) 282 - 9201

North American Electric Reliability Corporation

http://www.nerc.com

1325 G Street, N.W.

Suite 600

Washington, D.C. 20005-3801

8am – 5pm, Eastern, Monday thru Friday	(202) 400 - 3000

- FEMA Contact Information

http://www.fema.gov

Federal Emergency Management Agency

U.S. Department of Homeland Security

500 C Street S.W.

Washington, DC

General Operator: (202) 646 - 2500

Disaster Assistance: (800) 621 - 3362

Disaster Assistance TTY: (800) 462 - 7585

Regional NIMS Coordinators:

Region VI: Denton (Arkansas, Louisiana, New Mexico, Oklahoma, Texas)

FRC 800 North Loop 288

Denton, TX 76209-3698

Main Number: (940) 898 - 5399

Texas Division of Emergency Management

https://tdem.texas.gov

1033 La Posada Dr.

Suite 370

Austin, TX 78752-3832

Main Number: (512) 424 - 2208

After Hours: (512) 424 - 2208

Fax: (512) 424 - 7160

Region 5 Coordinator

Assistant Chief: Brandi Ashby

Brandi.Ashby@tdem.texas.gov (E-Mail)

(806) 740 - 8983

Region 6 Coordinator

Assistant Chief: Jay Hall

jay.hall@tdem.texas.gov

(210) 531 - 4336

Texas Division Emergency Management District Coordinator Areas/County Coordinators

District 23 (Hamilton, Mills, San Saba, Lampasas, Coryell)

David Shaw	(254) 831 - 6918

Robert L. Harrell [Coryell]	(254) 248 - 3154

W. Mark Tynes [Hamilton]	(254) 386 - 1290

Angela Rainwater [Lampasas]	(512) 556 - 4177

Clint Hammonds [Mills]	(325) 648 - 2245

Marsha Hardy [San Saba]	(325) 372-5600 or (325) 372 - 8570

District 7 (Comanche)

Greg Goettsch [Amarillo]	(325) 795 - 4029

Tricia Grimshaw [Comanche]	(325) 356 - 5805

District 12 (Llano)

Robbie Barrera [Austin]	(512) 997 - 4117

Gilbert Bennett [Llano]	(325) 247 - 2039

RUS Contact Information List

Administrators Office

Stop 1560 RM 5165

1400 Independence Avenue, SW

Washington, DC 20250 – 1560

(202) 720-9540

Southern Region Field Contact (TEXAS):

States Covered: OK TX

Conor O’Keefe

(737) 203 - 5921

(512) 429 - 0027 (CELL)

conor.okeefe@usda.gov

States Covered: AZ NM TX

Larry McGraw

larry.mcgraw@usda.gov

(505) 892 - 0353

(505) 235 - 6312 (CELL)

States Covered: AR IA MO OK TX

Dennis Anderson

dennis.anderson@usda.gov

(501) 539 - 0688 (CELL)

Phone Numbers (Southern Region Division):

Main	(202) 720 - 1900

Fax	(202) 720 - 7491

Customer Service	(202) 205 - 9692

| Name | Title | E-Mail | Telephone |
| --- | --- | --- | --- |
| Office of the Deputy Assistant Administrator |  |  |  |
| < VACANT > | Deputy Assistant Administrator |  | (202) 720 - 1900 |
| Lorraine Simpkins | Administrative Assistant | lorraine.simpkins@usda.gov | (202) 720 - 1900 |
| Sonya Brown | Administrative Assistant | sonya.brown@usda.gov | (202) 720 - 2341 |
| Operations Branch |  |  |  |
| < VACANT > | Branch Chief |  |  |
| Susan Richardson | Management Analyst | susan.richards@usda.gov | (202) 720 - 1989 |
| Dennis Wojnar | Management Analyst | denis.wojnar@usda.gov | (202) 692 - 0163 |
| Steve Piccirillo | Management Analyst | steven.piccirllo@usda.gov | (202) 401 - 0037 |
| Karen Hargrove | Management Analyst | karen.hargrove@usda.gov | (202) 720 - 1932 |
| Ghangela Jones | Management Analyst | ghangela.jones@usda.gov | (202) 720 - 3816 |
| Regina Coleman | Management Analyst | regina.coleman@usda.gov | (202) 692 - 0048 |
| Alexis Solano | Management Analyst | alexis.solano@usda.gov | (202) 690 - 3407 |
| Jane Wright | Loan Specialist | jane.wright@usda.gov | (202) 720 - 1912 |
| Vieda White | Loan Specialist | vieda.white@usda.gov | (202) 720 - 7757 |
| Tracie Reddix | Loan Specialist | tracie.reddix@usda.gov | (202) 260 - 0843 |
| Sherrie Carter | Loan Specialist | shrrie.carger@usda.gov | (202) 720 - 2294 |
| Engineering Branch |  |  |  |
| Donald Junta | Branch Chief | donald.junta@usda.gov | (202) 720 - 3720 |
| Mike Eskandary | Electrical Engineer | mike.eskandary@usda.gov | (202) 720 - 9098 |
| Trung Hiu | Electrical Engineer | trung.hiu@udsa.gov | (202) 720 - 1877 |
| Ken Rush | Electrical Engineer | kenneth.rush@usda.gov | (202) 260 - 8017 |
| Chendi Zhang | Mechanical Engineer | chendi.zhang@usda.gov | (202) 690 - 9032 |
| Emily Flannigan | Mechanical Engineer | emily.flanigan@usda.gov | (202) 690 - 5287 |
| Technical Standards Committee A |  |  |  |
| Norris Nicholson | Electrical Engineer & Chair | norris.nicholson@usda.gov | (202) 720 - 1979 |

FEMA Eligibility Requirements

HCEC is aware of the need to maintain awareness/eligibility for FEMA funds. In order to facilitate this for all employees that will be involved in the process HCEC has created a document entitled “Guide for FEMA Public Assistance for Disaster Re-Imbursement”.

Below is the FEMA FACT Sheet DAP 9580.6:

Office Fire Evacuation Routes & Fire Extinguisher Locations

Backup Facilities Location

HCEC’s Backup Facilities are located at HCEC’s Pole Yard Located at:

332 CR 506

Hamilton, TX 76531

Phone: (254) 386 - 8123

EOP Revision History

Version 1.1	4/21/2022 - Updates to Comply with PUCT Rule §52.53

Version 1.0	Original Document before PUCT Rules 52.52 Changes