Lacy Creek Wind, LLC Emergency Operations Plan (EOP)/Emergency Action Plan

Executive Summary

The purpose of this Emergency Operations Plan is to ensure a comprehensive document of reference is available and accessible to designated individuals with up-to-date information necessary so that operations of this generation resource can mitigate the negative impact and/or recover from a multitude of disasters.  The plan actions are intended to mitigate health risks to plant personnel and people in the surrounding community, as well as minimize adverse impacts to the environment.

This plan addresses the following:

### Natural Disaster /Severe Weather Event (APPENDIX 1)

### Fire Response Event (APPENDIX 2)

### Physical Security Event (APPENDIX 3)

### Cyber Security Event (APPENDIX 4)

### Capacity/Transmission Event (APPENDIX 5)

### Environmental Event (APPENDIX 6)

### Gas Pipeline Event (APPENDIX 7)

### Oil Pipeline Event (APPENDIX 8)

### Pandemic Event (APPENDIX 9)

### Immediate Site Evacuation Procedure (APPENDIX 10)

### Delayed Site Evacuation Procedure (APPENDIX 11)

### Designated Egress Routes & Muster Areas for Evacuations (APPENDIX 12)

### Personnel Injuries and Serious Health Conditions (APPENDIX 13)

### Personnel Injuries and Serious Health Conditions (Supplemental information for Wind only) (APPENDIX 14)

### Summary of Alternative Fuel & Storage Capacity (APPENDIX 15)

### Emergency Shortage of Water (APPENDIX 16)

### Priorities for Recovery of Generation Capacity (APPENDIX 17)

### Critical Failure Points & Mitigation (APPENDIX 18)

### Staffing During Severe Weather Events (APPENDIX 19)

### Summary of Weatherization Plans & Procedures (APPENDIX 20)

### This document has been reviewed and accepted by NextEra Energy Resources, LLC’s VP of Operations and Support Services

### Distribution of the Emergency Operations Plan includes:

### Emergency Operations Plan will be distributed to the applicable site personnel prior to the project’s in-service date.

### Affidavit is attached

### Specific Page numbers by section:

### Approval and implementation of EOP – Page 2

### Individuals to maintain & implement as well as update the EOP – Page 2

### EOP revision control summary

### Dated statement since the prior EOP and supersedes previous EOP – Not Applicable

### Date of EOP approval – Page 2

### Communication Plan – Supplement

### A plan to maintain pre-identified supplies for emergency response – Page 26

### A plan for staffing during an emergency response – Page 39

### A plan on how to identify weather-related hazards – Page 9

### Weather Emergency Annex

### Cold or Hot Weather Emergency – Page 40

### Fuel Switching Equipment – Not Applicable

### Water Shortage Annex – Page 36

### Restoration of Service Annex – Page 37

### Pandemic & Epidemic Annex – Page 25

### Hurricane Annex – Not Applicable

### Cyber Annex – Page 18

### Physical Security Incident – Page 14