EMERGENCY OPERATION PLAN

North Plains Electric Cooperative, Inc.

Executive Summary	5

DEFINITION OF EMERGENCY LEVELS	7

Pre-Storm Watch	7

Level 1	7

Level 2	7

Level 3	7

Fire Mitigation	8

Operations Group	9

Engineer, Operations Manager and Engineering Services Manager	9

System Dispatch Operators	9

Member Service Group	10

Communications Specialist	10

Customer Service Representatives	10

Line Foremen/Staking Technicians/Engineering Services Group	10

Facilitators	10

Complaint Handling Procedures	11

Coordination With Visiting Work Crews	12

Critical Loads	12

ENGINEERING and OPERATIONS	13

ACCOUNTING	18

Risk Mitigation Efforts	22

Short-Term Recovery Efforts (Accounting Functions)	23

Long-Term Recovery Efforts	24

Notes / Recommendations	24

COMMUNICATIONS and PUBLIC RELATIONS	25

Risk Mitigation Efforts	27

Short-Term Recovery Efforts (Communications)	28

Long-Term Recovery Efforts	29

Notes / Recommendations	29

Sample News Media Communication	30

Sample Communications Policy	31

Letters to Co-op Members Regarding Extended Outages due to Disasters	32

Sample #1	32

Sample #2	33

Information Systems and Paper Records	34

Risk Mitigation Efforts	35

Short-Term Recovery Efforts (Information Technology)	36

Long-Term Recovery Efforts	37

Notes / Recommendations	37

Office / Office Equipment / Inventory	38

Risk Mitigation Efforts	40

Short-Term Recovery Efforts	41

Long-Term Recovery Efforts	42

Notes / Recommendations	42

Personnel / Human Resources	43

Risk Mitigation Efforts	44

Short-Term Recovery Efforts	45

Long-Term Recovery Efforts	46

Notes / Recommendations	46

Warehouse / Pole Yard / Fleet	47

Risk Mitigation Efforts	48

PURCHASING and MATERIALS MANAGEMENT	49

Short-Term Recovery Efforts	51

Long-Term Recovery Efforts	52

Notes / Recommendations	52

EMERGENCY OPERATIONS CENTERS	54

ENVIRONMENTAL ISSUES	55

State Historic Preservation Office	57

Memorandum of Understanding	58

Procedures for securing emergency help from Group V.	60

Suggested items needed for storm restoration efforts:	61

Assistance Request Form	62

TEC Plan of Action	64

Attachments & Forms	65

Board Policies	65

Sample Policy #1	67

Sample Policy #2	67

Basic Safety Rules	68

Information and Communication for members	71

TEC recommended Uniform Method of Reimbursement	73

TEC Mutual Aid Agreement	74

TEC Mutual Aid Agreement Comments	75

Mutual Aid Agreement Participants (Texas Only)	77

Rest & Recuperation Leave Policy	81

TEC Sample Notification Form	86

TV Stations & Web News	87

Radio Stations	87

Newspapers	87

Area Schools	88

NPEC Critical Load Members/Oxygen, CPAC	90

Municipal Critical Loads	90

External Resources	92

NPEC Cooperative Personnel	93

Electric Cooperative’s Guidance in FEMA Declared Disasters	95

FEMA Enabling Legislation	95

ANNEX……………………………………………………………………………………………………………………………….. 96

ANNEX A: LOAD SHED………………………………………………………………………………………………………………………. 96

ANNEX B: PANDEMIC PREPARDNESS PLAN………………………………………………………………………………………. 98

ANNEX C: WILDFIRE MITIGATION PLAN …………………………………………………………………………………………. 122

ANNEX D: HURRICANES………………………………………………………………………………………………………………….. 123

ANNEX E: CYBERSECURITY………………………………………………………………………………………………………………. 124

ANNEX F: PHYSICAL SECURITY INCIDENT………………………………………………………………………………………… 144

ANNEX G: REQUIREMENTS FOR TRANSMISSION & DISTRIBUTION UTILITIES………………………………….. 149

# Executive Summary

- In every business, there exists a need for speedy recovery from different types of disasters or attacks. Acts of God and man-made disasters have been known to cripple or destroy business functions and even entire organizations.

- This document provides adherence to the Texas Public Utility Project No. 51841, Review of 16 TAC 25.53 Relating to Electric Service Emergency Operations Plans (EOP), which seeks to implement requirements in SB 3 and revised Tex. Util. Code 186.007 that requires all electric cooperatives to update and include additional information in Emergency Operation Plans.

- Given the natural exposure to weather related outages, electric utilities have long proven disaster mitigation plans in place to recover their electrical grid. North Plains Electric currently maintains an Emergency Work Plan that provides disaster-planning resources. Mutual aid agreements between member electric cooperatives are in place at both the state level and nationally through TEC and NRECA. NPEC is a participating Cooperative in a memorandum of understanding with 15 Golden Spread EC Cooperatives and Lea County Electric Cooperative NM in the case of a disaster.

- Several types of disasters and attacks can occur that threaten Electric Cooperatives’ ability to efficiently provide service to members. Disasters such as fire, tornado, and earthquakes can result in total loss situations where tools and equipment, on-site data, hardware, software, facilities, and even personnel are lost. Severe weather, such as lightning, and floods can be damaging to sensitive electrical equipment and threaten the ability to do business from a particular location. Both of these disasters tie in with the potential for loss of power or other utilities. Sabotage can be either from external forces causing damage to structures, facilities, data through hacking or viruses, or from internal sources (personnel) damaging company resources. Recent cyber attacks on business data have become an extremely costly issue.

- The purpose of this Disaster Recovery Plan is to speed this organization’s recovery from a wide range of disasters or attacks. Though it may have a low probability of occurring, a plan would nonetheless have a huge impact on the cooperative’s ability to manage business systems. It will enable neighboring electric cooperatives to share resources more efficiently, establish procedures for mitigating losses, and provide quick access to critical business operations information.

Objective

- The objective of this preparation manual is to provide the cooperative with a process to improve the effectiveness and responsiveness of all aspects of cooperative business following various disasters and to meet the requirements of the PUCT. This manual assists NPEC in developing a comprehensive plan by focusing on the following:

  - Identification of the business and operations functions that could be affected by a wide range of disasters;

  - Mitigation efforts that will have a direct effect of reducing the impact on critical functions;

  - Short-term tactical restoration recommendations, and

  - Long-term strategic restoration and/or risk reduction recommendations.

EMERGENCY SERVICE RESTORATION PLAN

North Plains Electric Cooperative, Inc. maintains this emergency operations plan in anticipation of natural disasters or situations involving curtailments or major interruptions in electrical service.  The plan establishes organizational and personnel assignments, describes emergency communication procedures and lists emergency contacts.  It also contains information concerning members with life sustaining electrical equipment and plans for communication with all customer classes.

A portion of the plan concerns the coordination of emergency assistance with Local Office of Emergency Management and other local emergency agencies, neighboring cooperatives, construction contractors, and other utilities.  It outlines procedures for securing assistance according to the plan to include that developed by Texas Electric Cooperatives through TEC Loss Control.

The NPEC plan has been revised based on the model developed by Texas Electric Cooperatives so that there would be significant uniformity from cooperative to cooperative.  The Table of Contents is attached to illustrate the elements of the plan.

PURPOSE

Plan the restoration of service to our members prior to interruptions due to storms or other causes.  The plan should maximize time, effort, and opportunity.  This plan is a guideline that can be adjusted as the situation requires.

SCOPE

This plan establishes:

- The levels of the emergency from pre-storm watch to major destruction.

- The guidelines to be used at each damage level or impact event.

- Responsibilities and duties of each department and of specific individuals.

- Mutual Aid Partners and Local Contact Lists

- Annex A: Load Shed; Page Number 96

- Annex B: Pandemic Preparedness Plan; Page Number 98

- Annex C: Wildfire Mitigation Plan; Page Number 122

- Annex D: Hurricanes; Page Number 123

- Annex E: Cyber Security; Page Number 124

- Annex F: Physical Security Incident; Page Number 144

- Annex G: Requirements for Transmission and Distribution Utilities; Page Number 155

This plan will be reviewed periodically and continually updated by management and key staff of NPEC.  The official copy will be maintained in the offices of North Plains Electric Cooperative.

A critique of the plan and its effectiveness will be conducted following any natural or terror related disaster.  The critique should generate improvements to the plan and formulate solution strategies with regard to noted weaknesses in the plan.

# DEFINITION OF EMERGENCY LEVELS

## Pre-Storm Watch

The situation is prior to the arrival of an anticipated storm.  This is a precautionary situation that would follow a weather broadcast of severe nature.  The Engineer, Operations Manager and Engineering Services Manager will monitor the situation.

- EXPECTED OUTAGE TIME-NONE

- CUSTOMERS OUT OF SERVICE-NONE

- INITIATED BY: OPERATIONS MANAGER/ENGINEERING SERVICES MANAGER

## Level 1

An emergency/outage where cooperative crews are able to restore service in less than 4-hours.  Personnel assembled as needed.

- EXPECTED OUTAGE TIME: 0 TO 4 HOURS

- CUSTOMERS OUT OF SERVICE: LESS THAN 100 MEMBERS

- INITIATED BY: OPERATIONS MANAGER, DISPATCHER OR ON-CALL SUPERVISOR

## Level 2

An emergency where cooperative crews are able to restore service in less than 12-hours. All necessary construction, operations, and service personnel report.

- EXPECTED OUTAGE TIME:  4-12 HOURS

- CUSTOMERS OUT OF SERVICE: SUBSTATION OR MAJOR CIRCUIT

- INITIATED BY: OPERATIONS MANAGER, DISPATCHER OR ON-CALL SUPERVISOR

## Level 3

An emergency where cooperative crews may require outside help to restore service.  All Cooperative operations employees determined necessary must report.

- EXPECTED OUTAGE TIME: MORE THAN 12 HOURS

- CUSTOMERS OUT OF SERVICE: WIDE SPREAD DAMAGE

- INITIATED BY: ENGINEERING SERVICES MANAGER, OPERATIONS MANAGER OR GENERAL MANAGER

DUTIES FOR ALL GROUPS

## Operations Group

- Coordination and direction for the operating activities required for the restoration 	of the transmission and distribution system during the entire period of any and 	all emergencies:

- Staff the facilities for the required operational restoration functions.

- Provide central communication and status information updates to key staff                 and office personnel.

- Determine problems and a course of action to follow.

- Determine extent of service interruptions by area and meter count.

- Determine manpower requirements and call out appropriate personnel.

- Set priorities for switching, patrolling, and restoration.

- Stake lines in advance of restoration when possible.

## Engineer, Operations Manager and Engineering Services Manager

- Determine the level of the emergency.

- Determine proper course of action to restore transmission and distribution                  systems back to operating condition.

- Determine the need for outside assistance.

- Control and direct all instructions for switching and patrolling.

- Control and direct all relaying, SCADA operations and communications.

- Insure all operating personnel function as prescribed.

  - Determine location and possible cause of the outage.

  - Determine location of protective devices and switches involved for the 	restoration of power.

- Secure outside contract assistance if necessary.

  - Determine and execute relief schedules during extended service restoration.

    - Establish a crew rotation plan when restoration of the system is exceeding           individual safe working hours.

  - Periodically review and determine the best utilization of equipment and 	personnel.

  - Coordinate material requirements with purchasing agent to the material supplier.

## System Dispatch Operators

- Coordinate and dispatch all switching and patrol operations between the line              crews and the Operations Manager.

- Maintain log of all events during the outage.

- Monitor Outage Management System (OMS) and SCADA.

- Maintain a list of employees’ phone numbers and addresses.  Call-out personnel 	upon request.

  - Identify each problem area utilizing OMS on the system map.

- Track the location of personnel in the field and maintain record.

## Member Service Group

- Provide trained and courteous personnel for answering member outage calls and verify power restoration to members.

- Assist with prioritization of outage calls with regard to special needs or critical 	loads.

- Provide members additional information with respect to anticipated outage 	time and the extent of the damage as supplied by Operations personnel.

- Continually train personnel to use outage management system for customer          service representation.

- Maintain function of offices with reduced staff during normal business hours.

- Distribute a list of members with special, life-support, or other critical problems.

## Communications Specialist

- Communicate with and identify key account customers for the Operations Group.

- Coordinate news releases and public service announcements with the General 	Manager.

- Establish and maintain information flow to the membership and the 	employee      service group.

- Prepare news releases, public service announcements, and 	other pertinent          information as may be deemed necessary for general instructions, safety, and      well-being of the membership.

- Communicate daily with appropriate community leaders of the progress in            effected areas.

## Customer Service Representatives

- Collect complete information using outage management system program.

- Answer member outage calls courteously, calmly and professionally.

- Maintain accurate outage information for call back members.

- Confirm restoration of power by follow-up phone call.

## Line Foremen/Staking Technicians/Engineering Services Group

- Field coordination of the power restoration plan by maximizing progress of crews and maintaining adequate equipment and material in the field.

- Meet daily with the Operations group to assist in the progress of the 	Restoration Plan and determine plan for the following day.

## Facilitators

- Includes any and/or all remaining employees of the Cooperative. Duties will be     assigned by the Manager. These duties will vary from day-to-day and will              address any special needs of the membership, cooperative, or the workforce.

The following list of duties and activities are representative only.

- May be directed to determine the extent of damage by field inspection.

- May provide guidance to damage areas and accumulate material lists.

- May coordinate and deliver materials and meals to Construction Crews.

- May guide out-of-town crews to damaged areas.

- May visit members that are on life support systems if communication system is 	not working.

- May provide additional support to critical or “key” accounts.

NEWS & MEDIA PROCEDURAL GUIDELINES

All Personnel - Report information about employees or the operations and activities of the Cooperative to the Communications Specialist.

Dispatchers or System Operating Personnel - In the event of a major electric system outage or emergency, the Engineer should be notified immediately.  If advisable, then notify the Communications Specialist and the General Manager where a decision will be made to either contact the news media or wait for an inquiry.  Depending on the nature of the situation, the Communications Specialist may decide to write a report (take photos, etc.) for either a news release or member advisory.

Communications Specialist - Prepare all news and press releases and advise the General Manager accordingly.  Serve as the official spokesperson for the Cooperative in answering inquiries and making position statements.  Confer with appropriate department managers on matters requiring either media response or news releases in order to assure accuracy of reporting.

Engineer/Engineering Services Manager - Notify the Communications Specialist of system operating outages and other emergency conditions or situations that could invite media attention or need media or member advisories

CFO - Notify the Communications Specialist of rate and/or billing matters or other situations that could invite media attention or need media or member advisories.  Act as official spokesman in the absence of both the Communications Specialist and the General Manager on matters relating to this department.

Field Crews - Keep Dispatcher and Engineer/Engineering Services Manager fully informed of any situation that would invite media attention.  In situations where the media is on location, cooperate fully to the extent that neither safety nor efficiency of work is impaired.  Answer all questions as briefly as possible without speculating.

## Complaint Handling Procedures

During an emergency, the cooperative’s telephone system will be staffed around the clock in order to receive information from customers, emergency authorities and others. Also, personnel will be on duty at all times to receive outage reports from consumers appearing in person.

## Coordination With Visiting Work Crews

Under extreme damage conditions, NPEC will assign one qualified engineering or operations employee to manage and shadow each contractor crew. If visiting crews operate on the same radio frequency as the cooperative, dispatchers and field personnel can communicate directly with the radio-equipped trucks.  For those trucks operating on a different frequency or without radio equipment, the cooperative may issue hand-held radios, if available, to communicate with NPEC personnel. Cell phones shall be used if available.

## Critical Loads

Before telephone service is not available, the cooperative will attempt to notify critical loads either before or at the onset of an emergency through social media, Website posts and broadcast radio. When telephone service is not available notification through utility personnel in the field shall be deployed.

Texas defined critical loads include natural gas producing wells, municipal water wells, sewage treatment plants, extended living facilities, nursing homes and individual homes with members on life support devices.

# ENGINEERING and OPERATIONS

- Engineering department shall use the current Construction Work Plan standards concerning specific pole and conductor sizes that conform to RUS requirements and other items to be used in a “Standard Construction Policy.” Co-op staking sheets and work plans may be used as examples to show proof of a “replacement standard” being in place prior to the occurrence of a natural disaster.

- Dispatch and operations personnel should note the date and time the first outage occurred due to the disaster, and the date and time the last consumer’s electricity is restored.

- FEMA Related. The engineering/operations department will solicit at least three (3) bids for permanent repair work to be done, preferably before the conclusion of the 70-hour Emergency Protective Measures period unless cooperative personnel supervise contractors. Bids from contractors must be received, along with price sheets for storm labor and equipment. Bids shall be taken on a per-unit basis, rather than hourly. Proof must be shown that the contractor was supervised by the cooperative, complete with daily notes and documentation if billing is hourly.

- FEMA Related. Additional engineering resources shall be arranged to assist in the daily development of staking sheets, material sheets, and work order information if the situation warrants that action. This will allow the staking technician to stay ahead of construction crews, and provides for an orderly flow of necessary and vital information to other key departments.

- FEMA Related. Member donated items, such as food, services and labor, must be well documented. It may be necessary for the member or group providing these items to sign an affidavit listing the cost of donated items, or for an invoice to be provided. This could then be included in Administrative Expense by the cooperative.

- FEMA Related. Prepare staking sheets as soon as possible for work to be done. The labor for making the staking sheets should be included in the work order and is FEMA reimbursable (Category F, Utilities, permanent repairs). The labor involved in looking for and estimating damage to the system is not reimbursable except as Administrative Expense.

- Recommended damage survey procedures:

  - The Operations Manager shall determine the correct method to perform a ‘Fast Survey’ of the area(s) in which damage is suspected. If extreme destruction is anticipated, the use of an aircraft and/or drone shall be used to survey the damage. Otherwise, enough personnel to drive through the damaged area(s) in one day or less shall be used.

  - The Fast Survey is designed to rapidly determine the extent of damage throughout the co-ops’ system. It will allow for better decision-making concerning crews, materials and equipment.

  - Damage reports from survey personnel should list the location using GPS coordinates and reference points, approximate length (1 mile, etc.) of damage in area, the type of damaged pole line and any other pertinent information.

  - Collect all reports during the survey at the dispatch center or temporary Emergency Operations Center and mark the damaged locations on a Key Map. A database should be started to log each of the damage reports by line section or map location number. Documentation of the scope and location of the damage will be needed for later accounting purposes.

  - If conditions allow, cell phones should be used to report damage immediately; the designated employee should log these reports onto the Key Map and also log the reports into the database.

  - Survey teams shall not stop and draw staking sheets or make detailed material sheets during the initial Fast Survey. The goal is to rapidly drive through the damage area(s) to determine the extent and locations of damage. The information gathered will then be used to determine crew and material requirements. The earlier the co-op gets a handle on the extent of the damage, the earlier proper staking sheets can be developed for known damaged locations.

- Beginning repairs: The cooperative will concentrate on areas to get power restored to the most consumers with the least amount of work, and to critical loads, if possible. Work will begin at substations and restoration on main feeder lines outward from that point. If damage is extensive in an area, staking technicians may need to be sent ahead of repair crews in order to draw staking sheets and set stakes. All feeder lines and critical loads should be identified in advance.

- Some lines can be repaired with little or no staking; others will have to be staked by staking technicians using Partner software as if they are new construction.

- Ice storms may break poles down, but type of framing and original hole locations will still be known. Repair crews can reset new poles in these instances without staking sheets or stakes, unless the damage involves Codes and Standards changes, which may necessitate re-staking due to changes in ruling spans being made for proper clearance purposes.

- Quick RUS staking sheet drawings listing pole framing requirements are very helpful for repair crews, but in ice storms, with a visible pole line in place, it may not be necessary for staking technicians to measure spans or set stakes. Staking technicians will have to coordinate with repair crews, and vice-versa.

- Inspect and document the repairs: Once repairs are underway, use engineering personnel to inspect repaired or replaced work at locations. Staking Technicians using Partner software or additional engineering help from neighboring co-ops should be considered. Engineering personnel will have to look for all poles and construction units that were set or replaced during the disaster. Some repairs may have been made without benefit of written records; the purpose of the engineering follow-up inspection is to further document repair locations and materials used.

- The second purpose of the inspection is similar to work order inspections. List the material units used at each damaged pole location, noting any cleanup or corrections that may be required in order to bring the line into compliance with current co-op, RUS and NESC Codes and Standards.

- FEMA Related. For Category F, Utility (permanent repairs), board-approved co-op design standards and staking tables shall be followed. This customized “Standard Construction Policy” spells out standard pole heights, conductor sizes and ruling spans to be used at the cooperative, and should be utilized every day by co-op staking personnel.

- The third purpose of the inspection is to have personnel check surrounding areas for damaged lines possibly overlooked during the initial Fast Survey. Some lines may serve idle or seasonal services and should be closely evaluated for either rebuild or retirement.

- FEMA Related. Inspection notes must be detailed and listed by map location number. The notes should be entered into a database for easy retrieval and subsequent evaluation. Documentation of all work performed during the disaster is a major task, but is absolutely critical if a cooperative expects to qualify and receive FEMA reimbursement. These records will be used to ensure the system is returned to current Codes and Standards, and to help document material and labor costs associated with all reconstruction efforts.

- FEMA Related. Contracts from contractors: The co-op must have in place, or be prepared to receive from at least three (3) different sources, bids for permanent repairs. This is preferable during the 70-hour Emergency Protective Measures period immediately following the disaster. During the initial emergency period, if a contract has not been signed by the contractor, any record of contact, arrival times, and/or anything discussed by phone or in person with the contractor should be documented. OIG auditors may allow these costs from contractors, but only if the co-op proves such verbal agreement existed via documentation.

- Contractors unfamiliar with local co-op service areas will require supervision and instruction by co-op employees. Trained and experienced employees should be used to supervise these contractor crews.

- If possible and if needed, any local contractors and their extra crews should be used. Keep contractor emergency storm repair rates or local contractor contact information on file with the cooperative, as well as rates for permanent repairs.

- FEMA Related. Keep all receipts during the event, in case the storm or event is later declared a federal disaster.

- FEMA Related. Work Orders: NPEC shall determine the number of work orders to use following a disaster. Counties shall be designated with map location numbers noted on all time sheets, staking sheets and material sheets.

- On-file contracts: NPEC retains contracts and keeps them on file from select contractors. Included in those contracts should be a sheet pertaining to emergency storm work. Contractors will be contacted within the first 24 to 36 hours of the disaster if damage warrants contractor assistance. FEMA Related. Again, bids for repairs should be let during the 70-hour Emergency Protective Measures period, and before permanent repairs begin.

- Rights-Of-Way (R-O-W) contractors: A R-O-W contractor can be very beneficial during a disaster, especially if needed for debris removal. The contractor may need to be supervised by co-op personnel, and will need to provide complete details of their daily work, submitting detailed invoices on a weekly basis.

- All departments should be notified of work orders assigned to a disaster. Departments should also be informed of activity codes that may be assigned. Coordinate specifically with the accounting department to ensure that copies of all time sheets, invoices, checks and cash receipts are obtained. FEMA Related. Keep a working file that is designated by work order number, FEMA Category A through F, and location (map number, county, etc.).

- Utilize all available employees and volunteers as needed to deliver food and/or materials to crews in the field. FEMA Related. All receipts and detailed logs of material and/or equipment delivered must be kept.

- Fuel (diesel, gas, etc.) from suppliers throughout the co-op’s service area may or may not be available. A contingency plan should be in place to deliver properly-sized backup generators to these fuel suppliers in case their pumps have no electricity due to the disaster.

- Have all contactors sign a simple contract stating that they are indeed contractors and that they agree to “hold harmless” the cooperative from liability, worker’s compensation claims, damage to hotel/motel rooms, and damage to public/private property due to their crews’ negligence. Include in this agreement that weekly invoicing for work performed by the contractor is expected by the cooperative.

- Engineering firms may need to be used to prepare bid specifications. Utilize their services, if available, during a disaster situation. This will also help in allowing the cooperative’s in-house engineering and staking department personnel to stay ahead of contractors and construction crews with staking and material sheets, which is absolutely necessary.

- FEMA Related. As soon as possible during the disaster, utilize available personnel, part-time employees, or possibly retirees to take both still pictures and videos of the damage. This serves two purposes: 1.) It makes a permanent record of the amount of ice that was on the line or the level of devastation caused by a hurricane or tornado, thus making damage repair estimates more realistic; and, 2.) Photos and videos can be used to show FEMA and/or state emergency management personnel conditions that caused the damage to the cooperative’s system. Remember that FEMA and/or state emergency management personnel often do not show up at the cooperative until several days (or weeks) have passed, so these photos and videos can play a very important role in verifying and validating damage assessments and the necessary levels of permanent repairs to be stipulated in PWs.

- Any verbal contract or agreement between contractors and cooperative personnel should be written down and recorded. A checklist should be made by the engineering/operations departments of documentation to be required from all contract crews. This documentation will serve as backup for review of billing invoices submitted by contractors. If documentation is not present and does not backup an invoice submitted by the contractor, the contractor should be required to find and submit the proper documents before payment is made to the contractor by the cooperative.

- Contractors should be required to submit weekly invoices, including time sheets, detailing individual crew member names, where they worked, hours worked, equipment used, etc., and listing costs for pieces of equipment used in both the emergency restoration and permanent repair efforts.

- Engineering/operations personnel should be prepared to document and explain the process used by the local cooperative to select work crews, whether from other co-ops (through a Mutual Aid Plan) or from contract construction crews. An ‘Action Plan’ detailing how the co-op selected contractors and why specific equipment was requested for the emergency restoration and permanent repairs process should also be developed.

NOTE: Utility employees are now exempt from “Hours of Service” driving regulations.

# ACCOUNTING

The stability of the electric utility industry makes us slightly less susceptible to business interruption when compared to businesses that will likely lose significant market share if they cannot deliver their products and services in a competitive environment. However, it is important to plan for recovery from a large-scale disaster. There are questions in planning for the cooperative’s business contingency that must be considered:

- How will our cooperative continue to collect payments from walk-in consumers if our Perryton office has been destroyed?

- How strong are our relationships with our lenders and vendors?

- What type of physical security do we need to have in place if we are operating from the Canadian Bootcamp office or a temporary location?

- Should backup banking arrangements be in place prior to any type of disaster?

In the event of an emergency, the following accounting functions are important to the continuity of service.

- Accounts payable

- Accounts receivable

- Banking

- Payroll

- Availability of short-term cash

- Records and record keeping

- Security

The following accounting functions are necessary for the smooth operation of the business during normal operating conditions and/or emergency conditions:

- Maintenance of accounting records.

- Safeguarding of accounting records.

- Non-interruption of accounting functions, including payroll time sheets and            receipt tracking.

- Lines of credit with current / new vendors, CoBank, CFC & RUS.

- Contact with banking institutions, insurance carriers and vendors.

- Public and member communications through print, radio or television.

FEMA Related.

- Project Worksheets (PWs) should specify quantifiable and verifiable quantities of work to be done whenever possible. Accounting personnel should be prepared to explain any cost over-runs or the reasons for higher costs than were estimated. Notify the state emergency management office immediately if an over-run is anticipated. The progress of a PW should be tracked constantly, and may require the use of a full-time accounting manager for any FEMA-related work performed at the cooperative.

- On the first day of the disaster, implement activity codes for tracking work by location and by type of work, i.e., emergency restoration, permanent repair, etc. These activity codes must be used by all employees on their time sheets and accountants must use them on contractor invoices.

- Maintain close contact with the engineering department regarding work order numbers assigned, or to be assigned, to the disaster. To expedite information gathering, activity codes by county may be assigned to work projects.

- The co-op should keep a log of all contract crews hired during the disaster. The log should include company names, their hotel/motel expenses, and meal expenses, with crewmembers’ names and their local accommodations.

- Contractors should be made responsible for maintaining their expense records and for submitting invoices to the cooperative on a weekly basis. In addition to crew names on receipts, it would be helpful to list the crews’ weekly work location by county, map number, etc. Also, if the time and expenses are related to time spent by the contractor driving to the cooperative, the contractor should so specify on the invoice or receipt. If receipts are not included with invoices, then no payments should be made by the cooperative until such time as missing receipts are supplied or the charge is removed from the billing.

- After FEMA’s Project Officer has been assigned and begins working with the cooperative, assign the PW numbers to all invoices. Prepare a spreadsheet that summarizes the PWs, including the invoices, check numbers, vendor names, and amounts. If possible, make copies of all documents and place with the spreadsheet. Make copies of all spreadsheets that are created and place them on a disk (CD) and file them in the cooperative’s vault, a safety deposit box, or a safe and secure place.

- Keep all receipts from co-op crews; consider utilizing credit cards for supervisors in order to better maintain records from the disaster.

- Make copies of all time sheets, invoices, checks and cash receipts as they are obtained. Keep a working file designated by work order number, FEMA disaster Category A through F, and by location.

- In order to show details of work, it is recommended that a folder be set up in Excel (or other spreadsheet software used by the local cooperative) and to save all work documents on a shared server platform. This allows the following:

    - Payroll detail to be captured from time sheets. A spreadsheet can be prepared showing daily time, including regular hours and wages, overtime hours and wages, with employee names, numbers, and titles for each FEMA Category A through F. This also allows for preparation of a cover sheet with total hours and total dollars, including breakdown of costs by county. It is suggested that space be set aside on the spreadsheet for a supervisor’s signature, certifying the true and accurate nature of the time sheets and other materials to be reviewed.

B. Prepare a similar spreadsheet(s) for contract employees, temporary employment service personnel, or other temporary employees.  Contractor certificates of insurance and relevant contracts with the cooperative should also be attached with the spreadsheet. A supervisor’s signature verifying accuracy is recommended.

- Prepare a cover sheet for all contractors’ invoices for Category F damage, outlined by specific contractor, invoice numbers, dates of invoices, check numbers, amounts, and distribution by county. A supervisor’s signature verifying accuracy of information and invoices is recommended.

- Print a detailed listing of all material from the material systems. Maintain copies of warehouse pick lists and any documents used to gather materials information. It is recommended that a special inventory be taken as soon as possible after the disaster to reinforce documentation. If a co-op has inventory on consignment, the vendor should also balance their inventory.

- Prepare a Totals page of all FEMA Categories, by county, and present a grand total of the disaster damage incurred by the cooperative. This gives confirmation that detailed spreadsheets are in balance.

- Create a check register in Excel or other spreadsheet software, keeping it in check   number order. Create a column to reference the PW that applies to each check        written for reimbursement. This register will prevent duplicate claims from occurring on multiple PWs.

- Keep all records of calculations involving percentages for fringe benefits for              employees.

- Keep all records and documents in one location; copy any document that could possibly be related to the disaster. Do not let documents get separated.

13. Keep copies of all contractors’ contracts. If no written contract exists, keep notes of any verbal agreements, their stipulated rates of pay, and requests for copies of their certificates of insurance.

14. Have an Organization Chart of all cooperative employees, indicating what area or department they worked in before and during the disaster. This will help resolve questions about force account labor when it is classified into Categories A, Debris Removal; B, Emergency Protective Measures; and F, Utilities (Permanent Repairs).

15. Make a copy of the Worker’s Compensation report for each month that disaster work is performed and keep on file for auditors.

16. Require all contractors to send in copies of their employees’ time sheets on a weekly basis. It is also advisable to keep co-op employees’ time sheets in this file as well. Make copies of co-op employees’ individual rates of pay at the time of disaster and keep on file with their time sheets for the length of the disaster.

17. Keep all payroll audit reports for the time frame of the disaster; also keep all payroll calculations for the disaster period.

18. Make a copy of all journal entries made regarding the disaster.

19. Keep copies of all cash sheets that show when the cooperative received FEMA or state emergency management agency disbursements.

20. Remember: all contractors’ billing is date-sensitive. Therefore, all billings should include: when, with what equipment, by whom, and how much (labor/materials), all to be accounted for on a daily basis and submitted to the cooperative, weekly, at minimum.

21. It is imperative that co-op and contractor labor be accounted for in proper disaster Categories A through F, and correlated with time sheet information.

22. Maintain documents detailing costs for pieces of equipment used by other cooperatives and/or by contractors during emergency restoration and permanent repair efforts; consult FEMA equipment price lists for allowable comparisons.

23. Keep an accurate accounting of all overheads as they relate to emergency restoration and permanent repair activities.

## Risk Mitigation Efforts

Steps should be taken to minimize the losses to the cooperative in the event the accounting functions are affected by an emergency situation. The following mitigation efforts should be taken to prepare for possible emergency situations:

- Designate/appoint chain of command for management to assume control of the site.

- Utilize the Canadian Bootcamp office as backup office location or if unavailable, neighboring cooperatives for “best fit” and accounting practices. It may be necessary to use a neighboring Cooperative as a contingency site until a permanent business location can be restored.

- Create and keep a contact list of banking institutions, insurance carriers, vendors, etc. in a secure offsite location

- Establish or maintain rapport with a secondary financial institution to reduce vulnerability.

- Maintain off-site storage of backup records.

## Short-Term Recovery Efforts (Accounting Functions)

Short-term actions to consider following an emergency involving loss of accounting functions include:

- Reestablish communications.

- Contact insurance carrier.

- Reestablish central information systems and then desktop systems as needed.

- Maintain use of NISC (billing system provider) to estimate and send customers’ bills.

- Ensure payroll is quickly operational.

- Secure short-term loans as necessary and communicate with vendors on lines of credit.

- Maintain line-of-credit with CoBank and CFC, establish credit agreements and accounts.

- Provide for ongoing local payables (motels, restaurants, gas stations, suppliers).

- Confirm local banking arrangements are operational.

- Use credit cards as necessary to defer cash movement to the next month or longer.

- Utilize neighboring cooperatives, as necessary.

- Use social media, emergency bill stuffers / messages to communicate with members.

- Provide for receipt tracking, payroll time sheets, etc.

- Keep excellent records of disaster losses and restoration efforts for FEMA, may need to educate FEMA personnel on disaster definition at the cooperative level.

## Long-Term Recovery Efforts

Long-term actions to consider following an emergency involving loss of accounting functions include:

- Use website, social media, “bill stuffers”, local radio and newspapers to communicate important messages to members.

- Assess losses to stored documents to determine if facilities provided adequate protection of important papers.

- Assess need for a system upgrade and/or equipment change with replacement.

## Notes / Recommendations

# COMMUNICATIONS and PUBLIC RELATIONS

The types of communications important to normal operating conditions are:

- Telecommunications equipment and handsets

- Facsimile equipment

- Radios

- Cell phones

- Email and Internet

- Social Media

The following items are strongly dependent on communications for normal operating conditions and during emergency conditions:

  - Member communications through print, radio or social media.

  - Contact with key officials in local, state and/or federal government, such as disaster relief personnel, law enforcement and fire department.

  - Internal communications and coordination of recovery efforts.

  - Contact with employees and their families.

  - Contact with vendors and contractors.

  - Critical load members directly served.

- Office personnel can be utilized for many projects during a disaster. Many duties these individuals can carry out may be logistical in nature; that is, personnel may be used to coordinate the delivery of food, equipment, materials and meals, all in addition to their normal duties. Because of their varied experiences, these employees may also assist other departments as needed, including the cooperative’s emergency dispatch center, warehouse, temporary warehouse operations, staking, and engineering/operations.

- The Communications Specialist should assist management in drafting letters (sample copies included herein) to the cooperative’s membership, detailing the extent of the disaster and its impact on both the membership and the co-op. The GSEC or statewide Communications Departments are also available for these tasks. Such letters should be sent to all members in damaged areas, and include vital data such as the projected length of the outage, and phone numbers for service organizations such as Red Cross, local emergency shelters (churches, schools, etc.), and contact numbers for state emergency management and FEMA.

- Any available office personnel may be able to assist in locating lodging for contractors and co-op crews that will be arriving at the cooperative headquarters within hours. This same group can also contact area cafes, restaurants, and community service organizations concerning the preparation of meals and laundry services for repair crews.

- Always communicate honestly and openly with the co-op membership and media. Always estimate outage duration on the high side. And, if you don’t know an answer to member or media questions, say so! Most importantly, always tell the truth!

- Write and submit press releases (via e-mail) to local newspapers as often as their print schedules allow. Send daily e-mail disaster updates to your cooperative’s Statewide Association, local radio and/or television stations, and other information dispensing resources that can keep the cooperative membership and general public informed about all progress being made in the power restoration effort. Mailing weekly letters to consumers in damaged areas is strongly advised, since they will not have electricity and thus have limited access to radio/TV broadcasts.

6.   Post daily updates on social media outlet.

- FEMA Related. Assist the engineering/operations departments by documenting the extent of the storm or disaster using both still photographs and videos. FEMA and state emergency management officials may not visit the co-op service area for several days or weeks, so having photos and videos of actual damage as it occurred is helpful. Date and document the times and places that photos and videos were taken.

- FEMA Related. Date, document, and describe all work performed by office personnel if it relates to field work, i.e., meal delivery, equipment and materials delivery, materials management at warehouse or satellite warehouse(s), or other activities directly relevant to field work.

- FEMA Related. If members or others donate food, services or labor, ask them to provide receipts or invoices for the items, or ask that they sign an affidavit listing the cost or value of items being provided for use by the cooperative. This may be credited toward the cooperative’s Administrative Expense.

## Risk Mitigation Efforts

Steps should be taken to minimize the losses to the cooperative if communication equipment may be affected by an emergency situation. It is strongly encouraged that the following mitigation efforts be taken to prepare for possible emergency situations:

- Consider keeping spare radio transmitter on hand and maintain it offsite.

- “Talk-Around” truck-to-truck radios when purchasing new systems.

- Consider a satellite cell phone that is not dependent on cell towers.

- Assess telecommunications provider’s ability to respond to various disasters.

- Establish agreements with local communications companies to get priority on use of their tower space if needed for radio equipment.

- Maintain contract with CRC for after-hours answering service.

- Maintain plan to switch incoming telephone calls to call center.

- Develop an ongoing relationship with local emergency management agency (EMA).

- Create and keep a contact list available of important community and emergency management personnel.

- Provide designated company spokesperson education on how to interface with the media.

- Establish designated and backup internal official media spokesperson that will deliver the same message when asked questions.

- Develop a canned press release.

- Designate/appoint chain of command for management to assume control of the site.

- Encourage / pay for employees’ amateur radio licenses.

- Establish relationship with local (county) American Radio Relay League liaison

  - (http://www.arrl.org/ - national,

## Short-Term Recovery Efforts (Communications)

Short-term actions to consider during an emergency involving communications include:

- Loss of Radios

- Contact - mobile phones / 2-way paging.

- Neighboring Co-op, other utilities.

- Contact state EMA for information on the emergency management radio system.

- Assess / address coverage issues and safety issues of using alternate radio or phone systems.

- Lease tower space, use spare radio transmitter or rent one.

- Assess temporary radio range if tower location and/or equipment has changed.

- Use a physical runner.

- Loss of Land Lines or Telecommunications Equipment

- Forward to Call Center, another co-op, business, employees, homes.

- Utilize cell phones and obtain more as needed.

- Use stand-alone telephone if internal telecommunications equipment fails.

- Move physical telecom equipment (switch, computer, handsets) to alternate location.

- Contact Phone Company - switch number routing, as needed.

- Communicate with State of Texas EMA, National Guard as necessary.

- Use amateur radio (American Radio Relay League).

- Consider using direct way satellite internet for alternate communications methods (e-mail).

- Loss of Cell Phone Service

- Use land lines where available.

- Use company radio.

- Use amateur radio if all other communications are unavailable.

- Contact primary and alternate wireless communications companies.

- Use pagers.

- Employee communications coverage — broadcast pager message to critical employees.

- Ask neighboring co-ops or businesses for assistance.

- Keep public message consistent.

- Consult GSEC or TEC personnel for assistance with media message.

## Long-Term Recovery Efforts

Long-term actions to consider following an emergency involving communications include:

- Loss of Radios

- Assess need for a system upgrade and/or frequency change.

- Tower location / height.

- Address FCC requirements.

- Survey neighboring cooperatives regarding the quality of their radio systems to decide if an upgrade to more current technology is needed.

- Contact radio vendors for proposals and equipment upgrade recommendations.

- Loss of Land Lines or Telecommunications Equipment

- Assess need for a system upgrade.

- Contact vendors for proposals and recommendations.

- Consider local provider change, if available.

- Loss of Cell Phone Service

- Assess need for a system upgrade and/or equipment change.

- Contact vendors for proposals and equipment upgrade recommendations.

- Consider provider change, if available.

## Notes / Recommendations

## Sample News Media Communication

SUBJECT: News Media Communications

DATE:

PURPOSE: To establish proper procedures for communicating with representatives of the news media and designate personnel with media contact authority.

GENERAL: Periodically, situations arise that require the Cooperative to respond to inquiries and/or make statements of position to representatives of the news media.  Such inquiries can follow unusual outages or other emergency situations, legislative actions on a local, state or national basis, rate or billing changes, and a variety of other matters that tend to invite attention from news and other media.  Such inquiries can come from local television stations, newspapers in the service area and industry or farm related periodicals.  This directive is intended to establish guidelines for property initiating news or press releases and for properly responding to such inquiries when made to the Cooperative.

PROCEDURE:

NEWS OR PRESS RELEASES:  The Communications Representative is authorized and directed to approve any such news releases.  All personnel should be alert to inform the Communications Representative of any newsworthy information about an employee or director or an event in which the Cooperative is involved when such would enhance the member and public relations of the Cooperative or its image in the service area.  The Communications Representative is responsible for recommending such information to the General Manager for release to the media.  Releases should be made to media representatives in the service area or any applicable local area within the service area for which the information would be pertinent.

NEWS MEDIA INQUIRIES:  The Communications Representative is authorized and directed to be the official spokesman for the Cooperative when inquiries are received by the news media or when it is necessary for the Cooperative to make a statement of position or explanation.  The General Manager will determine when such statements should be made. In the absence of the Communications Representative and the General Manager, the Insert Position Here is authorized to respond to media inquiries concerning electric system operations and the Accounting Representative is authorized to respond to inquiries concerning rate or billing matters.

## Sample Communications Policy

SUBJECT: General Communications with Members of the Cooperative

DATE:

PURPOSE: To establish the proper procedure for providing various communications articles, documents, letters, etc. to the general membership of the Cooperative or a major portion thereof.

GENERAL: Communications to the membership of the Cooperative are vitally important and must be handled with extreme care.  Inaccurate or confusing information or instructions to members almost always results in damaged member relations and the proper image that we want to leave with both the membership and the general public.  This directive is intended to establish the proper procedures for ensuring good communications with members.

PROCEDURE:

PUBLICATIONS:  The General Manager must approve the text of all communications in Texas Co-op Power, bill stuffers, general mailings, etc. that are mailed to all members of the Cooperative.  The Member Services representative will approve same prior to approval by the General Manager.

SPECIAL LETTERS:  Occasionally, it is necessary to send special communications to members following an outage, a billing problem, or to notify a class of consumers of a certain situation (such as special letters to irrigators or load management participants).  These must be first approved by the appropriate department manager and then forwarded to the General Manager for final approval prior to mailing.

REGULAR NOTICES:  All "form" type letters, notices and like communications to members must be approved by the appropriate department manager prior to forwarding to the General Manager for final approval.  The same is required before any changes are made in existing documents.  Such "form" type communications will be reviewed at least annually for content and accuracy.

RESPONSIBILITY:  General Manager

Approved:_________________________ Date _____________  Revised: __________

## Letters to Co-op Members Regarding Extended Outages due to Disasters

### Sample #1

Dear Member,

NPEC has experienced severe ice damage to our electric facilities in your area. We have determined that we have over _______ poles that have been broken and numerous miles of line ripped down. Our original pole estimate was at _____, but we received field reports that additional poles and lines are down, bringing our broken pole total to over ______________.

The purpose of this letter is to inform you that we are estimating that it may be over _______ weeks before we can have all meters back in service. We have begun our repairs nearest to the distribution substations and are working out from there. We will energize line as it is built and isolated from other damage.

NPE Cooperative has brought in ______ extra construction crews to work alongside our own crews. We have also hired heavy equipment operators to help move our trucks as needed. Weather variations are hampering work conditions, but all repair crews are doing their best.

This disaster has wrought by far the worst damage that your Cooperative has experienced in its recent history. For NPEC, this damage is even worse than previous events – the same disasters that many of you have also experienced. We understand that being without electricity is a hardship, but we hope you’ll understand that your Co-op is working diligently to restore your power. For repair updates in your area, please call our office at 806-435-5482.

### Sample #2

Dear Member,

We are sending this letter to once again update you on the ice storm damage and the progress North Plains Electric Cooperative has made. We are aware that there are several rumors circulating and we want to clarify our situation to you.

The damage is beyond what we could imagine. Even after we sent you the previous letter, the damage continued to grow. As of today, the Cooperative has lost approximately ______ poles. We are also reconstructing over ______ miles of line.

At this point, our outage total is approximately _______ services. This number is down from an estimated ________ earlier this week, so progress is being made in restoring electric service.

North Plains Electric Co-op now has the aid of ______ additional crews. Even with this number of workers, rebuilding the system takes time. It could be another ____________ weeks before all service in your area is operational. This does not mean all meters will be off for that long. We have begun repairs at the distribution substations and are working out from there. We will energize segments of line as it is safe to do so. Obtaining labor, equipment and materials has not been a problem for your Cooperative so far, although due to the regional damage, shortages could become an issue later.

Again, thank you for your patience. It is our greatest desire to restore your power as safely and quickly as is possible. We hope you understand. For repair update in your area, call the office at 806-435-5482.

# Information Systems and Paper Records

Nearly as important as loss of personnel is protecting against the loss of electronic data and paper files. The following questions in planning for the cooperative’s business contingency need to be considered in advance:

- What type of backup system is currently in place to restore business information to current operating conditions?

- Have all critical systems been backed up and tested for accuracy?

- Have all critical hard files (paper, etc.) been duplicated and stored in remote locations to protect against loss?

- What type of information systems are in place?

- Can our company rely on other cooperatives and/or vendors to help us restore our data quickly?

Computers, hardware and data important to normal operating conditions are:

- Server, network systems

- PCs

- Paper (shared or individual)

- Software licenses

The following items are strongly dependent on NISC and the computers, hardware and data for normal operating conditions and during emergency conditions:

:

  - Maintenance of accounts payable and receivable, payroll, engineering, operations and inventory records.

  - Connectivity between offices.

  - Secure storage of software licenses.

## Risk Mitigation Efforts

Steps to be taken to minimize the losses to the cooperative in the event the computers, data and hard files are affected by an emergency situation. It is strongly encouraged that the following mitigation efforts be taken to prepare for possible emergency situations:

- Designate/appoint chain of command for management to assume control of the site.

- Complete logical network diagrams, to assist in rebuilding system.

- Critical information is backed-up and/or duplicated and stored offsite.

- System backups performed as per pre-determined schedule.

- Establish disaster contract with call center if not already used for after-hours answering service

- Upgrade workflow to include digital imaging and/or paperless work orders.

- Maintain a list of vendors who can supply equipment on short notice.

- Coordinate with a neighboring cooperative or call center for temporary use of their systems.

- Test vendor capabilities and response times to determine impact of varying disasters.

## Short-Term Recovery Efforts (Information Technology)

Short-term actions to consider following an emergency involving loss of servers, computers, hardware and/or data include:

- Keep adequate supply of paper forms for manual recording of information.

- Temporarily use database at offsite call center.

- Use printout of entire system.

- Contact vendors to acquire essential hardware.

- NISC backup restoration.

- TWACS backup restoration (outage info).

- SCADA backup restoration

- Partner Mapping System restoration

- Milsoft system restoration.

- Redundant off-site servers.

## Long-Term Recovery Efforts

Long-term actions to consider following an emergency involving loss of computers, hardware and data include:

- Assess need for system upgrade to move toward paperless workflow (reduced dependence on hard copies of files).

- Document/assess vendor response time and capabilities to improve understanding of future needs.

## Notes / Recommendations

# Office / Office Equipment / Inventory

Loss of a building or buildings, inability to access the work place, or loss of office equipment and inventory can cause severe consequences to the business. The following questions in planning for the cooperative’s business contingency are:

- Where will cooperative temporarily relocate if headquarters building and grounds are inaccessible or destroyed?

- What office equipment (computers, communications, etc.) does cooperative need to continue to operate effectively?

- Where will inventory items be located necessary to continue to function for various lengths of time?

Items essential to the normal operation of the physical location are:

  - Office and warehouse facilities

  - Equipment and vehicles

  - Tools

  - Communication

  - Computer system(s)

  - Fuel

  - Housing

  - Utilities

  - Security

The following items are strongly dependent on the physical location for normal operating conditions and during emergency conditions:

- Public and member communications through print, radio or television.

- Contact with key officials in local, state and/or federal government, such as disaster relief personnel, EPA, law enforcement and fire department.

- Internal communications and coordination of recovery efforts.

- Contact with employees and their families.

- Contact with vendors and contractors.

- Dispatching of personnel and equipment.

- Storage and maintenance of equipment and vehicles such as digger derricks, aerial devices, stringing equipment, small vehicles, forklifts, etc.

- Storage and inventory of tools such as hand tools, personal protective equipment, cover-up and other protective devices.

- Availability and dispensing of gasoline and diesel fuel for vehicles and equipment.

- Recording and maintaining outage information, automated meter reading equipment, system maps.

- Coordination of co-op and outside crews, including staging, area, assignments, temporary housing and meals.

- Affirming adequate shelter for the families of co-op employees.

- Safeguarding of assets including building, equipment and inventory.

- Non-interruption of utilities for both co-op property and members, if applicable, including electric, gas, propane, water and communications networks.

- General maintenance of office and warehouse facilities including structural integrity, sanitary facilities, trash disposal (waste, scrap material, hazardous materials, etc.).

## Risk Mitigation Efforts

Steps should be taken to minimize the losses to the cooperative if the physical location, office equipment and/or inventory is affected by an emergency situation. It is strongly encouraged that the following mitigation efforts be taken to prepare for possible emergency situations:

- Designate/appoint chain of command for management to assume control of the site.

- Inventory building contents down to deductible level (insurance). This will help assess needs as well as provide documentation for insurance provider. Maintain the information in a secure location off-site perhaps with your insurance carrier.

- Based on the age of your building(s), start high-level planning for what you would like your next campus to look like and where it could best be located. Visit other Co-ops with newer facilities.

- Don’t lose what works! Document best practices.

- Emergency plan should designate a hierarchy of employee responsibility in regard to facility issues in case the person responsible is not accessible.

- Maintain a list of contractors that might be used for various facility-related matters such as clean-up or security.

- Maintain a list of vendors who can supply equipment and materials on short notice.

- Maintain a list of hotels, restaurants and emergency shelters.

- Prepare a list of buildings that can be used on a temporary basis and update it periodically.

- Define minimum office requirements.

- Define minimum connectivity issues.

- Refer to Communications Section for loss of land lines, telecommunications, radios and cell phone service.

## Short-Term Recovery Efforts

Short-term actions to consider during an emergency involving loss of physical building, office equipment and inventory include:

- Contact property and casualty insurer.

- Utilize Canadian Bootcamp office, yard and warehouse as alternative office site.

- External communications – keep public message consistent, defer media to TEC personnel if it is too much to handle

- Contact NISC Disaster Team for spare equipment and assistance recovering essential data (see Information Systems & Paper Records section).

- Acquire publicly accessible building if necessary.

- Use the media to inform the members of the temporary location, if necessary.

- Use realtors as a resource to identify property that can be used as a temporary site, if needed.

- Set up various employees to work from home, if necessary. Have a detailed plan in place that identifies what can be done at home and how it can be done.

- Provide security for damaged site (employees, vendor, fence, guards). Local law enforcement or contracted security services.

- Establish clean-up crew for site using employees or contractors.

## Long-Term Recovery Efforts

Long-term actions to consider following an emergency loss of physical building, office equipment and inventory include:

- Assess current location and layout. Allow for future growth.

- Document/assess vendor and contractor response time and capabilities to improve understanding of future needs.

- Consider regional natural disasters and man-made disasters in new building design.

- Restore procedures and processes that worked best.

- Should some business functions be outsourced? Or conversely, should some business functions be done in-house following the disaster experience? These decisions will impact the overall building design and space requirements.

## Notes / Recommendations

# Personnel / Human Resources

The issue of personnel is a major variable in disaster recovery. The following questions must be considered while planning for the cooperative’s business contingency:

- Will the employees be able to function for an extended period of time?

- Are the employees’ homes and families directly affected by loss of personal property and shelter?

- Will new employees have to be hired to fill the spots left by injured or deceased employees?

- Can key employees be borrowed from neighboring cooperatives to keep the cooperative operational?

- Should the cooperative engage in cross-training and job-sharing to mitigate potential losses?

In the event of an emergency and the potential for loss of personnel, the following items are important to the continuity of service:

  - Safety of employees and their families

  - Preparation for any loss of personnel

  - Prioritize business functions

  - Board notification

  - Action plans developed

The following items are strongly dependent to the smooth operation of the business during normal operating conditions and/or emergency conditions:

- Complete job descriptions including documented, detailed procedures on how to do each job.

- Specific “key” positions defined and cross training / job sharing for these positions is ensured.

- Maintain a good working relationship with contractors, IOU, retired employees and other cooperatives.

- Key personnel are insured through the company’s policy.

- Legal issues involving insurance, workers’ compensation etc., in regards to permanent and temporary employees, have been addressed with corporate attorney.

- Identification of a grief counselor.

## Risk Mitigation Efforts

Steps should be taken to minimize the potential for personnel losses in the event of an emergency. It is strongly encouraged that the following mitigation efforts be taken to prepare for possible emergency situations:

- Designate/appoint chain of command for management to assume control of the site.

- Keep job descriptions updated with essential functions.

- Encourage cross training/job sharing among internal employees and develop relationships with contractors, IOU and other cooperatives.

- Maintain an inventory of skills for employees, contractors, retirees, temps, etc. Include normal job duties as well as functions they can perform outside those normal duties.

- Establish an emergency action plan and review annually making special note of any changes.

- Annually practice evacuation drill and shelter drill.

- Develop a list of possible vendors for potential outsourcing of certain work (temporary or permanent).

- Establish a hierarchy of employee responsibility for hiring both temporary and permanent help.

## Short-Term Recovery Efforts

Short-term actions to consider during an emergency involving loss of personnel include:

- Follow chain of command based on employee loss and business function priorities. Use outside coordination (neighboring Co-op, TEC) as necessary.

- Initiate employee assistance program for employees and families.

- External communications – keep public message consistent, defer media to TEC personnel if it is too much to handle.

- Contact TEC staff for safety coordination and assistance.

- Provide medical care, as needed.

- Adjust / stagger employees working hours to increase availability of cooperatives services to members and vendors.

- Use contractors.

- Ask for assistance from other Co-ops.

- Review emergency work plan for employee help.

- Provide personnel and board members with status briefings to keep them apprised of situations.

- Contract with retirees and/or employees’ family members to assist with routine business tasks.

- Borrow employees from other cooperatives, TEC, software provider or local business.

- Assist employees and their families as needed.

## Long-Term Recovery Efforts

Long-term actions to consider following an emergency involving loss of personnel include:

- Evaluate staff and responsibilities to limit exposure in future emergencies.

- Assess the cooperative’s needs, policies and requirements.

- Consider outsourcing non-essential business practices to reduce risk.

- Develop a long-term succession plan.

## Notes / Recommendations

# Warehouse / Pole Yard / Fleet

The core function is to keep housing and systems in place so that employees have a place to work. It is important to consider that a large-scale disaster can cripple the entire community, so relying on public buildings and community services may not be an option. Think about the following questions in planning for the cooperative’s business contingency:

- Are the facilities and infrastructure of the cooperative itself damaged?

- What would the cooperative do if there is no longer a physical facility to operate from and the infrastructure has been severely damaged or destroyed?

Items essential to the normal operation of the warehouse and/or pole yard are:

- Warehouse facilities

- Equipment and vehicles

- Materials

- Tools

- Fuel

- Utilities

- Security

The following items are strongly dependent on the warehouses and pole yards for normal operating conditions and during emergency conditions:

- Storage and maintenance of equipment and vehicles such as digger derricks, aerial devices, stringing equipment, small vehicles, forklifts, etc.

- Storage and inventory of materials such as poles, crossarms, transformers, wire, etc.

- Storage and inventory of tools such as hand tools, personal protective equipment, cover-up and other protective devices.

- Safeguarding of assets including building, equipment and inventory.

- Non-interruption of utilities for both co-op property and members, if applicable, including electric, gas, water and telephone.

- General maintenance of warehouse facilities including structural integrity, sanitary facilities, trash disposal (waste, scrap material, hazardous materials, etc.).

# PURCHASING and MATERIALS MANAGEMENT

- Material issue sheets are critical for tracking material from warehouse (or in instances where temporary field warehouses are set up) to the field. Every effort should be made to track all material received from suppliers and all material used by contractors and co-op crews in the emergency restoration and permanent repair efforts.

- The material issue sheet should include, at minimum, where (location) material is used, when it was used (day, date), and quantities of construction units specified on the work order.

- FEMA Related. If a picking list system is commonly used on work orders, strongly consider switching to staking sheets in order to capitalize material. If material issue sheets are to be used, there must be tickets for all material for which FEMA reimbursement is expected.

- Material should be ordered immediately, or as soon after initial Fast Surveys of damage are completed. Fast Surveys should give warehouse and materials management employees enough information to determine initial orders of poles, crossarms, conductor, splices, and other construction hardware. Utilize the Standard Construction Policy design criteria developed by the cooperative before the disaster so approximate types and quantities of material will be known for ordering.

- Arrange for material delivery points as near as possible to damaged areas. If temporary field warehouses are utilized, it is critical that all material received at those locations be accounted for, and material issued from these field warehouses be precisely tracked, preferably using material issue sheets. A warehouseman or materials management clerk must check-in material and issue material to be used by construction crews from an arranged delivery location.

- Vendors can be contracted with cooperative to furnish trailers loaded with materials necessary for rebuilding or repairing lines during a disaster. The vendor is responsible for an inventory of all items, allows removal of items from the trailer only upon completion of material issue sheets, and conducts a follow-up inventory for reconciliation. If this method is employed by the affected cooperative, control must be exercised over material received and checked out. Documentation must be in place to record where (location, by map number and county) the material was used and what construction units were put in place.

- Warehouse or materials management employees from other cooperatives may be utilized early in the disaster.

- Ask for vehicle inventory sheets from all contractors and other co-op crews before they are allowed to commence work. Carefully monitor material that is issued, and inventory these same vehicles before crews depart for home at the end of their contract term or period of work.

- Try to run all material through the material issue system if possible. Quantities, dates, and locations are much easier to track this way.

- FEMA Related. Copies of all material issue sheets should be made and stored with all other records being prepared for audits by FEMA, state emergency management, and TEC personnel.

- Carefully record any and all material coming in from the field that is to be considered as salvage. This is required for reconciliation of co-op material records.

## Short-Term Recovery Efforts

Short-term actions to consider during an emergency involving loss of warehouse and pole yard include:

- External communications – keep public message consistent, defer media to TEC personnel if it is too much to handle

- Acquire accessible building (warehouse, etc.).

- Establish temporary yard, security, fencing.

- Establish electricity on-site and lighting.

- Consider asking for partial property use of neighboring Co-ops, IOUs, municipals, businesses and/or schools.

- Provide forklift and material handling capabilities.

- Construction trailer for security storage.

- Contact Property and Casualty Insurer.

- Track inventory and minimums needed.

- Work off printed material list and/or vendor history.

- Obtain essential equipment and materials from local and/or regional suppliers.

- Provide security on site (employees, vendor, fence, guards). Local law enforcement or contracted security services.

- Establish salvage yard.

- Establish cleanup crew for site using employees or contractors.

## Long-Term Recovery Efforts

Long-term actions to consider following an emergency involving loss of warehouse and pole yard include:

- Assess current location and layout. Allow for future growth! (list of potential sites developed under risk mitigation).

- Document/assess vendor and contractor response time and capabilities to improve understanding of future needs.

- Consider regional natural disasters and man-made disasters in new building design.

- Should some business functions be outsourced? Or conversely, should some business functions be done in-house following the disaster experience? These decisions will impact the overall building design and space requirements.

## Notes / Recommendations

# EMERGENCY OPERATIONS CENTERS

Emergency Operations Center in this plan shall be defined as NPEC dispatch center or other emergency communications centers used by the cooperative in times of disaster.

- The NPEC Emergency Operations Center is equipped with a standby generator capable of providing continuous phone and radio communications during emergency disaster conditions. The NPEC center does not have the capability and capacity to add extra phone lines to handle additional calls from consumers so a contracted off-site call center, CRC will be utilized by NPEC.

- NPEC utilizes radio frequency 451.125, 452.7, call letters WQSU-904 and both company and employee cell phones for internal communications. The use of cell phones during certain disaster conditions might be severely limited or impaired.

- In lieu of a computerized weather monitoring software program, NPEC shall monitor local broadcast weather and utilize weather apps for up-to-date weather information.

- FEMA Related. The only FEMA reimbursable expense for phone support is the overtime for full-time, hourly employees in the Emergency Operations Center. Part-time, temporary, or contract phone support personnel are eligible for reimbursement for both regular and overtime hours (Category B).

# ENVIRONMENTAL ISSUES

- FEMA Related. Debris removal: Defined by FEMA as the clearance, removal, and/or disposal of items such as trees, sand, gravel, building components, wreckage, vehicles, and personal property. For debris removal to be eligible for FEMA reimbursement, the work performed must be necessary to:

    - Eliminate an immediate threat to lives, public health and safety;

    - Eliminate immediate threats of significant damages to improved public or private property;

    - Ensure the economic recovery of the affected community.

- Examples of eligible debris removal activities:

    - Debris removal from a street or highway to allow the safe passage of emergency vehicles;

    - Debris removal from public property to eliminate health and safety hazards, such as the threat of fire.

- Examples of ineligible debris removal activities:

    - Removal of debris, such as tree limbs and trunks, from natural (unimproved) wilderness areas;

    - Removal of pre-disaster sediment from engineered channels;

    - Removal of debris from a natural channel unless the debris poses an immediate threat of flooding to improved property.

4.   FEMA Related. Debris removal from private property is generally not eligible because it is the property owner’s responsibility. If property owners move the disaster-related debris to a public right-of-way, the local government may be reimbursed for curbside pickup and disposal. If the debris significantly impacts the public health and safety of a community, FEMA may fund debris removal from private property by the state or local government (county or municipality).

- Contract crews or in-house right-of-way contract crews will be used for debris removal activities following a disaster. FEMA Related. All time charged by these crews should be eligible for reimbursement should a disaster be declared.

- FEMA Related. If contract crews are to be used, at least three (3) bids should be let for the work to be done.

- For brush and tree debris removal, it is recommended that contracts be arranged on a footage basis, with co-op personnel mapping and verifying the measurement of all footage estimates. FEMA Related. Such mapping and documentation should be filed and copied for later use by FEMA and state emergency management representatives to verify eligible footage of debris removal and disposal.

- FEMA Related. The cooperative should maintain and keep readily available copies of their Release of Liability for Broken Poles form. The cooperative should keep a copy of the signed release form for all property owners where poles were left on private property. Individuals who remove poles from temporary storage areas that may be set up by FEMA following a disaster must also sign such forms.

- Burning of damaged utility poles is prohibited; if poles are to be chipped, the chips are not to be used for mulch or bedding. Chipped utility poles must be disposed of at a permitted Subtitle D landfill. A list of such permitted landfills is attached as a part of this section. The following is a list of options for the reuse and/or disposal of damaged wood poles, the preferred method listed first:

a)	Reuse: The cooperative may choose to contact the landowner where the damaged utility poles are located and offer the poles to them; if this is the case – and the landowner accepts the poles – then the poles are not subject to Department of Environmental Quality (DEQ) regulation.

- The cooperative may transport the damaged poles to one of their facilities (pole yard, etc.) and offer the poles for reuse. Poles taken for reuse do not fall under DEQ jurisdiction or regulation. As with (a) above, a signed liability release form is recommended.

- The cooperative may transport the damaged poles to a site approved by the Emergency Disposal Site Evaluation and Registry procedure to stockpile and offer poles for reuse from the site. The Emergency Disposal Site Evaluation and Registry form(s) must be completed, submitted and approved before a disposal site is used. The section “Guidelines for Emergency Burning, Burial and/or Stockpiling of Solid Waste” outlines the site criteria. (This is attached as a part of the Emergency Disposal Site Evaluation and Registry form.)

- Disposal: The preferred method of disposal is to dispose of the poles at a permitted Subtitle D landfill The landfill should be contacted prior to transport for specific instructions. NOTE: Permitted C and D landfills cannot accept utility poles for disposal.

- Damaged poles may be buried at an approved site using the Emergency Disposal Site Evaluation and Registry procedure. The Emergency Disposal Site Evaluation and Registry form must be completed, submitted and approved before a disposal site is used. The section “Guidelines for Emergency Burning, Burial and/or Stockpiling of Solid Waste” outlines the site criteria. Such criteria should be reviewed when locating a potential disposal site. NOTE: The bottom of the disposal pit must be at least five feet (5’) from known groundwater. It is preferred that the burial site be in clay or clay loam soils. The burial site cannot be in sandy soils. The local DEQ environmental specialist for the cooperative’s area will be available to assist in evaluating a site and in completing necessary forms. The local DEQ environmental specialist must visit and approve the site before it is used by the cooperative. Do not submit the form without a DEQ environmental specialist’s signature. If a city, town or county does not own or operate the site, the attached Legal Access Agreement must also be completed.

- Site selection: Local DEQ environmental specialists can assist the cooperative in finding a suitable site and in complying with any state and/or federal environmental requirements. Staging areas and disposal sites can be located on publicly owned property or on private property.

- Any questions regarding the above listed criteria for the reuse or disposal of wood utility poles should be directed to the state environmental enforcement office regarding regulations concerning the reuse and/or disposal of treated wood utility poles following a disaster situation.

- Historic preservation and cultural resources: There may be numerous structures or sites within a declared disaster area that are historic in nature or are listed as cultural resources. These might include buildings, bridges, other structures or specific sites. Such structures and sites are protected under federal law (Section 106 of the National Historic Preservation Act), and as such, require any eligible recipient of federal disaster funds to notify the following entities prior to reconstruction efforts being initiated:

## State Historic Preservation Office

Texas Historical Commission

1511 Colorado, Austin, TX   78701

PO Box 12276, Austin, TX   78711-2276

thc@thc.state.tx.us			      Phone			         Fax

Administration				512-463-6100		512-463-8222

Staff Services				512-463-6100		512-475-4872

# Memorandum of Understanding

Group V TEC Electric Cooperatives

Responsibilities of Cooperative(s) receiving assistance:

- Plan the organization of all help and integrate all assistance with its own personnel and facilities.

- Provide each crew with a map or information, showing the area to which they have been assigned, source of supply, direction of feed and location of sectionalizing equipment.

- Provide a representative from the cooperative to perform necessary liaison for each crew or group of units operating together.

- Provide procedures to properly account for materials used and retired, hours worked by employees.

- Maintain contact with all units. All dispatching should be directed by person or persons who are thoroughly acquainted with the system in the affected area.

- Prescribe the number of hours to be worked, however, it is recommended no more than 16 hours in a 24-hour period.

  - Time begins when Crews enter vehicles to begin the day, including all meals, and ends when they arrive back at place of lodging.

  - Travel time to and returning from Cooperative receiving assistance.

- Provide sleep accommodations for assisting personnel and pay for all lodging. (Personnel may be required to share a motel room with two double beds.)

- Damages and breakdown repair costs of vehicles remain the responsibility of the assisting Cooperative that owns vehicles.

- Provide or reimburse for all meals (Breakfast, Lunch, and Supper) If crews need to purchase meals while assisting with repairs, they will keep receipts to be turned in to their cooperative for reimbursement.

- Provide or reimburse for all fuel used by crew vehicles while assisting in restoration and repairs. (If Cooperative receiving assistance does not have fueling facilities, assisting crew may have to fuel vehicles at commercial facilities, they will keep receipts to be turned in to their cooperative for reimbursement.

- Provide assisting Cooperative personnel laundry service when needed.

Responsibilities of Assisting Cooperative:

- Dispatch properly-trained and equipped personnel and equipment in good working condition

- Inform its own personnel of all aspects of its agreement.

- Provide workers’ compensation insurance coverage for injuries sustained by assisting personnel, wherever such injuries might occur.

- Ensure that each employee leaving home to assist another has sufficient cash or cooperative credit card or incidental expenses. Instruct crew to keep all receipts and turn them in to their cooperative when they have returned home, for reimbursement.

- Bill the cooperative requesting aid for the total actual payroll costs of the assisting personnel at the time and a half rate for all hours worked. Will not bill for transportation costs or overhead cost.

Resources possibly provided by assisting Cooperatives

- Line personnel with all necessary equipment (preferably Line/Crew      Forman, Journeymen, Apprentice, Groundmen and/or Digger-Operator.

- Staking technicians with vehicle, laptop, tablet, iPad etc., and staking       software if compatible.

- Warehouse personnel

- Vehicle Mechanics

- Member Services Personnel

Golden Spread Electric Cooperative, Inc:  will serve as primary point of contact for Cooperative requesting assistance. They will get information out to all Cooperative Systems participating in this Memorandum of Understanding.

Compensation for Assisting Personnel working Out of State

For out-of-state work, all personnel will also receive wages at one and one-half times their regular hourly rate for all labor hours worked.

The following Electric Cooperatives agree to and support implementation of the Memorandum of Understanding as a guide and agreement for providing personnel and equipment during Mutual Aid for storm or natural disaster restoration.

- Bailey County Electric Cooperative Association

- Big Country Electric Cooperative, Inc.

- Coleman County Electric Cooperative, Inc.

- Concho Valley Electric Cooperative, Inc.

- Deaf Smith Electric Cooperative, Inc.

- Greenbelt Electric Cooperative, Inc.

- Lamb County Electric Cooperative, Inc.

- Lea County Electric Cooperative, Inc.

- Lighthouse Electric Cooperative, Inc.

- Lyntegar Electric Cooperative, Inc.

- North Plains Electric Cooperative, Inc.

- Rita Blanca Electric Cooperative, Inc.

- South Plains Electric Cooperative, Inc.

- South Texas Electric Cooperative, Inc.

- Swisher Electric Cooperative, Inc.

- Taylor Electric Cooperative, Inc.

- TCEC (Tri-County Electric Cooperative, Inc.

- Golden Spread Electric Cooperative, Inc.

## Procedures for securing emergency help from Group V.

Survey the extent of damage and determine as nearly as possible the outside personnel and equipment needed.

Contact Shane McMinn, Power Delivery Manager or John Eichelmann, VP of Member Services and advise them of your needs.

| Name | Work | Home | Mobile | Fax | E-Mail |
| --- | --- | --- | --- | --- | --- |
| Shane McMinn | 806-337-1297 |  | 806-231-1406 |  |  |
| John Eichelmann | 806-349-5220 |  | 806-678-8708 |  |  |

## Suggested items needed for storm restoration efforts:

- Ice chest(s) 48 Quart or Larger

- Drinking Water Cooler

- Gator Aid or Squelcher

- Bottled water

- Insect Repellent & Sun Screen

- Fully supplied First Aid Kit & BBP kit

- Work Zone Protection Signs, Vest, & Traffic Cones

- Trucks fully stocked with tools

- Live Line tools, rubber goods

- Lights & extra batteries or chargers

- Generator or Inverter for Small Microwave and Charging Lights, Batteries

- Outrigger Pads

- Personal Grounds

- All Personal Protective Equipment

- Climbing Tools & Hand tools

- Overshoes & Rainwear

- Drinks, Snacks, Canned Foods

- Personal Hygiene Products

- FR Uniforms & Clothing for 7 Days

- Extra Boots

- Cash, Phone card

- Prescribed Medicine, enough for 7 Days

- Identification

Group V TEC Electric Cooperatives

## Assistance Request Form

Cooperative requesting emergency assistance: _______________________________

Telephone number(s):___________________________________________________
						(Use headquarters town name)

Nature of disaster: _____________________________________________________

Number and type of trucks needed: _________________________________________

Other equipment and tools needed: _____________________________________________________________________

_____________________________________________________________________

_____________________________________________________________________

_____________________________________________________________________

_____________________________________________________________________

Personnel and classifications needed: ______________________________________

Materials needed: ______________________________________________________

Weather and road conditions: _____________________________________________

Where crews should report and to whom: ____________________________________

Estimate of how long the help may be needed: ________________________________

How to contact your cooperative during the emergency: _________________________

Name of person to receive this information: __________________________________

Date: ____________________Time:___________________________

# Procedures for securing emergency help from TEC.

Survey the extent of damage and determine as nearly as possible the outside personnel and equipment needed.

Contact the TEC VP of Communications & Member Services and advise that person of your needs.

| Name | Work | Home | Mobile | Fax | E-Mail |
| --- | --- | --- | --- | --- | --- |
| Martin Bevins | 512-486-6249 | 512-899-0971 | 512-415-0172 | 512-486-6215 | mbevins@texas-ec.org |

When calling for help, give the following information:

- Nature of emergency

- Number and type of trucks needed

- Other equipment and tools needed

- Personnel and classification needed

- Materials needed

- Weather and road conditions

- Where the crews should report, and to whom

- How to contact your cooperative

- Name of person to receive this information

- Telephone numbers other than normal usage

Key TEC staff that may be able to assist you:

The main number at TEC is 512-454-0311.  
TEC telephone extensions and home numbers for key staff are as follows:

- Mike Williams, 512-486-6203 Office---(512) 736-4361 Cell

- Julia Harvey, 512-486-6220    Email---jharvey@texas-ec.org

- Martin Bevins, 512-486-6249 Office---(512) 415-0172 Cell

- Johnny Andrews, 512-868-8330 Office---(512) 426-1567 Cell

To facilitate giving of above information over substandard communications media, or when the message must be relayed through persons unfamiliar with the terms, use the form “Requesting Assistance from TEC”.  (See previous page)

## TEC Plan of Action

- The person at statewide receiving any call for help will attempt to learn:

- The nature of the emergency and its apparent severity,

- What has been done,

- Who has already been contacted,

- What help the cooperative thinks it will need,

- Where they want help to report, and to whom,

- What equipment and materials are first required,

- A rough guess as to how long help may be needed

- What means of communication seems likely to serve best.

# After alerting the TEC General Manager, TEC Loss Control will start immediate action to enlist appropriate help.  All calls and assignments will be logged in such manner that others can immediately determine what has been done.

# Attachments & Forms

## Board Policies

Cooperative boards may consider adopting a written policy that addresses overtime pay or extra compensation (such as bonuses) for staff members and other salaried personnel during extreme storm conditions. Such policy should outline requirements associated with the staffing of Emergency Operations Centers during prolonged or extended outage situations related to natural disasters, and should closely follow allowable compensation guidelines as indicated by FEMA and each state’s emergency management agency.

Boards should also adopt a policy concerning specific pole and conductor sizes used as standard replacement of older material damaged as a result of a disaster. Cooperative staking sheets and work plans should be used as examples to show proof of a “replacement standard” being in place prior to the occurrence of a natural disaster. (Adopting a “Standard Construction Policy” is recommended.)

This individualized Standard Construction Policy should include the following, at minimum:

A statement that all construction will comply with the current edition of the National Electrical Safety Code (NESC);

Minimum pole height and class to be used;

Maximum average pole spacing requirement (ruling span) – suggest 300 ft. or less;

Minimum conductor sizes (and where used), as an example: #1/0 ACSR on section lines, #4 ACSR on taps with currents of less than 10 amperes, etc.

Maximum number of splices per conductor that will be accepted in a mile of line (suggest no more than 4/conductor/mile);

No “automatic” type splices to be used in slack spans;

Copper-clad wire should be replaced as is deemed economical to do so, or for NESC purposes, or due to loss of tensile strength. As an example: Wire conductor found in four (4) spans per mile with conductor sag exceeding twice its designed final sag would be deemed “overstretched” and ruined, and the entire mile should be replaced; wire found with inadequate ground clearance should be re-sagged and corrected. If four (4) or more spans per mile (prorated) are deemed to be out of sag and the tensile strength of the wire has been exceeded, then all wire in that mile should be replaced.

Existing wire and poles may be re-used on a temporary basis in order to restore power, but co-op records should show the intended later replacement under Category F, Utilities (permanent repairs).

NOTE: Temporary repairs are classified as Category B, Emergency Protective Measures, and local cooperative crews can only be reimbursed for overtime only; contract crew eligible expenses are reimbursable at one-hundred percent (100%) under Category B.

Any other specific construction practice that is particular to an individual cooperative should be noted in this “Standard Construction Policy.” This policy must be the standard practice at the cooperative, not just for FEMA events.

Other applicable board policies:

Policy # _____________ Date: __________

Policy # _____________ Date: __________

### Sample Policy #1

Your Electric Cooperative Board Policy #___

MANDATORY REST and RECUPERATION LEAVE

WHEREAS, the Board of Directors deemed it necessary to implement a mandatory Rest and Recuperation (R&R) leave policy for the safety of the XYZ Cooperative employees, staff and the public in general, and

THEREFORE, BE IT RESOLVED that the Board of Directors has enacted a policy that requires all XYZ Cooperative employees to have a minimum of eight hours (8 hrs.) rest at home in each 24-hour period after the first 36 hours of a major storm or disaster; and

BE IT FURTHER RESOLVED that exception to this policy may be made if a specific emergency arises, and the exceptions can be made with the approval of the President of the Board of Directors.

NOW THEREFORE BE IT RESOLVED that the resolutions hereby adopted shall be effective January 1, 2022.

ADOPTED – Regular Board of Directors meeting, January 1, 20__

Reaffirmed:

### Sample Policy #2

Your Electric Cooperative Board Policy #___

ADDITIONAL COMPENSATION FOR STAFF and EMPLOYEES

WHEREAS, the Board of Directors recognizes that employees, staff, management, and their families are placed in dangerous and stressful positions and/or conditions during long power outages caused by adverse weather conditions,

BE IT RESOLVED that at the option of the Board of Directors and with the recommendation of the Executive V.P. & General Manager,

Cooperative employees may be paid additional compensation for emergency situations up to (blank) percent (___ %) of their annual wages as reported to NRECA, and

Cooperative management and staff may be paid additional compensation for emergency situations up to (blank) percent (___ %) of their annual wages as reported to NRECA.

- ADOPTED – Regular Board of Directors meeting, Date

## Basic Safety Rules

All safety rules shall be observed with particular emphasis on the following:

1.  Rubber Gloves: 
	a. Rubber gloves shall be worn by all personnel from ground to ground when performing work on any pole or structure carrying energized conductors. 
	b. Rubber gloves shall be put on before any energized URD compartment or enclosure (including service pedestals) is opened and kept on until the compartment or enclosure is closed and locked or until all equipment is properly grounded, barricaded, and shielded. 
	c. Rubber gloves must be worn at all times when using hot sticks of any kind. 
	d. Rubber gloves must not be used for direct hand contact on voltages above 5,000 volts except while using properly rated gloves and sleeve from fully insulated aerial devices.  
	e. Personnel handling butts of poles or any object that might come in contact with energized conductors or apparatus must wear rubber gloves.  

2. Grounding: 
	a. All de-energized conductors and apparatus must be grounded with adequate ground jumpers on all sides as close to work areas as possible before further work on conductors or apparatus involved is begun.  Line jumper is not to be considered as an adequate ground. 
	b. Ground jumpers must be attached and detached with hot stick. 
	c. All conductors including floating, fallen, or broken conductors must be regarded as energized until properly de-energized, tested, and grounded. 
	d. Pole-setting truck must be grounded when setting or pulling poles in or near energized lines.  Points of disconnection must be identified by approved ground jumper installed by each and every crew working on this section regardless of ground previously installed by any other crews.  These grounds shall not be removed by anyone other than the crew installing them. 
	e. Hazardous Energy Control:  APPA Safety Manual, Section 626, parts A, B, and C. If a system operator is in charge of the line or equipment and their means of disconnections, the following steps shall be taken:

1. A designated employee requests that the system operator de-energize the equipment.  This designated employee becomes the employee in charge and is responsible for the clearance.

2. All means through which sources of electric energy may be supplied to the lines and equipment shall be opened and rendered inoperable, when its design does not permit, and tagged to indicate that employees are a work.

3. Unless its design does not permit, automatic and remote switches that could cause opened disconnecting means to close shall be tagged at the point of control.

4. Tags shall prohibit the operation of the disconnecting means and indicate that employees are at work.
	5. After the above steps have been taken, the equipment to be worked shall be tested to ensure it is de-energized.  Protective grounds shall be installed (refer to OSHA Standard 29CFR 1910.269(n).

7. The equipment may now be worked as de-energized.

8. If two or more independent crews will be working on the same lines or equipment, each crew shall independently comply with the above steps.

9. Transfer of clearance shall be communicated to the system operator and the employees in the crew.  The new employee in charge shall now be responsible for the clearance.

10. Clearance release requires the employee in charge to notify the employees under his direction that the clearance is to be released, determine that employees in the crew are clear or overhead lines and equipment, determine that protective grounds have been removed, report this information to the system operator, and release the clearance.

11. The person releasing the clearance shall be the same person who requested it, unless the responsibility has been properly transferred.

12. Tags may not be removed unless the associated clearance has been released.

13. Only after all the above have successfully accomplished, may the lines and equipment be re-energized.

f. If no system operator is in charge of the lines or equipment and their means of disconnection, one employee in the crew shall be designated as being in charge of the clearance.  The employee in charge shall then take the place of the system operator and complete steps (2) through (13) above.

g. If only one crew will be working on the lines or equipment and if the means of disconnection is accessible and visible to and under the sole control of the employee in charge, then steps (1), (3), (4), (8), and (12) under (e) in this section need not be taken.

h. For more information, refer to OSHA Standards 19CFR 1910.269 and 29 CFR 1910.147.

3. Operating of switching devices—an approved hot stick must be used to open or close Reclosers cut-outs, switches or jumpers being used as a disconnecting device.

4. Operations of cooperative motor vehicles—cooperative personnel must drive cooperative vehicles in accordance with state traffic laws.

5. APPA Safety Manual, Section 6, Parts B and C.  
b. At least two employees will be present while the following types of work are being performed (except as noted in © below).

1. Installation, repair or removal of de-energized lines if an employee is exposed to contact with other parts energized at more than 600 volts.

2. Installation, repair or removal of lines energized at more than 600 volts.

3. Installation, repair or removal of equipment such as transformers, capacitors and regulators, if an employee is exposed to contact with parts energized at more than 600 volts.
	4. Work involving the use of mechanical equipment, other than insulated aerial lifts, near parts energized at more than 600 volts.

5. Any other work that exposed an employee to electrical hazards greater than those listed above. 
c. Two employees do not need to be present in the following operations:

1. Routine switching of circuits (if it can be done safely).

2. Work performed with live-line tools if the employee is positioned so that they are not within reach of or otherwise exposed to energized parts.

3. Emergency repairs necessary to safeguard the general public:

6. Testing poles—employee, before climbing any pole, shall take every possible precaution to insure that it is safe to climb or work upon.  If pole is to be dismantled or direction of strain is to be changed, pole must be tested below ground-line or safe guarded by adequate supports.  Also, anchor rods must be checked.

7. No person will be permitted to work while under the influence of alcohol or drugs.  It is recommended that no employees indulge in drinking or take drugs that could impair judgment or mote skills while off duty during an emergency.

## Information and Communication for members

Unopened food freezers can maintain stored frozen foods safely from 36 to 48 hours depending upon the amount of food stores, capacity of the freezer and the normal temperature of operation of the freezer.

During prolonged outages, dry ice can save thousands of pounds of stored food in a disaster area.  Power suppliers can supply a real service during disasters by knowing where dry ice can be secured and even making arrangements in advance for it to be sent to a central location, whereby local radios can inform people of its availability.

Experience during past hurricanes and ice storms points out the necessity of assigning, in advance; a staff member who will handle member relations during times of disaster.  It is important that he or she make arrangements with radio stations to keep them informed of the systems’ plan for re-establishing service.  When telephone services are available, a regular schedule should be set up with a direct circuit from the cooperative office to the radio station that will enable management to maintain contact with members.

There are many cases where members are isolated due to road conditions and they should be warned about energized lines which are down, they should be encouraged to notify the cooperative office when they notice broken lines, poles down, etc.  They should be informed as to how the method of re-establishing service is progressing. By keeping them thoroughly informed, the coop will be performing a vital member service and one that can pay handsome dividends for years to come.

In every cooperative area, there are loads that must have electric service, certainly during part of the outage, therefore, it is recommended that a survey be made to determine the availability of portable generators of 5 KW and above.  For example:  In certain portions of Texas, the National Guard has available portable generators for providing emergency service of this nature.  In emergencies, these units are moved from load to load to provide power for the required service.  These portable generators are most important.

TEC Mutual Aid Assistance

Compensation Survey

Please fill out and FAX your return to TEC  512-486-6215. Thank You!

- It is normal for “assisting cooperatives” to bill the affected cooperative (the one receiving aid) for the actual payroll cost of an employee, plus an “added amount” per hour for all straight time hours, and 1 ½ time per hour for all overtime hours worked.  What is the typical “added amount” per hour for straight time in your state?  __________________  
What is the “adder” for overtime hours? ___________

- What reimbursement rate is paid for office staff volunteers (non-linemen)? _______

- What is the reimbursement rate paid for vehicles of one ton or less? _____________

- What is the rate paid for vehicles of 1 ½ ton or 2 ton capacity?  __________________

- What is the rate paid for specially equipped vehicles or equipment? ______________

- Is mileage paid both to and from the assisting cooperatives’ normal location of vehicles?  ______ Yes   ______ No

- What is the average rate charged for overhead in your state?  ___________________

- Are all materials supplied by assisting cooperatives billed at cost? ____ Yes ____ No

- How are office employees at affected systems compensated during/after the storm?

- Please describe any special compensation or awards programs for affected system employees (i.e., bonuses, rewards, recognition, etc.).

## TEC recommended Uniform Method of Reimbursement

It is suggested that co-ops requesting assistance will reimburse the providers of the assistance the provider’s actual labor, equipment and materials costs.  It is suggested that the rate of pay for labor is at least time-and-a-half for all hours worked.

Every reasonable precaution shall be used to determine whether an employee is mentally and physically qualified to follow safe work practices.  The crew foreman of the co-op providing the assistance will determine the total number of continuous work hours.

It is also recommended that the current FEMA Cost Code listing be considered.

## TEC Mutual Aid Agreement

In consideration of the mutual commitments given herein, each of the Signatories to this Mutual Aid Agreement agrees to render aid to any of the other Signatories as follows:

- Request for aid The Requesting Signatory agrees to make its request in writing to the Aiding Signatory within a reasonable time after aid is needed and with reasonable specificity.  The Requesting Signatory agrees to compensate the Aiding Signatory as specified in this Agreement and in other agreements that may be in effect between the Requesting and Aiding Signatories.

- Discretionary rendering of aid. Rendering of aid is entirely at the discretion of the Aiding signatory.  The agreement to render aid is expressly not contingent upon a declaration of a major disaster or emergency by the federal government or upon receiving federal funds. Invoice to the Requesting Signatory.  Within 90 days of the return to the home work station of all labor and equipment of the Aiding Signatory, the Aiding Signatory shall submit to the Requesting Signatory an invoice of all charges related to the aid provided to this Agreement.  The invoice shall contain only charges related to the aid provided pursuant to this Agreement. Charges to the Requesting Signatory. Charges to the Requesting Signatory from the Aiding Signatory shall be as follows:

- Labor force. Charges for labor force shall be in accordance with the Aiding Signatory’s standard practices.

- Equipment. Charges for equipment, such as bucket trucks, digger derricks, and other special equipment used by the aiding Signatory, shall be at the reasonable and customary rates for such equipment in the Aiding Signatory’s location.

- Transportation. The Aiding Signatory shall transport needed personnel and equipment by reasonable and customary means and shall charge reasonable and customary rates for such transportation.

- Meals, lodging and other related expenses.  Charges for meals, lodging and other expenses related to the provision of aid pursuant to this Agreement shall be the reasonable and actual costs incurred by the Aiding Signatory.

- Counterparts. The Signatories may execute this Mutual Aid Agreement in one or more counterparts, with each counterpart being deemed an original Agreement, but with all counterparts being considered one Agreement.

- Execution. Each party hereto has read, agreed to and executed this Mutual Aid Agreement on the date indicated.

Date________________________ Entity___________________________________

By ____________________________________

Title____________________________________

## TEC Mutual Aid Agreement Comments

- The Texas Electric Cooperatives Loss Control Advisory Committee hereby recognizes the need to update and amend this manual, preferably on an annual basis. This document should certainly be reviewed shortly after a disaster event has occurred in the state, and which has affected any TEC member-system cooperative. Additional recommendations and suggestions will be added as necessary, and will serve as additional attachments or amendments to this text.

- It is further recommended that the TEC Loss Control Advisory Committee, along with the TEC Directors, review and update the TEC Mutual Aid Plan for the Electric Cooperatives of Texas on an annual basis. Such review should include: 1) an update of names, addresses and phone numbers (to include emergency contact phone numbers) of all in-house contractors used by cooperatives in the state; 2) an updated listing of the current safety practices, rules, and regulations as adopted by the TEC Safety and Loss Control Advisory Committee and the TEC Board of Directors, including any amendments thereto; 3) an annual study of wages paid to assisting co-op personnel, to include an analysis of wages paid to assisting line crews from other surrounding states; and, 4) a review of billing rates for equipment and vehicles used during emergency restoration services and in subsequent permanent repair efforts during the days and weeks following a declared disaster.

- It is strongly recommended that an inventory of materials be commenced by the assisting cooperative for all vehicles and equipment to be used during the emergency restoration period, and that such an inventory be conducted before vehicles are sent to an affected co-op, and after work has been completed.

4.  The assisted cooperative may either return the borrowed materials OR reimburse the assisting cooperative for materials replacement.

- TEC should appoint a designated person from its staff to serve as an official liaison to both Texas Emergency Management (TEM) and the Federal Emergency Management Agency (FEMA).

- Such liaison should work with officials from TEM and FEMA before, during, and after all declared disasters within the state of Texas. Additionally, said TEC liaison should stress the importance of applicable Codes and Standards that all Texas electric cooperatives are required by law to abide by and to apply such Codes and Standards during the Emergency Protective Measures period and during permanent repair efforts.

- The Committee hereby recommends that TEM officials be trained in the knowledge of applicable electric Codes and Standards, specifically the current version of the National Electrical Safety Code (NESC).

- The Committee further recommends that FEMA auditors be consistent in both personnel and their findings among audited cooperatives.

- The Committee suggests that TEC contract with or arrange for TEM officials to conduct an annual training seminar for cooperative personnel on disaster-related topics, including but not limited to: Public Assistance, Response and Recovery, Disaster-related Mitigation, and Hazard Mitigation.

- Finally, the Committee recommends that, within 60 to 90 days following a disaster-related event, an in-depth analysis of the response and recovery effort by affected cooperatives be conducted in order to make necessary improvements, changes or corrections to the TEC Mutual Aid Plan and to this disaster response and recovery guidebook.

## Mutual Aid Agreement Participants (Texas Only)

MANAGEMENT ISSUES

- Mutual Aid Agreements between cooperatives and/or other organizations should be reviewed annually. Such agreements should specify the type of assistance each participant shall provide, and at what cost. The Mutual Aid Agreement should stipulate that the “helping partner,” the participant responding to a request for help from the affected system, shall bill all costs at their normal rates; any “adders” should be specified and detailed in the agreement.

- “Projects of Work,” or “PWs,” should specify verifiable quantities of work to be done whenever possible. Cooperative personnel must be prepared to explain cost over-runs or reasons for higher costs than were estimated in the original PW. Each state’s Emergency Management Agency should be contacted immediately if an over-run is anticipated. Such constant tracking of a PW’s progress may necessitate the use of a full-time accounting manager or project accountant for FEMA-related work. Such assignment would be added to the cooperative’s “Administrative Costs” for the project.

- Consider the assignment or designation of someone to be the co-op Project Officer throughout the course of the disaster response and recovery. Such person could be from within the cooperative, or on loan from another system outside the disaster area. The Project Officer’s duties could include the following:

  - Assistance in evaluating and estimating the extent of damage to the cooperative’s system;

  - Assistance in securing available contractors and bid lists once the 70-hour Emergency Protective Measures period has passed;

  - Coordinating with all other cooperative departments, including but not limited to management, accounting, engineering, operations, purchasing, and warehouse operations, to ensure an orderly assessment of needs by each department, and assistance in helping individual departments meet necessary requirements during the disaster response and recovery process. Such requirements would include ensuring environmental compliance via contacts with each state’s Department of Environmental Quality (DEQ), One-call digging notification, State Historic Preservation offices and each state’s Archeological Survey notification, as well as each state’s Floodplain Administrator office notification.

  - The co-op Project Officer could also coordinate the establishment of temporary storage areas for debris, and assist in dispensing state emergency management Environmental Release Forms and Historic Site Preservation Forms to individuals or groups who contact the cooperative regarding the re-use of damaged or destroyed wood poles.

  - Other duties possibly assigned to the co-op Project Officer would be the evaluation of material acquisition, material dispensation, compilation of staking sheets during both the Emergency Protective Measures period and the Utilities (permanent repairs) period, and ensuring that all required maps, invoices, time sheets, and other paperwork documentation relevant to the specified disaster be collected and retained in an orderly fashion for future review by FEMA and OIG.

- Send personnel from the accounting, operations, and engineering departments to the FEMA Applicant Briefing meetings and sign up for assistance as soon as possible. To the best of your ability, make sure original estimates of damage are thorough and comprehensive. Underestimating disaster damages could create additional PWs or delay reimbursements.

- Management may wish to implement a policy that designates key employees and supervisors be available 24-hours per day, 7 days per week during the disaster, with work schedules to be determined by department heads in conjunction with the manager/CEO.

- Communications, marketing, and/or public relations personnel may be utilized or designated to deliver material, equipment, and/or food (meals) to crews in the field, depending upon the personnel’s knowledge of the distribution system and their certification on equipment or in materials handling.

- As soon as possible, preferably during the first 70 hours of the disaster (FEMA’s usual definition of Category B, Emergency Protective Measures), contact in-house contractors and those whose bids have been accepted and determine the length of time the contractors’ emergency rates are to be in effect.  Do not accept a contractor’s argument that FEMA will automatically pay for extended work periods utilizing emergency rates. Also, unless other arrangements are made, advise contractors that after the initial 70-hour Emergency Protective Measures period, meals and lodging will no longer be paid for by the cooperative, but should be arranged and paid for by the contractor, with copies of meal and hotel receipts to be attached to weekly invoices supplied to the cooperative. Said meal and hotel tickets should list the names of crew members and corresponding room numbers at hotels to account for appropriate meal and lodging expenses. (Reference current IRS per diem guidelines.)

- It is strongly recommended that additional engineering resources be arranged to assist in the daily development of staking sheets, material sheets, and work order information. This will allow the staking department to stay ahead of construction crews, and provide for a more orderly flow of necessary and vital information to other key departments.

- The engineering department should begin solicitation of at least three (3) bids from contractors as soon as possible, even before the full extent of damage to the system has been determined. Both FEMA and the OIG require that bids be procured for all permanent restoration work to be done by contractors. Make sure that any ‘verbal contracts’ are converted to written agreements to be shown to auditors.

- Whenever it appears that consumers may be without electric power for several days or weeks, consider hiring security guards to be in place at office headquarters and warehouse facilities. This generally eliminates the possibility of hostile issues with consumers and sends a message that personnel, material, and equipment are being safeguarded. Once the cooperative nears completion of its service restoration efforts to residential customers, the security arrangement may then be terminated.

- It is not uncommon for employees to retire, quit, or ask for re-assignment during or following a disaster. Carefully evaluate the need for cooperative linemen to work at night; their most effective work and/or leadership will most likely be during daylight hours, when damage to the system is clearly visible and when they have been adequately rested.

- Document the first day of the outage and the day the last consumer’s service was restored. This may impact various FEMA Categories A through F on your co-op’s Force Account Labor statistics.

- Have an Organization Chart of all cooperative employees, indicating what area or department they worked in before and during the disaster. This will help resolve questions about force account labor when it is classified into Categories A, Debris Removal; B, Emergency Protective Measures; and F, Utilities (Permanent Repairs).

- Consider the development of a Rest and Recuperation Policy (R & R) for employees. Such policy should be designed for the safety and well-being of the cooperative’s employees, and for the general public. The policy should be developed by management, and approved/adopted by the co-op’s board of trustees. If such a policy is enacted during the disaster, the date and time should be noted in the form of a written memorandum.

- Insurance claims filed with FEMA should have a disclaimer from the cooperative’s insurance carrier. Have copies of all insurance policies available for inspection by state emergency management, FEMA, and OIG personnel.

- Insist that daily time sheet entries be made by all personnel, listing hours worked, names of crew members, and location work was performed; document, with narrative descriptions, any work performed by office personnel if it is related to field work, i.e., delivery of meals or materials and equipment, warehouse work, etc.

- Management should be prepared to explain the process that the cooperative used to select work crews, whether such crews were from other co-ops or were contract crews. Explanation of the cooperative’s action plan and methodology used in selecting various contractors may be necessary, including lists of equipment needed and rationale used to determine which contractors and crews would be utilized.

- Send groups of employees to state emergency management agency and FEMA training; this denotes the co-op’s dedication to being properly prepared.

## Rest & Recuperation Leave Policy

Electric Cooperative Board Policy #___

MANDATORY REST and RECUPERATION LEAVE

WHEREAS, the Board of Directors deemed it necessary to implement a mandatory Rest and Recuperation (R&R) leave policy for the safety of the North Plains Electric Cooperative employees, staff and the public in general, and

THEREFORE, BE IT RESOLVED that the Board of Directors has enacted a policy that requires all North Plains Electric Cooperative employees to have an average of six hours (6 hrs.) rest at home in each 24-hour period after the first 36 hours of a major storm or disaster; and

BE IT FURTHER RESOLVED that exception to this policy may be made if a specific emergency arises, and the exceptions can be made with the approval of the President of the Board of Directors or General Manager of the Cooperative.

NOW THEREFORE BE IT RESOLVED that the resolutions hereby adopted shall be effective January 1, 20__.

ADOPTED – Regular Board of Directors meeting, January 1, 20__

Reaffirmed:

Your Electric Cooperative Board Policy #___

ADDITIONAL COMPENSATION FOR STAFF and EMPLOYEES

WHEREAS, the Board of Directors recognizes that employees, staff, management, and their families are placed in dangerous and stressful positions and/or conditions during long power outages caused by adverse weather conditions,

BE IT RESOLVED that at the option of the Board of Directors and with the recommendation of the General Manager,

- Cooperative employees may be paid additional compensation for emergency situations up to (blank) percent (___ %) of their annual wages as reported to NRECA, and

- Cooperative management and staff may be paid additional compensation for emergency situations up to (blank) percent (___ %) of their annual wages as reported to NRECA.

ADOPTED – Regular Board of Directors meeting, Date

All construction will meet all National Electrical Safety Code (NESC) requirements.

According to RUS standards, all new construction will be at 7.2/12.47 kV.

It is our goal to maintain ACSR within RUS standards.

- If four locations per mile have insufficient ground clearance based upon current code, replace whole mile;

- If more than two splices per quarter mile, per conductor, replace the entire conductor in the mile (at least from dead-end to dead-end).

- When wire is damaged or stressed: Wire shall be deemed stressed when sag is found more than two times normal sag.

- Document the reasons for the changes.

Re-tensioning should be done from dead-end to dead-end, not cut and spliced every span.

The minimum pole height and class for primary distribution will be 35 ft., Class 5.

The minimum pole height and class for three phase construction for #1/0 ACSR and smaller is 35 ft, Class 5; for #4/0 and larger is 35 ft., Class 3.

The minimum pole height and class for secondary, service, or overhead guy stub poles will be 30 ft., Class 6.

Surge arrestors shall be installed every one-quarter mile (1/4 mi.) when listed.

Minimum wire size will be:

#1/0 ACSR on taps.

#1/0 ACSR on three-phase, or down the road (minor) feeders.

#4/0 ACSR for main feeders.

The Cooperative does not normally pay the contractor for retirement of salvaged material because the salvage value of the usable material is less than the labor cost to retire it.

The recommended maximum span length for single-phase construction is 300 ft.; for three-phase construction is 285 ft.

No reduced neutrals shall be used on any new construction except large feeder conductor (#4/0 ACSR or larger).

Primary highway road and railroad crossings shall get double support (A1-1, B1-1, or C1-1) construction.

All Self-Protected (SP) Transformers with flipper-type fuses use 25 kVA and smaller transformers. Any transformer above 25 kVA will use a pole-mounted fuse, cutout, and arrester. Retire Completely Self-Protected (CSP) transformers as necessary with conventional transformers.

The above are Minimum Standard Construction Practices which are recommended to the Board of Directors of XYZ Cooperative for their approval.

Texas Electric Cooperative Mutual Aid Agreement

Participants List

Bailey County EC

Bandera EC

Bartlett EC

Belfalls EC

Big Country EC

Bluebonnet EC

Bowie-Cass EC

Brazos EC

BTU, (Bryan Texas Utilities)

Cap Rock Electric

Central Texas EC

Cherokee County EC

Coleman County EC

Comanche EC

Concho Valley EC

Cooke County EC

CoServ EC

Deaf Smith EC

Deep East Texas EC

Denton Municiple Electric

East Texas EC

Fannin County EC

Fayette EC

FEC Electric

Fort Belknap EC

Golden Spread EC

Grayson-Collin EC

Greenbelt EC

Guadalupe Valley EC

Hamilton County EC

HILCO EC

Houston County EC

J-A-C EC

Jackson EC

Jasper-Newton EC

Karnes EC

Lamar County EC

Lamb County EC

Lea County EC

Lighthouse EC

Lyntegar EC

Magic Valley EC

McLennan County EC

Medina EC

Mid South Synergy

Navarro County EC

Navasota Valley EC

North Plains EC

Northeast Texas EC

Nueces EC

Panola-Harrison EC

Pedernales EC

Rayburn Country EC

Rio Grande EC

Rita Blanca EC

Rusk County EC

Sam Houston EC

San Bernard EC

San Miguel EC

San Patricio EC

South Plains EC

South Texas EC

Southwest Rural EC

Southwest Texas EC

Swisher EC

Taylor EC

Tri-County EC

Trinity Valley EC

United Cooperative Services

Upshur-Rural EC

Victoria EC

Webster EC

Wharton County EC

Wise EC

Wood County EC

## TEC Sample Notification Form

UTILITY NAME: ________________________________________________________

CONTACT: ____________________________________________________________

Name and telephone number of person to contact regarding report.

LOCATION: ______________________________________________________	_____

Area affected by outage.  Also enclose a location map

(see example with sample letter.)

OUTAGE TIME: _______________________________________________________
			Indicate as closely as possible, the time the outage occurred.

IMPACT: _____________________________________________________________
		Indicate the type and number of customers impacted by the outage.

CAUSE: ______________________________________________________________
				Describe the cause of the outage, if known.

RESTORATION TIME: ___________________________________________________
			Indicate, as closely as possible, the time power was restored.

COMMENTS: _____________________________________________________________________

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Any additional information

## TV Stations & Web News

|  | Station Address | URL | E-Mail | Phone | Phone |
| --- | --- | --- | --- | --- | --- |
| PTCI | PO Box 1188 | https://www.ptci.net/ |  | 580-468-2197 | 580-338-2556 |
| High Plains Observer (Perryton, Booker) |  | https://highplainsobserverperryton.com/ | hpoperryton@live.com bgillispie@ptsi.net | 806-659-5341 |  |
| High Plains Observer (Spearman) | PO Box 366 Spearman, TX 79081 | https://highplainsobserver.com/ | bgillispie@ptsi.net hpospearman@hotmail.com | 806-659-5341 |  |

## Radio Stations

| Call Letters | URL | Phone | E-Mail |
| --- | --- | --- | --- |
| KEYE | https://www.keye.net/ | 806-435-5458 | sharon@keye.net |
| KXDJ | https://www.kxdjradio.com/ | 806-648-2650 | bill@kkxdjradio.com kami@kxdjradio.com |

## Newspapers

| Name | Publisher | Address | Phone | Fax | E-Mail |
| --- | --- | --- | --- | --- | --- |
| # The Perryton Herald | # Meagan Rogers | # PO Box 989 Perryton, TX 79070 | # 806-435-3631 | # 806-435-2420 | # advertising@perrytonherald.com |
| # Canadian Record | # Cheri Smith / Laurie Brown | # 211 Main Canadian, TX 79014 | # 806-323-6461 |  | # cheri@canadianrecord.com editor@canadianrecord.com |
| # The Hansford Reporter -Statesman | # Cathy Smith/Catherine Richie | # PO Box 490, Spearman TX 79081 | # 806-659-3434 |  | # reporterstatesman@gmail.com |
| # Miami Chief | # Toni R. Coombs | # 109 S Main Miami, TX 79059 | # 806-664-2278 |  | # themiamichief@yahoo.com |
| # The Booker News | # Joni Yara | # 204 S. Main Booker, TX 79005 | # 806-658-4732 |  | # bnews@ptsi.net |

## Area Schools

| ISD Name/Location | Phone | Email of Contact |
| --- | --- | --- |
| # Booker ISD | # 806-658-4521 |  |
| # Canadian ISD | # 806-323-5393 |  |
| # Darrouzett ISD | # 806-624-2221 |  |
| # Follett ISD | # 806-653-2301 |  |
| # Gruver ISD | # 806-733-2477 |  |
| # Perryton ISD | # 806-435-5478 |  |
| # Spearman ISD | # 806-659-2032 |  |

## Police, Emergency Management, Ambulance, Sheriff

| Town County | Sheriff | Ambulance | Emergency Management Coordinator | Police |
| --- | --- | --- | --- | --- |
| # Perryton (Ochiltree) | # 806-435-8000 | # 911 | # Wayne Floyd 806-435-8000 | # 806-435-4002 |
| # Booker (Lipscomb) | # 806-862-2611 | # 911 |  | # 806-658-4579 |
| # Spearman (Hansford) | # 806-659-4140 | # 911 |  | # 806-659-3707 |
| # Canadian (Hemphill) | # 806-323-5324 | # 911 |  | # NA |
| # Miami Roberts | # 806-868-5700 | # 911 |  |  |
| # Stinnett Skellytown (Hutchinson) | # 806-274-6343 | # 911 |  |  |
| # Amarillo District EMC |  |  | # Joseph Minshew 806-316-7632 |  |
| # Texas DEM |  |  | # W. Nim Kidd |  |

Local County Volunteer Fire Departments

| # COUNTY |  | # COMMUNITY | # FIRE CHIEF | # PHONE NUMBER |
| --- | --- | --- | --- | --- |
| # HANSFORD COUNTY |  |  |  |  |
|  |  | # Spearman | # John Kunselman | # 806-659-5511 |
|  |  | # Gruver | # Sam Gruver |  |
|  |  | # Morse | # Gary Urban |  |
| # HEMPHILL COUNTY |  |  |  |  |
|  |  | # Canadian | # Scott Brewster | # 806-323-6485 |
|  |  | # Gem City | # Chris Meek |  |
| # HUTCHINSON COUNTY |  |  |  |  |
|  |  | # Stinnett |  | # 806-878-2422 |
|  |  | # Skellytown |  | # 806-848-2493 |
| # LIPSCOMB COUNTY |  |  |  |  |
|  |  | # Booker | # Kevin Hill |  |
|  |  | # Darrouzett | # Jerry Reynolds | # 806-624-2441 |
|  |  | # Follett | # Clayton Born | # 806-653-2601 |
|  |  | # Higgins | # Randy Immel |  |
|  |  | # Lipscomb | # Merle Craft | # 806-852-3131 |
| # OCHILTREE COUNTY |  |  |  |  |
|  |  | # Perryton | # Paul Dutcher | # 806-435-3838 |
| # ROBERTS COUNTY |  |  |  |  |
|  |  | # Miami |  | # 806-868-2073 |
| # WHEELER COUNTY |  |  |  |  |
|  |  | # Allison | # Benny Boydston |  |
|  |  | # Briscoe | # Dave Pearson |  |
|  |  | # Kelton | # Shorty Green |  |
|  |  | # Mobeetie | # Tim Adcock |  |
|  |  | # Shamrock | # Randy Tallant |  |
|  |  | # Wheeler | # Robert Ford |  |

## NPEC Critical Load Members/Oxygen, CPAC

| Name / Contact | Phone | Account Number | Sub/Feeder |
| --- | --- | --- | --- |
| Martha Anspaugh | 405-820-8736 | 7516801 | Gruver/Fdr #3 |
| Monty Harbour | 806-659-3348 | 2897700 | Harbour/Fdr #2 |
| Billy Britt Jarvis | 806-659-2444 | 3487600 | Harbour/Fdr #2 |
| Jeffries Farm Trust | 806-662-8875 | 5735603 | Harbour/Fdr #4 |
| K. Courson Renter | 806-435-0203 | 22405501 | Perryton/Fdr #2 |
| Harold Schoenhals | 806-202-2580 | 6110100 | Perryton/Fdr #4 |
| Ron Mick | 806-435-3105 | 6451902 | Lucky/Fdr #2 |
| Sherman Wheless | 806-595-0943 | 4230912 | Lucky/Fdr #1 |
| Judy Elmore | 806-653-2218 | 2002400 | Shattuck/Fdr #1 |
| Jeri Pundt | 806-323-6097 | 5711702 | Glazier/Fdr #1 |
| Richard Farquer | 806-323-9608 | 3092401 | Glazier/Fdr #3 |
| Don Knight | 918-812-9436 | 22546100 | Urschel/Fdr #2 |
| Glen Ellison | 806-323-5515 | 1988500 | Briscoe/ Fdr #2 |
| LM Gallagher | 806-323-6506 | 2380400 | Briscoe/Fdr #4 |
| JB Henderson | 806-255-3084 | 3052800 | Briscoe/Fdr #4 |
| Kathy Beahn | 806-323-9655 | 22614600 | Briscoe/Fdr #4 |
| Nick Thomas Inc. | 806-323-9111 | 22329801 | Briscoe/Fdr #2 |
| Elvin Meadows | 806-323-6049 | 4347100 | Meadows/Fdr #2 |

## Municipal Critical Loads

| Name / facility | Account Number | Generator on site | Emergency Contact 806-443-6967 |
| --- | --- | --- | --- |
| Perryton Well #5 | 5224100 | X | Brandon Knapp |
| Perryton Well #6 | 5225800 |  | Brandon Knapp |
| Perryton Well #7 | To be completed |  | Brandon Knapp |
| Perryton Well #8 | 5223300 |  | Brandon Knapp |
| Perryton Well #9 | 5226600 |  | Brandon Knapp |
| Perryton Well #10 | 5231600 | X | Brandon Knapp |
| Perryton Well #11 | 5230800 | X | Brandon Knapp |
| Perryton Well #12 | 22454701 |  | Brandon Knapp |
| Perryton Well #13 | 22721200 |  | Brandon Knapp |
| Perryton Wastewater Treatment Plant | 21013900 | X | Brandon Knapp Robert Holland |
| Perryton SE Booster Pump Station | 5228200 | X | Brandon Knapp Robert Holland |

## External Resources

| Vendor Name | Contact Person | Address | Phone Numbers |
| --- | --- | --- | --- |
| Wesco | Chris Eaton | 513 N. Nelson Amarillo, TX | 806-379-8117 |
| Techline | Troy Holeman | 16005 I-27 Amarillo, TX | 806-786-7452 |
| Anixter | Zane Majors | 10309 W. CR 146 Midland, TX | 806-277-9806 |
| Amarillo Electric | Vickie Schrandt | 201 S. Shore Amarillo, TX | 806-679-1008 |
| Tri-State Electric | Jonathon Dindinger | 215 S. Bonham Amarillo, TX | 800-284-4921 806-374-4404 |
| Solomon | Jan Sexton | PO Box 245 Solomon, KS | 800-234-2867 Extension 123 |
| Marathon Electric | Bill Brown | PO Box 271565 Oklahoma City, OK | 405-682-5511 |
| KD Johnson SEL Controls | Stacy Smith | 1860 CR 1320 Morton, TX 79346 | 806-777-2606 |
| R&R Line Construction | Roy Varnell | PO Box 246 Sayre, OK 73662 | 580-729-1054 |
| Lone Star Line Service | Bobby Fouqet | PO Box 964 White Deer, TX | 806-676-5831 |
| Custom Energy Services | Waylen Wyrick |  | 405-519-3129 |
| Powerline Inc. |  | 583 US 70 Clovis, NM | 575-226-4000 |
| Davis Tree Service |  |  |  |
| Willis Boyd Dirt Contractor | Willis Boyd | Spearman, TX | 806-898-2813 |
| James Clark Dirt Contractor | Kenny Mackey | Perryton, TX | 806-435-4533 |
| TEC M & D Services | Johnny Andrews Mike Zaccardo | Austin, TX Lubbock, TX | 512-868-8610 |
| Scribner Construction | Johnny Scribner | Perryton, TX | 806-202-0194 |
| Panhandle Line Construction | Sherman Alders | Borger, TX | 8062740594 |
| Nick Thomas Dirt Contractor | Nickolas Thomas | Canadian, TX |  |

## NPEC Cooperative Personnel

| Name | Address | City | Zip | Home Phone | Business Phone |
| --- | --- | --- | --- | --- | --- |
| Randy Mahannah | 2921 Ash Street | Perryton, TX | 79070 |  | 806-435-0927 |
| Paula Lehew | 1518 Drake St. | Perryton, TX | 79070 |  | 806-202-2088 |
| Engineer |  |  |  |  |  |
| Miguel Carnero | 913 S Loyola | Perryton, TX | 79070 |  | 806-202-5981 |
| Safety Coordinator |  |  |  |  |  |
| Jeff Hinshaw | 2210 Sequoia | Perryton, TX | 79070 |  | 806-202-5561 |
| Operation Manager |  |  |  |  |  |
| Ronald Harvey | 12780 CR K | Perryton, TX | 79070 |  | 806-435-0102 |
| Angela Godino | 408 Denton St | Booker, TX | 79005 |  | 806-260-1285 |
| Martin Garza | 14070 US 83 | Perryton, TX | 79070 |  | 806-664-0018 |
| Construction Foreman |  |  |  |  |  |
| Jason O’Dell | 14611 W Loop 143 | Perryton, TX | 79070 |  | 806-202-2718 |
| Dayton Savage | 2306 Jackson | Perryton, TX | 79070 |  | 806-202-9448 |
| Laramie Batenhorst | 1222 LaMaster RD | Perryton, TX | 79070 |  | 580-651-7535 |
| Logan Boxwell | 13598 CR 15 | Perryton, TX | 79070 |  | 806-228-9176 |
| Construction Foreman |  | Perryton, TX | 79070 |  |  |
| Jesse Burkhalter | 1217 S Grinnell | Perryton, TX | 79070 |  | 806-228-1837 |
| Logan Godino | 2201 Georgia | Perryton, TX | 79070 |  | 806-217-0417 |
| Freddy Martinez | 614 S Cedar | Perryton, TX | 79070 |  | 806-202-3708 |
| Danny Hernandez | 1109 S Harvard | Perryton, TX | 79070 |  | 806-228-8281 |
| Serviceman |  |  |  |  |  |
| Dewayne Holdeman | 2610 Georgia Dr | Perryton, TX | 79070 |  | 806-228-1095 |
| Construction Foreman |  |  |  |  |  |
| Heath Davis | RR1 Box 186 | Balko, OK | 73931 |  | 806-228-6055 |
| Daniel Garza | 2306 Indiana | Perryton, TX | 79070 |  | 806-228-6854 |
| Lane Farrar | 14601 NW Loop 143 | Perryton, TX | 79070 |  | 806-330-0968 |
| Clay Feger | 3211 Garrett Dr | Perryton, TX | 79070 |  | 806-202-5933 |
| Construction Foreman |  | Perryton, TX | 79070 |  |  |
| Alfred Godino | 102 Salem St. | Canadian, TX | 79014 |  | 806-217-0131 |
| Elbie Wilson | 402 N. 8th St. | Canadian, TX | 79014 |  | 806-217-1142 |
| David Lewis | 810 Houston Ave | Canadian, TX | 79014 |  | 806-217-0464 |
| Eduardo Paz | 1837 Willard | Canadian, TX | 79014 |  | 806-217-1201 |
| Brenden Wyatt | 1204 Ash Street | Canadian, TX | 79014 |  | 806-217-1510 |
| Serviceman |  |  |  |  |  |
| Jonathon Fulton | 907 Elsie | Canadian, TX | 79014 |  | 806-948-2417 |
| Information Tech |  |  |  |  |  |
| Rusty Pickett | 1506 S Indiana | Perryton, TX | 79070 |  | 806-228-5602 |
| Member Services |  |  |  |  |  |
| Cynthia Turner | 1117 S Indiana | Perryton, TX | 79070 |  | 806-202-2538 |
| Bianca Peregrino | 902 S Loyola | Perryton, TX | 79070 |  | 806-202-5064 |

| Engineering Services Manager |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Joe Lane | 1510 S. Harvard | Perryton, TX | 79070 |  | 806-202-0305 |
| Sean Roberts | 14609 Loop 143 | Perryton, TX | 79070 |  | 806-435-8200 |
| Michael McLaughlin | 22 Pioneer Dr | Booker, TX | 79005 |  | 806-216-0692 |
| Justin Humphrey | 13907 CR 7 | Perryton, TX | 79070 |  | 806-202-7662 |
| Ashtan Appelhans | 2310 Date | Perryton, TX | 79070 |  | 806-781-6239 |
| CFO |  |  |  |  |  |
| Jennifer Roberts | 14609 Loop 143 | Perryton, TX | 79070 |  | 806228-0811 |
| Angela Petersen | 813 SW 13th | Perryton, TX | 79070 |  | 806-202-2752 |
| Tiffany Constancio | 2306 Jackson Dr | Perryton, TX | 79070 |  | 806-228-0345 |
| Ivette Cortez | 2020 S Harvard | Perryton, TX | 79070 |  | 806-228-1736 |
| Brittany Yeary | 808 S Harvard | Perryton, TX | 79070 |  | 806-790-9998 |
| Engineering |  |  |  |  |  |
| Jaime Pugh | RR 4 Box 18 | Beaver, OK | 73932 |  | 620-271-7537 |
| Marc Padgett | 1217 S. Eton | Perryton, TX | 79070 |  | 806-202-0508 |
| Monte Eisenman | 621 S Harvard | Perryton, TX | 79070 |  | 806-202-0356 |
| Jimmie Burkhalter | 1413 S Drake | Perryton, TX | 79070 |  | 806-228-1005 |
| Russell Crain | 2902 Birch | Perryton, TX | 79070 |  | 806-202-2407 |
| Custodial |  |  |  |  |  |
| Rosario Bernal | 516 SE 9th Ave | Perryton, TX | 79070 |  | 806-228-0964 |

# ANNEXES

Cooperative maintains the annexes designated below, which are attached and incorporated into the Plan:

| Annex | Title | Included | Explanation, if not included |
| --- | --- | --- | --- |
| A | Load Shed | Yes |  |
| B | Pandemic and Epidemic | Yes |  |
| C | Wildfires | Yes |  |
| D | Hurricanes | No | Not applicable. Cooperative service territory is not located near or within a hurricane evacuation zone, as defined by the Texas Division of Emergency Management. |
| E | Cybersecurity | Yes |  |
| F | Physical Security | Yes |  |
| G | TDU Requirements | No | Not Applicable. Cooperative is not a Transmission and Distribution Utility as defined in 16 TAC §25.5 |
| H | Additional annexes | No | No additional annexes necessary |
| XXX | [Confidential Portions of ------] |  |  |

ANNEX A: LOAD SHED

### Southwest Power Pool (“SPP”)

#### Procedures for controlled shedding of load

Southwestern Public Service’s (“SPS”) Transmission Operations Center receives Load Shed Instructions from SPP. SPS’s Transmission Operations Center performs a calculation to allocate the load shed requirement for “North Plains Electric Cooperative” and communicates that instruction via voice communication.

Upon notification of curtailment and the target kW to be shed, NPEC personnel will begin opening feeder circuit breakers via SCADA (or via field personnel in the substation) as outlined in the cooperative’s Emergency Load Curtailment Plan until the target kW is shed.

Once the target kW is shed, NPEC will notify SPS’s Transmission Operations Center via voice communication that the allocated load has been shed.

Depending on the duration of the curtailment, it is planned to rotate load that has been shed among the substations and circuits on a one (1) hour basis. This is to spread the outages as evenly among the Members as possible and minimize the inconvenience associated with the outage.

All load shed Instructions will be executed as soon as possible and without delay.

The cooperative uses discretion in prioritization of selecting load shed feeders by giving highest priority to critical natural gas facilities to remain in service taking into consideration the guidance provided by PUCT (please refer to Appendix I), with other critical loads given lower priority to remain in service. Even though the cooperative plan attempts to prioritize critical natural gas facilities and other critical loads from manual load shed, designation as a critical natural gas facility or other critical load does not guarantee the uninterrupted supply of electricity.

#### Priorities for restoring shed load to service

Southwestern Public Service’s Transmission Operations Center receives Instructions from SPP that load can be restored. SPS’s Transmission Operations Center performs a calculation to allocate how much load can be restored for NPEC and communicates that Instruction via voice communication.

Upon notification of load restoration and the target kW to be restored, NPEC personnel will begin closing feeder circuit breakers via SCADA (or via field personnel in the substation) until the target kW is restored.

Once the target kW is restored, NPEC will notify SPS’s Transmission Operations Center via voice communication the amount of load that has been restored.

If any critical natural gas facilities or other critical loads were curtailed, they will be given higher priority for service restoration.

In addition to the priorities concerning community health and safety, Cooperative will assign crews to specific areas. Generally, the crews will concentrate on a given line section in order to restore power to as many members as possible. Restoration will be done systematically, with the best interest of all affected members in mind. However, one or more crews may be assigned to locations where special hazards exist or where especially critical loads require immediate attention. When not specifically assigned, these crews will be used to repair individual services

## ANNEX B: PANDEMIC PREPARDNESS PLAN

Pandemic Continuity Plan

NORTH PLAINS ELECTRIC COOPERATIVE, INC.

NOVEMBER 1, 2014

Revised March 8, 2022

Approved March 17, 2022

The template was utilized to create the North Plains Electric Cooperative, Inc. Pandemic Continuity Plan with the permission of the San Francisco Department of Public Health. It is subject to copyright protection but is available for a Guide and Template. It was further stated that, if used, no entity should charge or receive fees.  Also, the San Francisco Department of Public Health should be appropriately acknowledged.

Copyright 2008 San Francisco Department of Public Health

## I	INTRODUCTION

## A.	Purpose and Objectives

The primary purpose of the Pandemic Continuity Plan is for North Plains Electric Cooperative, Inc. (NPEC) to respond safely, effectively, and efficiently to a pandemic.  Objectives during a pandemic outbreak are the following:

1.	Reduce transmission of the pandemic virus strain among our employees, members, vendors and partners.

2.	Minimize illness among employees and members.

3.	Maintain essential operations and services.

4.	Minimize social disruptions and the economic impact of a pandemic.

B.	Supporting Plans

NPEC has an Emergency Operation Plan addressing emergency response and recovery.  The Pandemic Continuity Plan will be implemented in conjunction with it.

C.	Overview

a.	Pandemic Overview

Severe pandemics represent one of the greatest potential threats to the public’s health. Over time, people develop some degree of immunity to these viruses, and vaccines are developed annually to protect people from serious illness. Pandemic refers to a worldwide epidemic due to a new, dramatically different strain, to which there is no immunity. The new virus strain may spread rapidly from person to person and, if severe, may cause high levels of disease and death around the world

The worldwide public health and scientific community is concerned about the potential for a pandemic to arise. Although many officials believe it is inevitable that future pandemics will occur, just like with earthquakes, it is impossible to predict the exact timing of their arrival. It is difficult to predict the severity of the next pandemic and whether the pandemic virus strain will be treatable with existing medicines.

There are several characteristics that differentiate a pandemic from other public health emergencies. Unlike other natural disasters, where any disruption to business service provision is likely to be infrastructure-related, disruption to business operations in the event of a pandemic is anticipated to be human and material oriented.  A pandemic has the potential to cause illness in a very large number of people, overwhelm the health care system, and jeopardize services by causing high levels of absenteeism in the workforce. Basic services, such as health care, law enforcement, fire, emergency response, communications, transportation, and utilities could be disrupted during a pandemic. Finally, the pandemic, unlike many other emergency events, could last many months and affect many areas throughout the world simultaneously.

In a pandemic situation, the goal is to slow the spread of disease to prevent illness.  The most effective strategy to accomplish this is through vaccination and boosters.  However, it is likely that large quantities of effective vaccines will not be available for many months following the emergence of a new pandemic.  Existing antiviral medications may also not be effective or available.  Other disease control strategies such as social distancing, improved hygiene and respiratory etiquette, isolation, and quarantine may be used to control the spread of disease.

b.	International Monitoring

The World Health Organization (WHO) and the United States Federal Government use a series of phases and stages of pandemic alert as a system for informing the world of the seriousness of the threat and of the need to launch progressively more intense preparedness and response activities.

II	Activation & Notification

A.	Activation

Some or all of the Pandemic Continuity Plan will be activated when one or more of the following criteria is met:

- WHO declares the pandemic is in Phase 6 (increased and sustained transmission in the general population)

- Essential services are impacted by a viral pandemic either due to employee absenteeism, lack of supplies, or other reasons.

- Employee absenteeism is at 40% or greater.

- Employee concern regarding personal safety from a pandemic virus exists.

Only authorized staff may direct the activation/deactivation of the Pandemic Continuity Plan.  Staff authorized to activate the plan include:

- Executive Vice President & General Manager

- CFO

- Board of Directors

B.	Notification

The following groups will be notified when the plan has been activated:

- Board of Directors

- Employees

- Members

- Vendors

III	AUTHORITY

#### A.	Response Organizational Structure

The following organizational structure can be used to manage the response.  This structure is based on the [daily operating organizational structure, the Incident Command Structure, or other emergency response structure].  Some or all of the organizational chart will be activated for the response.  Modifications can be made to the structure throughout the response as needed.

Note 
The Incident Command Structure (ICS) is one method for managing an emergency response. In the United States it is used by national and local governments and has also been adopted by many businesses.  To learn more about ICS see: http://training.fema.gov/

Pandemic Continuity Organizational Response Structure

B.	Overall Management of Response

When the Pandemic Continuity Plan has been activated, overall management of the response is delegated to the Incident Commander, who presently is the CFO. Their primary responsibilities include:

- Oversight for implementation of the plan and company operations

- Expenditure approval consistent with established organizational procedure

- Allocation of personnel and non-personnel resources

- Policy decision making authority

The individuals that hold the following positions at NPEC are eligible to assume overall management of the response.

- Primary		Executive V.P. & General Manager

- Backup		Safety Coordinator

- Backup 		Engineering Services Manager

- Backup		Operations Manager

- Backup		Engineer

- Backup		Engineering & Operations Supervisor

The designated individual retains all assigned obligations, duties, and responsibilities until officially relieved by an individual higher on the list.  If a designated individual is unavailable, authority will pass to the next individual on the list.  “Unavailable” is defined as:

- The designated person is incapable of carrying out the assigned duties by reason of death, disability, or distance from the facility.

- The designated person is unable to be contacted within 24 hours.

- The designated person has already been assigned to other emergency activities.

IV	SITUATION ANALYSIS

A.	Mission

To inform the response, a situation analysis will be conducted regularly (daily or as needed) to identify up-to-date information, new guidance, and assess the impact of the pandemic on the business, partners, and community.  This information will be shared with response leaders to inform decisions and with employees to ensure that they have accurate and up-to-date information.

B.	Implementation

###### a.	Pandemic Status

The scope and spread (e.g., number of cases) of pandemic viruses in the community will be monitored.  Key sources for reliable information include:

- Texas Department of Safety & Health Services 		www.dshs.state.us

- Centers for Disease Control and Prevention		www.cdc.gov

- World Health Organization				www.who.int

Newspapers and other popular sources of information will be monitored in order to address misinformation and emerging public concerns.

b.	Disease control safety recommendations

Local safety recommendations and requirements issued by the Texas Department of Safety & Health Services will be collected.  These may include recommendations specific to individuals, workplaces, healthcare facilities, and/or other sites.  Disease control safety recommendations may address personal protective equipment (e.g., masks), social distancing measures (e.g., closure of schools, closure of large events), escalation of healthy habits (e.g., hand washing), and other strategies to reduce the transmission of a pandemic virus.

These recommendations will be shared and adopted by the individuals responsible for implementing disease control in the workplace.  Sources for local NPEC disease control safety recommendations include:

- Official government press releases

- Official government press conferences

- Website: www.dshs.state.us

- Area Hospital guidance

- Radio stations:

| KEYE 1400 AM KXDJ 98.3 AM |  |
| --- | --- |

c.	Community impact

The impact on the general public, members, and community will be assessed to provide situational awareness and inform operations.

d.	Demand changes

Member demand for NPEC’s services/electricity may increase or decrease due to the pandemic situation.  Changes in demand will be assessed.  Additionally, recommendations on modifications that can be made to the types of services provided and/or the way they are provided, to increase demand and instill member confidence will be made.

e.	Input changes

Vendors or partners that routinely provide services or material to NPEC may be impacted by the pandemic.  Vendor ability to maintain services or provide products, and how or if this will impact operations, will be assessed.

Contact information for vendors is located in the Emergency Operation Plan.

Vendors with whom NPEC does not routinely work, but may be able to supply needed goods and/or services during an emergency, will also be assessed.

f.	Operational capabilities

Routine and essential operations may be affected by the pandemic situation due to staff absenteeism, regulatory agency modifications, or other impacts. NPEC’s ability to maintain the following activities with the available human and material resources will be assessed:

Essential operations

- Maintain office presence & continuity in person and remotely

- Maintain engineering group availability

- Maintain operations group & ability to respond to outages

- Retain ability to dispatch inhouse or through CRC.

- Maintain ability to stock material& fuel supply

###### Suspended standard daily operations

- Employees reporting to office to fulfill workday responsibilities

- In person safety meetings and employee meetings

- Lobby closed to members and public in general

- Vendor visits suspended

g.	Financial analysis

An update on the business’ financial performance will be conducted regularly.  This information will be used to inform decisions about resource allocation.

###### C.	Management and Staffing

Situation analysis activities will be managed by the CFO and the Executive Vice President & General Manager.  Positions required to perform operations include:

Situation Analysis Staffing Positions

| Job Title | Task Overview | Critical Skills Required | Number of Employees |
| --- | --- | --- | --- |
| Situation Status Leader | Oversee the collection, analysis, and sharing of information. | Management and HR | 3 |
| Situation Analyst | Collect, synthesize, and share situational information. | Cooperative Business Knowledge | 7 |
| Financial Analyst | Collect, synthesize, and share financial information. | RUS Accounting | 2 |

V	COMMUNICATION

###### A.	Mission

During a pandemic there may be a high level of fear and anxiety.  Rumors and misinformation will fuel those emotions.  [Insert name of business] realizes that in order to sustain employee, member, and vendor confidence and morale, information sharing will be critical.  NPEC will strive to provide clear, consistent, relevant, truthful, and timely information to the following audiences:

- Employees

- Members

- Product and service vendors

- Public

- Government

B.	Implementation

All content will be disseminated by one coordinated working group to ensure that messages are consistent, complete, and effectively reaching all audiences.  However, various individuals may assist in developing messages.  All outgoing content will first be approved by:

- CFO or their designee

a.	Content

a.1.	Employee Communication

Sustaining employee confidence and morale for many months will be challenging.  NPEC is committed to maintaining a two-way line of communication and providing regular (e.g., daily, bi-weekly, weekly) updates to all employees.

Prior to the pandemic, employees were provided with information about the continuity of operations plan, pandemic facts, healthy habits to use everyday and during a pandemic, and where to get information during an emergency.

During a pandemic, key topics for inclusion in employee updates will include:

- Status of the pandemic

- Status of operations and response

- How routine updates and urgent communications will be disseminated (e.g., telephone information line, posted flyer, e-mail)

- Disease control measures utilized in the workplace

- Policy changes

- Job reassignments

- Absentee reporting process

- Other applicable information as needed

a.2. 	Vendor Communication

NPEC is committed to providing regular updates and ongoing dialogue with vendors and other partners regarding operations, service/product needs, and emergency response activities.  Key topics include:

- Changes in supply and service needs

- Disease control requirements they must adhere to at the work site

- Status of operations and response

- How routine updates and urgent communications will be disseminated (e.g., telephone information line, posted flyer, e-mail)

- Updated contact information

a.3.	Member and Public Communication

To ensure that members and the general public are aware of services/electricity and adopted disease control safety standards, key messages will include:

- Operating hours

- Updated contact information

- Disease control safety standards being implemented at the business

- How updates will be disseminated

b.	Information Dissemination

Information will be disseminated to audiences throughout the pandemic using the modes of communication described below.  Multiple strategies will be used to create redundancy and ensure that intended recipients receive messages.

- Telephone Systems.  Internal agency information line [insert telephone number], external public information line, mass voicemail message, call center/phone bank, call-down tree

- Electronic Systems*.  Mass e-mail message, website posting [www.npec.org], intranet posting, on-line chat

- Hard copy*.  Mailing, interoffice mail, mass faxes, notice board postings, pay check mailing

- In person.  Meeting, presentation.

- Media- TV, Radio, Newspaper.  Press releases

- Social Media

* Information may be packaged in the form of letters, memos, fact sheets, brochures, newsletters, etc.

Urgent updates

The primary method(s) for disseminating urgent communications will be:

Employees.  Email, Text, Personally

Members.  Mailing, Website posting, Social Media

Vendors.  Email , Telephone

Public.  Media, Print, Social Media

Routine updates

The primary method(s) for disseminating routine emergency related updates will be:

Employees.  Email, In-Person communications

Members.  Mailing, Website posting, Social Media

Vendors.  Email , Telephone

Public.  Media, Social Media

VI	COMMUNICABLE DISEASE CONTROL

A.	Mission

Safeguarding the health of employees, members, vendors, and the public during a pandemic is a key objective for NPEC.  A combination of communicable disease control measures, including heightened hygiene practices, social distancing, and protective equipment and supplies will be utilized to slow the spread of disease.

B.	Implementation

Communicable disease control refers to strategies that can be used to reduce the transmission and acquisition of contagious diseases.  Contagious diseases spread in different ways.  Viruses are spread through either:

- Breathing in respiratory particles (usually not visible to the human eye) that are expelled from the respiratory tract during coughing, sneezing, or talking.  These particles travel short distances (up to 6 feet) and may remain suspended in the air for short amounts of time depending on the size of the particle, temperature, humidity and other conditions.

- Contact with contaminated respiratory droplets or secretions (e.g., touching a surface that has recently been contaminated with respiratory droplets or secretions followed by touching the nose, eyes, or mouth).

There are various strategies that can be used to reduce the transmission of the virus.  Preliminary recommendations for a severe pandemic are included.

a.	Disease Control Supplies

For employees to practice disease control recommendations properly, the following supplies should be regularly available:

- Soap (at all hand-washing sinks)

- Tissues

- Hand sanitizer (minimum 60% alcohol content)

- Office cleaning and disinfecting supplies (see details in table, Disinfecting Solutions)

- Paper towels

- Trash bags

- Personal protective equipment (See Section VI, B, b)

A stockpile of these supplies are stored in the north closet near the Willie room.

b.	Personal Protective Equipment

Use of personal protective equipment during a severe pandemic may be recommended by NPEC.  NPEC will ensure that face masks are available.  Recommended equipment may include:

- Face masks.  The general public may be asked to wear face masks when in public settings, including workplace settings.  Face masks are loose-fitting, disposable masks that cover the nose and mouth, and have ear loops or ties for a secure fit. These include products labeled as surgical, dental, medical procedure, isolation, and laser masks.  Facemasks are designed to prevent the wearer from spreading germs found in respiratory droplets, to others. They are not designed to protect the wearer from breathing in very small particles. When supplies are available, facemasks should be used once and then thrown away in the trash, especially if they become moist.

- Gloves.  Frequent hand washing will be recommended. If adequate hand washing occurs, it is not necessary to wear gloves for routine activities. However, gloves are recommended for cleaning with disinfectant.  Gloves come in many types that are suitable in different situations. In general, gloves must be liquid-proof and should fit comfortably.

c.	Disinfect Surfaces

During a pandemic, thorough workplace disinfection measures will be required to minimize the transmission through surfaces.

Simple cleaning with a damp cloth may not kill or remove viruses, therefore disinfection is required for this purpose.  Viruses are readily killed by disinfectants.  Any of the following solutions can be used to disinfect surfaces:

c.1.	Items to disinfect

Surfaces that are frequently touched by hands should be cleaned and disinfected often, at least daily.  When a person with suspected virus is identified and has left the workplace, their work area, along with any other known places they have been, should be cleaned and disinfected.

Surfaces to disinfect include commonly touched surfaces like doorknobs, water-cooler taps, telephones, and other items that are touched by various people throughout the day.  Non-essential items (e.g., magazines/newspapers) from common areas will be removed.

c.2.	Steps to disinfect

The person cleaning and disinfecting should follow these steps:

- Wash hands with soap and water, or use hand sanitizer if not visibly dirty

- Put on a face mask

- Put on gloves

- Clean surfaces if they appear dirty

- Apply disinfectant in the appropriate dilution and leave on for at least the minimum contact time

- Disinfect all surfaces detailed above

- Remove gloves

- Remove mask

- Wash hands with soap and water, or use hand sanitizer if not visibly dirty

d.	Heightened Hygiene Practices

Request that employees escalate their use of healthy habits to limit the spread of disease.  Disseminate reminders throughout the work site.  Key messages include:

- Wash your hands often with soap or use hand sanitizer.

- Avoid touching eyes, nose, and mouth with un-washed hands.

- Cover your cough and sneeze.

- Stay home when sick.  Depending on virus, symptoms include:

  - Fever

  - Chills, shivering

  - Muscle aches

  - Sore throat

  - Dry cough

  - Headache

  - Fatigue (extreme tiredness)

  - Loss of taste or smell

- Avoid close contact (6 feet or less) with others including skin-to-skin contact..

- All persons in the workplace should wear a mask or covering over the mouth and nose when in the same room as another person.

- Clean and disinfect commonly used surfaces.

- Minimize close contact with sick persons.

Additional hygiene practices may be recommended depending on the situation and characteristics of the pandemic virus.

e.	Social Distancing

Social distancing refers to a disease control strategy that includes limiting or altering the frequency and closeness of people in order to reduce the spread of contagious diseases from one person to another.  Some social distancing strategies include restricting events that congregate people (e.g., concerts), utilizing physical barriers (e.g., glass divider) to restrict the sharing of air when face-to-face contact is required, modifications to social behavior (e.g., no hand shaking), and creating distance between work spaces that are greater than the virus’ movement.  During a pandemic people may be advised to stay at least 6 feet apart (this recommendation may be altered by the health department during a pandemic event).

NPEC has the ability to utilize the following social distancing strategies to reduce close contact among individuals.

e.1.	Telecommuting

Whenever possible, NPEC will encourage employees to work from home.  This reduces the risk of disease transmission to all employees by minimizing the number of persons in the work setting

e.2.	Videoconferences

Face to face meetings will be discouraged.  Videoconferences can be held multiple party groups.

e.3.	Staggered work shifts

The work shifts of all employees/work units can be spread over the workday or can be modified to a flexible schedule of extended hours in fewer days.

e.4.	Face-to-face barriers

Some of NPEC’s services are provided in a face-to-face setting (individuals are less than 6 feet apart).  To reduce the possibility of transmission, alterations may be made to reduce face-to-face contact in the work setting (e.g., services provided by telephone instead of in-person, glass barriers set-up between individuals).  The types of services and number of employees who have regular face-to-face contact with members, and modification that can be made to reduce contact, are listed below:

| Services requiring face-to-face contact (under 6 feet) | Number of employees performing service | Modifications that can be made to eliminate/reduce face-to-face contact |
| --- | --- | --- |
| Cashier/ Reception | Up to 5 | Mask, Clear Barrier |
| Member Service Rep | 2 | Mask |
| Staking Tech | 2 | Outdoors using 6 feet rule |

When it is not possible to eliminate face-to-face contact under 6 feet, face masks should be worn by both employees and members.

e.5.	Distance between work sites

Create distance (at least 6 feet) between employees who must work in the same room.  Room layouts that allow for 6 feet of distance between work stations are preferred.

Employees will be encouraged not to congregate in communal spaces – break rooms.

f.	Restrict workplace entry of people with symptoms

During a pandemic, asking individuals with described symptoms to stay out of the work setting may limit the spread of disease.  When the plan is activated, the following steps will be taken to limit entry of people with symptoms:

- Post notices at all workplace/facility entry points advising staff and visitors not to enter if they have symptoms.  The signs may say:

“To help limit the spread of infection, it is important that you do not come inside this facility if you feel feverish, have a cough, have body aches, or have a sore throat.  We may ask you to leave this facility in order to protect our employees and visitors from getting infected.  Your cooperation is appreciated.”

- Provide hand sanitizer at the entrance of the facility.  Instruct everyone entering and leaving the facility to clean their hands.

- Advise employees to call the designated staff if they become ill at home or work.

g.	Ventilation

At present there are no special pandemic heating, ventilation, and air conditioning (HVAC) systems recommendations outside of a healthcare setting.  HVAC systems should receive regular maintenance checks according to standards and building codes.  In specific rooms where there is a potentially infected person, the ventilation should be increased as much as possible (e.g. by opening windows).

h.	Manage employees who become ill

In order to reduce the transmission of disease, it is important that individuals who are sick, with pandemic virus or other contagious illnesses, stay out of the work setting.  Individuals with flu-like symptoms may be asked to stay home for a specific time period, referred to as home isolation, until they are no longer contagious.   The isolation period (or period when individuals are contagious and should stay away from others) could be as long as 1 to 2 weeks after symptoms develop.

h.1.	Employees who become ill at work

If an employee begins to feel sick while at work, it will be important to follow key steps to reduce the transmission of disease to others.  Advise employees that if a person feels ill, or if someone observes that another person is exhibiting flu like symptoms at work, they are to immediately contact their supervisor and then leave.

###### C.	Management and Staffing

Disease control activities will be managed by all staff employees. Staffing will be completed by supervisors available.

VII	PERSONNEL

A.	Mission

During a severe pandemic, worker absenteeism (20 – 50% in excess of standard absenteeism rates) may occur at all personnel levels due to illness, family member illness, death, unmet childcare needs (e.g., children may be dismissed from school), and “worried well” (otherwise healthy people who avoid the workplace for fear of exposure).  Additionally, NPEC will likely recommend that individuals who are experiencing flu-like symptoms stay at home or away from others until they are no longer contagious (this is known as the isolation period).

NPEC is committed to safely maintaining essential operations and supporting personnel during the emergency.  Personnel may be re-assigned and provided with just-in-time training to ensure that essential operations can be performed.  Personnel absenteeism will be tracked, non-punitive personnel policies will be activated, and employees who report sick will be supported.

B.	Implementation

a.	Pandemic Policies

A flexible work policy should include instructions for notifying your workers’ compensation carrier that there are employees who are working from home and the days they are doing so.  There is no home inspection requirement, because the Occupation Safety and Health Administration (OSHA) has already issued a directive stating so (OSHA Directive Number: CPL 2-0.125).  Discuss details with your legal representative.

Standard operating policies and practices may need to change during a pandemic.  The following policies may be activated as part of the pandemic response.  The decision to activate the following policies will be made by the CFO & General Manager.  Employees will immediately be notified of policy changes.

a.1.	Employee Leave

The following emergency leave policies address employee absences due to personal illness, family member illness, trauma, isolation, quarantine, and/or school dismissal.

Board Policy #5 covers this section.

a.2.	Flexible Work

Working from home and flexible work hour (e.g. staggered shifts, extended shifts) policies may be activated or enhanced to allow for social distancing.  These include:

- Staggering schedule for crews that work in the field

- Isolating crew members in separate vehicles to and from the worksite

- Restrict free movement within office area and warehouse area

- Adhere as much as possible to the 6 feet rule in all work zones

- Move field employees to an extended work day

- Provide office employees that can work from hoe that opportunity when necessary

a.3.	Travel Policies

During a pandemic response the travel policies will be assessed and determined based on severity of outbreak and conditions at that time.

###### b.	Track staff

Because absenteeism may be erratic for many weeks, NPEC will track present and absent staff and forecast future staff absenteeism.  Key information to collect includes, name of individual, position title, department/unit routinely assigned to, key skills, anticipated return date, and reason for absence (if provided).

###### b.1.	Employees who report sick

A telephone number will be provided for employees to call if they feel ill and/or need to report sick.  The following protocol will be followed:

Protocol For Employees who Report ill

1. 	Speak with the individual by phone.

2. 	Check if the employee has any flu-like symptoms.

| - Fever (higher than 100.4°F / 38°C) - Chills - Muscle aches - Headache | - Fatigue (extreme tiredness) - Cough - Sore throat - Loss of smell and/or taste |
| --- | --- |

If the employee does not have any of these symptoms and has not been in contact with someone with the virus, they are unlikely to have the virus and should be reassured and advised to call again later or to seek medical attention if they are still concerned.  If the employee has flu-like symptoms, they should be treated as a “suspect case.”

3. 	If the employee is at work, provide them with a face mask and instruct them to put the mask on immediately. (This is to help protect other staff.)

4.	Instruct the employee to leave work.

5.	Advise the employee on how long to stay away from work.

6. 	Have the employee’s work station cleaned and disinfected.

7. 	Advise supervisor of employee absence.

8. 	Communicate with the employee during his/her absence from work via telephone or e-mail.

9.	Encourage employees to return to work once they have recovered and the isolation period has ended.

c.	Re-assign staff

If staff shortages impede the ability to perform essential operations, cross-trained employees from other operational areas, may have added responsibility. Supervisors will be responsible for collecting information on workplace needs and assigning staff to priority activities.

VIII	INFORMATION AND TECHNOLOGY SYSTEMS

A.	Mission

During a pandemic, it will be critical that information and technology systems are in working order and able to support standard and/or new communication needs.

B.	Implementation

a.	Information Technology (IT) Systems

Telecommuting.  Some employees may be asked to work from home and telecommute during a pandemic.  IT systems will be monitored to ensure that staff can access and share files and communicate through e-mail.

Websites.  The NPEC website and intranet may need to be updated with up-to-date information for the employees, members, vendors, and the public.  This information will be provided by the IT Specialist or Communications Specialist.

Data Back-up.  Routine data backup procedures will be maintained throughout the pandemic.

b.	Communication Systems

Teleconferencing.  In order to reduce close contact between people, telephone conversations and videoconferencing may be utilized in lieu of meetings.  video conference are now a regular occurrence and TEAMS and Zoom work extremely well for this meeting method.

###### C.	Management and Staffing

IT and communication activities will be managed by the IT Specialist and IT consultant.

IX	DEMOBILIZATION

A.	Mission

Following the pandemic, it will be necessary to demobilize and coordinate a smooth transition from emergency response activities to standard (or modified standard) daily operating procedures and evaluate the response.

B. 	Implementation

a.	Deactivation

NPEC will assess the impact of the pandemic on operations, personnel, members, partners, and vendors.  Recovery from the pandemic can begin when it is determined that adequate personnel, supplies, resources, and systems exist to manage all or the majority of standard daily operating activities.  The CFO and General Manager must approve deactivation and the transition plan.

b.	Transition Plan

If the decision is made to deactivate, a transition timeframe and plan with the following details will be developed:

- Staff assignments (if some staff are still out)

- How and when employees should exit their response positions and resume their routine positions.

- Policy changes

- Modifications that should be made to standard operating practices (e.g., new services to add, continued disease control practices)

- Hours of operation

- Contact information for business and staff

- Method to collect documentation from the response.

- Community recovery needs and ways to provide assistance

c.	Notifications

When the CFO and General Manager have approved demobilization of the response, the following audiences will be notified and provided with instructions on how to transition to standard operating activities.

d.	Evaluation

Conduct an internal evaluation of NPEC’s pandemic response.  Gather documentation from the response and feedback from all stakeholders and incorporate into an after-action report and corrective action plan.  Update the Pandemic Continuity Plan and other emergency response plans as appropriate.

# APPENDIX

# Brainstorming Questions for Developing

# Pandemic Policies

Employees Who Become Ill

- The following is guidance that during a pandemic, employees with flu-like symptoms should stay home from work. If the organization chooses to follow this guidance:

- Will a doctor’s note be required?  What if that is not feasible?

- Will employees be required to take sick or vacation days?

  - What if employees have used up all their sick and vacation days?

  - Will sick employees who are required to stay home be compensated if they do not have any sick or vacation time?  Will they be dismissed?

- Will there be a special policy on returning to work after illness with an influenza/Covid-like illness?  The San Francisco Department of Public Health may request that individuals with flu-like symptoms stay in home isolation for a certain number of days (e.g. up to 1 or 2 weeks) until they are better and no longer contagious.

  - Some employees may try to hide their symptoms because they do not want to use personal leave or take a leave of absence. How will you encourage people with symptoms to stay home?

  - Some employees may feel well enough to work before the isolation period is over and may not want to use their personal leave, may not have any personal leave, and/or may be concerned about loss of wages.

- What will be the protocol for employees who become ill at work?

- If an employee believes he/she was infected while on the job, what Workers’ Comp is available?  Can papers be processed if it is not possible to get a doctor’s note?

Employees Who are Quarantined

- If employees are quarantined, will they be required to use sick or vacation time during the period they are asked to stay home?

  - What if they do not have any sick or vacation days?

  - Will employees who are quarantined be compensated if they do not have any sick or vacation time?

2.	Are there any provisions for employees to work while staying at home (without using personal leave) when they are in quarantine (e.g. telecommuting)? Or when they are recovering from illness?

Employees Who Do Not Report to Work

- How will you deal with employees who stay home to care for ill family members?

- Will they be required to take vacation or sick leave?

- What if they have used up all their vacation and sick leave?

- Will healthy employees who choose to stay home to care for someone be compensated if they do not have any personal leave time?

- If public or private schools, adult daycare centers, or other care organizations are closed and employees must stay home to care for family members, will they be asked to use personal leave time?

- What if they have none?  Will they be compensated?  Will they be dismissed?

- How will you respond to employees who are too afraid to come to work because they think a co-worker or a client will infect them?

- Will healthy employees who choose to stay home due to safety concerns be compensated if they do not have any sick or vacation time? Will they be dismissed?

- What if an employee believes they have not been given the proper personal protective equipment (e.g., masks) to keep them from becoming infected and refuses to come to work?

- What if the stockpile of personal protective equipment runs out?  How will you cope with employees who do not want to work without it?

Flexible work

    - Are there policies that allow for flexible worksites (e.g. telecommuting) and flexible work hours (e.g. staggered shifts, extended shifts)?

    - Is there a policy on how “non-essential workers” can be re-assigned for other “essential” duties in other departments?

    - Will policies for “essential workers” differ from those for “non-essential workers”?

    - Will individuals who are more at risk (e.g. immuno-compromised) for severe illness or death from the virus have special assignments in non-direct contact areas that are different from workers who are not considered high risk groups?

Health care at work

1.	Will workers have access to medical and mental health service?

## ANNEX C – WILDFIRE MITIGATION PLAN

##### Purpose

- The intent of this plan is to outline the wildfire mitigation efforts of Cooperative related to its overhead electrical distribution lines and associated equipment throughout its service territory.

##### Plan

- Cooperative operations personnel will monitor weather conditions, county emergency management alerts and applicable state agency advisories regarding drought conditions and Red Flag warnings. Such sources include:

Texas A&M Forest (www.texaswildfirerisk.com)

Texas Forest Service (fire index ratings)

USFS fire danger class

NWS Red Flag warnings

- When conditions warrant (or when relevant advisories are issued), Cooperative will require a visual inspection of any line in its service territory that has been de-energized by protective relaying prior to re-energizing.

NPEC performs maintenance on transmission, substations and distribution lines

- System hardening using shorter spans, more stringent pole replacement criteria, using permanent squeeze on connectors at all service devices and retirement or disconnection of idle lines is included in the current procedures.

- Distribution poles are inspected using sound & bore technique on a 10-year rotation.

- Transmission poles are inspected, shaved from groundline to 18 inches below surface, treated and wrapped every 10 years.

- Line maintenance is performed based on contractor visual pole inspections and employee line patrols.

- Line conductor has been changed when found to be brittle and breaking often.

- Tree pruning performed annually on rotational basis. Limbs and leaves found in proximity of conductor are pruned as soon as possible.

- Cooperative exploring use of fire retardant fabrics and chemicals.

## ANNEX D – HURRICANES

Not applicable. Cooperative service territory is not located near or within a hurricane evacuation zone, as defined by the Texas Division of Emergency Management.

## ANNEX E – CYBERSECURITY

# Incident Reporting and Response Plan

## 1	PURPOSE

The purpose of this Incident Reporting and Response Plan is to provide a process for North Plains Electric Cooperative’s (NPEC) formal, focused, and coordinated approach to responding to security events categorized as either cyber security or physical security incidents.

This Incident Reporting and Response Plan ensures that incidents are responded to in a systematic approach that is consistent with NPEC’s overall objectives and strategies. The plan ensures communication efforts to appropriate federal agencies, law enforcement agencies, members, and the media are defined, focused, and controlled. The plan will also ensure consistent incident handling and response and provides for future development and refinement of security controls.

## 2	SCOPE

The Incident Reporting and Response Plan (IRRP) is applicable to all personnel who have been identified to have direct or indirect assigned duties for the cooperative. North Plains Electric Cooperative, Inc. maintains physical and cyber security best practices internally. These best practices are based on the NIST Cybersecurity Framework.

## 3	GOALS

NPEC works to promote resilience and enhance cyber security capabilities and works to convey current information on emerging cyber threats and initiatives, including critical infrastructure protection efforts, and realistic practices for improving operational resilience. The information technology specialist (Incident Response Manager) will keep cooperative members and staff informed while maintaining a working partnership among the various cooperative functional groups on matters of cyber security.

Short Term Goals:

- Identify gaps in cyber management practices and recommend process improvements.

- Reinforce cyber security best practices and examine resilience concepts and objectives.

- Discuss and practice processes to maintain and repeatedly carry out protection and sustainment activities for critical assets and services.

- Share information with GSEC functional groups related to cyber security policies, initiatives, and capabilities.

- Leverage Security Information and Event Management (SIEM) to increase incident detection time.

Long Term Goals:

- Address gaps in cyber management practices and implement process improvements.

- Document a process to maintain and repeatedly carry out protection and sustainment activities for critical assets and services.

- Enhance cyber incident response and business continuity capabilities.

- Increase the cybersecurity maturity and resilience of the cooperative and its employees.

## 4	ROLES AND RESPONSIBILITIES

This Incident Reporting and Response Plan must be followed by all directors, personnel, including all employees, temporary staff, consultants, contractors, suppliers and third parties operating on behalf of NPEC.

Below are details about the roles and responsibilities of each member of NPEC to prevent and respond to a workplace incident. It is not an exhaustive list of duties but designed to give each employee a general understanding of their role and the roles of other employees in incident response and prevention.

Appendix A lists the name of the person who currently holds each role/position and it lists the below responsibilities again.

### 4.1	Incident Response Manager

The Incident Response Manager (IRM) is responsible for:

- Making sure that the Security Incident Reporting and Response Plan and associated response and escalation procedures are defined and documented. This is to ensure that the handling of security incidents is timely and effective.

- Making sure that the Security Incident Reporting and Response Plan is current, reviewed and tested at least once each year.

- Making sure that staff with Security Incident Reporting Response Plan responsibilities are properly trained at least once each year.

- Leading the investigation of a suspected breach or reported security incident and initiating the Security Incident Reporting and Response Plan when needed.

- Reporting to and liaising with external parties, including pertinent business partners, legal representation, law enforcement, etc., as is required.

- Authorizing on-site investigations by appropriate law enforcement or third-party security/forensic personnel, as required during any security incident investigation. This includes authorizing access to/removal of evidence from site.

- Devise and delegate ad hoc roles as required by the incident.

- Making sure that all staff understand how to identify and report a suspected or actual security incident.

- Advising the Incident Response Lead (if applicable) of an incident when they receive a security incident report from staff.

- Investigating and documenting each reported incident.

- Taking action to limit the exposure of sensitive data and to reduce the risks that may be associated with any incident.

- Gathering, reviewing, and analysing logs and related information from various central and local safeguards, security measures and controls.

- Documenting and maintaining accurate and detailed records of the incident and all activities that were undertaken in response to an incident.

- Assisting law enforcement during the investigation processes. This includes any forensic investigations and prosecutions.

- Initiating follow-up actions to reduce likelihood of recurrence, as appropriate.

### 4.2	Communications Manager

The Communications Manager is responsible for:

- Writing and sending internal and external communications about the incident.

- Updates business continuity or incident status to the public/media when authorized.

- Collect and compile member responses or concerns from the customer support lead.

- Follow up with members concerns on an as needed basis when authorized by the general manager.

### 4.3	Customer Support Lead

The customer support lead is responsible for:

- Taking and passing on, to the communications lead, concerns from phone calls and emails from members.

- Answering questions with authorized statements as dictated by the general manager.

- Taking and passing on, to the IRM, member-sourced details concerning the incident when reported through a CSR desk.

### 4.4	Subject Matter Expert

The Subject Matter Expert is responsible for:

- Responding to the IRM with answers to technical questions.

- Suggesting and implementing fixes

- Providing context and updates to the IRM.

- Contacting additional subject matter experts as needed and authorized by the IRM.

- Aiding the root cause analyst with the aftermath analysis and reporting.

### 4.5	Social Media Lead

The Social Media Lead is responsible for:

- Communicating about the incident on social media channels as directed by the general manager.

- Sharing real-time member feedback with the general manager.

### 4.6	Scribe

The Scribe is responsible for:

- Recording key information about the incident and its response effort.

  - Maintain a detailed log with times, dates, names, and actions taken. This log will be in chronological order.

### 4.7	Legal Liaison

The Legal Liaison is responsible for:

- Relaying the scope of the incident to the cooperative’s legal team when necessary.

- Gather any reports, logs, and evidence from the IRM as requested by the cooperatives legal team.

- Gather any invoices, reports, logs, and evidence from the IRM to file claims for insurance as needed.

### 4.8	Root Cause Analyst

The Root Cause Analyst is responsible for:

- Going beyond the incident’s resolution to identify the root cause.

- Identifying and changes that need to be made to avoid the same issue in the future

- Coordinating, running, and recording an incident post-mortem.

- Logging and tracking remediation efforts.

### 4.9	All Staff Members

All Staff Members are responsible for:

- Making sure they understand how to identify and report a suspected or actual security incident.

- Follow any and all instructions given by any member of the Security Incident Response Team (SIRT) as it pertains to the incident.

## 5	INCIDENT RESPONSE LIFE CYCLE

This Incident Response Plan is designed to provide a cooperative-wide, systematic business approach to the Incident Response Life Cycle.  The Incident Response Life Cycle is paralleled with business operations to perform impact analysis.

### 5.1	Life Cycle Objectives and Processes

#### 5.1.1	Assessment

Establish an approach to analyze business impact and risk. Perform a risk analysis cooperative wide and understand what assets and resources must be protected. Determine operational and financial risks that could impact business operations in the event of a security incident. Regularly review supply chain risk and vulnerability management assessments.

#### 5.1.2	Preparation

Establish an approach to incident handling that includes development of policy and procedures. Review and codify an organizational security policy, perform a risk assessment, identify sensitive assets, define which are critical security incidents the team should focus on, and build a Security Incident Response Team (SIRT).

#### 5.1.3	Detection and Analysis

Analyze detection devices and reports from people to identify and classify the activity and begin handling the evidence. Monitor IT systems and detect deviations from normal operations and see if they represent actual security incidents. When an incident is discovered, collect additional evidence, establish its type and severity, and document everything.

#### 5.1.4	Containment

Ensure the impact of the incident does not increase. Perform short-term containment, for example by isolating the network segment that is under attack. Then focus on long-term containment, which involves temporary fixes to allow systems to be used in production, while rebuilding clean systems.

#### 5.1.5	Eradication

Determine the cause and remove it. Remove malware from all affected systems, identify the root cause of the attack, and take action to prevent similar attacks in the future.

#### 5.1.6	Recovery

Restore the system to its original state and validate the clean system. bring affected production systems back online carefully, to prevent additional attacks. Test, verify and monitor affected systems to ensure they are back to normal activity.

#### 5.1.7	Post-Incident Activity

Develop follow-up reports, identify lessons learned, and update procedures as necessary. No later than two weeks from the end of the incident, perform a retrospective of the incident. Prepare complete documentation of the incident, investigate the incident further, understand what was done to contain it and whether anything in the incident response process could be improved. In some instances, documentation may be needed for compliance requirements.

### 5.2	Integration of Business Operations

Develop a risk register which includes the systems and processes necessary to continue business operations and the impacts of each in the event systems are not available. The risk register should also include a list of contacts. The integration of business operations will assist incident handlers and stakeholders with identifying potential risks and associated services along the incident response life cycle. The risk register and contact lists should be kept as a hard copy for reference when systems are not available.

## 6	INCIDENT SCORING AND IMPACT RATING

The cooperative uses a weighted arithmetic mean to produce a score from zero to 10. This score drives the incident triage and escalation processes and assists in determining the prioritization of limited incident response resources and the necessary level of support for each incident.

(Current Functional Impact * 40%) + (Potential Functional Impact * 25%) + (Informational Impact * 10%) + (System Criticality *20%) + (Recoverability Timeframe * 5%) = The Incident Score

The five factors are assigned values between 0 and 10 based on value assigned the individual severity rating for each of the factors as described in this plan using the formula above.

The purpose of weighting the factors is to provide a repeatable formula that is heavily biased by the actual impact of the incident but also considers potential impacts to the cooperative if the incident were not contained. Guide appropriate actions with sufficient urgency to prevent a minor or moderate incident from escalating into an emergency.

## 7	Incident Categorization

### 7.1	CAT 1 UNAUTHORIZED ACCESS

Physical

- Could the incident impact the reliability of the bulk power system?

- Was there intentional damage to security systems that protect the physical perimeter.

- Was sensitive information lost or removed without authorization. Was social engineering involved?

Cyber

- Could the incident impact the cooperative? Was social engineering involved? Was sensitive information copied, transmitted, viewed, stolen or used by an unauthorized individual?

- Was this an attempt to compromise the cooperative either electronically or physically? (report within 1 hour)

### 7.2	CAT 2 DENIAL OF SERVICE

- Was malicious software or data modification discovered on a cyber asset or assets that may impact the reliability of the system or greater bulk power system?

- Was social engineering involved?

- If yes to any of these questions report to E-ISAC within the listed timeframe

### 7.3	CAT 3 MALICIOUS CODE

- Was malicious software or data modification discovered on a cyber asset or assets that may impact the reliability of the cooperative?

- Was social engineering involved?

### 7.4	CAT 4 IMPROPER USAGE

- Was social engineering involved?

- Did an unauthorized employee access confidential or restricted resources?

### 7.5	CAT 5 SCANS/PROBES/ATTEMPTED ACCESS/SURVEILLANCE/THREATS

Physical

- Was this an attempt to compromise the cooperative either electronically or physically?

- Was suspicious photo taking observed?

- Were suspicious surveillance activities observed?

- Was a suspicious fly over observed?

- Was a threat communicated where the threatened action has the potential to damage or compromise facility or personnel?

- Were explosives discovered at or near a facility?

- Were there suspected or actual attacks against generation, transmission, or company-owned or operated communication facilities, cyber assets, or personnel?

### 7.6	CAT 6 INVESTIGATION

- Could the incident impact the reliability of the cooperative?

- Is there targeted, focused, or repetitive attempted access to cyber assets (such as critical cyber assets) whose impairment could impact bulk power system reliability?

- Was social engineering involved?

- Was a threat communicated where the threatened action has the potential to damage or compromise facility or personnel?

- Was this an attempt to compromise the system or greater bulk power system either electronically or physically?

## 8	INCIDENT REPORTING GUIDELINES

### 8.1	Reporting Forms (Internal)

Appendix D for the NPEC’s Reporting form

- This form will be filled out and filed for every cyber security incident.

### 8.2	Reporting Agency Forms (External)

#### 8.2.1	Department of Energy (DoE)

##### Required Respondents (taken from the DoE website)

Electric utilities that operate as Control Area Operators and/or Reliability Authorities as well as other electric utilities, as appropriate, are required to file the form. The form is a mandatory filing whenever an electrical incident or disturbance is sufficiently large enough to cross the reporting thresholds. Reporting coverage for the Form DOE-417 includes all 50 States, the District of Columbia, Puerto Rico, the U.S. Virgin Islands, and the U.S. Trust Territories.

##### Electric Disturbance Events (DOE-417)

Online Form: https://www.oe.netl.doe.gov/OE417/

Downloadable PDF Form: https://www.oe.netl.doe.gov/docs/OE417_Form_05312024.pdf

Offline Reporting: If you are unable to submit online or by fax, forms may be e-mailed to doehqeoc@hq.doe.gov, or call and report the information to the following telephone number: (202) 586-8100.

#### 8.2.2	Electricity Information Sharing and Analysis Center (E-ISAC)

The Electricity Information Sharing and Analysis Center (E-ISAC) provides cooperative an option to add a physical or cyber bulletin posting for information sharing purposes. An account must be created and approved for sharing information. Information shared may include details about a security incident attack and the Indicators of Compromise (IoC) to assist other cooperatives with mitigation of similar attacks.

E-ISAC website login: https://www.eisac.com

### 8.3	What to Include in your Incident Report

The following format is a guide. While internal reporting must be complete, some external reports may need to omit certain pieces of information to retain confidentiality. External reporting should be reviewed by managers, senior leadership, and sometimes legal counsel.

The following must be determined for each incident:

- Incident Type

- Names of system(s) involved (spell out each acronym used at its first use

- If the system has failed over to an available backup system

- Categorization of system(s) involved

- Type of data involved (Confidential or Restricted Information)

- Functional use of systems involved

- Identified or suspected cause of incident

- Identified or suspected impact of incident

- What dangers or effects on the facility or facility personnel safety may be caused by the event?

- If the incident has the potential to spread across other networks or even outside to partners or customers

- Investigation, containment, and remediation steps taken

- Incident detection/identification method

- Parties involved (include descriptive titles and names if required for remediation)

- Date and timeframe of occurrence(s)

- If the reported incident is real or a false positive

- What stage the incident is in—beginning, in process, or has already occurred

- What organizations will be affected and who should be part of the response.

If applicable, provide:

- Host-based indicators, Network indicators, and Email characteristics

- Security controls that blocked and/or detected the activity

- Date/time the activity was blocked and/or detected

- Host operating systems

- Name of malicious logic

- How did the exploit occur, and can it happen again? In what timeframe?

- What type of attacker tools if any were placed onto the system?

- Actions taken by affected system

- Network activity observed (including IPs and URLs connections made or attempted, associated ports)

- Type of unauthorized access attempted or obtained (including capabilities associated with that type of access)

- Attack vector

For incidents involving privacy or PII, also include:

- The number of individuals

- The number of records

- The number of data points or source of compromise

## 9	COMMUNICATIONS

### 9.1	Internal Reporting Chain

The cooperative’s Internal Reporting Chain during an incident is based on the severity rating. If a member of the reporting chain is unavailable, their designated delegate will be contacted.   If both the primary and their delegate cannot be contacted, the next person in the chain will be notified. All members of the chain must select a delegate.

| Severity | Reporting Guidance |
| --- | --- |
| Insignificant | Reporting is not necessary |
| Low | The Incident Response Manager will notify any department head affected by the incident. |
| Medium | The Incident Response Manager will notify the General Manager. |
| High | The Incident Response Manager will notify the General Manager who then decides whether or not to notify the Board of Directors. The IRM also informs other departments that have a need to know. At this severity level, the IRM will establish a Virtual channel for incident handling activities understanding that Confidential or Restricted Information is not stored or shared via the channel. |
| Extreme | The Incident Response Manager will notify the General Manager who then will notify the Board of Directors. The IRM also informs other departments that have a need to know. At this severity level, the IRM will establish a Virtual channel for incident handling activities understanding that Confidential or Restricted Information is not stored or shared via the channel. |

### 9.2	External Reporting Chain

| Name | Email | Phone |
| --- | --- | --- |
| DoE | https://www.oe.netl.doe.gov/OE417/ FAX Form DOE-417 to (202) 586-8485 Email Form DOE-417 to doehqeoc@hq.doe.gov | (202) 586-8100 |
| E-ISAC | operations@eisac.com | 404-446-9780 #2 |
| NCCIC (includes ICS-CERT and US-CERT) | central@cisa.gov Online form: https://us-cert.cisa.gov/forms/report | 1-888-282-0870 |
| ICS-CERT | soc@us-cert.gov online form: https://us-cert.cisa.gov/forms/report | 1-888-282-0870 |
| US-CERT | soc@us-cert.gov online form: https://us-cert.cisa.gov/forms/report | 1-888-282-0870 |
| Department of Homeland Security, Cyber Security Regional Contact | Chad Adams CISARegion6@hq.dhs.gov | 1-888-282-0870 |

### 9.3	Key Vendor Contacts

- Milsoft: 1-800-344-5647

- Partner: 706-354-1833

- NISC: 7-866-999-6472

- Aclara: 1-800-892-9008

- Survalent: 1-855-402-2600

- CRC: 1-800-892-1578

- GSEC SOC: 806-420-5345 (GSEC Cyber Security Operations Center)

- Wayne Brockwell: 806-681-2400

### 9.4	Media Communications

Only employees authorized by the General Manager and his or her designee are permitted to speak to, give statements to, or participate in interviews with members of the news media as an official representative of the Cooperative.

By default, employees are not authorized by the General Manager to communicate with the news media as an official representative of the Cooperative and should refer any news media enquiries to an authorized employee.

### 9.5	Impaired Communications

The cooperative will identify another means to establish communications in the event that communications are disrupted. The cooperative will utilize cell phones, networks, the internet, etc.

## 10	FORENSICS

The cooperative, when deemed necessary to investigate possible criminal activity, will provide forensic services and it is not intended for law enforcement or to be court admissible. If it is determined that forensics be conducted, the cooperative shall require a dedicated evidence storage and analysis facilities with physical access limited to authorized forensics personnel, mobile evidence gathering tools required to establish chain of custody; to collect and label evidence at incident sites; and to securely package and transport the collected evidence. The cooperative shall: Develop, maintain, and follow a Standard Operating Procedure (SOP) for computer forensics collection and analysis follow the cooperative disclosure and privacy guidance and maintain a chain of custody of evidence. In the event that law enforcement services are required, the Incident Response Lead makes initial contact with senior leadership, legal and law enforcement organizations to establish evidentiary chain of custody. The Incident Response Lead will coordinate with appropriate law enforcement organizations. If necessary, the cooperative or the Incident Response Lead may package and ship equipment to a designated computer forensic processing facility. If it is determined that the source of the suspected criminal activity is external to the cooperative, the appropriate law enforcement organization will be notified immediately by the Incident Response Lead, or if necessary, by other organizations who will inform the cooperative at the earliest time possible.

## 11	TESTING AND PLAN CHANGES

The Incident Reporting and Response Plan will be reviewed and tested at least once every 24 calendar months for updates and improvements. NPEC reserves the right to modify or amend this policy at any time, with or without prior notice. No later than 90 calendar days after completion of a Cyber Security Incident response plan(s) test or actual Reportable Cyber Security Incident response, lessons learned, or the absence of any lessons learned will be documented. The Incident Reporting and Response Plan will be updated and distributed to those individuals with a documented role and responsibility in the IRRP via email based on any documented lessons learned associated with the plan. If roles and responsibilities change or if there is a technology change that impacts NPEC’s ability to execute the plan, the Incident Reporting and Response Plan will be updated and each person with a defined role and responsibility in the IRRP will be notified via email.

## 12	TRAINING REQUIREMENTS FOR INCIDENT RESPONSE TEAMS

Training requirements for the incident handlers includes:

- Intrusion Detection System training

- Security Information and Event Management training (if applicable)

- Ticketing/Reporting system

- Additional security monitoring and reporting tools as necessary

- Regular review of the Incident Response and Reporting Plan

- Cybersecurity Framework for all areas of the Cooperative

- Communications applications (Teams, etc.)

- Practice with locating and filling out External Agency reports (DoE, E-ISAC, etc.)

## 13	ROAD MAP FOR MATURING THE INCIDENT RESPONSE CAPABILITY

The cooperative will follow the Electricity Subsector Cybersecurity Capability Maturity Model (ES-C2M2), to define their roadmap for maturity in Incident Reporting and Response Planning.

## Appendix A – ASSIGNED ROLES

| Role | Name(s) |
| --- | --- |
| Incident Response Manager/Root Cause Analyst | IT Specialist (Rusty Pickett) |
| Communications Manager/Social Media Lead | Member Services (Bianca Peregrino) |
| Customer Support Lead | CSR (Ivette Cortez) |
| Subject Matter Expert | IT Consultant (Wayne Brockwell) |
| Scribe | Work Order Clerk (Tiffany Constancio) |
| Legal Liaison Lead | CFO (Jennifer Roberts) |
| All Staff | Every Employee of NPEC |

### 4.1	Incident Response Manager

The Incident Response Manager (IRM) is responsible for:

- Making sure that the Security Incident Reporting and Response Plan and associated response and escalation procedures are defined and documented. This is to ensure that the handling of security incidents is timely and effective.

- Making sure that the Security Incident Reporting and Response Plan is current, reviewed and tested at least once each year.

- Making sure that staff with Security Incident Reporting Response Plan responsibilities are properly trained at least once each year.

- Leading the investigation of a suspected breach or reported security incident and initiating the Security Incident Reporting and Response Plan when needed.

- Reporting to and liaising with external parties, including pertinent business partners, legal representation, law enforcement, etc., as is required.

- Authorizing on-site investigations by appropriate law enforcement or third-party security/forensic personnel, as required during any security incident investigation. This includes authorizing access to/removal of evidence from site.

- Devise and delegate ad hoc roles as required by the incident.

- Making sure that all staff understand how to identify and report a suspected or actual security incident.

- Advising the Incident Response Lead of an incident when they receive a security incident report from staff.

- Investigating and documenting each reported incident.

- Taking action to limit the exposure of sensitive data and to reduce the risks that may be associated with any incident.

- Gathering, reviewing, and analysing logs and related information from various central and local safeguards, security measures and controls.

- Documenting and maintaining accurate and detailed records of the incident and all activities that were undertaken in response to an incident.

- Assisting law enforcement during the investigation processes. This includes any forensic investigations and prosecutions.

- Initiating follow-up actions to reduce likelihood of recurrence, as appropriate.

### 4.2	Communications Manager

The Communications Manager is responsible for:

- Writing and sending internal and external communications about the incident.

- Updates business continuity or incident status to public/media when authorized.

- Collect and compile member responses or concerns from the customer support lead.

- Follow up with members concerns on an as needed basis when authorized by the general manager.

### 4.3	Customer Support Lead

The customer support lead is responsible for:

- Taking and passing on, to the communications lead, concerns from phone calls and emails from members.

- Answering questions with authorized statements as dictated by the general manager.

- Taking and passing on, to the IRM, member-sourced details concerning the incident when reported through the CSR desk.

### 4.4	Subject Matter Expert

The Subject Matter Expert is responsible for:

- Responding to the IRM with answers to technical questions.

- Suggesting and implementing fixes

- Providing context and updates to the IRM.

- Contacting additional subject matter experts as needed and authorized by the IRM.

- Aiding the root cause analyst with the aftermath analysis and reporting.

### 4.5	Social Media Lead

The Social Media Lead is responsible for:

- Communicating about the incident on social media channels as directed by the general manager.

- Sharing real-time member feedback with the general manager.

### 4.6	Scribe

The Scribe is responsible for:

- Recording key information about the incident and its response effort.

  - Maintain a detailed log with times, dates, names, and actions taken. This log will be in chronological order.

### 4.7	Legal Liaison

The Legal Liaison is responsible for:

- Relaying the scope of the incident to the cooperative’s legal team when necessary.

- Gather any reports, logs, and evidence from the IRM as requested by the cooperatives legal team.

- Gather any invoices, reports, logs, and evidence from the IRM to file claims for insurance as needed.

### 4.8	Root Cause Analyst

The Root Cause Analyst is responsible for:

- Going beyond the incident’s resolution to identify the root cause.

- Identifying and changes that need to be made to avoid the same issue in the future

- Coordinating, running, and recording an incident post-mortem.

- Logging and tracking remediation efforts.

### 4.9	All Staff Members

All Staff Members are responsible for:

- Making sure they understand how to identify and report a suspected or actual security incident.

- Follow any and all instructions given by any member of the Security Incident Response Team (SIRT) as it pertains to the incident.

## Appendix B – Incident Response Plan Checklist

### Response

Responding to security incidents can take several forms. Incident response actions may include triaging alerts from your endpoint security tools to determine which threats are real and/or the priority in which to address security incidents. Incident response activities can also include containing and neutralizing the threat(s)—isolating, shutting down, or otherwise “disconnecting” infected systems from your network to prevent the spread of the cyber attack. Additionally, incident response operations include eliminating the threat (malicious files, hidden backdoors, and artifacts) which led to the security incident.

- Immediately contain systems, networks, data stores and devices to minimize the breadth of the incident and isolate it from causing wide-spread damage. (Incident Response Manager)

- Determine if any sensitive data has been stolen or corrupted and, if so, what the potential risk might be to your business. (Incident Response Manager)

- Eradicate infected files and, if necessary, replace hardware. (Incident Response Manager)

- Keep a comprehensive log of the incident and response, including the time, data, location and extent of damage from the attack. Was it internal, external, a system alert, or one of the methods described previously?  Who discovered it, and how was the incident reported? List all the sources and times that the incident has passed through. At which stage did the security team get involved? (Scribe)

- Preserve all the artifacts and details of the breach for further analysis of origin, impact, and intentions. (Incident Response Manager)

- Prepare and release public statements as soon as possible, describe as accurately as possible the nature of the breach, root causes, the extent of the attack, steps toward remediation, and an outline of future updates. (Communications Manager)

- Update any firewalls and network security to capture evidence that can be used later for forensics. (Incident Response Manager)

- Engage the legal team and examine compliance and risks to see if the incident impacts any regulations. (Legal Liaison Lead)

- Contact law enforcement if applicable since the incident may also impact other organizations. Additional intelligence on the incident may help eradicate, identify the scope, or assist with attribution. (Incident Response Manager)

Post-incident activities (Recovery and Follow-up actions) include eradication of the security risk, reviewing and reporting on what happened, updating your threat intelligence with new information about what’s good and what’s bad, updating your IR plan with lessons learned from the security incident, and certifying then re-certifying your environment is in fact clear of the threat(s) via a post-incident cybersecurity compromise assessment or security and IT risk assessment.

### Recovery

(Incident Response Manager)

- Eradicate the security risk to ensure the attacker cannot regain access. This includes patching systems, closing network access, and resetting passwords of compromised accounts.

- During the eradication step, create a root cause identification to help determine the attack path used so that security controls can be improved to prevent similar attacks in the future.

- Perform an enterprise-wide vulnerability analysis to determine whether any other vulnerabilities may exist.

- Restore the systems to pre-incident state. Check for data loss and verify that systems integrity, availability, and confidentiality has been regained and that the business is back to normal operations.

- Continue to gather logs, memory dumps, audits, network traffic statistics and disk images. Without proper evidence gathering, digital forensics is limited so a follow-up investigation will not occur.

### Follow-Up

(Incident Response Manager)

- Complete an incident response report and include all areas of the business that were affected by the incident.

- Determine whether management was satisfied with the response and whether the organization needs to invest further in people, training or technology to help improve its security posture.

- Share lessons learned. What went well, what didn’t and how can procedures be improved in the future?

- Review, test and update the cybersecurity incident response plan on a regular basis, perhaps annually if possible.

- Conduct a compromise assessment or other security scans on a regular basis to ensure the health of systems, networks and devices.

- Update incident response plans after a department restructure or other major transition.

- Keep all stakeholders informed about the latest trends and new types of data breaches that are happening. Promote the message that “security is everyone’s job.”

## Appendix C – Ransomware Attack Response and Prevention

### Ransomware Attack Response Checklist

Step 1: Disconnect Everything

- Unplug computer from network

- Turn off any wireless functionality; Wi-Fi, Bluetooth, NFC

Step 2: Determine the Scope of the Infection, Check the Following for Signs of Encryption

- Mapped or shared drives

- Mapped or shared folders from other computers

- Network storage devices of any kind

- External Hard Drives

- USB storage devices of any kind (USB sticks, memory sticks, attached phones/cameras)

- Cloud-based storage: DropBox, Google Drive, OneDrive etc.

Step 3: Determine Ransomware Strain

- What strain/type of ransomware? For example: CyrptoWall, Teslacrypt etc.

Step 4: Determine Response

Ransomware response should be determined by a response team, senior leadership, and legal counsel at a minimum. In many cases, law enforcement may provide addition insight or suggestions. You may also want to call in a ransomware response team to assist with restoration.

Response 1: Restore your Files from Backup

- Locate your backups

  - Ensure all files you need are there

  - Verify integrity of backups (i.e., media not reading or corrupted files)

  - Check for Shadow Copies if possible (may not be an option on newer ransomware)

  - Check for any previous versions of files that may be restored on cloud storage e.g., DropBox, GoogleDrive, OneDrive

- Remove the ransomware from your infected system

- Restore your files from backups

- Determine infection vector and handle

Response 2: Try to Decrypt

- Determine strain and version of the ransomware if possible

- Locate a decryptor, there may not be one for newer strains; If successful, continue to next steps…

- Attach any storage media that contains encrypted files (hard drives, USB sticks etc.)

- Decrypt files

- Determine the infection vector and handle

Response 3: Do Nothing (Lose Files)

- Remove the ransomware

- Backup your encrypted files for possible future decryption (optional)

Response 4: Negotiate and/or Pay the Ransom

- If possible, you may attempt to negotiate a lower ransom and/or longer payment period

- Determine acceptable payment methods for the strain of ransomware: Bitcoin, Cash Card etc.

- Obtain payment, likely Bitcoin:

  - Locate an exchange you wish to purchase a Bitcoin through (time is of the essence)

  - Set up account/wallet and purchase the Bitcoin

- Re-connect your encrypted computer to the internet

- Install the TOR browser (optional)

- Determine the Bitcoin payment address. This is either located in the ransomware screen or on a TOR site that has been setup for this specific ransom case

- Pay the ransom: Transfer the Bitcoin to the ransom wallet

- Ensure all devices that have encrypted files are connected to your computer

- File decryption should begin within 24 hours, but often within just a few hours

- Determine infection vector and handle

Step 5: Protecting yourself in the Future

- Implement Ransomware Prevention Checklist to prevent future attacks

### Ransomware Prevention Checklist

First Line of Defense: End Users

- Implement effective security awareness training to educate users on what to look for to prevent criminal applications from being downloaded/executed.

- Conduct simulated phishing attacks to inoculate users against current threats.

- Require multi-factor authentication for all end user accounts, regular and administrative

Second line of Defense: Software

- Ensure you have and are using a firewall.

- Implement antispam and/or anti-phishing. This can be done with software or through dedicated hardware.

- Ensure everyone in your organization is using top notch up-to-date antivirus software, or more advanced endpoint protection products like whitelisting and/or real-time executable blocking.

- Implement software restriction policies on your network to prevent unauthorized applications from running. (optional)

- Implement a highly disciplined patch procedure that updates any and all applications that have vulnerabilities.

Third Line of Defense: Backups

- Implement a backup solution: Software based, hardware based, or both.

- Ensure all possible data you need to access or save is backed up, including mobile/USB storage.

- Ensure your data is safe, redundant and easily accessible once backed up.

- Regularly test the recovery function of your backup/restore procedure. Test the data integrity of physical backups and ease-of-recovery for online/software based backups.

## ANNEX F – PHYSICAL SECURITY INCIDENT

### PURPOSE

This document provides Cooperative personnel with the tools necessary to understand and identify a possible or actual local physical security event at Cooperative’s facilities and immediately report suspicious activity or actual malicious destruction of any of their facilities.  It addresses how personnel interact with each other and other entities to provide timely information and situational awareness.

In order to recognize a physical security event, one must understand what a physical security event is.  For this procedure, the following definitions will be utilized:

Sabotage is defined as a deliberate action designed to disrupt or destroy any facilities, including, but not limited to, elements of the Bulk Electric System (BES).  It can also be a deliberate action at weakening or destroying infrastructure through subversion.

Vandalism is defined as the malicious and deliberate defacement or destruction of property.

Criminal Mischief is defined as any damage, defacing, alteration, or destruction of tangible property with criminal intent.

Vandalism and Criminal Mischief can, and often do, go hand in hand with each other.

### DEFINITION

This document provides Cooperative personnel with the tools necessary to understand and identify a possible or actual local physical security event at Cooperative’s facilities and immediately report suspicious activity or actual malicious destruction of any of their facilities.  It addresses how personnel interact with each other and other entities to provide timely information and situational awareness.

### RECOGNITION

All Cooperative personnel are responsible for following the reporting procedures in this section for any event that involves:

- Damage or destruction of facilities that results from actual or suspected intentional human action.

- Physical threats to Cooperative’s personnel.

- Physical threats to a facility that have the potential to degrade the normal operation.

- Suspicious device or activity at a facility.

- Theft that has the potential to degrade operation

Determining what is truly Sabotage from Vandalism or Criminal Mischief can be a daunting task.  The key to determining physical security is intent.  If the intent is to disrupt or disable the BES, then the event would be considered Sabotage.  Most events experienced by Cooperative are simply mischievous people or those with criminal intent.  Below is a list of events that may possibly occur on Cooperative’s system and the determination of the event status:

| Sabotage Event | Criminal Mischief/Vandalism Event |
| --- | --- |
| Unbolting transmission tower legs (deliberate act to cause harm to the electric system and electric operations) | A farmer who cuts a pole down due to blocking access to his fields (intent is access property not disrupt electric operations) |
| Coordinated destruction of wooden structures (deliberate and coordinated attack to cause harm to the electric system and electric operations) | Entry into a substation to steal copper conductor (intent is theft by taking, not disruption of electric operations) |
| Shooting transmission facilities intending to cause destruction and electrical disturbances (typically multiple insulator strings along a stretch of line) | Isolated shooting of a transmission line insulator (intent is criminal (destruction of property), not disruption of electric operations) |
| Breaking and entering into a substation to destroy equipment (intent is to disrupt electric operations and cause harm to the BES and electric operations) | Motor vehicle accident (consequence of action may be harm to the BES or electric operations; however, the intent was not to cause disruption) |
| Driving a motor vehicle through a substation fence (substations are typically away from road rights of ways indicating an intentional action) | Graffiti on equipment (while this indicates entry into station, the intent was not disruption and no physical damage was done to facilities) |
| Deliberate cyber attack or cyber intrusion with intent to disrupt or take down SCADA network that could have a material impact on the BES | Deliberate cyber intrusion with the intent of stealing personally identifiable information for the purposes of stealing Cooperative’s personnel’ identities for monetary gain |

| Suspicious Activity, Objects, or Persons |  |
| --- | --- |
| Threats to disrupt or damage Cooperative’s electric system or other infrastructure | Threats to injure Cooperative’s personnel |
| Intentional injury to Cooperative’s personnel | Unauthorized attempts to access Cooperative’s facilities, such as a substation |
| Unauthorized individuals present on Cooperative’s property who exhibit suspicious behavior | Unauthorized photography of Cooperative’s facilities |
| Unauthorized access or attempted access to the Cooperative’s computer systems through physical or cyber intrusion | Unknown persons loitering in the vicinity of Cooperative’s facilities for extended periods of time |
| Individuals, without proper identification or escort, and /or having unusual dress, appearance, or accents | Unknown person calling Cooperative’s facilities to ascertain security, personnel or procedural information |
| Unknown persons who attempt to gain information about Cooperative’s facilities by walking up to personnel or their families and engaging them in a conversation | Theft of facility vehicles, personnel identification, uniforms or operating procedures |

### REPORTING POSSIBLE OR ACTUAL PHYSICAL SECURITY INCIDENT

### (COOPERATIVE FIRST RESPONDER)

The Cooperative employee who discovers a possible or actual physical security event (First Responder) should take the following actions upon discovery if the Cooperative employee’s safety is not at risk:

Actions Upon Discovery of a Possible or Actual Physical security Event (First Responder)

- Make sure the scene is safe for you and the public. Make the scene safe if possible.

- Stay calm and quickly report to your Manager.

- Make a clear and accurate report to your Manager. Provide your name and contact information.

- Describe the possible or actual physical security act. Be as specific as possible.

- Remain in contact with your Manager until released. Additional information may be requested.

- Record any information about your surroundings including vehicles, people, or abnormal odors.

- Remain available for further questions from law enforcement.

If your personal safety is at risk, retreat to a safe area and contact your Manager as soon as possible.  Notify law enforcement and emergency services for response to the scene.  Keep the public away from the danger and evacuate area as necessary.

### REPORTING POSSIBLE OR ACTUAL PHYSICAL SECURITY (Manager)

Once a possible or actual physical security event has been reported, the  Manager shall inform all operating personnel of the possible or actual event. The Cooperative shall as soon as possible notify their Transmission Operator of the event and details.    The Cooperative should provide the following information:

Information to Provide to Transmission Operator (see Appendix B for Physical Security Incident Information Form)

- Geographic area and county affected/impacted.

- Date and time incident began.

- Date and time incident ended.

- Did the incident originate at your Cooperative?

- Amount of demand involved (estimated).

- Number of member-consumers affected.

- Physical or cyber attack.

- Equipment involved in the event.

- Description of events.

- Station or line identifiers.

### Roles

Cooperative serve as First Responders for this procedure and must never ignore a suspected or actual act of physical security or suspicious person, object or activity that could threaten the Cooperative’s facilities, personnel or operations.  In addition, the Cooperative provides key information to their Transmission Operator to allow for timely and accurate reporting of possible or confirmed physical security events or subversive activities.

### Training

Cooperative shall review and perform training on this procedure at least annually.

ATTACHMENT A

Physical Security Incident Information Form

Cooperative:                                                                      Facility:  ____________________

1. Date and time of incident:

2. Location of incident (e.g. county, city, line and station identifiers):

3. Type of incident (e.g. physical, cyber):

4. System parameters before the incident (Voltage, Frequency, Flows, Lines, Substations, etc.)

5. System parameters after the incident:

6. Network configuration before the incident

7. Relay indications observed and performance of protection:

8. Damage to equipment:

9. Supplies interrupted and duration, if applicable:

10. Amount of electric service lost (demand/member-consumers), if applicable:

11. Estimate of time to return to service:

12. Cause of incident (if  known):

13. Any other relevant information including notifications [and remedial action taken]:

14. Recommendations for future improvement/repeat incident:

| Time: |  |
| --- | --- |
| Date: | Signature and Designation of the Distribution Cooperative Person(s) Reporting the Incident |

## ANNEX G: REQUIREMENTS FOR TRANSMISSION AND DISTRIBUTION UTILITIES

Not Applicable. Cooperative is not a Transmission and Distribution Utility as defined under 16 TAC §25.5.

## ANNEX: H- ADDITIONAL ANNEXES

(INSERT ANY ADDITIONAL ANNEXES IF ANY)

## Electric Cooperative’s Guidance in FEMA Declared Disasters

## FEMA Enabling Legislation

STAFFORD ACT, Public Law 93-288, known as:

The Robert T. Stafford Disaster Relief and Emergency Assistance Act,

Title 42 U.S.C.  # 5121, as revised Sept 1, 1999.

The Stafford Act authorizes the President (FEMA per Executive Order 12673) to provide financial and other forms of assistance to State and local governments, certain Private Non-Profit organizations, and individuals following Presidential-declared major disasters and emergencies.  Electric Cooperatives are eligible under the Private Non-profit status.

APPLICANT ELIGIBILITY

To be eligible for FEMA reimbursement, ALL must be eligible, the applicant, the facility, the work and the cost.

REIMBURSEMENT

FEMA reimbursement is 75% of the eligible work. Additional Presidential Declarations may raise this amount in extensive damage and hardship conditions.

Co-ops should treat all FEMA and State funds as a loan until the Co-op has proven, after the fact, that the money was all properly spent on eligible work. Co-ops MUST properly document all work and expenses.

LOCAL CONTACT

Texas Emergency Management will assist Co-ops with their FEMA claims. TEM should be kept appraised of a Co-op’s progress, especially when it becomes apparent that the project may over-run either the quantities measured in the PW or the costs. Cooperatives should cultivate an open and cooperative relationship with TEM. TEM normally sends a liaison reservist to accompany the FEMA Project Officer. Most are knowledgeable and can help the process.