## Executive Summary
Ref | Item | Executive Summary | Reference
d | Information to be included in the emergency operations plan
An EOP may consist of one or multiple documents. Each entity’s EOP must include the information identified below, as applicable. If a provision in this section does not apply to an entity, the entity must include in its EOP an explanation of why the provision does not apply
d1 | An approval and implementation section that:
| introduces the EOP and outlines its applicability; | The Purpose and Scope sections address the applicability of the Plan. | Section 2.0 - Purpose Section 3.0 - Scope
| lists the individuals responsible for maintaining and implementing the EOP, and those who can change the EOP; | The Roles and Responsibilties section addresses the goverence of the EOP. | Section 6.0 - Roles and Responsibilties
| provides a revision control summary that lists the dates of each change made to the EOP since the initial EOP filing pursuant to paragraph (1) of this subsection; | The Version History table on page 2 of the Plan tracks revision history. | Version History
| provides a dated statement that the current EOP supersedes previous EOPs; and | The Scope section addresses this, stating that the current version of the Plan supersedes previous versions as of the date of last approval, which is noted at the end of the Plan. | Section 3.0 - Scope
| states the date the EOP was most recently approved by the entity. | The Version History table states the most current version and the Approval section at then end of the Plan lists approvals. | Version History Approvals
d2 | A communication plan
| An entity with generation operations must describe the procedures during an emergency for communicating with the media; the commission; OPUC; fuel suppliers; local and state governmental entities, officials, and emergency operations centers, as appropriate in the circumstances for the entity; and the applicable reliability coordinator. | The Entity affirms they will conduct meetings and correspondence with external agencies and individuals, including but not limited to local EMS, Fire Department, Medical Clinics, and Police.
d3 | A plan to maintain pre-identified supplies for emergency response. | The Entity maintains a checklist for emergency supplies in Appendix 4 of the Winter Weatherization Plan. The Winter Weatherization Plan is under review. | Winter Weatherization Procedure: Appendix 4
d4 | A plan that addresses staffing during emergency response | The Entity notifies appropriate personnel to remain on call for emergency response as needed. This is covered in the Critical Failure Points - Personnel section of the Plan. | Section 7.0 - Critical Failure Points - Personnel
d5 | A plan that addresses how an entity identifies weather-related hazards, including tornadoes, hurricanes, extreme cold weather, extreme hot weather, drought, and flooding, and the process the entity follows to activate the EOP | This Plan addresses severe weather planning, identification, and safety in section 8 of this plan, as well as in the Winter Weatherization Plan, witch is under review. | Section 8.0 - Severe Weather Planning and Identification Appendix 3 - Concho Valley General Emergency Procedure
d6 | Each relevant annex, as detailed in subsection (e) of this section and other annexes applicable to an entity.
e | Annexes to be included in the emergency operations plan.
e2 | An electric cooperative, an electric utility, or a municipally owned utility that operate a generation resource in Texas; and a PGC must include the following annexes for its generation resources other than generation resources authorized under PURA §39.918:
e2A | A weather emergency annex that includes: | Entity's EOP addresses Severe Weather. Seasonal specific requirements are addressed in the Winter and Summer Weatherization Plans which are under review. | Section 8.0 - Severe Weather Planning and Identification Appendix 3 - Concho Valley General Emergency Procedure
| operational plans for responding to a cold or hot weather emergency, distinct from the weather preparations required under §25.55 of this title; | Entity's plans for weather emergencies are included in the 'Sever Weather Planning and Identification' section of this EOP. | Section 8.0 - Severe Weather Planning and Identification
| verification of the adequacy and operability of fuel switching equipment, if installed; and | The Entity's generator is a 100% Solar PV site and does not use alternative forms of fuel for generation. | N/A
| a checklist for generation resource personnel to use during a cold or hot weather emergency response that includes lessons learned from past weather emergencies to ensure necessary supplies and personnel are available through the weather emergency; | Checklists and a lessons-learned plan are utilized throughout the Entity's Winter and Summer Weatherization Plans wich are under review. | Winter Weatherization Procedure Summer Weatherization Procedure
e2B | A water shortage annex that addresses supply shortages of water used in the generation of electricity; | Not Applicable to the Entity as the site is not dependent on water supply for generation. | N/A
e2C | A restoration of service annex that identifies plans intended to restore to service a generation resource that failed to start or that tripped offline due to a hazard or threat; | Restoration response is address in Section 10 of the EOP. The facility will not be able to generate power until an O&M representative can perform a site assessment and close the breaker(s). | Section 10 - Restoration Response Time
e2D | A pandemic and epidemic annex; | Pandemic and epidemic responses are considered in the EOP's General Emergency Procedure | Appendix 3 - Concho Valley General Emergency Procedure
e2E | A hurricane annex that includes evacuation and re-entry procedures if facilities are located within a hurricane evacuation zone, as defined by TDEM; | The Entity has a procedure that addresses Severe Weather and specifically address huricanes. The procedure addresses evacuation and re-entry procedures. | Section 8.0 - Severe Weather Appendix 3 - Concho Valley General Emergency Procedure Appendix 4 - Evacuation Procedures
e2F | A cyber security annex; | Entity's Electronic Access Controls Plan addresses cyber secruity for the facility. | Electronic Access Controls Plan
e2G | A physical security incident annex; and | Entity's Physical Securty is addressed in the Physical Security Controls Plan in conjunction with the Cyber Incident Response Plan. | Physical Security Controls Plan, Cyber Incident Response Plan
e2H | Any additional annexes as needed or appropriate to the entity’s particular circumstances