Annex L -Hurricane Response Plan

01/XX/2023

In the event of a hurricane, the first priority is always the health and safety of Advanced Power - Cutlass Solar Project personnel. Advanced Power - Cutlass Solar Project Hurricane Response Process/Plan (HRP) is listed below:

- Ensure all Advanced Power - Cutlass Solar Project personnel and any potentially affected public personnel are not in danger.

- By using the evacuation routes in the link below, Advanced Power - Cutlass Solar Project personnel must evacuate at a time recommended by local authorities.

- The Advanced Power - Cutlass Solar Project facility(ies) should be hardened, to the extent possible, against lasting damage from a hurricane. Some of these hardening details are listed below:

  - Ensure all loose material or equipment is secured.

  - Ensure proper draining channels exist and are functional

Advanced Power facilities in Region 1, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

Advanced Power facilities in Region 2, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

*Advanced Power - Cutlass Solar Project IS LOCATED IN Region 2

Advanced Power facilities in Region 3, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

Advanced Power facilities in Region 4, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

Advanced power facilities in Region 5, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

Advanced Power facilities in Region 6, as specified by TDEM, shall use the hurricane evacuation routes published by the Texas Department of Transportation.

Checklist(s) for generating facility personnel to address emergency events

Advanced Power shall use the checklist in Annex C to identify which personnel shall address events that arise during the emergency.

When re-entry to the affected facility is safe, it is important to ensure all emergency gear and equipment that may be necessary to clear paths are available, serviceable, and on hand to be used, if necessary. This equipment may include, depending on the circumstances, saws, tire chains, etc.

In the event that the entry route is obstructed or compromised, ensure proper PPE is worn and utilized and normal safety measures are employed.

Always ensure communication is maintained between Advanced Power personnel attempting re-entry and Advanced Power leadership.

The following individuals are responsible for maintaining, implementing, and revising the HRP.

| Name | Title | Permission(s) |
| --- | --- | --- |
| XX | XX | Maintain |
| XX | XX | Implement |
| XX | XX | Revise |

- provides a revision control summary that lists the dates of each change made to the HRP since the initial HRP adoption.

| Version | Approval Date | Effective Date | Revision Summary |
| --- | --- | --- | --- |
| 1.0 | 01/XX/2023 | 01/XX/2023 | Initial Hurricane Plan |

As of 01/XX/2023, annexes associated with EOP Version 1.0, approved on 01/XX/2023, supersede all previous HRP annexes.