TO:		Ian Groetsch, Attorney

Legal Division

FROM:          Heidi Graham, Lead Engineering Specialist

Infrastructure Division

DATE:	May 16, 2022

RE:		Docket No. 53428: Application of Aqua Texas, Inc. for System Improvement Charges

On April 14, 2022, Aqua Texas, Inc. (Aqua) filed an application with the Public Utility Commission of Texas for an approval of proposed water and sewer system improvement (SIC) charges for Aqua’s North, Southeast, and Southwest regions under Texas Water Code § 13.183(c) and 16 Texas Administrative Code (TAC) § 24.76.

I reviewed the application for administrative completeness, specifically the portions that address reconcilable cost and depreciation expense under 16 TAC § 24.76(d)(1) and (3) and (e)(3-4) and (7) and related information under subsection (d)(2) of the rule; and the requirements of (d)(4) and (5) of the rule. I have identified administratively incomplete items in these portions of the application.

I recommend that the application is administratively incomplete and that Aqua provide the following information for Staff’s review:

- Please breakout Schedules D and E from the “Aqua Texas- SIC Supporting Schedules” for each region and service and revise the schedules into six different Excel spreadsheets with formulae intact to include a spreadsheet for water for each region (North/Southeast/Southwest) and a spreadsheet for wastewater for each region. Please do not hide any columns, provide a description for each column heading and provide a detailed description for each eligible plant item.

- Eligible plant is defined in 16 TAC § 24.76(b)(1) as plant properly recorded in the National Association of Regulatory Utility Commissioners (NARUC) System of Accounts, accounts 304 through 339 for water utility service or accounts 354 through 389 for wastewater service. There appear to be accounts included in the reconcilable cost that do not meet the definition of eligible plant. Accounts 301, 302, 303, 351 and 353 appear to be included in the reconcilable cost in SCH D (2020 & 2021 Added) Excel.  Please revise the application as necessary to meet the definition of eligible plant.

- The rule requires the inclusion in the application of an explanation of how each project has improved or will improve service. Please provide an explanation for each project as to how each project has improved or will improve service.

- Please clarify whether net salvage is included in the Depr Grp Rates in column AC in schedule D of Aqua Texas-SIC Supporting Schedules. If net salvage is included in the Depr Grp Rates, please provide the supporting study for the salvage and cost of removal for each eligible NARUC account.

- Please provide the depreciation study that determines the Depreciation Grp Rate for each eligible NARUC account included in the application.

- “Eligible cost” is not included in the SIC formula. Only “reconcilable cost” is included in the SIC formula. Please correct the SIC formula and revise the application as necessary to meet the requirements of the rule.

- Refer to Footnote 1. Please confirm whether the assets to be transferred from Aqua Utilities, Inc. to Aqua southeast region in sale, transfer, merger Docket No. 51506, are included in this case as eligible plant and reconcilable cost. The sale, transfer or merger is not considered approved by the Commission until a final order is issued approving the transaction. If included, please remove the assets to be transferred in Docket No. 51506.

Application, Schedules A-D (Attachment 2) at 000010-00098 (Apr. 14, 2022). (Attachment 2).

See 16 TAC § 24.76(d).

See 16 TAC § 24.41(c)(2)(C)(v).

See id.

Attachment 2 at 000010.

See 16 TAC § 24.76(e).

Application at 000003 (Apr. 14, 2022).

See 16 TAC § 24.239(n).