TO:		Forrest Smith, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	May 6, 2022

RE:	Docket No. 53429 – Application of Deer Springs Water and CSWR-Texas Utility Operating Company, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Burnet County

On February 22, 2022, CSWR-Texas Utility Operating Company, LLC (CSWR-Texas) and Deer Springs Water (Deer Springs) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Burnet County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, CSWR-Texas, water Certificate of Convenience and Necessity (CCN) No. 13290, seeks approval and to transfer and acquire facilities from Deer Springs, water CCN No. 11630, and to amend uncertificated area to CCN No. 13290.

The requested area includes 109 customer connections and approximately 229 acres of uncertificated area.

The application proposes the addition of approximately 229 acres to CCN No. 13290.

Based on the mapping review by Hank Journeay, Infrastructure Division, maps submitted with Item 3 on April 5, 2022 are sufficient.  Based on my technical and managerial review of the information filed, I recommend that the application be deemed administratively complete. I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- City of Burnet

- Lower Colorado River Authority

  - The county judge of each county that is wholly or partially included in the requested area:

- Burnet County Judge

  - Each groundwater conservation district that is wholly or partially included in the requested area:

- Central Texas Groundwater Conservation District

  - Each owner of a tract of land that is at least 25 acres and is wholly or partly located in the requested area. Notice must be mailed to the owner of the tract of land according to the most current tax appraisal rolls of the applicable central appraisal district at the time the application was filed.

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Publish notice once each week for two consecutive weeks in a newspaper having general circulation in the county where the requested area is located.  Proof in the form of a publisher’s affidavit must be filed within 30 days of the publication date. The affidavit must state with specificity each county in which the newspaper is of general circulation. Within 30 days of the date the notice was mailed, CSWR-Texas must file an affidavit specifying the notice that was provided to every person and entity to whom notice was provided and the date the notice was mailed.

- Provide notice using the attached notice form(s).

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, landowners and customers.

- File in the docket copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, the date that the notice was provided, and the publisher’s affidavit and tear sheets for proof of newspaper publication.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to CSWR-Texas and Deer Springs.  CSWR-Texas and Deer Springs will have 20 days from the receipt of the RFI to respond.