TO:		Kelsey Daugherty, Attorney

Legal Division

FROM:	Patricia Garcia, Infrastructure Analysis Section Director

Infrastructure Division

DATE:	May 13, 2024

RE:	Docket No. 53429 – Application of CSWR-Texas Utility Operating Company LLC and Deer Springs Water Company for Sale, Transfer, or Merger of Facilities and Certificate Rights in Burnet County

1.	Application

On February 22, 2022, CSWR-Texas Utility Operating Company, LLC (CSWR-Texas) and Deer Springs Water Company (Deer Springs) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Burnet County, Texas, under Texas Water Code (TWC) §§ 13.242 through 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, CSWR-Texas, water Certificate of Convenience and Necessity (CCN) No. 13290, seeks approval to transfer and acquire facilities from Deer Springs, water CCN No. 11630, and to amend uncertificated area to CCN No. 13290.

Based on the mapping review by Hank Journeay, Infrastructure Division:

The requested area includes 109 customer connections and approximately 229 acres of uncertificated area.

The application proposes the addition of approximately 229 acres to CCN No. 13290.

2.	Notice

An affidavit was provided affirming there are no landowners in the requested area owning 25 acres partially or wholly located in the requested area.

3.	Capital Improvement Plan

An application for a certificate of public convenience and necessity or for an amendment to a certificate must contain: a capital improvements plan, including a budget and estimated timeline for construction of all facilities necessary to provide full service to the entire proposed service area (TWC § 13.244(d)(3)).

CSWR-Texas is proposing to make improvements to the Deer Springs public water system.  On April 30, 2024, CSWR-Texas provided a confidential map showing the locations of the proposed capital improvements and a list of the proposed capital improvements. The proposed capital improvements are not expected to exceed $100,000, therefore the need for firm capital commitment under 16 TAC § 24.11(e)(5) is not required.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest.