TO:		Forrest Smith, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	May 6, 2022

RE:	Docket No. 53430 – Application of CSWR-Texas Utility Operating Company, LLC and Water Works I & II for Sale, Transfer, or Merger of Facilities and Certificate Rights in Llano County

On February 22, 2022, CSWR-Texas Utility Operating Company, LLC (CSWR-Texas) and Water Works I & II (Water Works) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Llano County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, CSWR-Texas, water Certificate of Convenience and Necessity (CCN) No. 13290, seeks approval to acquire facilities and to transfer all of the water service area from Water Works under water Certificate of Convenience and Necessity (CCN) No. 11674.  The total requested area includes 84 customer connections and approximately 137 acres of transferred area from Water Works (CCN No. 11674) to CSWR-Texas (CCN No. 13290).

The application proposes the subtraction of approximately 137 acres from CCN No. 11674 and the addition of approximately 137 acres to CCN No. 13290.

The application indicates that the total acreage being requested is approximately 138 acres.  Based on the mapping review by Hank Journeay, Infrastructure Division, it was determined maps submitted with Item 3 on April 5, 2022, are sufficient and indicate the requested area is approximately 137 acres.

Based on my technical and managerial review of the information filed, I recommend that the application be deemed administratively complete. I further recommend that the Applicants be ordered to do the following:

- Provide notice of the application by first-class mail to the following:

  - Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area:

- 3G WSC (CCN No. 11565)

- Buena Vista Water System (CCN No. 11656)

- Corix Utilities Texas Inc (CCN No. 13227)

- Lower Colorado River Authority

- River Oaks Water System (CCN No. 11172)

  - The county judge of each county that is wholly or partially included in the requested area:

- Llano County Judge

  - Any affected customers, and other affected parties in the requested area.

Addresses can be obtained from the Water Utility Database at http://www.puc.texas.gov/watersearch. District information and addresses can be obtained from the Texas Commission on Environmental Quality’s (TCEQ) web site located at https://www14.tceq.texas.gov/iwud/index.cfm.

- Provide notice using the attached notice form(s).

- Provide a copy of the map(s) deemed sufficient during administrative review delineating the requested area with each individual notice to neighboring utilities, other affected parties, and customers.

- File in the docket copy of notice and the map(s) deemed sufficient during administrative review along with the signed affidavit specifying every person and entity to whom notice was provided, and the date that the notice was provided.

Staff may determine that additional information is needed to make a final recommendation in this docket.  If additional information is needed, Staff may send requests for information (RFI) to CSWR-Texas and Water Works.  CSWR-Texas and Water Works will have 20 days from the receipt of the RFI to respond.