TO:		Kelsey Daugherty, Attorney

Legal Division

FROM:	Patricia Garcia, Infrastructure Analysis Section Director

Infrastructure Division

DATE:	May 13, 2024

RE:	Docket No. 53430 – Application of CSWR-Texas Utility Operating Company, LLC and Water Works I and II for Sale, Transfer, or Merger of Facilities and Certificate Rights in Llano County

1.	Application

On February 22, 2022, CSWR-Texas Utility Operating Company, LLC (CSWR-Texas) and Water Works I and II (Water Works) (collectively, Applicants) filed an application for sale, transfer, or merger (STM) of facilities and certificate rights in Llano County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, CSWR-Texas, water Certificate of Convenience and Necessity (CCN) No. 13290, seeks approval to acquire facilities and to transfer all of the water service area from Water Works under water Certificate of Convenience and Necessity (CCN) No. 11674.

Based on the mapping review by Hank Journeay, Infrastructure Division:

The requested area includes 84 customer connections and approximately 137 acres, comprised of 137 acres of transferred area (from CCN No. 11674).

The application proposes the subtraction of approximately 137 acres from CCN No. 11674 and the addition of approximately 137 acres to CCN No. 13290.

The application indicates that the total acreage being requested is approximately 138 acres.  Based on the mapping review by Mr. Journeay it was determined maps submitted with Item 3 on April 5, 2022, are sufficient and indicate the requested area is approximately 137 acres.

2.	Notice

An affidavit was provided affirming there are no landowners in the requested area owning 25 acres partially or wholly located in the requested area.

3.	Capital Improvement Plan

An application for a certificate of public convenience and necessity or for an amendment to a certificate must contain: a capital improvements plan, including a budget and estimated timeline for construction of all facilities necessary to provide full service to the entire proposed service area (TWC § 13.244(d)(3)).

CSWR-Texas is proposing to make improvements to the Water Works public water system.  On April 30, 2024, CSWR-Texas provided a confidential map showing the locations of the proposed capital improvements and a list of the proposed capital improvements. The proposed capital improvements are not expected to exceed $100,000, therefore the need for firm capital commitment under 16 TAC § 24.11(e)(5) is not required.

4. 	Recommendation

Based on the above information, I recommend that the Commission find that the transaction will serve the public interest.