TO:		Bradley Reynolds, Attorney

Legal Division

FROM:	Patricia Garcia, Infrastructure Analysis Section Director

Infrastructure Division

DATE:		September 12, 2022

RE:	Docket No. 53445 – Application of Undine Texas LLC to Amend Its Certificate of Convenience and Necessity in Fort Bend County

- Application

On April 1, 2022, Undine Texas, LLC (Undine) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 13260 in Fort Bend County, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

Undine is seeking to amend its water CCN for the service area containing 0 customer connections and approximately 96 acres, comprised of uncertificated area.

The application proposes the addition of approximately 96 acres to CCN No. 13260.

- Notice

The deadline to intervene was June 13, 2022; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

There are no customers in the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

A developer has requested service from Undine for the requested area.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Undine will be the certificated entity for the requested area and will be required to provide continuous and adequate service to the requested area.

The landowners in the area will have a water provider available when they need to request water service.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Undine has several Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS).  The PWS that will provide service to the requested area is   registered as Tejas Lakes, PWS ID No. 0790504.  The Tejas Lakes PWS does not have any violations listed in the TCEQ database.  No additional construction is necessary for Undine to serve the requested area.  The Commission’s complaint records, which go back to 2017, show 115 complaints against Undine.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

Service was requested from neighboring utilities and none of them responded to the request to provide service.  TCEQ has approved plans for Undine to build facilities in the requested area to serve future customers and will have sufficient capacity to serve the area.  Therefore, concerns of regionalization or consolidation do not apply.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Undine received a request for service for the requested area from a developer.  Service was requested from neighboring utilities and none of them responded to the request to provide service.  Undine has approved TCEQ plans to build facilities in the requested area to serve future customers and will have sufficient capacity to serve the area. Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

The Rate Regulation Division will be addressing this criterion in a separate memo.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected as facilities are constructed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Future residents of the planned development will have water service.

- Recommendation

Based on the mapping review by Dave Babicki, Infrastructure Division, and my technical and managerial review, I recommend that Undine meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service.  I further recommend that approving this application to amend its water CCN No. 13260 is necessary for the service, accommodation, convenience and safety of the public.

Undine consented to the attached map, tariff, and certificate on July 20, 2022.